SECTION 01014 - SUMMARY OF WORK - LEAD-BASED PAINT

PART 1 - GENERAL

1.1	RELATED DOCUMENTS

A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

1.2	WORK COVERED BY CONTRACT DOCUMENTS

A.	The Project consists of <INSERT BRIEF PROJECT DESCRIPTION>.

1.	Project Location: <INSERT PROJECT LOCATION (STREET ADDRESS, CITY, AND STATE).>

2.	Owner:  <INSERT NAME AND ADDRESS OF THE OWNER.>

B.	Contract Documents, dated <INSERT DATE INDICATED IN THE CONTRACT DOCUMENTS> were prepared for the Project by <INSERT NAME AND ADDRESS OF THE DESIGNER>.

C.	The Work consists of <INSERT AN ABBREVIATED SUMMARY OF THE PROJECT [EXAMPLE] The Work consists of the removal of windows and associated wood trim that is painted with a lead-based paint.>.

D.	The Work will be constructed under a single prime contract.

1.3	PLAN OF ACTION:

Submit a detailed job-specific plan of the procedures proposed for use in complying with the requirements of this specification.  Include in the plan the location, size, layout and details of the work areas and worker decontamination facilities.  Include the sequencing of abatement work, the interface of trades involved in the performance of work, methods to be used to assure the safety of building occupants and visitors to the site, disposal plan including location of approved disposal site, and a detailed description of the methods to be employed to control pollution.   Method of removal to reduce lead dust generation in the work area, and  packaging of removed lead paint, dust and debris.  Describe the methods that will be used to comply with OSHA requirements including submission of exposure monitoring to demonstrate adequacy of respiratory and worker protection equipment selected.  The plan must be approved by the Designer prior to commencement of work.

1.4	EXAMINATION:

Prior to commencement of work, examine areas in which work will be performed with the Designer.  Prepare a listing of damage to structure, surfaces, equipment or of surrounding properties which could be misconstrued as damage resulting from the work.  Photograph or videotape existing conditions as necessary to document conditions.  Submit to Designer prior to starting work.

1.5	POTENTIAL LEAD HAZARD:

The disturbance or dislocation of lead-based painted materials may cause lead dust to be released into the building`s atmosphere, thereby creating a potential health hazard to workers and building occupants.  Apprise all workers, supervisory personnel, subcontractors and consultants who will be at the job site of the seriousness of the hazard and of proper work procedures which must be followed.

Where in the performance of the work, workers, supervisory personnel, subcontractors, or consultants may encounter, disturb, or otherwise function in the immediate vicinity of any identified lead-based paint, take appropriate continuous measures as necessary to protect all building occupants from the potential hazard of exposure to lead dust.  Such measures shall include the procedures and methods described herein, and compliance with regulations and guidelines of applicable federal, state and local agencies.

1.6	STOP WORK:

If the Owner presents a written or verbal stop work order, or if stop work levels as set forth in the Contract Documents are exceeded immediately and automatically stop all work.  Do not recommence work until authorized in writing by the Owner or Designer.

1.7	LEAD BASED PAINTED SURFACES:

A.	Lead-based painted surfaces are known to be present at the worksite.  Following is a list of some of  the surfaces that are known to be painted with lead-based paint.  There may be other surfaces that are also painted with lead-based paint.  Components and surfaces not in this list may be included in the Work.

Exterior Entrance Jamb

Interior Entrance Jamb

Interior Walls

Baseboards

Ceilings

Chair Rail

Entrance Doors

Rear Porch Ceilings

Door Casing

Door Thresholds

Lintels

Boiler Room Door Jambs

Porch Columns and Railings

Skirt Boards

1.8	WORK UNDER OTHER CONTRACTS

A.	Separate Contract:  The Owner has awarded a separate contract for performance of certain construction operations at the site.  Those operations are scheduled to be substantially complete before work under this Contract begins.  The separate contract includes the following:

1.	Demolition:  A separate contract has been being awarded to Acme Demolition, Inc. for interior demolition work that includes removal of suspended ceilings, carpeting and demountable partitions.

2.	Asbestos Removal:  A separate contract is being awarded for removal of asbestos-containing fireproofing and thermal system insulation.  Critical barriers installed for the asbestos removal work will remain in place at the completion of that work and can be used for the work of this contract.

B.	Separate Contract:  The Owner has awarded a separate contract for performance of certain construction operations at the site.  Those operations will be conducted simultaneously with work under this Contract.  That Contract includes the following:

1.	Demolition:  A separate contract has been being awarded to Acme Demolition, Inc. for interior demolition work that includes removal of suspended ceilings, carpeting and demountable partitions in the Cafeteria which is adjacent to the area where the work of this contract is to occur..

2.	Asbestos Removal:  A separate contract is being awarded for removal of asbestos-containing fireproofing and thermal system insulation in the Cafeteria which is adjacent to the area where work of this contract is to occur.

C.	Cooperate fully with separate contractors so that work under those contracts may be carried out smoothly, without interfering with or delaying work under this Contract.

1.9	FUTURE WORK

A.	Future Contract:  The Owner has awarded a separate contract for additional work to be performed at the site following Substantial Completion.  Completion of that work depends on successful completion of preparatory work under this Contract.  The Contract for future work includes the following:

1.	Window Replacement Contract:  A separate contract has been awarded to Acme Home Remodelers, Inc. for the installation of replacement windows after all lead-based painted windows and trim are removed as part of the work of this contract.

2.	Asbestos removal:  A separate contract is being awarded for removal of asbestos-containing thermal system insulation which is located behind lead-based painted walls removed as a part of this contract.

1.10	WORK SEQUENCE

A.	The Work will be conducted in <INSERT NUMBER OF PHASES> phases.

1.	Phase 1:  Removal  of windows and associated trim.  Work of this phase shall be substantially complete, ready for occupancy within 30 days of commencement of construction.

2.	Phase 2:  Removal of lead painted walls on either side of plumbing chase.  Work of this phase shall be substantially complete, ready for occupancy within <INSERT TIME> of commencement of construction.

3.	Phase 3:  Removal of lead baseboards, handrails and other trim.  Work of this phase shall be substantially complete, ready for occupancy within <INSERT TIME> of commencement of construction.

1.11	CONTRACTOR USE OF PREMISES

A.	General:  During the construction period the Contractor shall have full use of the premises for construction operations, including use of the site.  The Contractor's use of the premises is limited only by the Owner's right to perform work or to retain other contractors on portions of the Project.

B.	Use of the Site: Limit use of the premises to work in areas indicated.  Confine operations to areas within contract limits indicated.  Do not disturb portions of the site beyond the areas in which the Work is indicated.

1.	Owner Occupancy:  Allow for Owner occupancy and use by the public.

2.	Driveways and Entrances:  Keep driveways and entrances serving the premises clear and available to the Owner, the Owner's employees, and emergency vehicles at all times.  Do not use these areas for parking or storage of materials.  Schedule deliveries to minimize space and time requirements for storage of materials and equipment on-site.

3.	Lock automotive type vehicles, such as passenger cars and trucks and other mechanized or motorized construction equipment, when parked and unattended, so as to prevent unauthorized use.  Do not leave such vehicles or equipment unattended with the motor running or the ignition key in place or accessible to unauthorized persons.

4.	Do not unreasonably encumber the site with materials or equipment.  Confine stockpiling of materials and location of storage sheds to the areas indicated.  If additional storage is necessary obtain and pay for such storage off site.

C.	Use of the Existing Building:  Maintain the existing building in a weather-tight condition throughout the construction period.  Repair damage caused by construction operations.  Take all precautions necessary to protect the building and its occupants during the construction period.

1.	Keep public areas such as hallways, stairs and toilet rooms free from accumulation of waste, rubbish or construction debris.

2.	No Smoking or open fires will be permitted within the building enclosure or on the premises.

3.	Use of Toilet Room: Except for toilet rooms designated for use by the Contractor's personnel, use of existing toilets within the building, by the Contractor and his personnel, will not be permitted.

4.	Use of Existing Elevators:  Except for the Freight Elevator, use of elevators by the Contractor will not be permitted.  The Contractor will be permitted to use the freight elevator for temporary freight service and the transportation of construction personnel during the construction period.  This elevator must also be available to the Owner at all times; coordinate freight elevator usage with the Designer.  Provide protective pads for the elevator cab and other appropriate protective measures for the car and entrance doors and frames.  During lead-based paint removal activities the car is to be protected as set forth in Section 01505 Work Area Containment - Lead-Based Paint.

1.12	OCCUPANCY REQUIREMENTS

A.	Full Owner Occupancy:  The Owner will occupy the site and existing building during the entire construction period.  Cooperate with the Owner during construction operations to minimize conflicts and facilitate owner usage.  Perform the Work so as not to interfere with the Owner's operations.

B.	Partial Owner Occupancy: The Owner reserves the right to occupy and to place and install equipment in completed areas of the building prior to Substantial Completion, provided such occupancy does not interfere with completion of the Work.  Such placing of equipment and partial occupancy shall not constitute acceptance of the total Work.

C.	No Owner Occupancy: The building will be completely unoccupied during the work of this contract.  After Substantial Completion the work of other contracts will begin.

D.	Vacant Building:   The building is vacant and will be demolished at the completion of lead-based paint abatement work.  Building demolition work will be performed by others after Substantial Completion of this contract.

1.13	SUBMITTALS

Before the Start of Work:  Submit the following to the Designer for review.  Do not begin work until these Submittals are returned with Designer's action stamp indicating that the submittal is returned for unrestricted use or final-but-restricted use.

A.	Plan of Action: Submit as a written report in the same manner as product data.

B.	Inspection: Report on inspection carried out as required by this section.  Include copies of all photographs, video tapes, etc.  Submit in the same manner as product data.

C.	Alternative Methods:  Submit any alternative methods proposed to accomplish the work of this contract.

PART 2 - PRODUCTS (Not Applicable)

PART 3 - EXECUTION  (Not Applicable)

END OF SECTION 01014