## Report Info
Contents - VA PG-18-5 Department of Veterans Affairs MEDICAL CENTER DIRECTOR&#39;S SUITE (238) Master Report Generated: 15 Mar 2022 12:01PM ET

## MEDICAL CENTER DIRECTOR&#39;S S
MEDICAL CENTER DIRECTORS SUITE (238) | MEDICAL CENTER DIRECTOR&#39;S SUITE (238) | MEDICAL CENTER DIRECTOR&#39;S SUITE (238) | MEDICAL CENTER DIRECTOR&#39;S SUITE (238) | MEDICAL CENTER DIRECTOR&#39;S SUITE (238)
1 - RECEPTION AREA | 1 - RECEPTION AREA | 1 - RECEPTION AREA | 1 - RECEPTION AREA | 1 - RECEPTION AREA
1 - SB003 - VAMC Dir Reception Waiting, Bldg Sprt | 1 - SB003 - VAMC Dir Reception Waiting, Bldg Sprt | 1 - SB003 - VAMC Dir Reception Waiting, Bldg Sprt | 1 - SB003 - VAMC Dir Reception Waiting, Bldg Sprt | 1 - SB003 - VAMC Dir Reception Waiting, Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A5077 | Dispenser, Hand Sanitizer, Hands-Free | 1 | VV | A touch free wall-mounted hand sanitizer dispenser. For use throughout a healthcare facility. Unit does not include the sanitizing liquid. Units are battery operated.
A6046 | Artwork, Decorative, With Frame | 1 | VV | This JSN is to be used for determining and defining location of decorative artwork.
F0206 | Chair, Side, Bariatric, With Arms | 1 | VV | A bariatric side chair with arms for use in a waiting room, lobby or other patient area. Chair will have a padded seat and back and have a capacity of 800 pounds.
F0305 | Chair, Waiting Room, Single | 1 | VV | Single seat waiting room chair with foam padded seat and back. Upholstered with either woven fabric textile or vinyl. Arms and floor glides included.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F2300 | Rack, Magazine, Wall Mounted | 1 | VV | Wall mounted magazine rack with nine (9) magazine holding compartments.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
2 - STAFF AND ADMININSTRATIVE AREA | 2 - STAFF AND ADMININSTRATIVE AREA | 2 - STAFF AND ADMININSTRATIVE AREA | 2 - STAFF AND ADMININSTRATIVE AREA | 2 - STAFF AND ADMININSTRATIVE AREA
1 - SS208 - VAMC Director Office, Stff Sprt | 1 - SS208 - VAMC Director Office, Stff Sprt | 1 - SS208 - VAMC Director Office, Stff Sprt | 1 - SS208 - VAMC Director Office, Stff Sprt | 1 - SS208 - VAMC Director Office, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5155 | Costumer, Wall, Executive | 1 | VV | A contemporary solid hardwood or wood laminate panel with a minimum of 3 hooks and 2 matching solid wood hangers. At a minimum, panel and hangers shall be available in oak or walnut. For general purpose use in executive offices to hang various items of apparel.
F0120 | Bookcase, Executive, 3 Shelf, Wood | 1 | VV | Freestanding open shelf woodgrain bookcase, approximately 48" high X 36" wide X 13" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0220 | Chair, Conference | 4 | VV | Conference chair designed to complement the executive furniture package selected. Foam rubber cushioned seats and backs covered with either woven fabric or vinyl. Base with 5 (five) swivel casters.
F0240 | Chair, Executive, Swivel | 1 | VV | Executive swivel chair, 39" high X 26" wide X 26" deep with arms, a five (5) caster base and tilt mechanism. Seat and back have foam rubber cushions. Upholstery may be either woven fabric or vinyl.
F0600 | Credenza, Executive, Wood | 1 | VV | Executive credenza with two (2) box drawers, two (2) file drawers, a center closed storage area with adjustable shelf and floor glides.
F0650 | Desk, Executive, Wood | 1 | VV | Double pedestal executive desk, 30" high X 72" wide X 36" deep with center pencil drawer, three (3) box drawers and reference slide in right hand pedestal; one (1) box drawer, one (1) file drawer, and reference slide in left hand pedestal, locks for each section (pedestal) of the desk, and metal suspension hardware for the file drawer.
F0710 | Table, Computer, With Print Shelf | 1 | VV | Computer work table, approximately 31" high X 40" wide X 24" deep with retractable shelve(s) for keyboard and/or extra work space, adjustable shelves for printer and printer paper, and (optional) dual wheel casters (two locking).
F0755 | Table, Conference, Wood | 1 | VV | Executive conference table. Dimensions are approximately 30" high, 48" wide with lengths varying from 74" to 96". These tables add traditional elegance to any conference room.
F2005 | Basket, Wastepaper, Executive, Wood | 1 | VV | Executive wastepaper basket, approximately 15" high X 13" wide X 13" deep.
F3070 | Case, Display | 1 | VV | Display case. Equipped with glass doors, adjustable glass shelves, security locks and choice of either fabric or mirror backing.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
F8010 | Flags, Command & Staff | 1 | VV | Flags, Command & Staff.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M1825 | Printer, Computer | 1 | VV | High resolution computer printer with a variety of type styles and sheet/envelope feeder trays. Database information reflects network ready, medium duty office style laser printers. Other types of printers (bubble jet, dot matrix, line or plotter) as well as light or heavy use capabilities are available.
2 - SB191 - VAMC Director Toilet, Bldg Sprt | 2 - SB191 - VAMC Director Toilet, Bldg Sprt | 2 - SB191 - VAMC Director Toilet, Bldg Sprt | 2 - SB191 - VAMC Director Toilet, Bldg Sprt | 2 - SB191 - VAMC Director Toilet, Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1067 | Mirror, Float Glass, ADA Accessible | 1 | CC | A high quality 1/4" polished float glass mirror with a stainless steel frame. Frame holds mirror in a tilted position for accessibility and compliance with ADA requirements. Mirror has a galvanized steel back secured to frame with concealed screws with integral horizontal hanging brackets. Mirror shall be approximately 18" wide and 36" high. Other sizes are available.
A4995 | Table, Diaper Changing, Wall Mounted | 1 | CC | Wall mounted diaper changing table for use in public restrooms. Unit is a fold down system that folds upward when not in use for minimal intrusion into the room. Changing surface is contoured and has safety belt to insure that an infant will not fall from the table. Table is designed to hold no less than 250 pounds static weight. Closed dimensions are approximately 21" H x 36" W x 5" D. Open dimensions vary according to style. One system's open dimensions are 15 " high, 32" wide and 19" deep.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5090 | Disposal, Sanitary Napkin, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, sanitary napkin disposal. Disposal features a flip-up cover, secured to the container by a heavy duty stainless steel piano-hinge. Disposal may be secured to wall or toilet partition. For general purpose use in female toilet stalls or rooms and uni-sex toilet rooms.
A5109 | Grab Bar, 1-1/4" Dia., SS, 2 Wall, W/C Accessible | 1 | CC | A 1-1/4" diameter, satin finish stainless steel, peened gripping surface, 2 wall toilet stall/ room, grab bar with concealed mounting flanges. Snap over flanges are provided to conceal mounting screws. A selection of mounting kits and concealed anchor devices are available from the manufacturers for different types of installations. Grab bar shall comply with barrier-free accessibility guidelines for structural strength. For typical water closet applications in toilet stalls and rooms where ADA (American's With Disabilities Act) requirements must be met.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5200 | Dispenser, Toilet Tissue, SS, 2-Roll, Surface Mntd | 1 | CC | A concealed surface mounted, double roll, satin finish stainless steel, toilet tissue dispenser. Unit accommodates two standard-core toilet tissue rolls through 5" in diameter. Spindles are chrome plated plastic with a heavy-duty internal spring and turn freely for non-controlled delivery. For general purpose use in restrooms.
F2010 | Basket, Wastepaper, Step-On | 1 | VV | "Step-on" wastepaper basket with inner liner and foot petal activated flip top.
P3200 | Lavatory, Vitreous China, Slab Type w/Sens Op Fauc | 1 | CC | Wall mounted, slab type, vitreous china, lavatory (approximately 7 x 15 x 10 inches) with faucet holes on 4 inch centers; electronic sensor operated, goose neck spout and grid strainer. It shall be suitable for use in clinics, offices and patient care areas.
P9050 | Toilet, Wall Hung, Siphon Jet | 1 | CC | Siphon jet water closet/ toilet. This unit is wall hung with an elongated bowl, top spud flushometer, seat with open front and check hinge, and carrier. Used in restrooms throughout the health care facility.
3 - SS207 - VAMC Associate Director Office, Stff Sprt | 3 - SS207 - VAMC Associate Director Office, Stff Sprt | 3 - SS207 - VAMC Associate Director Office, Stff Sprt | 3 - SS207 - VAMC Associate Director Office, Stff Sprt | 3 - SS207 - VAMC Associate Director Office, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0090 | Workstation, L-Shaped, Free Standing, 72x72 | 1 | VV | THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel-to-Panel Connectors 1 Panel Connector, 2-Way Corner 2 Finished End Hardware 2 Lockable Flipper Units 2 Shelves, Storage/Display 3 Lights 3 Tackboards 2 Cantilevered Work Surfaces 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File 1 Pencil Drawer 2 Support Panels
F0120 | Bookcase, Executive, 3 Shelf, Wood | 1 | VV | Freestanding open shelf woodgrain bookcase, approximately 48" high X 36" wide X 13" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0205 | Chair, Side With Arms | 1 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0240 | Chair, Executive, Swivel | 1 | VV | Executive swivel chair, 39" high X 26" wide X 26" deep with arms, a five (5) caster base and tilt mechanism. Seat and back have foam rubber cushions. Upholstery may be either woven fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
4 - SS204 - VAMC Assistant Director Office, Stff Sprt | 4 - SS204 - VAMC Assistant Director Office, Stff Sprt | 4 - SS204 - VAMC Assistant Director Office, Stff Sprt | 4 - SS204 - VAMC Assistant Director Office, Stff Sprt | 4 - SS204 - VAMC Assistant Director Office, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
F0110 | Bookcase, 3 Shelf | 1 | VV | Freestanding open metal shelf book case, approximately 60" high X 36" wide X 18" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0205 | Chair, Side With Arms | 2 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
5 - SS207 - VAMC Chief of Staff (COS) Office, Stff Sprt | 5 - SS207 - VAMC Chief of Staff (COS) Office, Stff Sprt | 5 - SS207 - VAMC Chief of Staff (COS) Office, Stff Sprt | 5 - SS207 - VAMC Chief of Staff (COS) Office, Stff Sprt | 5 - SS207 - VAMC Chief of Staff (COS) Office, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0090 | Workstation, L-Shaped, Free Standing, 72x72 | 1 | VV | THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel-to-Panel Connectors 1 Panel Connector, 2-Way Corner 2 Finished End Hardware 2 Lockable Flipper Units 2 Shelves, Storage/Display 3 Lights 3 Tackboards 2 Cantilevered Work Surfaces 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File 1 Pencil Drawer 2 Support Panels
F0120 | Bookcase, Executive, 3 Shelf, Wood | 1 | VV | Freestanding open shelf woodgrain bookcase, approximately 48" high X 36" wide X 13" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0205 | Chair, Side With Arms | 1 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0240 | Chair, Executive, Swivel | 1 | VV | Executive swivel chair, 39" high X 26" wide X 26" deep with arms, a five (5) caster base and tilt mechanism. Seat and back have foam rubber cushions. Upholstery may be either woven fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
6 - SB003 - VAMC Dir Executive Waiting, Bldg Sprt | 6 - SB003 - VAMC Dir Executive Waiting, Bldg Sprt | 6 - SB003 - VAMC Dir Executive Waiting, Bldg Sprt | 6 - SB003 - VAMC Dir Executive Waiting, Bldg Sprt | 6 - SB003 - VAMC Dir Executive Waiting, Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A5077 | Dispenser, Hand Sanitizer, Hands-Free | 1 | VV | A touch free wall-mounted hand sanitizer dispenser. For use throughout a healthcare facility. Unit does not include the sanitizing liquid. Units are battery operated.
A6046 | Artwork, Decorative, With Frame | 1 | VV | This JSN is to be used for determining and defining location of decorative artwork.
F0206 | Chair, Side, Bariatric, With Arms | 1 | VV | A bariatric side chair with arms for use in a waiting room, lobby or other patient area. Chair will have a padded seat and back and have a capacity of 800 pounds.
F0305 | Chair, Waiting Room, Single | 1 | VV | Single seat waiting room chair with foam padded seat and back. Upholstered with either woven fabric textile or vinyl. Arms and floor glides included.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F2300 | Rack, Magazine, Wall Mounted | 1 | VV | Wall mounted magazine rack with nine (9) magazine holding compartments.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
7 - SS218 - VAMC Dir Administration Support Workstation, Stff Sprt | 7 - SS218 - VAMC Dir Administration Support Workstation, Stff Sprt | 7 - SS218 - VAMC Dir Administration Support Workstation, Stff Sprt | 7 - SS218 - VAMC Dir Administration Support Workstation, Stff Sprt | 7 - SS218 - VAMC Dir Administration Support Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
8 - SS218 - VAMC Dir Administrative Assistant Workstation, Stff Sprt | 8 - SS218 - VAMC Dir Administrative Assistant Workstation, Stff Sprt | 8 - SS218 - VAMC Dir Administrative Assistant Workstation, Stff Sprt | 8 - SS218 - VAMC Dir Administrative Assistant Workstation, Stff Sprt | 8 - SS218 - VAMC Dir Administrative Assistant Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
9 - SS218 - VAMC Dir Management Assistant / Special Assistant Workstation, Stff Sprt | 9 - SS218 - VAMC Dir Management Assistant / Special Assistant Workstation, Stff Sprt | 9 - SS218 - VAMC Dir Management Assistant / Special Assistant Workstation, Stff Sprt | 9 - SS218 - VAMC Dir Management Assistant / Special Assistant Workstation, Stff Sprt | 9 - SS218 - VAMC Dir Management Assistant / Special Assistant Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
10 - SS268 - VAMC Dir Copy / Supply Alcove, Stff Sprt | 10 - SS268 - VAMC Dir Copy / Supply Alcove, Stff Sprt | 10 - SS268 - VAMC Dir Copy / Supply Alcove, Stff Sprt | 10 - SS268 - VAMC Dir Copy / Supply Alcove, Stff Sprt | 10 - SS268 - VAMC Dir Copy / Supply Alcove, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1011 | Telephone, Desk, 1 Line | 1 | VV | Telephone, desk, 1 line.
C04F0 | Cabinet, U/C/B, 1 Shelf, 2 Half DR, 2 DO, 36x36x22 | 1 | CC | Standing height under counter base cabinet with an adjustable shelf and two half width drawers above solid hinged doors. Also referred to as a combination cabinet or a drawer and cupboard cabinet. For general purpose use throughout the facility.
CT020 | Countertop, Solid Surface | 1 | CC | A solid, nonporous countertop with a smooth seamless appearance. Easy to clean and maintain and with proper cleaning does not support the growth of mold. An acrylic-based solid surface product. Standard thickness of 1", and a 4" butt backsplash/curb. Also referred to as a work surface or work top. Available in a choice of colors and depths. Used in lab and other hospital areas requiring optimum physical and chemical resisting properties.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F2550 | Shredder, Paper Heavy Duty | 1 | VV | Shredder shall be able to process a minimum of 25 sheets of paper per pass at a minimum rate of 20 feet per minute. The unit shall have a 16 inch throat to accept paper. Paper shall be shredded into 1/4 inch strips.
M1810 | Copier, Floor Standing, Digital | 1 | VV | Floor standing copier. Unit features automatic paper size selection, automatic document feeder and sorter. The system also has zoom capabilities and automatic two-sided copying. For use where medium volume reproduction is required in the range of 30 to 40 copies per minute.
11 - SS272 - VAMC Dir Copy / Supply Room, Stff Sprt | 11 - SS272 - VAMC Dir Copy / Supply Room, Stff Sprt | 11 - SS272 - VAMC Dir Copy / Supply Room, Stff Sprt | 11 - SS272 - VAMC Dir Copy / Supply Room, Stff Sprt | 11 - SS272 - VAMC Dir Copy / Supply Room, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
F0465 | Cabinet, Storage, 2 Door, 5 Shelf | 1 | VV | Storage cabinet, 78" high X 48" wide X 24" deep with two (2) doors and five (5) adjustable shelves.
F0775 | Table, Work, 2 Drawer | 1 | VV | Work table approximately 32" high X 72" wide X 30" deep with two drawers and a hard wood top.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F2550 | Shredder, Paper Heavy Duty | 1 | VV | Shredder shall be able to process a minimum of 25 sheets of paper per pass at a minimum rate of 20 feet per minute. The unit shall have a 16 inch throat to accept paper. Paper shall be shredded into 1/4 inch strips.
M1810 | Copier, Floor Standing, Digital | 1 | VV | Floor standing copier. Unit features automatic paper size selection, automatic document feeder and sorter. The system also has zoom capabilities and automatic two-sided copying. For use where medium volume reproduction is required in the range of 30 to 40 copies per minute.
M1835 | Printer, Color Laser, Large | 1 | VV | Color laser printer designed for high volume use and network capable. The printer shall be capable of printing a minimum of 25 pages per minute (ppm) of black print and 20 ppm color print. Resolution shall be no less than 600 X 600 dpi. It shall be capable of printing on multiple media types (plain, inkjet, photo paper and transparencies) and be capable of accepting media sizes of 3 X 5 to 8.5 X 14 inches. The printer is used in multi-user network offices.
12 - SB191 - VAMC Staff Toilet, Bldg Sprt | 12 - SB191 - VAMC Staff Toilet, Bldg Sprt | 12 - SB191 - VAMC Staff Toilet, Bldg Sprt | 12 - SB191 - VAMC Staff Toilet, Bldg Sprt | 12 - SB191 - VAMC Staff Toilet, Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1067 | Mirror, Float Glass, ADA Accessible | 1 | CC | A high quality 1/4" polished float glass mirror with a stainless steel frame. Frame holds mirror in a tilted position for accessibility and compliance with ADA requirements. Mirror has a galvanized steel back secured to frame with concealed screws with integral horizontal hanging brackets. Mirror shall be approximately 18" wide and 36" high. Other sizes are available.
A4995 | Table, Diaper Changing, Wall Mounted | 1 | CC | Wall mounted diaper changing table for use in public restrooms. Unit is a fold down system that folds upward when not in use for minimal intrusion into the room. Changing surface is contoured and has safety belt to insure that an infant will not fall from the table. Table is designed to hold no less than 250 pounds static weight. Closed dimensions are approximately 21" H x 36" W x 5" D. Open dimensions vary according to style. One system's open dimensions are 15 " high, 32" wide and 19" deep.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5090 | Disposal, Sanitary Napkin, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, sanitary napkin disposal. Disposal features a flip-up cover, secured to the container by a heavy duty stainless steel piano-hinge. Disposal may be secured to wall or toilet partition. For general purpose use in female toilet stalls or rooms and uni-sex toilet rooms.
A5109 | Grab Bar, 1-1/4" Dia., SS, 2 Wall, W/C Accessible | 1 | CC | A 1-1/4" diameter, satin finish stainless steel, peened gripping surface, 2 wall toilet stall/ room, grab bar with concealed mounting flanges. Snap over flanges are provided to conceal mounting screws. A selection of mounting kits and concealed anchor devices are available from the manufacturers for different types of installations. Grab bar shall comply with barrier-free accessibility guidelines for structural strength. For typical water closet applications in toilet stalls and rooms where ADA (American's With Disabilities Act) requirements must be met.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5200 | Dispenser, Toilet Tissue, SS, 2-Roll, Surface Mntd | 1 | CC | A concealed surface mounted, double roll, satin finish stainless steel, toilet tissue dispenser. Unit accommodates two standard-core toilet tissue rolls through 5" in diameter. Spindles are chrome plated plastic with a heavy-duty internal spring and turn freely for non-controlled delivery. For general purpose use in restrooms.
F2010 | Basket, Wastepaper, Step-On | 1 | VV | "Step-on" wastepaper basket with inner liner and foot petal activated flip top.
P3200 | Lavatory, Vitreous China, Slab Type w/Sens Op Fauc | 1 | CC | Wall mounted, slab type, vitreous china, lavatory (approximately 7 x 15 x 10 inches) with faucet holes on 4 inch centers; electronic sensor operated, goose neck spout and grid strainer. It shall be suitable for use in clinics, offices and patient care areas.
P9050 | Toilet, Wall Hung, Siphon Jet | 1 | CC | Siphon jet water closet/ toilet. This unit is wall hung with an elongated bowl, top spud flushometer, seat with open front and check hinge, and carrier. Used in restrooms throughout the health care facility.
13 - SS291 - VAMC Conference Room, Stff Sprt | 13 - SS291 - VAMC Conference Room, Stff Sprt | 13 - SS291 - VAMC Conference Room, Stff Sprt | 13 - SS291 - VAMC Conference Room, Stff Sprt | 13 - SS291 - VAMC Conference Room, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1020 | Telephone, Conferencing System | 1 | VV | A tabletop telephone conferencing system typically found in a conference room. Features and accessories include 12-key telephone keypad, multiple conferencing navigation keys, console microphones, dynamic noise reduction, LCD display, caller ID and console loudspeaker.
A5212 | Bracket, Television, Wall-Mounted, Tilt/Angle | 1 | VV | A wall mounted, tilt/angled TV bracket for 37" to 80" TVs. Mount will be a universal and VESA compliant unit with a load capacity of up to 130 lbs.
A5220 | Bracket, Television, Wall Backing | 1 | CC | Wall mounted television bracket backing which provides additional support and strength for the installation of the television bracket. Option available for interior or exterior plate and sized for 12” 16” or 24” stud spacing.
F0220 | Chair, Conference | 8 | VV | Conference chair designed to complement the executive furniture package selected. Foam rubber cushioned seats and backs covered with either woven fabric or vinyl. Base with 5 (five) swivel casters.
F0700 | Table, Computer, Medium Size | 1 | VV | Medium sized computer table, approximately 35" high x 48" wide x 30" deep with enough surface for a CPU, monitor, keyboard and (optional) printer.
F0765 | Table, Folding / Nesting | 4 | VV | Folding table intended for a variety of uses. Designed with a flip top that allows tables to store nested to minimize needed storage space. Available in multiple laminate finish colors/patterns, bases, surface shapes (description and pricing based on a rectangle shape) and edge finish, . Available with leveling glides or casters (2 locking, 2 non-locking).
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M0507 | Video Teleconferencing System | 1 | VV | Shall be a video conferencing unit consisting of a camera, microphone, video/audio compression components, a component cart and a 32 inch monitor. It shall provide live audio-visual conferencing capabilities to dispersed geographic sites.
M0512 | Television, HDTV, Large Screen, 60" | 1 | VV | A high definition (HDTV) multimedia, slim design, 60"W to 65"W color television. The TV will have a 16.9 wide screen aspect ratio with full HD 1080p resolution and HDMI connections. TV may be LED, Plasma or LCD. TV will include a stand.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
14 - SS216 - VAMC Dir Student / Trainee Workstation, Stff Sprt | 14 - SS216 - VAMC Dir Student / Trainee Workstation, Stff Sprt | 14 - SS216 - VAMC Dir Student / Trainee Workstation, Stff Sprt | 14 - SS216 - VAMC Dir Student / Trainee Workstation, Stff Sprt | 14 - SS216 - VAMC Dir Student / Trainee Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0715 | Carrel, Study Table | 1 | VV | Study carrel with table. Equipped with shelf for one (1) 12" monitor and book shelf, wire access grommets, built-in cable chase for wire management and adjustable floor glides. A convenience outlet is required at point of use to service computer equipment if used. Work surface is 29" high.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
15 - SS101 - VAMC Dir Staff Conference Room, Educ Svc | 15 - SS101 - VAMC Dir Staff Conference Room, Educ Svc | 15 - SS101 - VAMC Dir Staff Conference Room, Educ Svc | 15 - SS101 - VAMC Dir Staff Conference Room, Educ Svc | 15 - SS101 - VAMC Dir Staff Conference Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A5212 | Bracket, Television, Wall-Mounted, Tilt/Angle | 1 | VV | A wall mounted, tilt/angled TV bracket for 37" to 80" TVs. Mount will be a universal and VESA compliant unit with a load capacity of up to 130 lbs.
A5220 | Bracket, Television, Wall Backing | 1 | CC | Wall mounted television bracket backing which provides additional support and strength for the installation of the television bracket. Option available for interior or exterior plate and sized for 12” 16” or 24” stud spacing.
A6046 | Artwork, Decorative, With Frame | 1 | VV | This JSN is to be used for determining and defining location of decorative artwork.
F0220 | Chair, Conference | 10 | VV | Conference chair designed to complement the executive furniture package selected. Foam rubber cushioned seats and backs covered with either woven fabric or vinyl. Base with 5 (five) swivel casters.
F0765 | Table, Folding / Nesting | 2 | VV | Folding table intended for a variety of uses. Designed with a flip top that allows tables to store nested to minimize needed storage space. Available in multiple laminate finish colors/patterns, bases, surface shapes (description and pricing based on a rectangle shape) and edge finish, . Available with leveling glides or casters (2 locking, 2 non-locking).
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M0512 | Television, HDTV, Large Screen, 60" | 1 | VV | A high definition (HDTV) multimedia, slim design, 60"W to 65"W color television. The TV will have a 16.9 wide screen aspect ratio with full HD 1080p resolution and HDMI connections. TV may be LED, Plasma or LCD. TV will include a stand.
3 - SUPPORT AREA | 3 - SUPPORT AREA | 3 - SUPPORT AREA | 3 - SUPPORT AREA | 3 - SUPPORT AREA
1 - SB244 - VAMC Dir Housekeeping Aides Closet (HAC), Bldg Sprt | 1 - SB244 - VAMC Dir Housekeeping Aides Closet (HAC), Bldg Sprt | 1 - SB244 - VAMC Dir Housekeeping Aides Closet (HAC), Bldg Sprt | 1 - SB244 - VAMC Dir Housekeeping Aides Closet (HAC), Bldg Sprt | 1 - SB244 - VAMC Dir Housekeeping Aides Closet (HAC), Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5107 | Dispenser, Glove, Surgical/Examination, Wall Mntd | 1 | VV | Examination three (Small Medium, Large) glove dispenser box for wall mounting. Fabricated of either cold rolled steel with a white baked enamel finish, plastic or acrylic. Hardware not included, Option 3 powder coated steel.
A5135 | Shelf, Utility W/ Mop/Broom Holders, SS, Surf Mntd | 1 | CC | A surface mounted, satin finish stainless steel, utility shelf with a maximum of 6 mop/broom holders and 5 rag hooks. Utility shelf features: 8" deep shelf; mounting brackets welded to shelf; spring activated rubber cam holders; and drying rod. Unit is available in various widths 30" (minimum, 3 holders and 2 hooks) to 48" (maximum, 6 holders and 5 hooks). For use in janitor closets. Pricing based on a 36" width.
F0500 | Cart, Janitor's | 1 | VV | Janitors cart, 38" high X 66" wide X 20" deep with 25 gallon heavy duty collection bag. Accommodations for locking vault and janitorial support items (broom, dust pan, chemicals, mop and mop bucket; not included).
F0505 | Bucket, Mop, With Wringer, 26 Quart | 1 | VV | Mobile mop bucket / wringer combination, approximately 35" H x 17" W x 22" D with four 2" casters. Total capacity is 26 quarts. Unit used for general hard surface floor maintenance.
P2000 | Eyewash, Wall Mounted, Hands-Free | 1 | CC | Wall mounted emergency eye wash station. The flow of water from the unit is activated by hand. Upon initiation of water flow the unit will operate hands free to provide streams of water to clear foreign particles or dilute caustic liquids from the eyes in emergency situations. Used in laboratories and areas of the hospital where employees are subject to foreign bodies or liquid material to the eyes.
P2451 | Valve, Mixing, Thermostatic, Eyewash | 1 | CC | Emergency tempering valve thermostatically mixes hot and cold water to provide a safe fluid supply for a single emergency eye/face wash with a flow rate of 10 gpm (38.8L)
P4700 | Sink, Mop, Molded Stone | 1 | CC | Mop service sink approximately 10"H x 36"W x 24"D. Also called a mop service basin and a mop receptor. Unit is made of molded stone and is a one piece item. It shall include a service faucet hose, hose bracket and mop hanger. Used in utility rooms for cleaning mops and floor cleaning equipment.
2 - SS261 - VAMC Dir Executive Kitchenette, Stff Sprt | 2 - SS261 - VAMC Dir Executive Kitchenette, Stff Sprt | 2 - SS261 - VAMC Dir Executive Kitchenette, Stff Sprt | 2 - SS261 - VAMC Dir Executive Kitchenette, Stff Sprt | 2 - SS261 - VAMC Dir Executive Kitchenette, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A1080 | Mirror, Posture, Wall Mounted | 1 | CC | Wall mounted posture mirror. Consists of a 1/4" plate glass in a sturdy corrosion resistant frame with water proof back. For educational and therapy programs.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5210 | Bracket, Television, Wall Mounted, w/Adjust Arm | 1 | VV | Wall mounted television bracket with adjustable arm. Consists of movable arm with minimum 120 degree swivel. Designed for holding wall mounted, flat panel television units in patient rooms.
A5220 | Bracket, Television, Wall Backing | 1 | CC | Wall mounted television bracket backing which provides additional support and strength for the installation of the television bracket. Option available for interior or exterior plate and sized for 12” 16” or 24” stud spacing.
C02C0 | Cabinet, U/C/B, 1 Shelf, 1 Drawer, 1 DO, 36x24x22 | 1 | CC | Standing height under counter base cabinet with an adjustable shelf and a full width drawer above a solid right or left-hinged door (appropriate door hinge configuration to be indicated on equipment elevation drawings). Also referred to as a combination cabinet or a drawer and cupboard cabinet. For general purpose use throughout the facility.
C02D0 | Cabinet, U/C/B, 4 Drawer, 36x24x22 | 1 | CC | Standing height under counter base cabinet with four full width drawers of equal height. Also referred to as a drawer cabinet. For general purpose use throughout the facility.
C04P0 | Cabinet, Sink, U/C/B, 2 Door, 36x36x22 | 1 | CC | Standing height under counter base sink cabinet with solid hinged doors. Also referred to as a double-door sink cabinet. For general purpose use throughout the facility where a sink is to be used. Coordinate actual clear cabinet dimension with the actual outside dimension of sink that is specified to ensure that they are compatible.
CB020 | Cabinet, W/H, 2 Shelf, 1 DO, Sloping Top, 38x24x13 | 2 | CC | Wall hung cabinet with two adjustable shelves, solid right or left-hinged door (appropriate door hinge configuration to be indicated on equipment elevation drawings), and sloping top. Also referred to as a solid hinged single door case. For general purpose use throughout the facility.
CS010 | Sink, SS, Single Compartment, 7.5x12x12 ID | 1 | CC | Single compartment stainless steel sink, drop-in, self-rimming, ledge-type, connected with a drain and provided with a mixing faucet. It shall also be provided with pre-punched fixture holes on 4" center, integral back ledge to accommodate deck-mounted fixtures, brushed/polished interior and top surfaces, and sound deadened. Recommended for use in suspended or U/C/B sink cabinets having a high plastic laminate or Chemsurf laminate countertop/work surface. For general purpose use throughout the facility.
CT020 | Countertop, Solid Surface | 7 | CC | A solid, nonporous countertop with a smooth seamless appearance. Easy to clean and maintain and with proper cleaning does not support the growth of mold. An acrylic-based solid surface product. Standard thickness of 1", and a 4" butt backsplash/curb. Also referred to as a work surface or work top. Available in a choice of colors and depths. Used in lab and other hospital areas requiring optimum physical and chemical resisting properties.
F0225 | Chair, Dining Room | 4 | VV | Dining room chair with glides. Chair has straight legs with cushioned cloth or vinyl seat.
F0795 | Table, Dining | 1 | VV | Dining table. Round 42" diameter or square 42" X 42". Used in dining facilities and can comfortably seat up to four (4) persons.
F2015 | Basket, Wastepaper, Metal/Plastic,2 Swinging Doors | 1 | VV | Metal receptacle for soiled / used towels or waste. Equipped with a removable tapered top with two independently operating self-closing, spring hinged doors. Used in public facilities for the collection and temporary storage of refuse.
F3065 | Whiteboard/Bulletin Board, Combination | 1 | VV | A combination whiteboard and bulletin board, half LCS and half cork. Available with either aluminum or wood frame. It can be used in patient rooms or in any appropriate space in the facility.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
K1552 | Brewer, Coffee, Auto, Elect, 3 Burner, Front/Back | 1 | VV | Space saving front to back automatic coffee maker. This unit includes a heating tank, connection for a cold water supply, decanter service with three burners, funnel and a water flow controller. The unit is used for semi-automatic coffee brewing in cafeterias and commercial institutions. The unit automatically shuts off the water flow when enough has passed through to fill the pot. The unit is normally provided plumbed with a hot water faucet to the side for making other hot drinks (tea, cider, cocoa, etc.). The database height dimension does not include the clearance for coffee decanters warming on the upper burners.
K4665 | Oven, Microwave, Consumer | 1 | VV | Counter mounted microwave oven for average duty use. The exterior cabinet can be metal or heavy duty impact resistant plastic. The oven delivers instant energy for rapid heating, defrosting or prime cooking. The oven has touch pad controls, digital timer, power level selector and preprogrammed selectors for commonly cooked items. This oven is commonly found in staff lounges.
M0515 | Television, HD, 40" Class | 1 | VV | High definition (HDTV) multimedia flat panel LED 40" class display television. The TV will have a 16:9 wide screen aspect ratio, minimum of 1920 x 1080 display resolution, digital tuner, minimum refresh rate of 60Hz, minimum of two HDMI ports and 1 USB port ENERGY STAR certified.
R7250 | Refrigerator/Freezer, 20 Cubic Feet | 1 | VV | Refrigerator/freezer unit. This type unit includes a food saver system that helps keep food fresher. It also includes roll out wheels and is equipped for an optional automatic icemaker. This unit is of commercial or residential design and use.