## Report Info
Contents - VA PG-18-5 Department of Veterans Affairs EDUCATIONAL FACILITIES (402) Master Report Generated: 15 Mar 2022 10:02AM ET

## EDUCATIONAL FACILITIES (402)
EDUCATIONAL FACILITIES (402) | EDUCATIONAL FACILITIES (402) | EDUCATIONAL FACILITIES (402) | EDUCATIONAL FACILITIES (402) | EDUCATIONAL FACILITIES (402)
1 - STAFF AND ADMINISTRATIVE AREA | 1 - STAFF AND ADMINISTRATIVE AREA | 1 - STAFF AND ADMINISTRATIVE AREA | 1 - STAFF AND ADMINISTRATIVE AREA | 1 - STAFF AND ADMINISTRATIVE AREA
1 - SS218 - Educ Svc Designated Learning Officer (DLO) Workstation, Stff Sprt | 1 - SS218 - Educ Svc Designated Learning Officer (DLO) Workstation, Stff Sprt | 1 - SS218 - Educ Svc Designated Learning Officer (DLO) Workstation, Stff Sprt | 1 - SS218 - Educ Svc Designated Learning Officer (DLO) Workstation, Stff Sprt | 1 - SS218 - Educ Svc Designated Learning Officer (DLO) Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
2 - SS204 - Educ Svc Associate Chief of Staff (ACOS) Office, Stff Sprt | 2 - SS204 - Educ Svc Associate Chief of Staff (ACOS) Office, Stff Sprt | 2 - SS204 - Educ Svc Associate Chief of Staff (ACOS) Office, Stff Sprt | 2 - SS204 - Educ Svc Associate Chief of Staff (ACOS) Office, Stff Sprt | 2 - SS204 - Educ Svc Associate Chief of Staff (ACOS) Office, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
F0110 | Bookcase, 3 Shelf | 1 | VV | Freestanding open metal shelf book case, approximately 60" high X 36" wide X 18" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0205 | Chair, Side With Arms | 2 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
3 - SS204 - Educ Svc Employee Education Director Office, Stff Sprt | 3 - SS204 - Educ Svc Employee Education Director Office, Stff Sprt | 3 - SS204 - Educ Svc Employee Education Director Office, Stff Sprt | 3 - SS204 - Educ Svc Employee Education Director Office, Stff Sprt | 3 - SS204 - Educ Svc Employee Education Director Office, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
F0110 | Bookcase, 3 Shelf | 1 | VV | Freestanding open metal shelf book case, approximately 60" high X 36" wide X 18" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0205 | Chair, Side With Arms | 2 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
4 - SS218 - Educ Svc Administrative Assistant Workstation, Stff Sprt | 4 - SS218 - Educ Svc Administrative Assistant Workstation, Stff Sprt | 4 - SS218 - Educ Svc Administrative Assistant Workstation, Stff Sprt | 4 - SS218 - Educ Svc Administrative Assistant Workstation, Stff Sprt | 4 - SS218 - Educ Svc Administrative Assistant Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
5 - SB003 - Educ Svc Waiting, Bldg Sprt | 5 - SB003 - Educ Svc Waiting, Bldg Sprt | 5 - SB003 - Educ Svc Waiting, Bldg Sprt | 5 - SB003 - Educ Svc Waiting, Bldg Sprt | 5 - SB003 - Educ Svc Waiting, Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A5077 | Dispenser, Hand Sanitizer, Hands-Free | 1 | VV | A touch free wall-mounted hand sanitizer dispenser. For use throughout a healthcare facility. Unit does not include the sanitizing liquid. Units are battery operated.
A6046 | Artwork, Decorative, With Frame | 1 | VV | This JSN is to be used for determining and defining location of decorative artwork.
F0206 | Chair, Side, Bariatric, With Arms | 1 | VV | A bariatric side chair with arms for use in a waiting room, lobby or other patient area. Chair will have a padded seat and back and have a capacity of 800 pounds.
F0305 | Chair, Waiting Room, Single | 1 | VV | Single seat waiting room chair with foam padded seat and back. Upholstered with either woven fabric textile or vinyl. Arms and floor glides included.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F2300 | Rack, Magazine, Wall Mounted | 1 | VV | Wall mounted magazine rack with nine (9) magazine holding compartments.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
6 - SS218 - Educ Svc Administration Support Workstation, Stff Sprt | 6 - SS218 - Educ Svc Administration Support Workstation, Stff Sprt | 6 - SS218 - Educ Svc Administration Support Workstation, Stff Sprt | 6 - SS218 - Educ Svc Administration Support Workstation, Stff Sprt | 6 - SS218 - Educ Svc Administration Support Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
7 - SS218 - Educ Svc Educator / Instructor Workstation, Stff Sprt | 7 - SS218 - Educ Svc Educator / Instructor Workstation, Stff Sprt | 7 - SS218 - Educ Svc Educator / Instructor Workstation, Stff Sprt | 7 - SS218 - Educ Svc Educator / Instructor Workstation, Stff Sprt | 7 - SS218 - Educ Svc Educator / Instructor Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
8 - SS218 - Educ Svc Workforce Development Coordinator Workstation, Stff Sprt | 8 - SS218 - Educ Svc Workforce Development Coordinator Workstation, Stff Sprt | 8 - SS218 - Educ Svc Workforce Development Coordinator Workstation, Stff Sprt | 8 - SS218 - Educ Svc Workforce Development Coordinator Workstation, Stff Sprt | 8 - SS218 - Educ Svc Workforce Development Coordinator Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
9 - SS218 - Educ Svc High Performance Development Coordinator (HPDM) Workstation, Stff Sprt | 9 - SS218 - Educ Svc High Performance Development Coordinator (HPDM) Workstation, Stff Sprt | 9 - SS218 - Educ Svc High Performance Development Coordinator (HPDM) Workstation, Stff Sprt | 9 - SS218 - Educ Svc High Performance Development Coordinator (HPDM) Workstation, Stff Sprt | 9 - SS218 - Educ Svc High Performance Development Coordinator (HPDM) Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
10 - SS218 - Educ Svc Education Technician Workstation, Stff Sprt | 10 - SS218 - Educ Svc Education Technician Workstation, Stff Sprt | 10 - SS218 - Educ Svc Education Technician Workstation, Stff Sprt | 10 - SS218 - Educ Svc Education Technician Workstation, Stff Sprt | 10 - SS218 - Educ Svc Education Technician Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
11 - SS101 - Staff Conference Room, Educ Svc | 11 - SS101 - Staff Conference Room, Educ Svc | 11 - SS101 - Staff Conference Room, Educ Svc | 11 - SS101 - Staff Conference Room, Educ Svc | 11 - SS101 - Staff Conference Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A5212 | Bracket, Television, Wall-Mounted, Tilt/Angle | 1 | VV | A wall mounted, tilt/angled TV bracket for 37" to 80" TVs. Mount will be a universal and VESA compliant unit with a load capacity of up to 130 lbs.
A5220 | Bracket, Television, Wall Backing | 1 | CC | Wall mounted television bracket backing which provides additional support and strength for the installation of the television bracket. Option available for interior or exterior plate and sized for 12” 16” or 24” stud spacing.
A6046 | Artwork, Decorative, With Frame | 1 | VV | This JSN is to be used for determining and defining location of decorative artwork.
F0220 | Chair, Conference | 10 | VV | Conference chair designed to complement the executive furniture package selected. Foam rubber cushioned seats and backs covered with either woven fabric or vinyl. Base with 5 (five) swivel casters.
F0765 | Table, Folding / Nesting | 2 | VV | Folding table intended for a variety of uses. Designed with a flip top that allows tables to store nested to minimize needed storage space. Available in multiple laminate finish colors/patterns, bases, surface shapes (description and pricing based on a rectangle shape) and edge finish, . Available with leveling glides or casters (2 locking, 2 non-locking).
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M0512 | Television, HDTV, Large Screen, 60" | 1 | VV | A high definition (HDTV) multimedia, slim design, 60"W to 65"W color television. The TV will have a 16.9 wide screen aspect ratio with full HD 1080p resolution and HDMI connections. TV may be LED, Plasma or LCD. TV will include a stand.
12 - SS186 - Storage Room, Educ Svc | 12 - SS186 - Storage Room, Educ Svc | 12 - SS186 - Storage Room, Educ Svc | 12 - SS186 - Storage Room, Educ Svc | 12 - SS186 - Storage Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 2 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
13 - SS262 - Educ Svc Staff Breakroom, Stff Sprt | 13 - SS262 - Educ Svc Staff Breakroom, Stff Sprt | 13 - SS262 - Educ Svc Staff Breakroom, Stff Sprt | 13 - SS262 - Educ Svc Staff Breakroom, Stff Sprt | 13 - SS262 - Educ Svc Staff Breakroom, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A1080 | Mirror, Posture, Wall Mounted | 1 | CC | Wall mounted posture mirror. Consists of a 1/4" plate glass in a sturdy corrosion resistant frame with water proof back. For educational and therapy programs.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5210 | Bracket, Television, Wall Mounted, w/Adjust Arm | 1 | VV | Wall mounted television bracket with adjustable arm. Consists of movable arm with minimum 120 degree swivel. Designed for holding wall mounted, flat panel television units in patient rooms.
A5220 | Bracket, Television, Wall Backing | 1 | CC | Wall mounted television bracket backing which provides additional support and strength for the installation of the television bracket. Option available for interior or exterior plate and sized for 12” 16” or 24” stud spacing.
C02C0 | Cabinet, U/C/B, 1 Shelf, 1 Drawer, 1 DO, 36x24x22 | 1 | CC | Standing height under counter base cabinet with an adjustable shelf and a full width drawer above a solid right or left-hinged door (appropriate door hinge configuration to be indicated on equipment elevation drawings). Also referred to as a combination cabinet or a drawer and cupboard cabinet. For general purpose use throughout the facility.
C02D0 | Cabinet, U/C/B, 4 Drawer, 36x24x22 | 1 | CC | Standing height under counter base cabinet with four full width drawers of equal height. Also referred to as a drawer cabinet. For general purpose use throughout the facility.
C04P0 | Cabinet, Sink, U/C/B, 2 Door, 36x36x22 | 1 | CC | Standing height under counter base sink cabinet with solid hinged doors. Also referred to as a double-door sink cabinet. For general purpose use throughout the facility where a sink is to be used. Coordinate actual clear cabinet dimension with the actual outside dimension of sink that is specified to ensure that they are compatible.
CB020 | Cabinet, W/H, 2 Shelf, 1 DO, Sloping Top, 38x24x13 | 2 | CC | Wall hung cabinet with two adjustable shelves, solid right or left-hinged door (appropriate door hinge configuration to be indicated on equipment elevation drawings), and sloping top. Also referred to as a solid hinged single door case. For general purpose use throughout the facility.
CS010 | Sink, SS, Single Compartment, 7.5x12x12 ID | 1 | CC | Single compartment stainless steel sink, drop-in, self-rimming, ledge-type, connected with a drain and provided with a mixing faucet. It shall also be provided with pre-punched fixture holes on 4" center, integral back ledge to accommodate deck-mounted fixtures, brushed/polished interior and top surfaces, and sound deadened. Recommended for use in suspended or U/C/B sink cabinets having a high plastic laminate or Chemsurf laminate countertop/work surface. For general purpose use throughout the facility.
CT020 | Countertop, Solid Surface | 7 | CC | A solid, nonporous countertop with a smooth seamless appearance. Easy to clean and maintain and with proper cleaning does not support the growth of mold. An acrylic-based solid surface product. Standard thickness of 1", and a 4" butt backsplash/curb. Also referred to as a work surface or work top. Available in a choice of colors and depths. Used in lab and other hospital areas requiring optimum physical and chemical resisting properties.
F0225 | Chair, Dining Room | 4 | VV | Dining room chair with glides. Chair has straight legs with cushioned cloth or vinyl seat.
F0795 | Table, Dining | 1 | VV | Dining table. Round 42" diameter or square 42" X 42". Used in dining facilities and can comfortably seat up to four (4) persons.
F2015 | Basket, Wastepaper, Metal/Plastic,2 Swinging Doors | 1 | VV | Metal receptacle for soiled / used towels or waste. Equipped with a removable tapered top with two independently operating self-closing, spring hinged doors. Used in public facilities for the collection and temporary storage of refuse.
F3065 | Whiteboard/Bulletin Board, Combination | 1 | VV | A combination whiteboard and bulletin board, half LCS and half cork. Available with either aluminum or wood frame. It can be used in patient rooms or in any appropriate space in the facility.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
K1552 | Brewer, Coffee, Auto, Elect, 3 Burner, Front/Back | 1 | VV | Space saving front to back automatic coffee maker. This unit includes a heating tank, connection for a cold water supply, decanter service with three burners, funnel and a water flow controller. The unit is used for semi-automatic coffee brewing in cafeterias and commercial institutions. The unit automatically shuts off the water flow when enough has passed through to fill the pot. The unit is normally provided plumbed with a hot water faucet to the side for making other hot drinks (tea, cider, cocoa, etc.). The database height dimension does not include the clearance for coffee decanters warming on the upper burners.
K4665 | Oven, Microwave, Consumer | 1 | VV | Counter mounted microwave oven for average duty use. The exterior cabinet can be metal or heavy duty impact resistant plastic. The oven delivers instant energy for rapid heating, defrosting or prime cooking. The oven has touch pad controls, digital timer, power level selector and preprogrammed selectors for commonly cooked items. This oven is commonly found in staff lounges.
M0515 | Television, HD, 40" Class | 1 | VV | High definition (HDTV) multimedia flat panel LED 40" class display television. The TV will have a 16:9 wide screen aspect ratio, minimum of 1920 x 1080 display resolution, digital tuner, minimum refresh rate of 60Hz, minimum of two HDMI ports and 1 USB port ENERGY STAR certified.
R7250 | Refrigerator/Freezer, 20 Cubic Feet | 1 | VV | Refrigerator/freezer unit. This type unit includes a food saver system that helps keep food fresher. It also includes roll out wheels and is equipped for an optional automatic icemaker. This unit is of commercial or residential design and use.
14 - SS282 - Educ Svc Female Staff Locker Room, Stff Sprt | 14 - SS282 - Educ Svc Female Staff Locker Room, Stff Sprt | 14 - SS282 - Educ Svc Female Staff Locker Room, Stff Sprt | 14 - SS282 - Educ Svc Female Staff Locker Room, Stff Sprt | 14 - SS282 - Educ Svc Female Staff Locker Room, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A1030 | Locker, 2 Person, Over/Under | 8 | VV | Two person locker, double tier, 72Hx12Wx18D. This unit includes hooks for coats and hats. Door equipped with safety guard handles. Designed for storage of coats, hats, and other personal belongings. Other width and depths are available.
A1080 | Mirror, Posture, Wall Mounted | 1 | CC | Wall mounted posture mirror. Consists of a 1/4" plate glass in a sturdy corrosion resistant frame with water proof back. For educational and therapy programs.
A5020 | Bench, Locker Room, Floor Mounted | 1 | CC | Locker room bench. Floor mounting -1-1/4" thick. Benches are sanded smooth with two coats of moisture-resistant sealer to ensure a protective, satin gloss surface, and mounted on strong steel pedestal anchored to the floor. Over all height of 18" includes pedestal. Size as required.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
15 - SB191 - Educ Svc Female Staff Toilet, Bldg Sprt | 15 - SB191 - Educ Svc Female Staff Toilet, Bldg Sprt | 15 - SB191 - Educ Svc Female Staff Toilet, Bldg Sprt | 15 - SB191 - Educ Svc Female Staff Toilet, Bldg Sprt | 15 - SB191 - Educ Svc Female Staff Toilet, Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1067 | Mirror, Float Glass, ADA Accessible | 1 | CC | A high quality 1/4" polished float glass mirror with a stainless steel frame. Frame holds mirror in a tilted position for accessibility and compliance with ADA requirements. Mirror has a galvanized steel back secured to frame with concealed screws with integral horizontal hanging brackets. Mirror shall be approximately 18" wide and 36" high. Other sizes are available.
A4995 | Table, Diaper Changing, Wall Mounted | 1 | CC | Wall mounted diaper changing table for use in public restrooms. Unit is a fold down system that folds upward when not in use for minimal intrusion into the room. Changing surface is contoured and has safety belt to insure that an infant will not fall from the table. Table is designed to hold no less than 250 pounds static weight. Closed dimensions are approximately 21" H x 36" W x 5" D. Open dimensions vary according to style. One system's open dimensions are 15 " high, 32" wide and 19" deep.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5090 | Disposal, Sanitary Napkin, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, sanitary napkin disposal. Disposal features a flip-up cover, secured to the container by a heavy duty stainless steel piano-hinge. Disposal may be secured to wall or toilet partition. For general purpose use in female toilet stalls or rooms and uni-sex toilet rooms.
A5109 | Grab Bar, 1-1/4" Dia., SS, 2 Wall, W/C Accessible | 1 | CC | A 1-1/4" diameter, satin finish stainless steel, peened gripping surface, 2 wall toilet stall/ room, grab bar with concealed mounting flanges. Snap over flanges are provided to conceal mounting screws. A selection of mounting kits and concealed anchor devices are available from the manufacturers for different types of installations. Grab bar shall comply with barrier-free accessibility guidelines for structural strength. For typical water closet applications in toilet stalls and rooms where ADA (American's With Disabilities Act) requirements must be met.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5200 | Dispenser, Toilet Tissue, SS, 2-Roll, Surface Mntd | 1 | CC | A concealed surface mounted, double roll, satin finish stainless steel, toilet tissue dispenser. Unit accommodates two standard-core toilet tissue rolls through 5" in diameter. Spindles are chrome plated plastic with a heavy-duty internal spring and turn freely for non-controlled delivery. For general purpose use in restrooms.
F2010 | Basket, Wastepaper, Step-On | 1 | VV | "Step-on" wastepaper basket with inner liner and foot petal activated flip top.
P3200 | Lavatory, Vitreous China, Slab Type w/Sens Op Fauc | 1 | CC | Wall mounted, slab type, vitreous china, lavatory (approximately 7 x 15 x 10 inches) with faucet holes on 4 inch centers; electronic sensor operated, goose neck spout and grid strainer. It shall be suitable for use in clinics, offices and patient care areas.
P9050 | Toilet, Wall Hung, Siphon Jet | 1 | CC | Siphon jet water closet/ toilet. This unit is wall hung with an elongated bowl, top spud flushometer, seat with open front and check hinge, and carrier. Used in restrooms throughout the health care facility.
16 - SS282 - Educ Svc Male Staff Locker Room, Stff Sprt | 16 - SS282 - Educ Svc Male Staff Locker Room, Stff Sprt | 16 - SS282 - Educ Svc Male Staff Locker Room, Stff Sprt | 16 - SS282 - Educ Svc Male Staff Locker Room, Stff Sprt | 16 - SS282 - Educ Svc Male Staff Locker Room, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1012 | Telephone, Wall Mounted, 1 Line | 1 | VV | Telephone, wall mounted, 1 line.
A1030 | Locker, 2 Person, Over/Under | 8 | VV | Two person locker, double tier, 72Hx12Wx18D. This unit includes hooks for coats and hats. Door equipped with safety guard handles. Designed for storage of coats, hats, and other personal belongings. Other width and depths are available.
A1080 | Mirror, Posture, Wall Mounted | 1 | CC | Wall mounted posture mirror. Consists of a 1/4" plate glass in a sturdy corrosion resistant frame with water proof back. For educational and therapy programs.
A5020 | Bench, Locker Room, Floor Mounted | 1 | CC | Locker room bench. Floor mounting -1-1/4" thick. Benches are sanded smooth with two coats of moisture-resistant sealer to ensure a protective, satin gloss surface, and mounted on strong steel pedestal anchored to the floor. Over all height of 18" includes pedestal. Size as required.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
17 - SB191 - Educ Svc Male Staff Toilet, Bldg Sprt | 17 - SB191 - Educ Svc Male Staff Toilet, Bldg Sprt | 17 - SB191 - Educ Svc Male Staff Toilet, Bldg Sprt | 17 - SB191 - Educ Svc Male Staff Toilet, Bldg Sprt | 17 - SB191 - Educ Svc Male Staff Toilet, Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1067 | Mirror, Float Glass, ADA Accessible | 1 | CC | A high quality 1/4" polished float glass mirror with a stainless steel frame. Frame holds mirror in a tilted position for accessibility and compliance with ADA requirements. Mirror has a galvanized steel back secured to frame with concealed screws with integral horizontal hanging brackets. Mirror shall be approximately 18" wide and 36" high. Other sizes are available.
A4995 | Table, Diaper Changing, Wall Mounted | 1 | CC | Wall mounted diaper changing table for use in public restrooms. Unit is a fold down system that folds upward when not in use for minimal intrusion into the room. Changing surface is contoured and has safety belt to insure that an infant will not fall from the table. Table is designed to hold no less than 250 pounds static weight. Closed dimensions are approximately 21" H x 36" W x 5" D. Open dimensions vary according to style. One system's open dimensions are 15 " high, 32" wide and 19" deep.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5090 | Disposal, Sanitary Napkin, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, sanitary napkin disposal. Disposal features a flip-up cover, secured to the container by a heavy duty stainless steel piano-hinge. Disposal may be secured to wall or toilet partition. For general purpose use in female toilet stalls or rooms and uni-sex toilet rooms.
A5109 | Grab Bar, 1-1/4" Dia., SS, 2 Wall, W/C Accessible | 1 | CC | A 1-1/4" diameter, satin finish stainless steel, peened gripping surface, 2 wall toilet stall/ room, grab bar with concealed mounting flanges. Snap over flanges are provided to conceal mounting screws. A selection of mounting kits and concealed anchor devices are available from the manufacturers for different types of installations. Grab bar shall comply with barrier-free accessibility guidelines for structural strength. For typical water closet applications in toilet stalls and rooms where ADA (American's With Disabilities Act) requirements must be met.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5200 | Dispenser, Toilet Tissue, SS, 2-Roll, Surface Mntd | 1 | CC | A concealed surface mounted, double roll, satin finish stainless steel, toilet tissue dispenser. Unit accommodates two standard-core toilet tissue rolls through 5" in diameter. Spindles are chrome plated plastic with a heavy-duty internal spring and turn freely for non-controlled delivery. For general purpose use in restrooms.
F2010 | Basket, Wastepaper, Step-On | 1 | VV | "Step-on" wastepaper basket with inner liner and foot petal activated flip top.
P3200 | Lavatory, Vitreous China, Slab Type w/Sens Op Fauc | 1 | CC | Wall mounted, slab type, vitreous china, lavatory (approximately 7 x 15 x 10 inches) with faucet holes on 4 inch centers; electronic sensor operated, goose neck spout and grid strainer. It shall be suitable for use in clinics, offices and patient care areas.
P9050 | Toilet, Wall Hung, Siphon Jet | 1 | CC | Siphon jet water closet/ toilet. This unit is wall hung with an elongated bowl, top spud flushometer, seat with open front and check hinge, and carrier. Used in restrooms throughout the health care facility.
2 - NURSING EDUCATION AND TRAINING AREA | 2 - NURSING EDUCATION AND TRAINING AREA | 2 - NURSING EDUCATION AND TRAINING AREA | 2 - NURSING EDUCATION AND TRAINING AREA | 2 - NURSING EDUCATION AND TRAINING AREA
1 - SS204 - Nursing Education Associate Chief Office, Stff Sprt | 1 - SS204 - Nursing Education Associate Chief Office, Stff Sprt | 1 - SS204 - Nursing Education Associate Chief Office, Stff Sprt | 1 - SS204 - Nursing Education Associate Chief Office, Stff Sprt | 1 - SS204 - Nursing Education Associate Chief Office, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
E0078 | Workstation, L-Shaped w/Peninsula, Free Std, 78x72 | 1 | VV | This section will provide a whole work station typical to quickly plan work areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 standard solid panels; 2 panel connectors, 2-way corner; 1 panel-to-panel connector; 2 finished end hardware; 1 cantilevered work surface; 1 peninsula work surface; 2 lockable flipper units; 2 shelf, storage/display; 2 lights; 1 tack board, 48"W; 1 tool rail, 30"W; 1 paper tray; 1 diagonal tray; 1 adjustable keyboard tray; 1 mobile pedestal, box/file.
F0110 | Bookcase, 3 Shelf | 1 | VV | Freestanding open metal shelf book case, approximately 60" high X 36" wide X 18" deep with three (3) adjustable shelves and four (4) non-marking floor glides.
F0205 | Chair, Side With Arms | 2 | VV | Upholstered side chair, 32" high X 21" wide X 23" deep with arms, padded seats and padded backs. Seat height is a minimum of 17". Available with or without sled base.
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
2 - SB003 - Nursing Education Public Waiting, Bldg Sprt | 2 - SB003 - Nursing Education Public Waiting, Bldg Sprt | 2 - SB003 - Nursing Education Public Waiting, Bldg Sprt | 2 - SB003 - Nursing Education Public Waiting, Bldg Sprt | 2 - SB003 - Nursing Education Public Waiting, Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A5077 | Dispenser, Hand Sanitizer, Hands-Free | 1 | VV | A touch free wall-mounted hand sanitizer dispenser. For use throughout a healthcare facility. Unit does not include the sanitizing liquid. Units are battery operated.
A6046 | Artwork, Decorative, With Frame | 1 | VV | This JSN is to be used for determining and defining location of decorative artwork.
F0206 | Chair, Side, Bariatric, With Arms | 1 | VV | A bariatric side chair with arms for use in a waiting room, lobby or other patient area. Chair will have a padded seat and back and have a capacity of 800 pounds.
F0305 | Chair, Waiting Room, Single | 1 | VV | Single seat waiting room chair with foam padded seat and back. Upholstered with either woven fabric textile or vinyl. Arms and floor glides included.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F2300 | Rack, Magazine, Wall Mounted | 1 | VV | Wall mounted magazine rack with nine (9) magazine holding compartments.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
3 - SS218 - Nursing Education Administration Support Workstation, Stff Sprt | 3 - SS218 - Nursing Education Administration Support Workstation, Stff Sprt | 3 - SS218 - Nursing Education Administration Support Workstation, Stff Sprt | 3 - SS218 - Nursing Education Administration Support Workstation, Stff Sprt | 3 - SS218 - Nursing Education Administration Support Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
4 - SS218 - Nursing Education Instructor Workstation, Stff Sprt | 4 - SS218 - Nursing Education Instructor Workstation, Stff Sprt | 4 - SS218 - Nursing Education Instructor Workstation, Stff Sprt | 4 - SS218 - Nursing Education Instructor Workstation, Stff Sprt | 4 - SS218 - Nursing Education Instructor Workstation, Stff Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 2 | VV | Telecommunication outlet location.
A1015 | Telephone, Desk, Multiple Line | 1 | VV | Telephone, desk, multiple line.
E0123 | Workstation, Straight, Free Standing, 72" W | 1 | VV | This JSN will provide a whole work station typical to quickly plan work in areas in clinical or administrative spaces. There will be a price decrease if typical work stations are used with vertical hanging strips instead of panels. THIS TYPICAL INCLUDES: 4 Standard Solid Panels 2 Panel Connectors, 2-Way Corner 1 Panel-to-Panel Connector 2 Finished End Hardware 1 Cantilevered, Work Surface 2 Lockable Flipper Units 2 Shelf, Storage/Displays 2 Lights 1 Tack board 1 Tool Rail 1 Paper Tray 1 Diagonal Tray 1 Adjustable Keyboard Tray 1 Mobile Pedestal, Box/File
F0275 | Chair, Swivel, High Back | 1 | VV | Highback contemporary swivel chair, 41" high X 23" wide X 23" deep with five (5) caster swivel base and arms. Chair may be used at desks or in conference rooms. Back and seat are foam padded and upholstered with either woven textile fabric or vinyl.
F0420 | Cabinet, Filing, Lateral, Half Height | 1 | VV | Half height two (2) or three (3) drawer lateral filing cabinet, 28" high X 42" wide X 18" deep with recessed handles, locking device and drawer label holders. Drawers are adaptable to either letter or legal size materials.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
5 - SS111 - Multipurpose Classroom / Staff Training Room, Educ Svc | 5 - SS111 - Multipurpose Classroom / Staff Training Room, Educ Svc | 5 - SS111 - Multipurpose Classroom / Staff Training Room, Educ Svc | 5 - SS111 - Multipurpose Classroom / Staff Training Room, Educ Svc | 5 - SS111 - Multipurpose Classroom / Staff Training Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 3 | VV | Telecommunication outlet location.
F0115 | Bookcase, Open, 5 Shelf | 1 | VV | Freestanding open shelf bookcase, approximately 82" high X 37" wide X 18" deep with 5 (five) adjustable shelves. Unit can be separate or part of a system with available add-on shelving.
F0300 | Chair, Task, Swivel, With Arms | 6 | VV | Task chair, approximately 34" H X 26" W X 22" D with adjustable arms and a five caster adjustable swivel base. Seat and back are foam padded and upholstered in woven fabric or vinyl.
F0780 | Table, Work, 60W x 30D | 6 | VV | Work table approximately 29" high X 60" wide X 30" deep with top and four (4) non-folding legs.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 6 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
6 - SS190 - Nursing Education Storage Room, Educ Svc | 6 - SS190 - Nursing Education Storage Room, Educ Svc | 6 - SS190 - Nursing Education Storage Room, Educ Svc | 6 - SS190 - Nursing Education Storage Room, Educ Svc | 6 - SS190 - Nursing Education Storage Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
3 - EDUCATION AUDITORIUM AREA | 3 - EDUCATION AUDITORIUM AREA | 3 - EDUCATION AUDITORIUM AREA | 3 - EDUCATION AUDITORIUM AREA | 3 - EDUCATION AUDITORIUM AREA
1 - SS121 - Auditorium Seating Area, Educ Svc | 1 - SS121 - Auditorium Seating Area, Educ Svc | 1 - SS121 - Auditorium Seating Area, Educ Svc | 1 - SS121 - Auditorium Seating Area, Educ Svc | 1 - SS121 - Auditorium Seating Area, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 4 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
A4005 | Public Address System | 1 | CC | Public address system. System features built-in speaker-microphone for hands-free operation, volume controls, battery backup for power failures, master clock programmer, group all call, and alert tone for emergency situations. Communications distribution system designed for facilities.
F0190 | Chair, Auditorium, With Tablet Arm | 200 | CC | Tablet arm auditorium chair. Chair consists of wood or upholstered arm rest with plastic rear panel and self-rise molded foam over upholstered spring seat. It includes a folding writing surface that stores at the side of the chair. Unit is constructed with 3/16" steel. To be used in auditoriums during conferences or lectures.
F2015 | Basket, Wastepaper, Metal/Plastic,2 Swinging Doors | 1 | VV | Metal receptacle for soiled / used towels or waste. Equipped with a removable tapered top with two independently operating self-closing, spring hinged doors. Used in public facilities for the collection and temporary storage of refuse.
F2105 | Lectern, Mobile, With Self Contained Audio | 1 | VV | Portable floor lectern with built-in public address system. May use 110V or batteries (not included). Convenience outlet required at point of use if not using batteries.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M0385 | Projector, Multimedia/Data | 1 | VV | The projector shall provide computer and video projections. Minimum features included: Brightness of not less than 1500 ANSI ( American National Standards Institute) Lumens, and a minimum resolution format of 1024 X 768 pixels (XGA). The projector shall be portable and weigh no more than 10 pounds. It shall include a zoom lens and computer and video input ports.
M0400 | Screen, Projection, 144x144, Remote Control | 1 | CC | Wall or ceiling mounted, roll-up type screen with remote control. Includes multiple controls to operate the screen from two or more locations, wireless remote control, adjustable preset limit switches, and black borders on all sides. Screen is housed in a solid wood or metal case with removable motor module. For a classroom, conference room, or large auditorium.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
2 - SS131 - Auditorium Stage / Instruction Area, Educ Svc | 2 - SS131 - Auditorium Stage / Instruction Area, Educ Svc | 2 - SS131 - Auditorium Stage / Instruction Area, Educ Svc | 2 - SS131 - Auditorium Stage / Instruction Area, Educ Svc | 2 - SS131 - Auditorium Stage / Instruction Area, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 4 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
A4005 | Public Address System | 1 | CC | Public address system. System features built-in speaker-microphone for hands-free operation, volume controls, battery backup for power failures, master clock programmer, group all call, and alert tone for emergency situations. Communications distribution system designed for facilities.
F0190 | Chair, Auditorium, With Tablet Arm | 200 | CC | Tablet arm auditorium chair. Chair consists of wood or upholstered arm rest with plastic rear panel and self-rise molded foam over upholstered spring seat. It includes a folding writing surface that stores at the side of the chair. Unit is constructed with 3/16" steel. To be used in auditoriums during conferences or lectures.
F2015 | Basket, Wastepaper, Metal/Plastic,2 Swinging Doors | 1 | VV | Metal receptacle for soiled / used towels or waste. Equipped with a removable tapered top with two independently operating self-closing, spring hinged doors. Used in public facilities for the collection and temporary storage of refuse.
F2105 | Lectern, Mobile, With Self Contained Audio | 1 | VV | Portable floor lectern with built-in public address system. May use 110V or batteries (not included). Convenience outlet required at point of use if not using batteries.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M0385 | Projector, Multimedia/Data | 1 | VV | The projector shall provide computer and video projections. Minimum features included: Brightness of not less than 1500 ANSI ( American National Standards Institute) Lumens, and a minimum resolution format of 1024 X 768 pixels (XGA). The projector shall be portable and weigh no more than 10 pounds. It shall include a zoom lens and computer and video input ports.
M0400 | Screen, Projection, 144x144, Remote Control | 1 | CC | Wall or ceiling mounted, roll-up type screen with remote control. Includes multiple controls to operate the screen from two or more locations, wireless remote control, adjustable preset limit switches, and black borders on all sides. Screen is housed in a solid wood or metal case with removable motor module. For a classroom, conference room, or large auditorium.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
4 - SS126 - Auditorium Equipment Storage Room, Educ Svc | 4 - SS126 - Auditorium Equipment Storage Room, Educ Svc | 4 - SS126 - Auditorium Equipment Storage Room, Educ Svc | 4 - SS126 - Auditorium Equipment Storage Room, Educ Svc | 4 - SS126 - Auditorium Equipment Storage Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 1 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
5 - SS136 - Auditorium Moveable Furniture Storage Room, Educ Svc | 5 - SS136 - Auditorium Moveable Furniture Storage Room, Educ Svc | 5 - SS136 - Auditorium Moveable Furniture Storage Room, Educ Svc | 5 - SS136 - Auditorium Moveable Furniture Storage Room, Educ Svc | 5 - SS136 - Auditorium Moveable Furniture Storage Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A1014 | Telephone, Wall Mounted, 1 Line, With Speaker | 1 | VV | Telephone, wall mounted, 1 line, with speaker.
M2055 | Shelving, Storage, Wire, CRS, w/Adjustable Shelves | 4 | VV | Stationary, wire, shelving unit. Unit has fully adjustable shelves constructed of stainless steel. For use in general purpose storage areas. Shelving is provided in various sizes and configurations. Price provided is for a unit approximately 74"H x 18"D x 48"W with four shelves.
6 - SS111 - Auditorium Multipurpose Room, Educ Svc | 6 - SS111 - Auditorium Multipurpose Room, Educ Svc | 6 - SS111 - Auditorium Multipurpose Room, Educ Svc | 6 - SS111 - Auditorium Multipurpose Room, Educ Svc | 6 - SS111 - Auditorium Multipurpose Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 3 | VV | Telecommunication outlet location.
F0115 | Bookcase, Open, 5 Shelf | 1 | VV | Freestanding open shelf bookcase, approximately 82" high X 37" wide X 18" deep with 5 (five) adjustable shelves. Unit can be separate or part of a system with available add-on shelving.
F0300 | Chair, Task, Swivel, With Arms | 6 | VV | Task chair, approximately 34" H X 26" W X 22" D with adjustable arms and a five caster adjustable swivel base. Seat and back are foam padded and upholstered in woven fabric or vinyl.
F0780 | Table, Work, 60W x 30D | 6 | VV | Work table approximately 29" high X 60" wide X 30" deep with top and four (4) non-folding legs.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 6 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
7 - SB203 - Educ Svc Auditorium Male Toilet, Bldg Sprt | 7 - SB203 - Educ Svc Auditorium Male Toilet, Bldg Sprt | 7 - SB203 - Educ Svc Auditorium Male Toilet, Bldg Sprt | 7 - SB203 - Educ Svc Auditorium Male Toilet, Bldg Sprt | 7 - SB203 - Educ Svc Auditorium Male Toilet, Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1067 | Mirror, Float Glass, ADA Accessible | 1 | CC | A high quality 1/4" polished float glass mirror with a stainless steel frame. Frame holds mirror in a tilted position for accessibility and compliance with ADA requirements. Mirror has a galvanized steel back secured to frame with concealed screws with integral horizontal hanging brackets. Mirror shall be approximately 18" wide and 36" high. Other sizes are available.
A4995 | Table, Diaper Changing, Wall Mounted | 1 | CC | Wall mounted diaper changing table for use in public restrooms. Unit is a fold down system that folds upward when not in use for minimal intrusion into the room. Changing surface is contoured and has safety belt to insure that an infant will not fall from the table. Table is designed to hold no less than 250 pounds static weight. Closed dimensions are approximately 21" H x 36" W x 5" D. Open dimensions vary according to style. One system's open dimensions are 15 " high, 32" wide and 19" deep.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5109 | Grab Bar, 1-1/4" Dia., SS, 2 Wall, W/C Accessible | 1 | CC | A 1-1/4" diameter, satin finish stainless steel, peened gripping surface, 2 wall toilet stall/ room, grab bar with concealed mounting flanges. Snap over flanges are provided to conceal mounting screws. A selection of mounting kits and concealed anchor devices are available from the manufacturers for different types of installations. Grab bar shall comply with barrier-free accessibility guidelines for structural strength. For typical water closet applications in toilet stalls and rooms where ADA (American's With Disabilities Act) requirements must be met.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5200 | Dispenser, Toilet Tissue, SS, 2-Roll, Surface Mntd | 1 | CC | A concealed surface mounted, double roll, satin finish stainless steel, toilet tissue dispenser. Unit accommodates two standard-core toilet tissue rolls through 5" in diameter. Spindles are chrome plated plastic with a heavy-duty internal spring and turn freely for non-controlled delivery. For general purpose use in restrooms.
CT025 | Countertop, Solid Surface with Sink Combination | 1 | CC | A solid, nonporous countertop approximately 36"W x 22"D with a undercounter sink combination. The countertop is an acrylic-based solid surface product with a standard thickness of 1", and a 4" butt backsplash/curb. Surfaces will be easy to clean and maintain. Also referred to as a work surface or work top with sink. Available in a choice of colors, depths and sink shapes. Used for various applications in patient rooms, restrooms and throughout the facility. Usually a part of a casework interior design program. Unit does not include the drain and faucet.
F2015 | Basket, Wastepaper, Metal/Plastic,2 Swinging Doors | 1 | VV | Metal receptacle for soiled / used towels or waste. Equipped with a removable tapered top with two independently operating self-closing, spring hinged doors. Used in public facilities for the collection and temporary storage of refuse.
P9050 | Toilet, Wall Hung, Siphon Jet | 1 | CC | Siphon jet water closet/ toilet. This unit is wall hung with an elongated bowl, top spud flushometer, seat with open front and check hinge, and carrier. Used in restrooms throughout the health care facility.
8 - SB202 - Educ Svc Auditorium Female Toilet, Bldg Sprt | 8 - SB202 - Educ Svc Auditorium Female Toilet, Bldg Sprt | 8 - SB202 - Educ Svc Auditorium Female Toilet, Bldg Sprt | 8 - SB202 - Educ Svc Auditorium Female Toilet, Bldg Sprt | 8 - SB202 - Educ Svc Auditorium Female Toilet, Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1067 | Mirror, Float Glass, ADA Accessible | 1 | CC | A high quality 1/4" polished float glass mirror with a stainless steel frame. Frame holds mirror in a tilted position for accessibility and compliance with ADA requirements. Mirror has a galvanized steel back secured to frame with concealed screws with integral horizontal hanging brackets. Mirror shall be approximately 18" wide and 36" high. Other sizes are available.
A4995 | Table, Diaper Changing, Wall Mounted | 1 | CC | Wall mounted diaper changing table for use in public restrooms. Unit is a fold down system that folds upward when not in use for minimal intrusion into the room. Changing surface is contoured and has safety belt to insure that an infant will not fall from the table. Table is designed to hold no less than 250 pounds static weight. Closed dimensions are approximately 21" H x 36" W x 5" D. Open dimensions vary according to style. One system's open dimensions are 15 " high, 32" wide and 19" deep.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5082 | Dispenser, Paper Towel, Sensor, Hands Free | 1 | CC | A surface mounted, sensor activated, automatic, roll paper towel dispenser. The unit dispenses a paper towel automatically only when hands are place in position below the dispenser for maximum sanitation and hygiene. May include adjustable settings for sheet length, time delay, and sensor range. Unit is battery operated or with optional AC power adapter.
A5090 | Disposal, Sanitary Napkin, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, sanitary napkin disposal. Disposal features a flip-up cover, secured to the container by a heavy duty stainless steel piano-hinge. Disposal may be secured to wall or toilet partition. For general purpose use in female toilet stalls or rooms and uni-sex toilet rooms.
A5109 | Grab Bar, 1-1/4" Dia., SS, 2 Wall, W/C Accessible | 1 | CC | A 1-1/4" diameter, satin finish stainless steel, peened gripping surface, 2 wall toilet stall/ room, grab bar with concealed mounting flanges. Snap over flanges are provided to conceal mounting screws. A selection of mounting kits and concealed anchor devices are available from the manufacturers for different types of installations. Grab bar shall comply with barrier-free accessibility guidelines for structural strength. For typical water closet applications in toilet stalls and rooms where ADA (American's With Disabilities Act) requirements must be met.
A5145 | Hook, Garment, Double, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, double garment hook. Equipped with a concealed mounting bracket that is secured to a concealed wall plate. For general purpose use throughout the facility to hang various items of apparel.
A5200 | Dispenser, Toilet Tissue, SS, 2-Roll, Surface Mntd | 1 | CC | A concealed surface mounted, double roll, satin finish stainless steel, toilet tissue dispenser. Unit accommodates two standard-core toilet tissue rolls through 5" in diameter. Spindles are chrome plated plastic with a heavy-duty internal spring and turn freely for non-controlled delivery. For general purpose use in restrooms.
CT025 | Countertop, Solid Surface with Sink Combination | 1 | CC | A solid, nonporous countertop approximately 36"W x 22"D with a undercounter sink combination. The countertop is an acrylic-based solid surface product with a standard thickness of 1", and a 4" butt backsplash/curb. Surfaces will be easy to clean and maintain. Also referred to as a work surface or work top with sink. Available in a choice of colors, depths and sink shapes. Used for various applications in patient rooms, restrooms and throughout the facility. Usually a part of a casework interior design program. Unit does not include the drain and faucet.
F2015 | Basket, Wastepaper, Metal/Plastic,2 Swinging Doors | 1 | VV | Metal receptacle for soiled / used towels or waste. Equipped with a removable tapered top with two independently operating self-closing, spring hinged doors. Used in public facilities for the collection and temporary storage of refuse.
P9050 | Toilet, Wall Hung, Siphon Jet | 1 | CC | Siphon jet water closet/ toilet. This unit is wall hung with an elongated bowl, top spud flushometer, seat with open front and check hinge, and carrier. Used in restrooms throughout the health care facility.
9 - SB244 - Educ Svc Auditorium Housekeeping Aides Closet (HAC), Bldg Sprt | 9 - SB244 - Educ Svc Auditorium Housekeeping Aides Closet (HAC), Bldg Sprt | 9 - SB244 - Educ Svc Auditorium Housekeeping Aides Closet (HAC), Bldg Sprt | 9 - SB244 - Educ Svc Auditorium Housekeeping Aides Closet (HAC), Bldg Sprt | 9 - SB244 - Educ Svc Auditorium Housekeeping Aides Closet (HAC), Bldg Sprt
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5107 | Dispenser, Glove, Surgical/Examination, Wall Mntd | 1 | VV | Examination three (Small Medium, Large) glove dispenser box for wall mounting. Fabricated of either cold rolled steel with a white baked enamel finish, plastic or acrylic. Hardware not included, Option 3 powder coated steel.
A5135 | Shelf, Utility W/ Mop/Broom Holders, SS, Surf Mntd | 1 | CC | A surface mounted, satin finish stainless steel, utility shelf with a maximum of 6 mop/broom holders and 5 rag hooks. Utility shelf features: 8" deep shelf; mounting brackets welded to shelf; spring activated rubber cam holders; and drying rod. Unit is available in various widths 30" (minimum, 3 holders and 2 hooks) to 48" (maximum, 6 holders and 5 hooks). For use in janitor closets. Pricing based on a 36" width.
F0500 | Cart, Janitor's | 1 | VV | Janitors cart, 38" high X 66" wide X 20" deep with 25 gallon heavy duty collection bag. Accommodations for locking vault and janitorial support items (broom, dust pan, chemicals, mop and mop bucket; not included).
F0505 | Bucket, Mop, With Wringer, 26 Quart | 1 | VV | Mobile mop bucket / wringer combination, approximately 35" H x 17" W x 22" D with four 2" casters. Total capacity is 26 quarts. Unit used for general hard surface floor maintenance.
P2000 | Eyewash, Wall Mounted, Hands-Free | 1 | CC | Wall mounted emergency eye wash station. The flow of water from the unit is activated by hand. Upon initiation of water flow the unit will operate hands free to provide streams of water to clear foreign particles or dilute caustic liquids from the eyes in emergency situations. Used in laboratories and areas of the hospital where employees are subject to foreign bodies or liquid material to the eyes.
P2451 | Valve, Mixing, Thermostatic, Eyewash | 1 | CC | Emergency tempering valve thermostatically mixes hot and cold water to provide a safe fluid supply for a single emergency eye/face wash with a flow rate of 10 gpm (38.8L)
P4700 | Sink, Mop, Molded Stone | 1 | CC | Mop service sink approximately 10"H x 36"W x 24"D. Also called a mop service basin and a mop receptor. Unit is made of molded stone and is a one piece item. It shall include a service faucet hose, hose bracket and mop hanger. Used in utility rooms for cleaning mops and floor cleaning equipment.
4 - EDUCATION LABORATORY AREA | 4 - EDUCATION LABORATORY AREA | 4 - EDUCATION LABORATORY AREA | 4 - EDUCATION LABORATORY AREA | 4 - EDUCATION LABORATORY AREA
1 - SS146 - Computer Training Room, Educ Svc | 1 - SS146 - Computer Training Room, Educ Svc | 1 - SS146 - Computer Training Room, Educ Svc | 1 - SS146 - Computer Training Room, Educ Svc | 1 - SS146 - Computer Training Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 8 | VV | Telecommunication outlet location.
F0280 | Chair, Swivel, Low Back | 16 | VV | Low back contemporary swivel chair, 37" high X 25" wide X 31" deep with a five (5) caster swivel base, arms and foam padded seat and back upholstered with either woven textile fabric or vinyl.
F0780 | Table, Work, 60W x 30D | 8 | VV | Work table approximately 29" high X 60" wide X 30" deep with top and four (4) non-folding legs.
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F2105 | Lectern, Mobile, With Self Contained Audio | 1 | VV | Portable floor lectern with built-in public address system. May use 110V or batteries (not included). Convenience outlet required at point of use if not using batteries.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M0512 | Television, HDTV, Large Screen, 60" | 1 | VV | A high definition (HDTV) multimedia, slim design, 60"W to 65"W color television. The TV will have a 16.9 wide screen aspect ratio with full HD 1080p resolution and HDMI connections. TV may be LED, Plasma or LCD. TV will include a stand.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 16 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
2 - SS101 - Conference Room, Educ Svc | 2 - SS101 - Conference Room, Educ Svc | 2 - SS101 - Conference Room, Educ Svc | 2 - SS101 - Conference Room, Educ Svc | 2 - SS101 - Conference Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1010 | Telecommunication Outlet | 1 | VV | Telecommunication outlet location.
A5212 | Bracket, Television, Wall-Mounted, Tilt/Angle | 1 | VV | A wall mounted, tilt/angled TV bracket for 37" to 80" TVs. Mount will be a universal and VESA compliant unit with a load capacity of up to 130 lbs.
A5220 | Bracket, Television, Wall Backing | 1 | CC | Wall mounted television bracket backing which provides additional support and strength for the installation of the television bracket. Option available for interior or exterior plate and sized for 12” 16” or 24” stud spacing.
A6046 | Artwork, Decorative, With Frame | 1 | VV | This JSN is to be used for determining and defining location of decorative artwork.
F0220 | Chair, Conference | 10 | VV | Conference chair designed to complement the executive furniture package selected. Foam rubber cushioned seats and backs covered with either woven fabric or vinyl. Base with 5 (five) swivel casters.
F0765 | Table, Folding / Nesting | 2 | VV | Folding table intended for a variety of uses. Designed with a flip top that allows tables to store nested to minimize needed storage space. Available in multiple laminate finish colors/patterns, bases, surface shapes (description and pricing based on a rectangle shape) and edge finish, . Available with leveling glides or casters (2 locking, 2 non-locking).
F2000 | Basket, Wastepaper, Fire Resistant | 1 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M0512 | Television, HDTV, Large Screen, 60" | 1 | VV | A high definition (HDTV) multimedia, slim design, 60"W to 65"W color television. The TV will have a 16.9 wide screen aspect ratio with full HD 1080p resolution and HDMI connections. TV may be LED, Plasma or LCD. TV will include a stand.
3 - SS151 - Simulation Room, Educ Svc | 3 - SS151 - Simulation Room, Educ Svc | 3 - SS151 - Simulation Room, Educ Svc | 3 - SS151 - Simulation Room, Educ Svc | 3 - SS151 - Simulation Room, Educ Svc
JSN | NAME | QTY | ACQ/INS | DESCRIPTION
A1011 | Telephone, Desk, 1 Line | 2 | VV | Telephone, desk, 1 line.
A1110 | Headwall, Prefabricated, General, 1-2 bed | 2 | CC | 1-2 bed, general, prefabricated headwall. Unit consists of a patient service module for general care, single or double bed type. It contains lighting, medical gases, electrical outlets, nurse call and bed bumper. Specify number and type of medical gas and electrical outlets. Size of module will vary by type and configuration of outlets.
A5075 | Dispenser, Soap, Disposable | 1 | VV | Disposable soap dispenser. One-handed dispensing operation. Designed to accommodate disposable soap cartridge and valve.
A5080 | Dispenser, Paper Towel, SS, Surface Mounted | 1 | CC | A surface mounted, satin finish stainless steel, single-fold, paper towel dispenser. Dispenser features: tumbler lock; front hinged at bottom; and refill indicator slot. Minimum capacity 400 single-fold paper towels. For general purpose use throughout the facility.
A5106 | Waste Disposal Unit, Sharps w/Glove Dispenser | 2 | VV | The unit is designed for the disposal of sharps and complies with OSHA guidelines for the handling of sharps. It shall house a 5 quart container and be capable of being mounted on a wall. It shall have a glove dispenser attached. The unit shall be secured by a locked enclosure.
A5180 | Track, Cubicle, Surface Mounted, With Curtain | 1 | VV | Surface mounted cubicle track, with curtain. Track constructed of thick extruded aluminum. Equipped with self lubricating carriers, beaded drop chain hooks, and flame resistant curtain. To include removable end caps. Designed to be suspended around patient areas where privacy is needed. Price listed is per foot of the track, curtains to be priced per quote.
A6305 | Drapes, Pair | 1 | VV | This JSN is to be used for determining and defining the location of drapes. Fabric to be flame retardant, variable colors and patterns with backing. Price based on a pair of drapes for a window approximately 36" W X 60" H.
F0230 | Chair, Drafting, Rotary | 1 | VV | Drafting chair approximately 47" high X 20" wide X 20" deep with rotary stool and a 5 (five) star base with casters. Padded seat and back. Foot ring adjusts with chair.
F0260 | Chair, High Back, Patient | 2 | VV | High back patient chair, approximately 45" H X 24" W X 30" D with padded and upholstered back and seat. Straight legs have floor glides. Upholstery material is vinyl.
F0315 | Chair, Sleeper | 2 | VV | Sleeper chair, 39" high X 36" wide X 74" deep (as a bed). Chair designed to convert (either fold-out or reclining) into a temporary bed used by either hospital staff or a patient's immediate family.
F0355 | Footstool, Straight | 2 | VV | Step stool. Used to assist patients getting on and off exam or surgical tables. Fitted with electrically conductive rubber tips.
F0400 | Cabinet, Bedside, Door, Drawer | 2 | VV | Bedside cabinet for storage of both the patient's personal items and small patient support items. Approximately 31" high X 21" wide X 19" deep with one (1) drawer and one (1) closed storage closet. Drawer is removable so interior can be sanitized. May come in a 3 drawer version.
F0560 | Wardrobe, Television | 2 | VV | A combination wardrobe that combines the storage of clothing along with a television cabinet. Item is intended for use in patient bedrooms particularly the LDR and LDRP.
F2000 | Basket, Wastepaper, Fire Resistant | 3 | VV | Wastepaper basket, fire resistant, approximately 40 quart capacity. This unit is used to collect and temporarily store small quantities of paper refuse in patient rooms, administrative areas and nursing stations. Size and shape varies depending on the application and manufacturer selected.
F3050 | Whiteboard, Dry Erase | 2 | VV | Whiteboard unit, approximately 36" H x 48" W consisting of a white porcelain enamel writing surface with an attached chalk tray. Magnetic surface available. Image can be easily removed with a standard chalkboard eraser. For use with water color pens. Unit is ready to hang.
F3200 | Clock, Battery, 12" Diameter | 1 | VV | Clock, 12" diameter. Round surface, easy to read numbers with sweep second hand. Wall mounted unit for use when impractical to install a fully synchronized clock system. Battery operated, (batteries not included).
M0430 | Recorder/ Player, Digital, Video, DVD | 2 | VV | Professional medical grade DVD video recorder/player. Approximately 5" high X 10" wide X 14" deep. Meets NTSC and PAL standards and employs MPEG2 video compression. Capable of high speed picture search, direct recording into available disc space and recording and playback on various DVD formats. Audio uses Dolby digital format. Convenience outlet required at point of use.
M0515 | Television, HD, 40" Class | 2 | VV | High definition (HDTV) multimedia flat panel LED 40" class display television. The TV will have a 16:9 wide screen aspect ratio, minimum of 1920 x 1080 display resolution, digital tuner, minimum refresh rate of 60Hz, minimum of two HDMI ports and 1 USB port ENERGY STAR certified.
M0750 | Flowmeter, Air, Connect w/50 PSI Supply | 2 | VV | Air flowmeter. Unit has a stainless steel needle valve with clear flowtube for connection to 50 PSI air outlet from central pipeline system. Requires the appropriate adapter for connection to the wall outlet and fitting to connect to tubing. Database prices reflect fittings with an attached DISS power outlet. Other outlet and adapter configurations are available.
M0755 | Flowmeter, Oxygen, Low Flow | 2 | VV | Oxygen flowmeter. Consists of a clear crystal flowtube calibrated to 3.5 or 8 LPM depending on manufacturer. For oxygen regulation in hospital settings. Database pricing includes DISS fitting and DISS power outlet and wall adapter. Other fitting and adapter configurations are available.
M0765 | Regulator, Vacuum | 4 | VV | Vacuum pressure regulator for connection to central piped vacuum system. Standard display scale is graduated at least from 0 to 200 mm Hg of vacuum. Displays on specialized regulators may cover other vacuum ranges. Regulator type (continuous, intermittent, continuous/intermittent, surgical, pediatric, thoracic, etc.) as required. To be used in delivery, neonatal, pediatrics or any area where suction is required. Database pricing reflects continuous regulators graduated to 200 mm Hg with a full line vacuum selection switch and DISS configured inlets and outlets.
M1801 | Computer, Microprocessing, w/Flat Panel Monitor | 1 | VV | Desk top microprocessing computer. The unit shall consist of a central processing mini tower, flat panel monitor, keyboard, mouse and speakers. The system shall have the following minimum characteristics: a 2.8 GHz Pentium processor; 512 MB memory; 80GB hard drive; 32/48x CD-ROMDVD combo; 1.44MB network interface card; video 32 MB NVIDIA; a 18 inch flat panel monitor. The computer is used throughout the facility to input, manipulate and retrieve information.
M1802 | Work Station, Computer, Retractable, Wall Mounted | 1 | VV | A wall mounted retractable work station. Work station is used as a computer station in treatment rooms, exam rooms and areas where physical space in limited.
M3072 | Frame, Infectious Waste Bag w/Lid | 1 | VV | Frame for an infectious waste collection bag. Made of heavy tubular stainless steel with heavy gauge welded steel platform. Adjust to hold 18" or 25" trash bags. Mounted on ball bearing casters and includes permanently mounted hinged lid. Provides means of bagging infectious waste at point of waste generation.
M4255 | Stand, IV, Adjustable | 2 | VV | Adjustable IV stand with 4-hook arrangement. Stand has stainless steel construction with heavy weight base. It adjusts from 66 inches to 100 inches and is mounted on conductive rubber, ball bearing, swivel casters. Stand is used for administering intravenous solutions.
M4266 | Pump, Volumetric, Infusion, Multiple Line | 2 | VV | Volumetric infusion pump. Pump is self-regulating with automatic sensor and adjustable rate. Equipped with visual and audible alarms and up to 10 hour capacity battery. For the administration of a wide variety of therapeutic agents where precise control is required. Unit provides individual control to IV lines simultaneously.
M7010 | Bed, Patient, Electric | 2 | VV | Electric patient bed. Includes safety side rails, IV rod insertion slots and patient control panel for a full range of positions. Four wheel locking brakes. Overall bed height adjustable between 16.5 and 31 inches.
M7025 | Mattress, Bed, Hospital | 2 | VV | Hospital bed mattress. These mattresses are usually filled with multi-layered foam, wire coil innersprings, or a combination of both. Mattresses are made of a fire retardant material (to meet California standard) and are enclosed in waterproof anti-microbial covers. For hospital use.
M7040 | Table, Overbed | 2 | VV | Overbed table. Adjustable height table constructed of heavy gauge steel. Mounted on 2" diameter twin swivel casters with bumper caps. Table top is constructed with a high pressure plastic laminated surface that resists chipping, scratching, and staining. It includes a vanity tray and a mirror. Table is designed for use over bed, wheelchair or large chair.
P3070 | Lavatory, Vitreous China, Under or Counter Top Mtd | 1 | CC | An undercounter or countertop mounted vitreous china lavatory (approximate bowl size 6"x17"x14") with gooseneck spout, wrist blade handles, and grid drain. Counter top mounted lavatory to be self rimming with mounting kit provided. Undercounter lavatory to have unglazed rim with a mounting kit also provided. For general purpose use in vanity tops in public, patient and staff toilet rooms.