A/E REVIEW CHECKLIST

INCINERATOR/SOLID WASTE

(Reviewers should - Use Checklists when reviewing any type of VA construction project for the following disciplines: 
(  Site and Landscape, 
(  Architectural, 
(  Structural, 
(  Plumbing, Fire Protection, and 
        Sanitary, 
(  Heating, Ventilating, and Air 
        Conditioning (HVAC), 
(  Steam Generation, 
(  Steam Distribution,
(  Incineration/Solid Waste, and
(  Electrical.

(Reviewers should - Insure that A/E Submission Instructions 
(PG-18-15) for Schematic, Design Development, and Construction Documents are followed for various types of VA construction projects.

(Reviewers should - Insure that every VA construction project is in compliance with all life safety issues.

(Reviewers should - Be aware that these checklists are not all-inclusive but only provide minimum review items.

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| GENERAL INFORMATION FOR REVIEWERS |
| --- |
| INCINERATION/SOLID WASTE REVIEWS |
| The reviewer should be thoroughly familiar with the following VA standards before conducting a design review. These are available on Internet/Intranet: http://www.va.gov/facmgt/standard/va_gov.htm http://vaww.va.gov/facmgt/standard/va_gov.htm |
| 1. | DESIGN MANUALS (PG-18-10) |
| 2. | MASTER CONSTRUCTION SPECIFICATIONS (PG-18-1) |
| 3. | STANDARD DETAILS (PG-18-4) (Available in AutoCAD 2001 Format) |
| 4. | DESIGN AND CONSTRUCTION PROCEDURES (formerly Construction Standards) (H-18-3) (Policies defining the minimum level of excellence in the design of VA facilities) |
| 5. | DESIGN GUIDES (PG-18-12) (Graphic information on specific programs in the design development of VA facilities) |
| 6. | DESIGN ALERTS (These alerts are issued on a regular basis for design and construction related issues) |
| 7. | A/E QUALITY ALERTS (These alerts are issued to guard against common and repeat design errors) |
| 8. | A/E SUBMISSION INSTRUCTIONS, PROGRAM GUIDE, PG-18-15 |
| 9. | TECHNICAL SUMMARIES (The summaries of HVAC design requirements for special and critical areas) |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| SCHEMATIC 1 |
| --- |
| INCINERATION/SOLID WASTE REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? List omissions. |  |
| 2 | Is seismic anchoring and bracing necessary? |  |
| 3 | Does A/E have latest VA Master Spec sections? |  |
| 4 | Does A/E have latest VA Standard Details (for heat recovery boiler)? |  |
| 5 | Does A/E have latest VA Design Manual? |  |

| SCHEMATIC 2 |
| --- |
| INCINERATION/SOLID WASTE REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? List omissions. |  |
| 2 | Equipment selection and location complies with Solid Waste Processing Systems Design Manual. |  |
| 3 | Life cycle cost method complies with NIST Handbook 135? |  |
| 4 | Acceptable responses to previous comments? |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| DESIGN DEVELOPMENT 1 |
| --- |
| INCINERATION/SOLID WASTE REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? List omissions. |  |
| 2 | Equipment selection and location complies with Solid Waste Processing Systems Design Manual. |  |
| 3 | Acceptable responses to previous comments? |  |
| 4 | Equipment sizing calculations acceptable? |  |
| 5 | Plan views and sections of major equipment show proper access to equipment? |  |
| 6 | Proper ventilation and heating of equipment space shown? |  |
| 7 | Coordination with other disciplines |  |

| DESIGN DEVELOPMENT 2 |
| --- |
| INCINERATION/SOLID WASTE REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E Submission Requirements (PG-18-15) for this review been met? List omissions. |  |
| 2 | Are calculations complete including loads, equipment and systems? |  |
| 3 | Are Master Specs to be utilized of current issue? |  |
| 4 | Is adequate clearance shown around all equipment? |  |
| 5 | Does design comply with VA Design Manual? |  |
| 6 | Coordination with other disciplines |  |  |

A/E CHECKLIST

TITLE________________________________PROJECT NO.

LOCATION___________________________________DATE

REVIEWED BY

ORGANIZATION

| CONSRUCTION DOCUMENTS 1 |
| --- |
| INCINERATION/SOLID WASTE REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Have A/E submission Requirements (PG-18-15) for the review been met? List omissions. |  |
| 2 | Is proper access provided to all items requiring such? |  |
| 3 | Are access catwalks shown in proper relation to items requiring access? |  |
| 4 | Do structural and architectural drawings show catwalks and equipment pads? |  |
| 5 | Acceptable responses to previous comments? |  |
| 6 | Current review of emissions rules. In compliance? |  |
| 7 | Coordination with other disciplines |  |