SECTION 02221

EXCAVATION, FILLING AND BACKFILLING FOR BUILDINGS

# 1	GENERAL

## 1.1	SUMMARY (Not Applicable)

## 1.2	REFERENCES

The publications listed below form a part of this specification to the extent referenced.  The publications are referred to in the text by basic designation only.

AMERICAN SOCIETY FOR TESTING AND MATERIALS (ASTM)

ASTM D 1556	(1982) Density of Soil in Place by the Sand-Cone Method

ASTM D 1557	(1978) Moisture-Density Relations of Soils and Soil-Aggregate Mixtures Using 10-lb (4.54-kg) Rammer and 18-in. (457-mm) Drop

ASTM D 2167	(1984) Density and Unit Weight of Soil in Place by the Rubber Balloon Method

ASTM D 2216	(1980) Laboratory Determination of Water (Moisture) Content of Soil, Rock, and Soil-Aggregate Mixtures

ASTM D 2487	(1985) Classification of Soils For Engineering Purposes

ASTM D 2922	(1981) Density of Soil and Soil-Aggregate in Place by Nuclear Methods (Shallow Depth)

ASTM D 2937	(1983) Density of Soil in Place by the Drive-Cylinder Method

ASTM D 3017	(1988) Water Content of Soil and Rock in Place by Nuclear Methods (Shallow Depth)

ASTM D 4318	(1984) Liquid Limit, Plastic Limit, and Plasticity Index of Soils

## 1.3	SUBMITTALS (Not Applicable)

## 1.4	DEFINITIONS

### 1.4.1	Degree of Compaction

Degree of compaction required is expressed as a percentage of the maximum density obtained by the test procedure presented in ASTM D 1557, Method D, abbreviated hereinafter as percent laboratory maximum density.

# 2	PRODUCTS

## 2.1	MATERIALS

### 2.1.1	Satisfactory Materials

Satisfactory materials include materials classified in ASTM D 2487 as GW, GP, SW, GM, GC, SP, SM, SC, and CL, and shall be free of trash, debris, roots or other organic matter, or stones larger than 3 inches in any dimension.  CH material shall be considered satisfactory only for use as impervious fill.  SM material shall not have more than 25 percent by weight passing the No. 200 sieve.  Earth fill shall contain no stones heavier than 10 pounds or larger than 6 inches in any dimension.

### 2.1.2	Unsatisfactory Materials

Unsatisfactory materials include materials classified in ASTM D 2487 as Pt, OH, OL, ML, MH, and any other materials not defined as satisfactory.

### 2.1.3	Cohesionless and Cohesive Materials

Cohesionless materials include materials classified in ASTM D 2487 as GW, GP, SW, and SP.  Cohesive materials include materials classified as GC, SC, ML, CL, MH, and CH.  Materials classified as GM and SM will be identified as cohesionless only when the fines are nonplastic.  Earth fill over and adjacent to the magazine shall contain no stones heavier than 10 pounds or larger than 6 inches in any dimension.

### 2.1.4	Expansive Soils

Expansive soils are defined as soils that have a plasticity index equal to or greater than 12 when tested in accordance with ASTM D 4318.

### 2.1.5	Nonfrost Susceptible (NFS) Material

Nonfrost susceptible material shall be a uniformly graded washed sand with a maximum particle size of [_____] inch and less than 5 percent passing the No. 200 size sieve, and with not more than 3 percent by weight finer than 0.02 mm grain size.

### 2.1.6	Impervious Fill

Impervious fill shall be satisfactory material classified in ASTM D 2487 as CL or CH, with liquid limit greater than 30 and plasticity index greater than 15.  Earth fill over and adjacent to the arches shall contain no stones heavier than 10 pounds or larger than 6 inches in any dimension.

### 2.1.7	Filter Materials

Filter materials shall be washed sand, sand and gravel, crushed stone, crushed-stone screenings, or slag composed of hard, tough, durable particles free from adherent coatings.  Filter materials shall be uniformly graded between the limits specified hereinafter.  Points on the individual grading curves obtained from representative samples of filter materials not only shall lie between smooth curves drawn through a plot of the tabulated grading limits specified, but also shall exhibit no abrupt changes in slope denoting skip grading, scalping of certain sizes, or other irregularities that would be detrimental to the proper functioning of the filter.

Sand filter material shall be a uniformly grade material conforming to the following gradation:

Sieve Size          Percent by Weight Passing

3/8-inch                   __________

No. 4                      __________

No. 10                     __________

No. 20                     __________

No. 40                     __________

No. 100                    __________

No. 200                    __________

Gravel filter material shall be uniformly graded material conforming to the following gradation:

Sieve Size          Percent by Weight Passing

1-1/2 inch                 __________

1-inch                     __________

1/2-inch                   __________

3/8-inch                   __________

No. 4                      __________

No. 200                    __________

## 2.2	CAPILLARY WATER BARRIER

Capillary Water Barrier shall consist of clean, crushed, nonporous rock, crushed gravel, or uncrushed gravel.  The maximum particle size shall be 1-1/2 inches and no more than 2 percent by weight shall pass the No. 4 size sieve.

# 3	EXECUTION

## 3.1	CLEARING AND GRUBBING

The areas within the limits shown shall be cleared and grubbed of trees, stumps, roots, brush and other vegetation, debris, existing foundations, pavements, utility lines, structures, fences, and other items that would interfere with construction operations.  Stumps, logs, roots, and other organic matter shall be completely removed and the resulting depressions shall be filled with satisfactory material, placed and compacted in accordance with paragraph FILLING AND BACKFILLING.  Materials removed shall be disposed of [in the designated waste disposal areas] [outside the limits of Government-controlled property at the Contractor's responsibility]

## 3.2	TOPSOIL

Topsoil shall be stripped to a depth of [_____] inches below existing grade within the designated excavations and grading lines and deposited in storage piles for later use.  Excess topsoil shall be disposed as specified for excess excavated material.

## 3.3	EXCAVATION

Excavation shall conform to the dimensions and elevations indicated for each building, structure, and footing except as specified hereinafter, and shall include trenching for utility and foundation drainage systems to a point 5 feet beyond the building line of each building and structure, and all work incidental thereto.  Excavation shall extend a sufficient distance from walls and footings to allow for placing and removal of forms.  Excavations below indicated depths will not be permitted except to remove unsatisfactory material.  Unsatisfactory material encountered below the grades shown shall be removed as directed and replaced with satisfactory material.  Payment therefor will be made in conformance with the CHANGES clause of the CONTRACT CLAUSES. Satisfactory material removed below the depths indicated without specific direction of the Contracting Officer shall be replaced at no additional cost to the Government to the indicated excavation grade with satisfactory materials, except that concrete footings shall be increased in thickness to the bottom of the overdepth excavations and over-break in rock excavation.  Satisfactory material shall be placed and compacted as specified in paragraph FILLING AND BACKFILLING.  Determination of elevations and measurements of approved overdepth excavation of unsatisfactory material below grades indicated shall be done under the direction of the Contracting Officer.

## 3.4	DRAINAGE AND DEWATERING

### 3.4.1	Drainage

Surface water shall be directed away from excavation and construction sites so as to prevent erosion and undermining of foundations.  Diversion ditches, dikes and grading shall be provided and maintained as necessary during construction.  Excavated slopes and backfill surfaces shall be protected to prevent erosion and sloughing.  Excavation shall be performed so that the site and the area immediately surrounding the site and affecting operations at the site shall be continually and effectively drained.

### 3.4.2	Dewatering

Groundwater flowing toward or into excavations shall be controlled to prevent sloughing of excavation slopes and walls, boils, uplift and heave in the excavation and to eliminate interference with orderly progress of construction.  French drains, sumps, ditches or trenches will not be permitted within 3 feet of the foundation of any structure, except with specific written approval, and after specific contractual provisions for restoration of the foundation area have been made.  Control measures shall be taken by the time the excavation reaches the water level in order to maintain the integrity of the in situ material.  While the excavation is open, the water level shall be maintained continuously below the working level.

## 3.5	SHORING

Shoring, including sheet piling, shall be furnished and installed as necessary to protect workmen, banks, adjacent paving, structures, and utilities.  Shoring, bracing, and sheeting shall be removed as excavations are backfilled, in a manner to prevent caving.

## 3.6	CLASSIFICATION OF EXCAVATION

[Excavation will be unclassified regardless of the nature of material encountered.]  [Rock excavation shall consist of the removal and disposal of boulders 1 cubic yard or more in volume; solid rock; materials that cannot be removed without systematic drilling and blasting such as rock material in ledges or aggregate conglomerate deposits that are so firmly cemented as to possess the characteristics of solid rock; and concrete or masonry structures exceeding 1 cubic yard in volume, except sidewalks and paving.  Hard and compact materials such as cemented gravel, glacial till, and relatively soft or disintegrated rock that can be removed without continuous and systematic drilling and blasting will not be considered as rock excavation.  Rock excavation will not be considered as such because of intermittent drilling and blasting that is performed merely to increase production.  Excavation of the material claimed as rock shall not be performed until the material has been cross sectioned by the Contractor and approved by the Contracting Officer.] [Common excavation shall consist of all excavation not classified as rock excavation.]

## 3.7	BLASTING

Blasting [will] [will not] be permitted.

## 3.8	UTILITY AND DRAIN TRENCHES

Trenches for underground utilities systems and drain lines shall be excavated to the required alignments and depths.  The bottoms of trenches shall be graded to secure the required slope and shall be tamped if necessary to provide a firm pipe bed.  Recesses shall be excavated to accommodate bells and joints so that pipe will be uniformly supported for the entire length.  Rock, where encountered, shall be excavated to a depth of at least 6 inches below the bottom of the pipe, and the overdepth shall be backfilled with satisfactory material placed and compacted in conformance with paragraph FILLING AND BACKFILLING.

## 3.9	BORROW

Where satisfactory materials are not available in sufficient quantity from required excavations, approved materials shall be obtained [from the borrow areas shown] [or] [from approved sources outside the limits of Government-controlled land at the Contractor's responsibility].  [The Contracting Officer shall be notified sufficiently in advance prior to opening any borrow area to permit elevations and measurements of the undisturbed ground area to be taken.]  Borrow areas shall be neatly trimmed and drained after borrow excavations are completed.

## 3.10	EXCAVATED MATERIALS

Satisfactory excavated material required for fill or backfill shall be placed in the proper section of the permanent work required under this section or shall be separately stockpiled if it cannot be readily placed.  Satisfactory material in excess of that required for the permanent work and all unsatisfactory material shall be disposed of [in designated spoil areas] [outside the limits of Government-controlled land and at the Contractor's responsibility].

## 3.11	FINAL GRADE OF SURFACES TO SUPPORT CONCRETE

Excavation to final grade shall not be made until just before concrete is to be placed.  Only excavation methods that will leave the foundation rock in a solid and unshattered condition shall be used.  Approximately level surfaces shall be roughened, and sloped surfaces shall be cut as indicated into rough steps or benches to provide a satisfactory bond.  Shales shall be protected from slaking or other erosion resulting from ponding or flow of water.

## 3.12	SUBGRADE PREPARATION

Unsatisfactory material in surfaces to receive fill or in excavated areas shall be removed and replaced with satisfactory materials.  The surface shall be scarified to a depth of 6 inches before the fill is started. Sloped surfaces steeper than 1 vertical to 4 horizontal shall be plowed, stepped, benched, or broken up so that the fill material will bond with the existing material.  When subgrades are less than the specified density, the ground surface shall be broken up to a minimum depth of 6 inches, pulverized, and compacted to the specified density.  When the subgrade is part fill and part excavation or natural ground, the excavated or natural ground portion shall be scarified to a depth of 12 inches and compacted as specified for the adjacent fill.  Material shall not be placed on surfaces that are muddy, frozen, or contain frost.  Compaction shall be accomplished by sheepsfoot rollers, pneumatic-tired rollers, steel-wheeled rollers, or other approved equipment well suited to the soil being compacted.  Material shall be moistened or aerated as necessary to plus or minus [_____] percent of optimum moisture.  Minimum subgrade density shall be as specified in paragraph FILLING AND BACKFILLING.

## 3.13	FILLING AND BACKFILLING

Satisfactory materials shall be used in bringing fills and backfills to the lines and grades indicated and for replacing unsatisfactory materials.  Satisfactory materials shall be placed in horizontal layers not exceeding 8 inches in loose thickness, or 6 inches when hand-operated compactors are used.  After placing, each layer shall be plowed, disked, or otherwise broken up, moistened or aerated as necessary, thoroughly mixed and compacted as specified.  Backfilling shall not begin until construction below finish grade has been approved, underground utilities systems have been inspected, tested and approved, forms removed, and the excavation cleaned of trash and debris.  Backfill shall be brought to indicated finish grade.  Backfill shall not be placed in wet or frozen areas.  Where pipe is coated or wrapped for protection against corrosion, the backfill material up to an elevation 2 feet above sewer lines and 1 foot above other utility lines shall be free from stones larger than 1 inch in any dimension.  Heavy equipment for spreading and compacting backfill shall not be operated closer to foundation or retaining walls than a distance equal to the height of backfill above the top of footing; the area remaining shall be compacted in layers not more than 4 inches in compacted thickness with power-driven hand tampers suitable for the material being compacted.  Backfill shall be placed carefully around pipes or tanks to avoid damage to coatings, wrappings, or tanks.  Backfill shall not be placed against foundation walls prior to 7 days after completion of the walls.  As far as practicable, backfill shall be brought up evenly on each side of the wall and sloped to drain away from the wall.  Each layer of fill and backfill shall be compacted to not less than the percentage of maximum density specified below:

Percent Laboratory

maximum density

_______________

Cohesive         Cohesionless

material           material

________           ________

Fill, embankment, and backfill

______________________________

Under structures, building slabs,

steps, paved areas, around

footings, and in trenches                 90                 95

Under sidewalks and grassed areas           85                 90

[Expansive materials                Compacted to not less than [_____]

percent nor more than [_____] percent]

Nonfrost susceptible materials                                 95

Subgrade

________

Under building slabs, steps, and paved

areas, top 12 inches                       90                95

Under sidewalks, top 6 inches                85                90

Approved compacted subgrades that are disturbed by the Contractor's operations or adverse weather shall be scarified and compacted as specified herein before to the required density prior to further construction thereon.  Recompaction over underground utilities and heating lines shall be by hand tamping.  Compaction equipment or methods that produce horizontal or vertical earth pressures which cause excessive distortion or damage to the structure shall not be used.

## 3.14	TESTING

Testing shall be the responsibility of the Contractor and shall be performed at no additional cost to the Government.  Testing shall be performed by an approved commercial testing laboratory or may be performed by the Contractor subject to approval.  Field in-place density shall be determined in accordance with [ASTM D 1556], [ASTM D 2167], or [ASTM D 2922].  When ASTM D 2922 is used, the calibration curves shall be checked and adjusted if necessary by the procedure described in ASTM D 2922, paragraph ADJUSTING CALIBRATION CURVE.  ASTM D 2922 results in a wet unit weight of soil and when using this method ASTM D 3017 shall be used to determine the moisture content of the soil.  The calibration curves furnished with the moisture gauges shall also be checked along with density calibration checks as described in ASTM D 3017.  The calibration checks of both the density and moisture gauges shall be made at the beginning of a job on each different type of material encountered and at intervals as directed by the Contracting Officer.  ASTM D 2937 shall be used only for soft, fine-grained, cohesive soils.  The following number of tests, if performed at the appropriate time, shall be the minimum acceptable for each type operation.

### 3.14.1	In-Place Densities

#### 3.14.1.1	In-Place Density of Subgrades

One test per [_____] square foot or fraction thereof.

#### 3.14.1.2	In-Place Density of Fills and Backfills

One test per [_____] square foot or fraction thereof of each lift for fill or backfill areas compacted by other than hand or hand-operated machines. The density for each lift of fill or backfill materials for trenches, pits, building perimeters or other structures or areas less than [_____] feet in width, which are compacted with hand or hand-operated machines shall be tested as follows:  One test per each area less than [_____] square feet, or one test for each [_____] linear foot of long narrow fills [_____] feet or more in length.  [If ASTM D 2922 is used, in-place densities shall be checked by ASTM D 1556 as follows:  One check per lift for each [_____] linear feet of long narrow fills, and a minimum of [_____] checks per lift for other fill and backfill areas.]

### 3.14.2	Moisture Content

In the stockpile, excavation or borrow areas, a minimum of two tests shall be made per day per type of material or source of materials being placed during stable weather conditions.  During unstable weather, tests shall be made as dictated by local conditions and approved moisture content shall be tested in accordance with ASTM D 2216.

### 3.14.3	Optimum Moisture and Laboratory Maximum Density

Tests shall be made for each type material or source of material including borrow material to determine the optimum moisture and laboratory maximum density values.  One representative test per [_____] cubic yards of fill and backfill, or when any change in material occurs which may affect the optimum moisture content or laboratory maximum density will be made.

## 3.15	CAPILLARY WATER BARRIER

Capillary water barrier under concrete floor and area-way slabs on grade shall be placed directly on the subgrade and shall be compacted with a minimum of two passes of a hand-operated plate-type vibratory compactor.

## 3.16	GRADING

Areas outside of each building and structure line shall be constructed true-to-grade, shaped to drain, and shall be maintained free of trash and debris until final inspection has been completed and the work has been accepted.

## 3.17	SPREADING TOPSOIL

Areas outside the building lines from which topsoil has been removed shall be topsoiled.  The surface shall be free of materials that would hinder planting or maintenance operations.  The subgrade shall be pulverized to a depth of 2 inches by disking or plowing for the bonding of topsoil with the subsoil.  Topsoil shall then be uniformly spread, graded, and compacted to the thickness, elevations, slopes shown, and left free of surface irregularities.  Topsoil shall be compacted by one pass of a cultipacker, roller, or other approved equipment weighing 100 to 160 pounds per linear foot of roller.  Topsoil shall not be placed when the subgrade is frozen, excessively wet, extremely dry, or in a condition otherwise detrimental to seeding, planting, or proper grading.

## 3.18	PROTECTION

Settlement or washing that occurs in graded, topsoiled, or backfilled areas prior to acceptance of the work shall be repaired and grades reestablished to the required elevations and slopes.