## Instructions
PURPOSE
1 | To determine the overall authorized space for all Fitness and HAWC facilities for an installation
2 | Generate a total space program for core and enhanced spaces for all Fitness and HAWC facilities on an installation
3 | Compares the existing space with the authorized space.
INSTRUCTIONS
1 | Fill in light turquoise boxes only
2 | Determine installation population figures and replace default data on TDY and Population sheet. This shows authorization for FC & HAWC and min # of gym Courts
3 | Answer questions in questionnaire. Replace default data with projected data in green boxes.
4 | Space Alloc' Chart will show what is authorized for your base and develop a space allocation chart for the each sub space.
5 | Go to 3-SpaceAlloc sheet and fill in the green boxes with numbers following the instructions in the "Planning Factor" column
The goal is to get the Gross SF for the FC & HAWC in column "L" to get as close to Authorized SF in column "M" without going over
Figures already listed are 'defaults' figures and can be changed
Use "Samples" sheet for the types of numbers needed
Work with your architect or contact AFSVA for more information
6 | OPTION: for comparing the existing facilities with the authorized amount, insert actual figures from measurements or real property records to determine the shortfall or overage.

## TDY Calc
| Event1 | Event2 | Event3 | Event4 | Event5 | Event6 | Event7 | Event8 | Event9 | Event10 | Event11 | Event12 | Total | Amt sent to Population | single @75% | 90% on-base
Event Name | Event1: Sample
Persons in TDY status | Event1: 24
Length of TDY (must be over 30 calendar days) | Event1: 60
Offerings per Year | Event1: 10
Days FC is open per year | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360
| 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 40 | 30 | 27
EXAMPLE
| Event1 | Event2 | Event3 | Event4 | Event5 | Event6 | Event7 | Event8 | Event9 | Event10 | Event11 | Event12 | Total
Event Name | Event1: Aircraft Course; Event2: Admin Training Course; Event3: Crypto Training Exercise
Persons in TDY status | Event1: 200; Event2: 50; Event3: 550
Length of TDY in days (must be over 30 calendar days) | Event1: 60; Event2: 90; Event3: 179
Offerings per Year | Event1: 6; Event2: 2; Event3: 1
Days FC is open per year | 363 | 363 | 363 | 363 | 363 | 363 | 363 | 363 | 363 | 363 | 363 | 363
Average Daily TDY Load | 198.3471 | 24.7934 | 271.2121 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 494.3526 | 494.3526
Provide installation data in the light turquoise boxes; over-write the default data.

## 1-Population
Base Population Computation
Base Name: |  | Home Town AFB |  |  |  |  | Provide installation data in the light turquoise boxes; over-write the default data.
| Population Category | Input | Design Guide |  | 32-1084 |  | Comments
|  |  | Factor | Total | Factor | Total
1 | Assigned Military Personnel | 2000 | 100% | 2000 | 100% | 2000 | Include Air Force and other U.S. military personnel, full-time Air Force Reserve and Air National Guard assigned to the installation. Include the number of military personnel from interservice support agreements with other U.S. and foreign/NATO services.
2 | Family Members aged 13 years or older (Calculated from figures provided below) | 500 | 50% | 250 | 50% | 250 | Includes all spouses, and children 13 years or older for those included in the Assigned Military personnel category.
3 | Total Family Members | 1000 |  |  |  |  | Includes all spouses, and children for those included in the Assigned Military personnel category.
4 | DoD Civilians assigned overseas | 0 | 100% | 0 | 100% | 0 | This category only applies if the base is overseas or in Alaska or Hawaii. Include DoD, NAF, AAFES, and DoDEA personnel. Do not include personnel as DoD civilians if they are counted as Family Members.
5 | PCS members, students, or members TDY | 40 |  |  | 25% | 10 | When the installation regularly serves a substantial number (100 or more) of military transients greater than 30 consecutive days, the average daily strength, based on a firm projection of the total yearly load of such transients, may be added to the base population.
6 | Host Nation Military or NATO Alliances | 0 | 100% | 0 | 100% | 0 | For PACAF and USAFE installations: assigned military members of host nations or NATO alliances may be added to the base population.
| Total Population |  |  | 2290 |  | 2260
When complete, go to the Allowable Area worksheet.
Information from Base
Information from Base
Information from Base
Information from Sheet A
Information from Base

## 2-Allowable Area
Allowable Area Computation
Base Name: |  |  |  | Home Town AFB
Maximum Area Allocation for Fitness Center and HAWC | [6 empty] | Fitness Center Auth |  | Max HAWC Auth |  | Min
Category | Population Bracket |  |  | Allowable SF | SM |  | Allowable SF | SM | Allowable SF | SM | BB Courts
Small | 0 | - | 1000 | 55029 | 5112.1941 |  | 51029 | 4740.5941 | 4000 | 371.6 | 1
Medium 1 | 1001 | - | 2000 | 62229 | 5781.0741 | 7200 | 57229 | 5316.5741 | 5000 | 464.5 | 1
Medium 2 | 2001 | - | 3000 | 69429 | 6449.9541 | 7200 | 64429 | 5985.4541 | 5000 | 464.5 | 1
Medium 3 | 3001 | - | 4000 | 76629 | 7118.8341 | 7200 | 71629 | 6654.3341 | 5000 | 464.5 | 2
Medium 4 | 4001 | - | 5000 | 83829 | 7787.7141 | 7200 | 78829 | 7323.2141 | 5000 | 464.5 | 2
Large | 5001 | - | 6000 | 91029 | 8456.5941 | 7200 | 85029 | 7899.1941 | 6000 | 557.4 | 2
1 | 6001 | - | 7000 | 98236 | 9126.1244 | 7207 | 92236 | 8568.7244 | 6000 | 557.4 | 2
2 | 7001 | - | 8000 | 103236 | 9590.6244 |  | 97236 | 9033.2244 | 6000 | 557.4 | 2
3 | 8001 | - | 9000 | 108236 | 10055.1244 |  | 102236 | 9497.7244 | 6000 | 557.4 | 2
4 | 9001 | - | 10000 | 113236 | 10519.6244 |  | 107236 | 9962.2244 | 6000 | 557.4 | 2
5 | 10001 | - | 11000 | 118236 | 10984.1244 |  | 112236 | 10426.7244 | 6000 | 557.4 | 2
6 | 11001 | - | 12000 | 123236 | 11448.6244 |  | 117236 | 10891.2244 | 6000 | 557.4 | 3
7 | 12001 | - | 13000 | 128236 | 11913.1244 |  | 122236 | 11355.7244 | 6000 | 557.4 | 3
8 | 13001 | - | 14000 | 133236 | 12377.6244 |  | 127236 | 11820.2244 | 6000 | 557.4 | 3
9 | 14001 | - | 15000 | 138236 | 12842.1244 |  | 132236 | 12284.7244 | 6000 | 557.4 | 3
10 | 15001 | - | 16000 | 143236 | 13306.6244 |  | 137236 | 12749.2244 | 6000 | 557.4 | 3
11 | 16001 | - | 17000 | 148236 | 13771.1244 |  | 142236 | 13213.7244 | 6000 | 557.4 | 3
12 | 17001 | - | 18000 | 153236 | 14235.6244 |  | 147236 | 13678.2244 | 6000 | 557.4 | 3
13 | 18001 | - | 19000 | 158236 | 14700.1244 |  | 152236 | 14142.7244 | 6000 | 557.4 | 3
14 | 19001 | - | 20000 | 163236 | 15164.6244 |  | 157236 | 14607.2244 | 6000 | 557.4 | 3
15 | 20001 | - | 21000 | 168236 | 15629.1244 |  | 162236 | 15071.7244 | 6000 | 557.4 | 3
16 | 21001 | - | 22000 | 173236 | 16093.6244 |  | 167236 | 15536.2244 | 6000 | 557.4 | 3
17 | 22001 | - | 23000 | 178236 | 16558.1244 |  | 172236 | 16000.7244 | 6000 | 557.4 | 3
18 | 23001 | - | 24000 | 183236 | 17022.6244 |  | 177236 | 16465.2244 | 6000 | 557.4 | 4
19 | 24001 | - | 25000 | 188236 | 17487.1244 |  | 182236 | 16929.7244 | 6000 | 557.4 | 4
20 | 25001 | - | 26000 | 193236 | 17951.6244 |  | 187236 | 17394.2244 | 6000 | 557.4 | 4
21 | 26001 | - | 27000 | 198236 | 18416.1244 |  | 192236 | 17858.7244 | 6000 | 557.4 | 4
22 | 27001 | - | 28000 | 203236 | 18880.6244 |  | 197236 | 18323.2244 | 6000 | 557.4 | 4
23 | 28001 | - | 29000 | 208236 | 19345.1244 |  | 202236 | 18787.7244 | 6000 | 557.4 | 4
24 | 29001 | - | 30000 | 213236 | 19809.6244 |  | 207236 | 19252.2244 | 6000 | 557.4 | 4
Total Population | 2290 |  |  | 69429 | 6449.9541 |  | 64429 |  | 5000 |  | 1
Home Town AFB | Population Bracket |  |  | Allowable SF | SM |  | Allowable SF |  | Allowable SF
Note on B4: SinkfieldR: Includes indoor track.
Note on J4: SinkfieldR: Auth space including indoor track. Deduct 4400 SF when providing an outdoor track.
From Population Worksheet

## 3-Questionnaire
Home Town AFB | [15 empty] | Proposed | Authorized
[15 empty] | Category |  | Category
[15 empty] | Population |  | 2290
[9 empty] | Allowable SF | [5 empty] | Allowable SF FC+HAWC |  | 69429
[9 empty] | OCONUS | [5 empty] | OCONUS |  | 76371.9
[15 empty] | above/(below) Allowable | 0 |  | above/(below) Allowable
[15 empty] | above/(below) Allowable OCONUS | 62586.27 |  | above/(below) Allowable OCONUS
| Planning Rate | Planning Factor | [5 empty] | Answer Type | Fill in (or adjust) boxes green only | Fill in boxes green only |  | *must be within Allowable SF --> |  |  | Current FC&HAWC SF | 62586.27 | 69429
Rate
[5 empty] | Max | Min | Calc |  |  | Ratios | Staff | Visitors | Paticipants | Units/ Areas | SF | SF | SF
CORE SPACES | [7 empty] | How many main buildings are needed? | 1
VISITOR & SPECTATOR SUPPORT | [15 empty] | 2570
Vestibule/Entry Lobby | Provide up to 1 per primary entry per bldg | 100 | SF | per Bldg |  |  |  | How many main buildings need a vestibule? | 1 |  |  |  |  | 1 | 100
Lobby | Provide 3 sf for each Spectator Seat | 3 | SF | per PN | [10 empty] | 1800
Control Point/Reception | Provide 3 sf per gym spectator | 125 | SF | per PN | [6 empty] | 1 |  |  |  | 125
Equipment issue storage | Provide up to 1 per building | 175 | SF | per Control Point | [6 empty] | 1 |  |  |  | 175
Retail | Provide up to 1 per building when combined with Control point | 50 | SF | per PN |  |  |  | How many retail areas are needed? | 1 |  | 1 |  |  |  | 50
Vending | up to 1 per building (provide if no retail) | 20 | SF | per Machine |  |  |  | How many retail areas are needed? | 1 |  | 1 |  |  |  | 20
Public Restrooms | 1 Lav/WC per 100 Spectators | 50 | SF | per 100 spectators | [10 empty] | 300
ADMINISTRATION | [15 empty] | 1200
Fitness Center Director's Office | 1 office per bldg (includes 1 staff; 3 visitors) | 125 | SF | per Private Office |  |  |  |  | 1 |  | 1 | 3 |  |  | 125
Sports Program Manager's Office | 1 office per installation (includes 1 staff; 1 visitor) | 100 | SF | per Private Office |  |  |  |  | 1 |  | 1 | 1 |  |  | 100
Operation's Manager | 1 office per installation (includes 1 staff; 1 visitor) | 100 | SF | per Private Office |  |  |  |  | 1 |  | 1 |  |  |  | 100
NCOIC's Office | 1 office per installation (includes 1 staff; 1 visitor) | 100 | SF | per Private Office |  |  |  |  | 1 |  | 1 |  |  |  | 100
Staff Workroom | # of 6 x 8 workstations + work area | 80 | SF | per workstn |  |  |  | How many separate individual workstations are needed? | 5 |  | 5 |  |  |  | 400
Conference/Classroom | use a baseline of 25 pn; provide only if HAWC is not collocated | 25 | SF | per PN |  |  |  | What is the max Nr of persons expected in Conference Room? | 15 |  | 15 | 15 |  |  | 375
SUPPORT | [15 empty] | 1655
Laundry | Installation specific; includes 1W/2D, commercial grade; folding table, sink, storage shelves, laundry carts, and optional ice machine per unit. Min 1. | 200 | SF | per room unit |  | 1 |  | How many units of 1-washer/2-dryers are needed? | 2 |  | 2 |  |  |  | 400
Storage | 35% of Fitness Equip Space | 35% |  | of Cardio/Selectorized Equip Area | [10 empty] | 805
Equipment Repair | 10% of Storage | 10% |  | of Storage (min 100SF) |  | 100 | 80.5 | [7 empty] | 100
Service Entrance and Receiving | 10% of Fitness Equip Space | 10% |  | of Cardio/Selectorized Equip Area (min 100SF) |  | 100 | 230 | [7 empty] | 230
Janitorial | Provide 1 per major bldg wing/floor | 60 | SF | per room |  |  |  | How many wings and floors will need a janitor's closet? | 2 |  | 2 |  |  | 2 | 120
LOCKER ROOMS | Provide 1.5 lockers for max number of participants in bldg | [12 empty] | 435
Men's Locker Room | # of mens lockers is the percentage of men users times the total lockers needed | [6 empty] | What is the percentage of men vs women using bldg? | 50% | 50% |  |  |  | Lkrs |  | 4401.6
Dressing Room (Standard Lockers) | Provide percentage of standard lockers needed | 8 | SF | per Floor Lkr |  |  |  | What is the percentage of standard vs cold weather lockers needed? | 100% | 100% |  |  |  | 217.5 | 1566
Dressing Room (Cold WX) | Remainder from standard lockers needed | 10 | SF | per FloorCold WX Lkr |  |  |  |  | 0% | 0% |  |  |  | 0 | 0
Double Tier Lockers | Provide percentage of 2-tier lockers needed | [6 empty] | What is the percentage of men's 2-tier lockers? | 20% | 20% |  |  |  | 43.5
Single-tier Lockers | Remainder from 2-tier lockers needed | [7 empty] | 80% | 80% |  |  |  | 174
Total Mens Lockers | Percentage of men users times the total lockers needed | [12 empty] | 217.5
Shower/Drying | 1 Shwr per 20 lockers | 35 | SF | Shower | [9 empty] | 10.875 | 385
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC | [9 empty] | 7.25 | 350
Sauna Room | 1 PN per 15 lockers | 15 | SF | per PN | [9 empty] | 14.5 | 225
Steam Room | 1 PN per 15 lockers | 15 | SF | per PN | [9 empty] | 14.5 | 225
Circulation | 50% of all locker room spaces | 60% | [12 empty] | 1650.6
Women's Locker Room | Remainder from mens lockers | [7 empty] | 50% | 50% | [5 empty] | 4209.6
Dressing Room (Standard Lockers) | Provide percentage of standard lockers needed | 8 | SF | per Floor Lkr |  |  |  | What is the percentage of standard vs cold weather lockers needed? | 100% | 100% |  |  |  | 217.5 | 1566
Dressing Room (Cold WX) | Remainder from standard lockers needed | 10 | SF | per Floor Lkr |  |  |  |  | 0% | 0% |  |  |  | 0 | 0
Double Tier Lockers | Provide percentage of 2-tier lockers needed | [6 empty] | What is the percentage of women's 2-tier lockers? | 20% | 20% |  |  |  | 43.5
Single-tier Lockers | Remainder from 2-tier lockers needed | [7 empty] | 80% | 80% |  |  |  | 174
Total Womens Lockers | Percentage of women users times the total lockers needed | [8 empty] | 100% |  |  |  | 217.5
Shower/Drying | 1 Shwr per 20 lockers | 35 | SF | Shower | [9 empty] | 10.875 | 385
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC | [9 empty] | 7.25 | 350
Sauna Room | 1 PN per 20 lockers | 15 | SF | per PN | [9 empty] | 10.875 | 165
Steam Room | 1 PN per 20 lockers | 15 | SF | per PN | [9 empty] | 10.875 | 165
Circulation | 50% of all locker room spaces | 60% | [12 empty] | 1578.6
Gymnasium | [15 empty] | 12300
Basketball/volleyball | NCAA Court + 10' safety area all sides (est 40 participants/court) | 8800 | SF | Court |  |  |  | How many basketball Courts are needed? (number shown is min from Population Sheet) | 1 |  |  |  | 40 | 1 | 8800
Addl. Spectator courtside seating (90 LF) | 1 section=4 rows of seats, 200 pn | 900 | SF | 200PN Bleacher Section |  |  |  | How many side seating sections needed? | 2 |  |  | 400 |  | 2 | 1800
Addl. Spectator court-end seating (50 LF) | 1 section=4 rows of seats, 100 pn | 500 | SF | 100PN Bleacher Section |  |  |  | How many end seating sections needed? | 2 |  |  | 200 |  | 2 | 1000
Storage/support | Provide 700 sf for first court | 700 | SF | 1st Court | [10 empty] | 700
Addl. storage (per addl. ct) | Provide additional 350 sf per addl court | 350 | SF | per 2nd Court or more | [10 empty] | 0
Group Exercise | [15 empty] | 5700
Stretching Area | Provide 1 area per 50 participants | 100 | SF | per rm over 50PN |  |  | 2 | [7 empty] | 200
Group Exercise | Provide 50 sf/participant for max Unit PT group (added to participant count) | 50 | SF | per PN |  |  |  | Nr of max PT group (enter local estimate of largest single group) | 100 |  |  |  | 100 |  | 5000
Group Exercise Storage | 10% of the exercise space | 10% | SF | of Group Exercise | [10 empty] | 500
Fitness Equipment Spaces | (1-participant per mach/station) | [5 empty] | 68 | [8 empty] | 4145
Stretching Area | provide 100 sf per 50 participants | 100 | SF | per 50PN |  |  | 2 | [7 empty] | 200
Cardiovascular Equipment | Provide 50 sf per machine (use actual or estimate 10 machines for small, 30 med, 50 large) | 50 | SF | per Machine |  |  |  | How many Cardio Machines? | 30 |  |  |  | 30 | 30 | 1500
Selectorized Weight Training | Provide 50 sf per station (use actual or estimate for a 16pc set; 1 set per small base) | 50 | SF | per station |  |  |  | How many Selectorized Machines? | 16 |  |  |  | 16 | 16 | 800
Crossover machine | Provide 60 sf per station (use actual or estimate1 per small base) | 60 | SF | per station |  |  |  | How many Crossover Machines? | 2 |  |  |  | 2 | 2 | 120
Chin/Dip Assist machine | Provide 40 sf per station (use actual or estimate1 per small base) | 40 | SF | per station |  |  |  | How many Chin-Dip Machines? | 2 |  |  |  | 2 | 2 | 80
Free Weights | Provide 65 sf per station (use actual or estimate for a 17pc set; 1 set per small base | 65 | SF | per station |  |  |  | How many Free-Weight Stations? | 18 |  |  |  | 18 | 18 | 1170
Fitness Director's Office | Provide a Fitness Director's Office (includes 1-staff, 1-participant, 1- visitor, 1 pc cardio equip) | 150 | SF | per PN |  |  |  | Is there a Fitness Director's Office? 1=yes; 0=No | 1 |  | 1 | 1 | 1 | 1 | 150
Fitness Assessment Room | Provide 1 per facility (includes 1-staff, 1-participant, 1- visitor) | 125 | SF | per PN |  |  |  |  | 1 |  | 1 | 1 | 1 | 1 | 125
Racquetball Courts | Provide a minimum of 2 per facility (includes 6-participants, 6 visitors per court) | 800 | SF | per Court |  |  |  | How many Courts? (minimum is calculated) | 2 |  |  | 12 | 12 | 2 | 1600 | 1760
Racquetball Spectators | Provide a 25 person spectator area; 1 min | 160 | SF | per area (min 1) |  |  |  | How many 25 person spectator areas are needed? (min 1) | 1 |  |  | 25 |  | 1 | 160
Indoor Track* | Provide up to one indoor 1/8 mi track per bldg (includes 16-participants) | 4000 | SF | per Track (half scope) |  |  |  | Is an indoor track needed? 1=yes; 0=No | 1 |  |  |  | 16 | 1 | 4000 | 4144
Indoor Track Lobby* | Provide an access Point for tracks (includes 4 visitors) | 144 | SF | per Track | [7 empty] | 4 |  | 1 | 144
Net Total | [10 empty] | 34 | 662 | 238 |  | 42085.2
Add 35% for circulation, RR, and Mech | [14 empty] | 14729.82
Fitness Core Areas Gross Space | [14 empty] | 56815.02 | 56815.02 | 64429
HEALTH AND WELLNESS CENTER | [8 empty] | 1 | [6 empty] | 4275
Reception/Waiting/Library | Provide 300 sf per center (includes 1-staff, 10 visitors) | 300 | SF | per HAWC |  |  |  |  | 1 |  | 1 | 10 |  |  | 300
Office Space/Director | Provide 1 office per center (includes 1 staff; 1 visitors) | 125 | SF | per Office |  |  |  |  | 1 |  | 1 | 1 |  |  | 125
Office Space/Other Private | Provide 1 office per center (includes 1 staff; 1 visitors) | 100 | SF | per Office |  |  |  |  | 1 |  | 1 | 1 |  |  | 100
Support Staff Workstations | # of 6 x 8 workstations + work area | 80 | SF | per Workstation |  |  |  | How many separate individual workstations are needed? | 3 |  | 3 |  |  |  | 240
Classrooms (large room w/ a divider to create 2 rooms) |  | 25 | SF | per PN |  |  |  | What is the max Nr of persons expected in classoom? | 40 |  | 40 | 40 |  |  | 2000
Ergometry and Fitness Testing | 1-station per 1500 active duty | 80 | SF | per Stn | [8 empty] | 0 | 0 | 0
Wellness Assessment Room | Provide 125 sf per system | 125 | SF | per Fitness Testing System |  |  |  | How many Systems are needed? | 2 |  |  |  | 2 | 2 | 500
Equipment Demonstration Room (if not collocated w/ Fitness Center) | Provide 50 sf per machine | 50 | SF | per Machine (maximum of of 400 SF) | 400 |  |  | How many machines are needed? | 6 |  |  |  | 12 | 6 | 600
Janitor Closet/Storage | Provide 1 per center | 60 | SF | per room |  |  |  |  | 1 |  |  |  |  | 1 | 60
Restrooms | Provide 1 lav/wc per 15 visitors | 50 | SF | per WC/Lav | [9 empty] | 7 | 350
Net Total | [10 empty] | 46 | 52 | 14 |  | 4275
Add 35% for circulation, RR, and Mech | [14 empty] | 1496.25
HAWC Core Areas Gross Space | [14 empty] | 5771.25 | 5771.25 | 5000
ENHANCED AREAS | [15 empty] | 4050
Lap Pool | 25m x 6 lanes | 7616 | SF |  |  |  |  | Is a 6-lane pool included? 1=yes; 0=No |  |  | 0 | 0 | 0 | 0 | 0
Lap Pool (alt) | 25m x 8 lanes | 9371.04 | SF |  |  |  |  | Is an 8-lane pool included? 1=yes; 0=No |  |  | 0 | 0 | 0 | 0 | 0
Distinguished Visitors (DV) Locker Rooms |  | 61 | SF | per room
Men
Dressing Room (Standard Lockers) | Provide percentage of standard lockers needed | 8 | SF | per Floor Lkr |  |  |  | What is the percentage of standard vs cold weather lockers needed? | 100% | 100% |  |  |  | 40 | 320
Dressing Room (Cold WX) | Remainder from standard lockers needed | 10 | SF | per FloorCold WX Lkr |  |  |  |  | 0% | 0% |  |  |  | 0 | 0
Double Tier Lockers | Provide percentage of 2-tier lockers needed | [6 empty] | What is the percentage of men's 2-tier lockers? | 0% | 0% |  |  |  | 0
Single-tier Lockers | Remainder from 2-tier lockers needed | [7 empty] | 100% | 100% |  |  |  | 40
Total Lockers | Estimate # of lockers needed | [6 empty] | How many mens DV lockers are needed | 40 | 100% |  |  |  | 40
Shower/Drying | 1 Shwr per 20 lockers | 35 | SF | Shower | [9 empty] | 2 | 70
Circulation | 50% of all locker room spaces | 50% | [12 empty] | 195
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC | [9 empty] | 1 | 50
Women
Dressing Room | 1 lkr per participant (enter % of Std Lockers) | 8 | SF | per Floor Lkr |  |  |  | What is the percentage of standard vs cold weather lockers needed? | 100% | 100% |  |  |  | 40 | 320
Dressing Room (Cold WX) | 1 lkr per participant (enter % of Cold WX) | 10 | SF | per FloorCold WX Lkr |  |  |  |  | 0% | 0% |  |  |  | 0 | 0
Double Tier Lockers | choose % of 2tier lkrs | [6 empty] | What is the percentage of men's 2-tier lockers? | 0% | 0% |  |  |  | 0
Single-tier Lockers | [8 empty] | 100% | 100% |  |  |  | 40
Total Lockers | [7 empty] | How many womens DV lockers are needed | 40 | 100% |  |  |  | 40
Shower/Drying | 1 Shwr per 25 lockers | 35 | SF | Shower | [9 empty] | 2 | 70
Circulation | 50% of all locker room spaces | 50% | [12 empty] | 195
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC | [9 empty] | 1 | 50
Family Locker Room (Dressing, lkrs, RestRm) |  | 160 | SF | per shower, wc, lav, changing, and locker |  |  |  | How many Family Locker Rooms? | 2 |  |  |  |  | 2 | 320
Parent/Child Area (PCA) | Provide 60 sf per child (includes 35sf/child and 1 adult machine per 2 children) | 60 | SF | child |  |  |  | How many Children are expected? | 20 |  |  |  | 20 |  | 1200
HAWC Relaxation Room | Provide 100 sf per room (incl 1 staff; 1-participant) | 100 | SF | per room | 1 |  |  | How many Rooms? | 1 |  | 1 |  | 1 | 1 | 100
HAWC Kitchen/Food Demonstration Room | Provide 400 sf per room (incl 1 staff, 10-participant) | 400 | SF | per room |  |  |  | How many Rooms? | 1 |  | 1 |  | 10 | 1 | 400
Massage Room | Provide 100 sf per room (incl 1 staff, 1-participant) | 120 | SF | per room |  |  |  | How many Rooms? | 1 |  | 1 |  | 1 | 1 | 120
Expanded Retail Area | Provide 100 sf per area | 100 | SF | per room |  |  |  | How many areas? (1 max) | 1 |  | 1 | 4 |  | 1 | 100
Juice Bar | Provide 150 sf per area | 150 | SF | per room |  |  |  | How many areas? (1 max) | 1 |  | 1 | 4 |  | 1 | 150
Expanded Juice Bar Seating | Provide 80 sf per 4-top table seating | 80 | SF | per room |  |  |  | How many 4-top tables | 3 |  |  | 12 |  | 3 | 240
Spa Area | Provide 150 sf per room (incl 6-participant) | 150 | SF | per room |  |  |  | How many areas? (1 max) | 1 |  |  |  | 6 | 1 | 150
Net Total | [10 empty] | 5 |  | 38 |  | 4050
Add 35% for circulation, RR, and Mech | [14 empty] | 1417.5
Total Enhanced Gross Space | [14 empty] | 5467.5 | 5467.5
Building Gross (including track at full scope) | [15 empty] | 68053.77
|  |  |  | Total | [6 empty] | 85 | 714 | 290
Site Parking (See AFH32-1084 para 20.2.2.2 and note 1 of table 20.2)
| Staff | 0.5 spaces per staff | [8 empty] | 42.5
| Visitors and Participants | 25% of participants | [10 empty] | 72.5
| Spectators | 10% of capacity | [9 empty] | 71.4
| Pools | 20% of capacity
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
Note on A68: Rick Sinkfield: Tip: adjust the numbers below to get the proposed SF near to authorized
Note on J66: Rick Sinkfield: Tip: adjust this number to get the proposed SF near to authorized
Note on J89: Rick Sinkfield: Tip: adjust this number to get the proposed HAWC SF near to authorized
Note on Q9: SinkfieldR: Do not exceed number to the right
Note on Q83: SinkfieldR: Do not exceed number to the right for the HAWC
Note on Q97: SinkfieldR: Do not exceed number to the right

## 4-SpaceAlloc
[15 empty] | 0 | Proposed | Authorized
[15 empty] | Category | 0 | Category
[15 empty] | Population | 0 | 2290
[15 empty] | 0 | 0 | 0
[15 empty] | Allowable SF FC+HAWC | 0 | 69429
[15 empty] | OCONUS | 0 | 76371.9
[15 empty] | above/(below) Allowable | 0
[15 empty] | above/(below) Allowable OCONUS | 62586.27
| Planning Rate | Planning Factor | [5 empty] | Fill in boxes green only | Fill in (or adjust) boxes green only | Fill in boxes green only |  | *must be within Allowable SF --> |  |  | Current FC&HAWC SF | 62586.27 | 69429
0
| Rate | [7 empty] | 0
[5 empty] | Max | Min | Calc | Ratios | 0 | Ratios | Staff | Visitors | Paticipants | Units/ Areas | SF | SF | SF
CORE SPACES | [7 empty] | How many main buildings are needed? | 1 | 0 | 0 | 0 | 0 | 0
VISITOR & SPECTATOR SUPPORT | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 |  | 2570
Vestibule/Entry Lobby | Provide up to 1 per primary entry per bldg | 100 | SF | per Bldg |  |  |  | How many main buildings need a vestibule? | 1 | 0 | 0 | 0 | 0 | 1 | 100
Lobby | Provide 3 sf for each Spectator Seat | 3 | SF | per PN | [5 empty] | 0 | 0 | 0 | 0 | 0 | 1800
Control Point/Reception | Provide 3 sf per gym spectator | 125 | SF | per PN | [5 empty] | 0 | 1 | 0 | 0 | 0 | 125
Equipment issue storage | Provide up to 1 per building | 175 | SF | per Control Point | [5 empty] | 0 | 1 | 0 | 0 | 0 | 175
Retail | Provide up to 1 per building when combined with Control point | 50 | SF | per PN |  |  |  | How many retail areas are needed? | 1 | 0 | 1 | 0 | 0 | 0 | 50
Vending | up to 1 per building (provide if no retail) | 20 | SF | per Machine |  |  |  | How many retail areas are needed? | 1 | 0 | 1 | 0 | 0 | 0
Public Restrooms | 1 Lav/WC per 100 Spectators | 50 | SF | per 100 spectators |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 300
ADMINISTRATION | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200
Fitness Center Director's Office | 1 office per bldg (includes 1 staff; 3 visitors) | 125 | SF | per Private Office |  |  |  |  | 1 | 0 | 1 | 3 | 0 | 0 | 125
Sports Program Manager's Office | 1 office per installation (includes 1 staff; 1 visitor) | 100 | SF | per Private Office |  |  |  |  | 1 | 0 | 1 | 1 | 0 | 0 | 100
Operation's Manager | 1 office per installation (includes 1 staff; 1 visitor) | 100 | SF | per Private Office |  |  |  |  | 1 | 0 | 1 | 0 | 0 | 0 | 100
NCOIC's Office | 1 office per installation (includes 1 staff; 1 visitor) | 100 | SF | per Private Office |  |  |  |  | 1 | 0 | 1 | 0 | 0 | 0 | 100
Staff Workroom | # of 6 x 8 workstations + work area | 80 | SF | per workstn |  |  |  | How many separate individual workstations are needed? | 5 | 0 | 5 | 0 | 0 | 0 | 400
Conference/Classroom | use a baseline of 25 pn; provide only if HAWC is not collocated | 25 | SF | per PN |  |  |  | What is the max Nr of persons expected in Conference Room? | 15 | 0 | 15 | 15 | 0 | 0 | 375
SUPPORT | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1655
Laundry | Installation specific; includes 1W/2D, commercial grade; folding table, sink, storage shelves, laundry carts, and optional ice machine per unit. Min 1. | 200 | SF | per room unit |  | 1 |  | How many units of 1-washer/2-dryers are needed? | 2 | 0 | 2 | 0 | 0 | 0 | 400
Storage | 35% of Fitness Equip Space | 35% |  | of Cardio/Selectorized Equip Area | [5 empty] | 0 | 0 | 0 | 0 | 0 | 805
Equipment Repair | 10% of Storage | 10% |  | of Storage (min 100SF) |  | 100 | 80.5 |  |  | 0 | 0 | 0 | 0 | 0 | 100
Service Entrance and Receiving | 10% of Fitness Equip Space | 10% |  | of Cardio/Selectorized Equip Area (min 100SF) |  | 100 | 230 |  |  | 0 | 0 | 0 | 0 | 0 | 230
Janitorial | Provide 1 per major bldg wing/floor | 60 | SF | per room |  |  |  | How many wings and floors will need a janitor's closet? | 2 | 0 | 2 | 0 | 0 | 2 | 120
LOCKER ROOMS | Provide 1.5 lockers for max number of participants in bldg | [7 empty] | 0 | 0 | 0 | 0 | 0 | 435 | 0
Men's Locker Room | # of mens lockers is the percentage of men users times the total lockers needed | [6 empty] | What is the percentage of men vs women using bldg? | 50% | 50% | 0 | 0 | 0 | Lkrs | 0 | 4401.6
Dressing Room (Standard Lockers) | Provide percentage of standard lockers needed | 8 | SF | per Floor Lkr |  |  |  | What is the percentage of standard vs cold weather lockers needed? | 100% | 100% | 0 | 0 | 0 | 217.5 | 1566
Dressing Room (Cold WX) | Remainder from standard lockers needed | 10 | SF | per FloorCold WX Lkr |  |  |  |  | 0% | 0% | 0 | 0 | 0 | 0 | 0
Double Tier Lockers | Provide percentage of 2-tier lockers needed | [6 empty] | What is the percentage of men's 2-tier lockers? | 20% | 20% | 0 | 0 | 0 | 43.5 | 0
Single-tier Lockers | Remainder from 2-tier lockers needed | [7 empty] | 0.8 | 80% | 0 | 0 | 0 | 174 | 0
Total Mens Lockers | Percentage of men users times the total lockers needed | [7 empty] | 0 | 0% | 0 | 0 | 0 | 217.5 | 0
Shower/Drying | 1 Shwr per 20 lockers | 35 | SF | Shower |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 10.875 | 385
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 7.25 | 350
Sauna Room | 1 PN per 15 lockers | 15 | SF | per PN |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 14.5 | 225
Steam Room | 1 PN per 15 lockers | 15 | SF | per PN |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 14.5 | 225
Circulation | 50% of all locker room spaces | 60% | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1650.6
Women's Locker Room | Remainder from mens lockers | [7 empty] | 50% | 50% | 0 | 0 | 0 | 0 | 0 | 4209.6
Dressing Room (Standard Lockers) | Provide percentage of standard lockers needed | 8 | SF | per Floor Lkr |  |  |  | What is the percentage of standard vs cold weather lockers needed? | 100% | 100% | 0 | 0 | 0 | 217.5 | 1566
Dressing Room (Cold WX) | Remainder from standard lockers needed | 10 | SF | per Floor Lkr |  |  |  |  | 0% | 0% | 0 | 0 | 0 | 0 | 0
Double Tier Lockers | Provide percentage of 2-tier lockers needed | [6 empty] | What is the percentage of women's 2-tier lockers? | 20% | 20% | 0 | 0 | 0 | 43.5 | 0
Single-tier Lockers | Remainder from 2-tier lockers needed | [7 empty] | 0.8 | 80% | 0 | 0 | 0 | 174 | 0
Total Womens Lockers | Percentage of women users times the total lockers needed | [7 empty] | 0 | 100% | 0 | 0 | 0 | 217.5 | 0
Shower/Drying | 1 Shwr per 20 lockers | 35 | SF | Shower |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 10.875 | 385
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 7.25 | 350
Sauna Room | 1 PN per 20 lockers | 15 | SF | per PN |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 10.875 | 165
Steam Room | 1 PN per 20 lockers | 15 | SF | per PN |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 10.875 | 165
Circulation | 50% of all locker room spaces | 60% | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1578.6
Gymnasium | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12300
Basketball/volleyball | NCAA Court + 10' safety area all sides (est 40 participants/court) | 8800 | SF | Court |  |  |  | How many basketball Courts are needed? (number shown is min from Population Sheet) | 1 | 0 | 0 | 0 | 40 | 1 | 8800
Addl. Spectator courtside seating (90 LF) | 1 section=4 rows of seats, 200 pn | 900 | SF | 200PN Bleacher Section |  |  |  | How many side seating sections needed? | 2 | 0 | 0 | 400 | 0 | 2 | 1800
Addl. Spectator court-end seating (50 LF) | 1 section=4 rows of seats, 100 pn | 500 | SF | 100PN Bleacher Section |  |  |  | How many end seating sections needed? | 2 | 0 | 0 | 200 | 0 | 2 | 1000
Storage/support | Provide 700 sf for first court | 700 | SF | 1st Court |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 700
Addl. storage (per addl. ct) | Provide additional 350 sf per addl court | 350 | SF | per 2nd Court or more |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Group Exercise | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5700
Stretching Area | Provide 1 area per 50 participants | 100 | SF | per rm over 50PN |  |  | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 200
Group Exercise | Provide 50 sf/participant for max Unit PT group (added to participant count) | 50 | SF | per PN |  |  |  | Nr of max PT group (enter local estimate of largest single group) | 100 | 0 | 0 | 0 | 100 | 0 | 5000
Group Exercise Storage | 10% of the exercise space | 10% | SF | of Group Exercise |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 500
Fitness Equipment Spaces | (1-participant per mach/station) | [5 empty] | 68 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4145
Stretching Area | provide 100 sf per 50 participants | 100 | SF | per 50PN |  |  | 2 |  | 0 | 0 | 0 | 0 | 0 | 0 | 200
Cardiovascular Equipment | Provide 50 sf per machine (use actual or estimate 10 machines for small, 30 med, 50 large) | 50 | SF | per Machine |  |  |  | How many Cardio Machines? | 30 | 0 | 0 | 0 | 30 | 30 | 1500
Selectorized Weight Training | Provide 50 sf per station (use actual or estimate for a 16pc set; 1 set per small base) | 50 | SF | per station |  |  |  | How many Selectorized Machines? | 16 | 0 | 0 | 0 | 16 | 16 | 800
Crossover machine | Provide 60 sf per station (use actual or estimate1 per small base) | 60 | SF | per station |  |  |  | How many Crossover Machines? | 2 | 0 | 0 | 0 | 2 | 2 | 120
Chin/Dip Assist machine | Provide 40 sf per station (use actual or estimate1 per small base) | 40 | SF | per station |  |  |  | How many Chin-Dip Machines? | 2 | 0 | 0 | 0 | 2 | 2 | 80
Free Weights | Provide 65 sf per station (use actual or estimate for a 17pc set; 1 set per small base | 65 | SF | per station |  |  |  | How many Free-Weight Stations? | 18 | 0 | 0 | 0 | 18 | 18 | 1170
Fitness Director's Office | Provide a Fitness Director's Office (includes 1-staff, 1-participant, 1- visitor, 1 pc cardio equip) | 150 | SF | per PN |  |  |  | Is there an Fitness Program Directors Office? 1=yes; 0=No | 1 | 0 | 1 | 1 | 1 | 1 | 150
Fitness Assessment Room | Provide 1 per facility (includes 1-staff, 1-participant, 1- visitor) | 125 | SF | per PN |  |  |  |  | 1 | 0 | 1 | 1 | 1 | 1 | 125
Racquetball Courts | Provide a minimum of 2 per facility (includes 6-participants, 6 visitors per court) | 800 | SF | per Court |  |  |  | How many Courts? (minimum is calculated) | 2 | 0 | 0 | 12 | 12 | 2 | 1600 | 1760
Racquetball Spectators | Provide a 25 person spectator area; 1 min | 160 | SF | per area (min 1) |  |  |  | How many 25 person spectator areas are needed? (min 1) | 1 | 0 | 0 | 25 | 0 | 1 | 160
Indoor Track* | Provide up to one indoor 1/8 mi track per bldg (includes 16-participants) | 4000 | SF | per Track (half scope) |  |  |  | Is an indoor track needed? 1=yes; 0=No | 1 | 0 | 0 | 0 | 16 | 1 | 4000 | 4144
Indoor Track Lobby* | Provide an access Point for tracks (includes 4 visitors) | 144 | SF | per Track |  |  |  |  | 0 | 0 | 0 | 4 | 0 | 1 | 144
Net Total | [8 empty] | 0 | 0 | 34 | 662 | 238 | 0 | 42085.2
Add 35% for circulation, RR, and Mech | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 14729.82
Fitness Core Areas Gross Space | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 56815.02 | 56815.02 | 64429
HEALTH AND WELLNESS CENTER | [8 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4275
Reception/Waiting/Library | Provide 300 sf per center (includes 1-staff, 10 visitors) | 300 | SF | per HAWC |  |  |  |  | 1 | 0 | 1 | 10 | 0 | 0 | 300
Office Space/Director | Provide 1 office per center (includes 1 staff; 1 visitors) | 125 | SF | per Office |  |  |  |  | 1 | 0 | 1 | 1 | 0 | 0 | 125
Office Space/Other Private | Provide 1 office per center (includes 1 staff; 1 visitors) | 100 | SF | per Office |  |  |  |  | 1 | 0 | 1 | 1 | 0 | 0 | 100
Support Staff Workstations | # of 6 x 8 workstations + work area | 80 | SF | per Workstation |  |  |  | How many separate individual workstations are needed? | 3 | 0 | 3 | 0 | 0 | 0 | 240
Classrooms (large room w/ a divider to create 2 rooms) |  | 25 | SF | per PN |  |  |  | What is the max Nr of persons expected in classoom? | 40 | 0 | 40 | 40 | 0 | 0 | 2000
Ergometry and Fitness Testing | 1-station per 1500 active duty | 80 | SF | per Stn |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wellness Assessment Room | Provide 125 sf per system | 125 | SF | per Fitness Testing System |  |  |  | How many Systems are needed? | 2 | 0 | 0 | 0 | 2 | 2 | 500
Equipment Demonstration Room (if not collocated w/ Fitness Center) | Provide 50 sf per machine | 50 | SF | per Machine (maximum of of 400 SF) | 400 |  |  | How many machines are needed? | 6 | 0 | 0 | 0 | 12 | 6 | 600
Janitor Closet/Storage | Provide 1 per center | 60 | SF | per room |  |  |  |  | 1 | 0 | 0 | 0 | 0 | 1 | 60
Restrooms | Provide 1 lav/wc per 15 visitors | 50 | SF | per WC/Lav |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 7 | 350
Net Total | [8 empty] | 0 | 0 | 46 | 52 | 14 | 0 | 4275
Add 35% for circulation, RR, and Mech | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1496.25
HAWC Core Areas Gross Space | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 5771.25 | 5771.25 | 5000
ENHANCED AREAS | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4050
Lap Pool | 25m x 6 lanes | 7616 | SF |  |  |  |  | Is a 6-lane pool included? 1=yes; 0=No | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lap Pool (alt) | 25m x 8 lanes | 9371.04 | SF |  |  |  |  | Is an 8-lane pool included? 1=yes; 0=No | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distinguished Visitors (DV) Locker Rooms |  | 61 | SF | per room |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
Men | [8 empty] | 0 | 0% | 0 | 0 | 0 | 0 | 0
Dressing Room (Standard Lockers) | Provide percentage of standard lockers needed | 8 | SF | per Floor Lkr |  |  |  | What is the percentage of standard vs cold weather lockers needed? | 100% | 100% | 0 | 0 | 0 | 40 | 320
Dressing Room (Cold WX) | Remainder from standard lockers needed | 10 | SF | per FloorCold WX Lkr |  |  |  |  | 0% | 0% | 0 | 0 | 0 | 0 | 0
Double Tier Lockers | Provide percentage of 2-tier lockers needed | [6 empty] | What is the percentage of men's 2-tier lockers? | 0% | 0% | 0 | 0 | 0 | 0 | 0
Single-tier Lockers | Remainder from 2-tier lockers needed | [7 empty] | 100% | 100% | 0 | 0 | 0 | 40 | 0
Total Lockers | Estimate # of lockers needed | [6 empty] | How many mens DV lockers are needed | 40 | 100% | 0 | 0 | 0 | 40 | 0
Shower/Drying | 1 Shwr per 20 lockers | 35 | SF | Shower |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2 | 70
Circulation | 50% of all locker room spaces | 50% | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 195
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 50
Women | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dressing Room | 1 lkr per participant (enter % of Std Lockers) | 8 | SF | per Floor Lkr |  |  |  | What is the percentage of standard vs cold weather lockers needed? | 100% | 100% | 0 | 0 | 0 | 40 | 320
Dressing Room (Cold WX) | 1 lkr per participant (enter % of Cold WX) | 10 | SF | per FloorCold WX Lkr |  |  |  |  | 0% | 0% | 0 | 0 | 0 | 0 | 0
Double Tier Lockers | choose % of 2tier lkrs | [6 empty] | What is the percentage of men's 2-tier lockers? | 0% | 0% | 0 | 0 | 0 | 0 | 0
Single-tier Lockers | [8 empty] | 100% | 100% | 0 | 0 | 0 | 40 | 0
Total Lockers | [7 empty] | How many womens DV lockers are needed | 40 | 100% | 0 | 0 | 0 | 40 | 0
Shower/Drying | 1 Shwr per 25 lockers | 35 | SF | Shower |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 2 | 70
Circulation | 50% of all locker room spaces | 50% | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 195
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 50
Family Locker Room (Dressing, lkrs, RestRm) |  | 160 | SF | per shower, wc, lav, changing, and locker |  |  |  | How many Family Locker Rooms? | 2 | 0 | 0 | 0 | 0 | 2 | 320
Parent/Child Area (PCA) | Provide 60 sf per child (includes 35sf/child and 1 adult machine per 2 children) | 60 | SF | child |  |  |  | How many Children are expected? | 20 | 0 | 0 | 0 | 20 | 0 | 1200
HAWC Relaxation Room | Provide 100 sf per room (incl 1 staff; 1-participant) | 100 | SF | per room | 1 |  |  | How many Rooms? | 1 | 0 | 1 | 0 | 1 | 1 | 100
HAWC Kitchen/Food Demonstration Room | Provide 400 sf per room (incl 1 staff, 10-participant) | 400 | SF | per room |  |  |  | How many Rooms? | 1 | 0 | 1 | 0 | 10 | 1 | 400
Massage Room | Provide 100 sf per room (incl 1 staff, 1-participant) | 120 | SF | per room |  |  |  | How many Rooms? | 1 | 0 | 1 | 0 | 1 | 1 | 120
Expanded Retail Area | Provide 100 sf per area | 100 | SF | per room |  |  |  | How many areas? (1 max) | 1 | 0 | 1 | 4 | 0 | 1 | 100
Juice Bar | Provide 150 sf per area | 150 | SF | per room |  |  |  | How many areas? (1 max) | 1 | 0 | 1 | 4 | 0 | 1 | 150
Expanded Juice Bar Seating | Provide 80 sf per 4-top table seating | 80 | SF | per room |  |  |  | How many 4-top tables | 3 | 0 | 0 | 12 | 0 | 3 | 240
Spa Area | Provide 150 sf per room (incl 6-participant) | 150 | SF | per room |  |  |  | How many areas? (1 max) | 1 | 0 | 0 | 0 | 6 | 1 | 150
Net Total | [8 empty] | 0 | 0 | 5 | 0 | 38 | 0 | 4050
Add 35% for circulation, RR, and Mech | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1417.5
Total Enhanced Gross Space | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 5467.5 | 5467.5
Building Gross (including track at full scope) | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68053.77
|  |  |  | Total |  |  |  |  | 0 | 0 | 85 | 714 | 290 | 0
| Site Parking (See AFH32-1084 para 20.2.2.2 and note 1 of table 20.2) | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Staff | 0.5 spaces per staff | [6 empty] | 0 | 0 | 42.5 | 0 | 0 | 0
| Visitors and Participants | 25% of participants | [6 empty] | 0 | 0 | 0 | 0 | 72.5 | 0
| Spectators | 10% of capacity | [6 empty] | 0 | 0 | 0 | 71.4 | 0 | 0
| Pools | 20% of capacity | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 0 | 0 | 0 | 0 | 0
Note on P9: SinkfieldR: Do not exceed number to the right
Note on Q83: SinkfieldR: Do not exceed number to the right for the HAWC
Note on Q97: SinkfieldR: Do not exceed number to the right

## 5-CompareCurrent
[8 empty] | Home Town AFB |  |  |  |  | 0 | Proposed | Authorized | Current Facilities | Change green spaces |  |  | SubSpace total | Total SF | Delta
[13 empty] | Category | 0 | Category | Center #1 | Center #2 | Center #3 | Center #4
[13 empty] | Population | 0 | 2290
[13 empty] | 0 | 0 | 0
[13 empty] | Allowable SF FC+HAWC | 0 | 69429 | 40000 | 20000 | 30000 | 10000 |  | 100000 | 30571
[13 empty] | OCONUS | 0 | 76371.9 | [5 empty] | 0
[13 empty] | above/(below) Allowable | 0 | 0
[13 empty] | above/(below) Allowable OCONUS | 62586.27 | 0
| Planning Rate | Planning Factor | [5 empty] | Fill in boxes green only |  | *must be within Allowable SF --> |  |  | Current FC&HAWC SF | 62586.27 | 69429
[10 empty] | **must be fully justified |  |  | 0 | 0 | 0
| Guide | [11 empty] | 0 | 0 | 0
[5 empty] | Max | Min | Calc | Ratios | Staff | Visitors | Paticipants | Units/ Areas | SF | SF | SF
CORE SPACES | [12 empty] | 0 | 0
VISITOR & SPECTATOR SUPPORT | [12 empty] | 0 | 2570 | [6 empty] | 3794 | 1224
Vestibule/Entry Lobby | Installation specific (up to 1 per primary entry) | 100 | SF | per Bldg |  |  |  | 0 | 0 | 0 | 0 | 1 | 100 |  |  | 22 | 33 | 443 | 44 | 542
Lobby | 1 PN per Spectator Seat | 3 | SF | per PN |  |  |  | 0 | 0 | 0 | 0 | 0 | 1800 |  |  | 22 | 33 | 443 | 44 | 542
Control Point/Reception | 1 PN per Spectator Gym | 125 | SF | per PN |  |  |  | 0 | 1 | 0 | 0 | 0 | 125 |  |  | 22 | 33 | 443 | 44 | 542
Equipment issue storage | up to 1 per building | 175 | SF | per Control Point |  |  |  | 0 | 1 | 0 | 0 | 0 | 175 |  |  | 22 | 33 | 443 | 44 | 542
Retail | up to 1 per building (provide if combined with Control point) | 50 | SF | per PN |  |  |  | 0 | 1 | 0 | 0 | 0 | 50 |  |  | 22 | 33 | 443 | 44 | 542
Vending | up to 1 per building (provide if no retail) | 20 | SF | per Machine |  |  |  | 0 | 1 | 0 | 0 | 0 | 20 |  |  | 22 | 33 | 443 | 44 | 542
Public Restrooms | 1 Lav/WC per 100 Spectators | 50 | SF | per 100 spectators |  |  |  | 0 | 0 | 0 | 0 | 0 | 300 |  |  | 22 | 33 | 443 | 44 | 542
ADMINISTRATION | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1200 | [6 empty] | 3252 | 2052
Fitness Center Director's Office | 1 office per bldg (include 3 visitors) | 125 | SF | per Private Office |  |  |  | 0 | 1 | 3 | 0 | 0 | 125 |  |  | 22 | 33 | 443 | 44 | 542
Sports Program Manager's Office | 1 office per installation (include 1 visitor) | 100 | SF | per Private Office |  |  |  | 0 | 1 | 1 | 0 | 0 | 100 |  |  | 22 | 33 | 443 | 44 | 542
Operation's Manager | 1 office per installation | 100 | SF | per Private Office |  |  |  | 0 | 1 | 0 | 0 | 0 | 100 |  |  | 22 | 33 | 443 | 44 | 542
NCOIC's Office | [12 empty] | 100 |  |  | 22 | 33 | 443 | 44 | 542
Staff Workroom | # of 6 x 8 workstations + work area | 80 | SF | per workstn |  |  |  | 0 | 5 | 0 | 0 | 0 | 400 |  |  | 22 | 33 | 443 | 44 | 542
Conference/Classroom | use a baseline of 25 pn; provide only if HAWC is not collocated | 25 | SF | per PN |  |  |  | 0 | 15 | 15 | 0 | 0 | 375 |  |  | 22 | 33 | 443 | 44 | 542
SUPPORT | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 1655 | [6 empty] | 2710 | 1055
Laundry | Installation specific; includes 1W/2D, commercial grade; folding table, sink, storage shelves, laundry carts, and optional ice machine. Min 1. | 200 | SF | per room unit |  | 1 |  | 0 | 2 | 0 | 0 | 0 | 400 |  |  | 22 | 33 | 443 | 44 | 542
Storage | % of Fitness Equip Space | 35% |  | of CV/SE |  |  |  | 0 | 0 | 0 | 0 | 0 | 805 |  |  | 22 | 33 | 443 | 44 | 542
Equipment Repair | % of Storage | 10% |  | of Storage (min 100SF) |  | 100 | 80.5 | 0 | 0 | 0 | 0 | 0 | 100 |  |  | 22 | 33 | 443 | 44 | 542
Service Entrance and Receiving | % of Fitness Equip Space | 10% |  | of CV/SE (min 100SF) |  | 100 | 230 | 0 | 0 | 0 | 0 | 0 | 230 |  |  | 22 | 33 | 443 | 44 | 542
Janitorial | 1 per major bldg wing | 60 | SF | room |  |  |  | 0 | 2 | 0 | 0 | 2 | 120 |  |  | 22 | 33 | 443 | 44 | 542
LOCKER ROOMS | [7 empty] | 0 | 0 | 0 | 0 | 435 | 0
Men's Locker Room (w/sauna) | % of men's lockers to total lkrs; remaining balance in women's lkr room | [6 empty] | 50% | 0 | 0 | 0 | Lkrs | 0 | 4401.6 | [6 empty] | 5420 | 1018.4
Dressing Room | 1 lkr per participant (enter % of Std Lockers) | 8 | SF | per Floor Lkr |  |  |  | 100% | 0 | 0 | 0 | 217.5 | 1566 |  |  | 22 | 33 | 443 | 44 | 542
Dressing Room (Cold WX) | 1 lkr per participant (enter % of Cold WX) | 10 | SF | per FloorCold WX Lkr |  |  |  | 0% | 0 | 0 | 0 | 0 | 0 |  |  | 22 | 33 | 443 | 44 | 542
Double Tier Lockers | up to 100% of 2tier lkrs | [6 empty] | 20% | 0 | 0 | 0 | 43.5 | 0 |  |  | 22 | 33 | 443 | 44 | 542
Single-tier Lockers | remainder of 2tier lkrs | [6 empty] | 80% | 0 | 0 | 0 | 174 | 0 |  |  | 22 | 33 | 443 | 44 | 542
Total Lockers | based on participant load | [6 empty] | 0% | 0 | 0 | 0 | 217.5 | 0 |  |  | 22 | 33 | 443 | 44 | 542
Shower/Drying | 1 Shwr per 20 lockers | 35 | SF | Shower |  |  |  | 0 | 0 | 0 | 0 | 10.875 | 385 |  |  | 22 | 33 | 443 | 44 | 542
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC |  |  |  | 0 | 0 | 0 | 0 | 7.25 | 350 |  |  | 22 | 33 | 443 | 44 | 542
Sauna Room | 1 PN per 15 lockers | 15 | SF | per PN |  |  |  | 0 | 0 | 0 | 0 | 14.5 | 225 |  |  | 22 | 33 | 443 | 44 | 542
Steam Room | 1 PN per 15 lockers | 15 | SF | per PN |  |  |  | 0 | 0 | 0 | 0 | 14.5 | 225 |  |  | 22 | 33 | 443 | 44 | 542
Circulation | 50% of all locker room spaces | 60% | [5 empty] | 0 | 0 | 0 | 0 | 0 | 1650.6 |  |  | 22 | 33 | 443 | 44 | 542
Women's Locker Room (w/sauna) | [7 empty] | 0.5 | 0 | 0 | 0 | 0 | 0 | 4209.6 | [6 empty] | 5420 | 1210.4
Dressing Room | 1 lkr per participant (enter % of std lkrs) | 8 | SF | per Floor Lkr |  |  |  | 100% | 0 | 0 | 0 | 217.5 | 1566 |  |  | 22 | 33 | 443 | 44 | 542
Dressing Room (Cold WX) | 1 lkr per participant | 10 | SF | per Floor Lkr |  |  |  | 0% | 0 | 0 | 0 | 0 | 0 |  |  | 22 | 33 | 443 | 44 | 542
Double Tier Lockers | up to 100% of 2tier lkrs | [6 empty] | 20% | 0 | 0 | 0 | 43.5 | 0 |  |  | 22 | 33 | 443 | 44 | 542
Single-tier Lockers | remainder of 2tier lkrs | [6 empty] | 80% | 0 | 0 | 0 | 174 | 0 |  |  | 22 | 33 | 443 | 44 | 542
Total Lockers | based on participant load | [6 empty] | 100% | 0 | 0 | 0 | 217.5 | 0 |  |  | 22 | 33 | 443 | 44 | 542
Shower/Drying | 1 Shwr per 20 lockers | 35 | SF | Shower |  |  |  | 0 | 0 | 0 | 0 | 10.875 | 385 |  |  | 22 | 33 | 443 | 44 | 542
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC |  |  |  | 0 | 0 | 0 | 0 | 7.25 | 350 |  |  | 22 | 33 | 443 | 44 | 542
Sauna Room | 1 PN per 20 lockers | 15 | SF | per PN |  |  |  | 0 | 0 | 0 | 0 | 10.875 | 165 |  |  | 22 | 33 | 443 | 44 | 542
Steam Room | 1 PN per 20 lockers | 15 | SF | per PN |  |  |  | 0 | 0 | 0 | 0 | 10.875 | 165 |  |  | 22 | 33 | 443 | 44 | 542
Circulation | 50% of all locker room spaces | 60% | [5 empty] | 0 | 0 | 0 | 0 | 0 | 1578.6 |  |  | 22 | 33 | 443 | 44 | 542
Gymnasium | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 12300 | [6 empty] | 2710 | -9590
Basketball/volleyball | NCAA Court + 10' safety area all sides | 8800 | SF | Court |  | 1 |  | 0 | 0 | 0 | 40 | 1 | 8800 |  |  | 22 | 33 | 443 | 44 | 542
Addl. Spectator courtside seating (90 LF) | 1 section=4 rows of seats, 200 pn | 900 | SF | 200PN Bleacher Section |  |  |  | 0 | 0 | 400 | 0 | 2 | 1800 |  |  | 22 | 33 | 443 | 44 | 542
Addl. Spectator court-end seating (50 LF) | 1 section=4 rows of seats, 100 pn | 500 | SF | 100PN Bleacher Section |  |  |  | 0 | 0 | 200 | 0 | 2 | 1000 |  |  | 22 | 33 | 443 | 44 | 542
Storage/support | provide 1 per court | 700 | SF | 1st Court |  |  |  | 0 | 0 | 0 | 0 | 0 | 700 |  |  | 22 | 33 | 443 | 44 | 542
Addl. storage (per addl. ct) | added space per addl court | 350 | SF | per 2nd Court or more |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 22 | 33 | 443 | 44 | 542
Group Exercise | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 5700 | [6 empty] | 1626 | -4074
Stretching Area | provide 1 area per 50 pn | 100 | SF | per rm over 50PN |  |  | 2 | 0 | 0 | 0 | 0 | 0 | 200 |  |  | 22 | 33 | 443 | 44 | 542
Group Exercise | est max Unit PT group | 50 | SF | per PN |  |  |  | 0 | 0 | 0 | 100 | 0 | 5000 |  |  | 22 | 33 | 443 | 44 | 542
Group Exercise Storage | % of the exercise space | 10% | SF | of Group Exercise |  |  |  | 0 | 0 | 0 | 0 | 0 | 500 |  |  | 22 | 33 | 443 | 44 | 542
Fitness Equipment Spaces | [6 empty] | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 4145 | [6 empty] | 4336 | 191
Stretching Area | provide 1 area per 50 pn | 100 | SF | per 50PN |  |  | 2 | 0 | 0 | 0 | 0 | 0 | 200 |  |  | 22 | 33 | 443 | 44 | 542
Cardiovascular Equipment | 10 for small, 30 med, 50 lg | 50 | SF | per Machine |  |  |  | 0 | 0 | 0 | 30 | 30 | 1500 |  |  | 22 | 33 | 443 | 44 | 542
Selectorized Weight Training | 16pc set; 1 set per small base | 50 | SF | per station |  |  |  | 0 | 0 | 0 | 16 | 16 | 800 |  |  | 22 | 33 | 443 | 44 | 542
Crossover machine | 1 per small base | 60 | SF | per station |  |  |  | 0 | 0 | 0 | 2 | 2 | 120 |  |  | 22 | 33 | 443 | 44 | 542
Chin/Dip Assist machine | 2 per small base | 40 | SF | per station |  |  |  | 0 | 0 | 0 | 2 | 2 | 80 |  |  | 22 | 33 | 443 | 44 | 542
Free Weights | 17pc set; 1 set per small base | 65 | SF | per station |  |  |  | 0 | 0 | 0 | 18 | 18 | 1170 |  |  | 22 | 33 | 443 | 44 | 542
Fitness Director's Office | Office w/ 1 pc cardio equip | 150 | SF | per PN |  |  |  | 0 | 1 | 1 | 1 | 1 | 150 |  |  | 22 | 33 | 443 | 44 | 542
Fitness Assessment Room | 1 per facility | 125 | SF | per PN |  |  |  | 0 | 1 | 1 | 1 | 1 | 125 |  |  | 22 | 33 | 443 | 44 | 542
Racquetball Courts | 2 per basketball court (min 2) | 800 | SF | per Court |  |  |  | 0 | 0 | 12 | 12 | 2 | 1600 | 1760 | [6 empty] | 542 | -1218
Racquetball Spectators | area per court; 1 min | 160 | SF | per area (min 1) |  |  |  | 0 | 0 | 25 | 0 | 1 | 160 | 0 |  | 22 | 33 | 443 | 44 | 542
Indoor Track* | up to one indoor 1/8 mi track | 4000 | SF | per Track (half scope) |  |  |  | 0 | 0 | 0 | 16 | 1 | 4000 | 4144 | [6 empty] | 542 | -3602
Indoor Track Lobby* | Acces Point | 144 | SF | per Track |  |  |  | 0 | 0 | 4 | 0 | 1 | 144 | 0 |  | 22 | 33 | 443 | 44 | 542
Net Total | [7 empty] | 0 | 34 | 662 | 238 | 0 | 42085.2 | 0 | 0 | [5 empty] | 0 | 0
Add 35% for circulation, RR, and Mech | [7 empty] | 0 | 0 | 0 | 0 | 0 | 14729.82 | 0 | 0 | [5 empty] | 0 | 0
Fitness Core Areas Gross Space | [7 empty] | 0 | 0 | 0 | 0 | 0 | 56815.02 | 56815.02 | 64429 | [5 empty] | 90000 | 33184.98
HEALTH AND WELLNESS CENTER | [7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 4275 | 0
Reception/Waiting/Library |  | 300 | SF | per HAWC |  |  |  | 0 | 1 | 10 | 0 | 0 | 300 |  |  | 22 | 33 | 443 | 44 | 542
Office Space/Director | 1 PN per Office | 125 | SF | per Office |  |  |  | 0 | 1 | 1 | 0 | 0 | 125 |  |  | 22 | 33 | 443 | 44 | 542
Office Space/Other Private |  | 100 | SF | per Office |  |  |  | 0 | 1 | 1 | 0 | 0 | 100 |  |  | 22 | 33 | 443 | 44 | 542
Support Staff Workstations |  | 80 | SF | per Workstation |  |  |  | 0 | 3 | 0 | 0 | 0 | 240 |  |  | 22 | 33 | 443 | 44 | 542
Classrooms (large room w/ a divider to create 2 rooms) |  | 25 | SF | per PN |  |  |  | 0 | 40 | 40 | 0 | 0 | 2000 |  |  | 22 | 33 | 443 | 44 | 542
Ergometry and Fitness Testing | 1station per 1500 active duty | 80 | SF | per Stn |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 22 | 33 | 443 | 44 | 542
Wellness Assessment Room |  | 125 | SF | per Fitness Testing System |  |  |  | 0 | 0 | 0 | 2 | 2 | 500 |  |  | 22 | 33 | 443 | 44 | 542
Equipment Demonstration Room (if not collocated w/ Fitness Center) |  | 50 | SF | per Machine (maximum of of 400 SF) | 400 |  |  | 0 | 0 | 0 | 12 | 6 | 600 |  |  | 22 | 33 | 443 | 44 | 542
Janitor Closet/Storage |  | 60 | SF | per room |  |  |  | 0 | 0 | 0 | 0 | 1 | 60 |  |  | 22 | 33 | 443 | 44 | 542
Restrooms |  | 50 | SF | per WC/Lav |  |  |  | 0 | 0 | 0 | 0 | 7 | 350 |  |  | 22 | 33 | 443 | 44 | 542
Net Total | [7 empty] | 0 | 46 | 52 | 14 | 0 | 4275
Add 35% for circulation, RR, and Mech | [7 empty] | 0 | 0 | 0 | 0 | 0 | 1496.25
HAWC Core Areas Gross Space | [7 empty] | 0 | 0 | 0 | 0 | 0 | 5771.25 | 5771.25 | 5000 | [5 empty] | 4800 | -971.25
ENHANCED AREAS | [12 empty] | 0 | 4050 | 0
Lap Pool | 25m x 6 lanes | 7616 | SF | [5 empty] | 0 | 0 | 0 |  | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Lap Pool (alt) | 25m x 8 lanes | 9371.04 | SF | [5 empty] | 0 | 0 | 0 |  | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Distinguished Visitors (DV) Locker Rooms |  | 61 | SF | per room | [8 empty] | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Men | [12 empty] | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Dressing Room | 1 lkr per participant (enter % of Std Lockers) | 8 | SF | per Floor Lkr |  |  |  | 100% |  |  |  | 0 | 320 |  |  | 22 | 33 | 443 | 44 | 542 |  | 222
Dressing Room (Cold WX) | 1 lkr per participant (enter % of Cold WX) | 10 | SF | per FloorCold WX Lkr |  |  |  | 0% |  |  |  | 0 | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Double Tier Lockers | choose % of 2tier lkrs | [6 empty] | 0% |  |  |  | 0 | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Single-tier Lockers | [7 empty] | 100% |  |  |  | 0 | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Total Lockers | [7 empty] | 100% |  |  |  |  | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Shower/Drying | 1 Shwr per 20 lockers | 35 | SF | Shower | [7 empty] | 0 | 70 |  |  | 22 | 33 | 443 | 44 | 542 |  | 472
Circulation | 50% of all locker room spaces | 50% | [10 empty] | 195 |  |  | 22 | 33 | 443 | 44 | 542 |  | 347
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC | [7 empty] | 0 | 50 |  |  | 22 | 33 | 443 | 44 | 542 |  | 492
Women | [12 empty] | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Dressing Room | 1 lkr per participant (enter % of Std Lockers) | 8 | SF | per Floor Lkr |  |  |  | 100% |  |  |  | 40 | 320 |  |  | 22 | 33 | 443 | 44 | 542 |  | 222
Dressing Room (Cold WX) | 1 lkr per participant (enter % of Cold WX) | 10 | SF | per FloorCold WX Lkr |  |  |  | 0% |  |  |  | 0 | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Double Tier Lockers | choose % of 2tier lkrs | [6 empty] | 0% |  |  |  | 0 | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Single-tier Lockers | [7 empty] | 100% |  |  |  | 40 | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Total Lockers | [7 empty] | 100% |  |  |  | 40 | 0 |  |  | 22 | 33 | 443 | 44 | 542 |  | 542
Shower/Drying | 1 Shwr per 25 lockers | 35 | SF | Shower | [7 empty] | 2 | 70 |  |  | 22 | 33 | 443 | 44 | 542 |  | 472
Circulation | 50% of all locker room spaces | 50% | [10 empty] | 195 |  |  | 22 | 33 | 443 | 44 | 542 |  | 347
Restrooms | 1 Lav/WC per 30 lockers | 50 | SF | per Lav/WC | [7 empty] | 1 | 50 |  |  | 22 | 33 | 443 | 44 | 542 |  | 492
Family Locker Room (Dressing, lkrs, RestRm) |  | 160 | SF | per shower, wc, lav, changing, and locker | [7 empty] | 2 | 320 |  |  | 22 | 33 | 443 | 44 | 542 |  | 222
Parent/Child Area (PCA) | Estimate # of children | 60 | SF | child (incl 35sf/child and 1 adult machine per 2 children) | [6 empty] | 20 |  | 1200 |  |  | 22 | 33 | 443 | 44 | 542 |  | -658
HAWC Relaxation Room | Estimate # of rooms needed | 100 | SF | per room | 1 |  |  |  | 1 |  | 1 | 1 | 100 |  |  | 22 | 33 | 443 | 44 | 542 |  | 442
HAWC Kitchen/Food Demonstration Room | Estimate # of rooms needed | 400 | SF | per room |  |  |  |  | 1 |  | 1 | 1 | 400 |  |  | 22 | 33 | 443 | 44 | 542 |  | 142
Massage Room | Estimate # of rooms needed | 120 | SF | per room |  |  |  |  | 1 |  | 1 | 1 | 120 |  |  | 22 | 33 | 443 | 44 | 542 |  | 422
Expanded Retail Area | 1 rm per facility | 100 | SF | per room |  |  |  |  | 1 | 4 |  | 1 | 100 |  |  | 22 | 33 | 443 | 44 | 542 |  | 442
Juice Bar | 1 room per facility | 150 | SF | per room |  |  |  |  | 1 | 4 |  | 1 | 150 |  |  | 22 | 33 | 443 | 44 | 542 |  | 392
Expanded Juice Bar Seating | One 4-top table seating area | 80 | SF | per room |  |  |  |  | 3 | 12 |  | 3 | 240 |  |  | 22 | 33 | 443 | 44 | 542 |  | 302
Spa Area | 1 room per facility | 150 | SF | per room |  |  |  |  | 1 | 6 |  | 1 | 150 |  |  | 22 | 33 | 443 | 44 | 542 |  | 392
Net Total | [8 empty] | 9 |  | 23 |  | 4050
Add 35% for circulation, RR, and Mech | [12 empty] | 1417.5
Total Enhanced Gross Space | [12 empty] | 5467.5 | 5467.5 | 0 | [5 empty] | 4800
Building Gross (including track at full scope) | [12 empty] | 0 | 68053.77 | 0 | [5 empty] | 99600 | 31546.23
|  |  |  | Total |  |  |  |  | 89 | 714 | 275
Site Parking (See AFH32-1084 para 20.2.2.2 and note 1 of table 20.2)
| Staff | 0.5 spaces per staff | [6 empty] | 44.5
| Visitors and Participants | 25% of participants | [8 empty] | 68.75
| Spectators | 10% of capacity | [7 empty] | 71.4
| Pools | 20% of capacity
Note on O9: SinkfieldR: Do not exceed number to the right.
Note on O83: SinkfieldR: Do not exceed number to the right
Note on O97: SinkfieldR: Do not exceed number to the right