FAC 8115 	ELECTRICAL POWER SOURCE, PHOTOVOLTAIC

SUC FY18:	19.71 	KW

Source:	Inflated from FY17 (v19) using ENR labor and material cost indices to measure actual inflation

Original Source:  National Renewable Energy Laboratory Study: Distributed Generation Renewable Energy Estimate of Costs (updated February 2016). http://www.nrel.gov/analysis/tech_lcoe_re_cost_est.html

| Size (KW) | Number of Records in 2015 RPAD | NREL Cost (Feb 2016) $/KW | Prorated Contribution | Contributed $/KW |  |
| --- | --- | --- | --- | --- | --- |
| 10 | 35 | $ 21.0 | 0.0638686 | 1.341241 |  |
| 100 | 342 | $ 19.0 | 0.6240876 | 11.85766 |  |
| 1000 | 165 | $ 19.0 | 0.3010949 | 5.720803 |  |
| More | 6 | $ 16.0 | 0.0109489 | 0.175182 |  |
| Total Records | 548 |  | SUC | 19.09489 | Per KW |