FAC 8115 	ELECTRICAL POWER SOURCE, PHOTOVOLTAIC

SUC FY20:	$20.86    KW

Source:	National Renewable Energy Laboratory Study: Distributed Generation Renewable Energy Estimate of Costs (updated February 2016).

| Size (KW) | Number of Records in 2018 RPAD | NREL Maintenance Cost (Feb 2016) $/KW | Prorated Contribution (%) | Contributed $/KW |  |
| --- | --- | --- | --- | --- | --- |
| UP TO 10 | 76 | $ 21.0 | 0.106 | 2.26 |  |
| - 10 - 100 | 388 | $ 19.0 | 0.541 | 10.28 |  |
| - 100 – 1,000 | 229 | $ 19.0 | 0.319 | 6.06 |  |
| - 1,000 | 24 | $ 16.0 | 0.034 | 0.54 |  |
| Total Records | 717 |  | SUC | 19.14 | Per KW |

SUC inflated from Feb 2016 study using ENR inflation rates from FY17 to FY19 below:

$19.14 * 1.03197 * 1.03515 * 1.02033 = $20.86 / KW