FAC 8115 	ELECTRICAL POWER SOURCE, PHOTOVOLTAIC

SUC FY21:	$21.33 KW

Source:	Inflated from FY20 (v22) using ENR labor and material cost indices to measure actual inflation.

Original Source:	National Renewable Energy Laboratory Study: Distributed Generation Renewable Energy Estimate of Costs (updated February 2016).

| Size (KW) | Number of Records in 2018 RPAD | NREL Maintenance Cost (Feb 2016) $/KW | Prorated Contribution (%) | Contributed $/KW |  |
| --- | --- | --- | --- | --- | --- |
| UP TO 10 | 76 | $ 21.0 | 0.106 | 2.26 |  |
| - 10 - 100 | 388 | $ 19.0 | 0.541 | 10.28 |  |
| - 100 – 1,000 | 229 | $ 19.0 | 0.319 | 6.06 |  |
| - 1,000 | 24 | $ 16.0 | 0.034 | 0.54 |  |
| Total Records | 717 |  | SUC | 19.14 | Per KW |