TABLE 4-11.2 MULTIPURPOSE ROOM STORAGE/GEAR ISSUE

|  |  |
| --- | --- |
| **Description/ Usage** | This area is used to store athletic equipment and tables and chairs for the center. It should be divided into two areas: one for sports equipment and one for tables and chairs. The sports equipment area should include space for the equipment monitor’s desk. |
| **Min. Ceiling Ht.** | 2.44 m (8 ft.). 3.5 m (10 ft.) is desirable. |
| **Finishes** | **Walls.**  CMU or painted gypsum wall board. |
|  | **Floor.** Sealed concrete. |
|  | **Ceiling.** None required. |
| **Plumbing** | None required. Consider providing a connection for an icemaker and a floor drain. |
| **HVAC** | 18 C (65 F) minimum, 29 C (85 F) maximum. |
| **Fire Protection** | Provide system per paragraph 3-5.3. |
| **Power** | Provide outlets per code. Provide two duplex outlets by the desk. |
| **Lighting** | 215 lux (20 fc). |
| **Communication** | **CCTV.** Provide at least one outlet.  **CATV/Internal Video.** None required.  **PA/Audio.** Provide speakers with proper spacing.  **Telephone.** Provide one line with internal two-way communication.  **Data.**  None required.  **Security.** None required. |
| **Casework** | None required. |
| **Furnishings Fixtures & Equipment (FF&E)** | Shelving and storage cabinets, one desk, one chair, and one file cabinet. |
| **Special Requirements** | Area must be accessible from both interior and exterior though lockable double doors with kick-plates.  Consider providing “dutch” doors at interior for equipment issue.  Navy does not permit dutch doors.  Provide ramp at exterior door to facilitate equipment issue/delivery, if necessary.  The area must be at least 2.44 m (8 ft.) wide. |
| For use during project execution by the appropriate Service agency | |
| **Occupancy** | Staff. |
|  | Patrons/Youth. |
| **Min. net m2 (ft2)** |  |