TABLE 4-7.2. ARMY HOMEWORK ROOM

|  |  |
| --- | --- |
| **Description/ Usage** | Only the Army provides a dedicated homework room. This area provides a private, dedicated space that is conducive to study and completion of homework. In small facilities, the Army combines this with the Computer Room.  The Navy and Marine Corps accommodate this function in the activity rooms and the Air Force accommodates this function in the Computer Room. |
| **Min. Ceiling Ht.** | 2.44 m (8 ft.). |
| **Finishes** | **Walls.**  Painted gypsum wallboard or vinyl wall covering. |
|  | **Floor.** Carpet with vinyl or rubber base. |
|  | **Ceiling.** ACP. |
| **Plumbing** | None required. |
| **HVAC** | 20 C (68 F) minimum, 26 C (78 F) maximum. |
| **Fire Protection** | Provide system per paragraph 3-5.3. |
| **Power** | Provide outlets per code. |
| **Lighting** | Provide 540 lux (50 fc) general ambient lighting. |
| **Communication** | **CCTV.**  Provide at least one outlet.  **CATV/Internal Video.** Consider providing one outlet.  **PA/Audio.**  Provide a speaker.  **Telephone.** Provide one line with internal two-way communication.  **Data.**  Consider providing at least two outlets.  **Security.** Provide a vision panel in the door and wall. |
| **Casework** | None required. |
| **Furnishings Fixtures & Equipment (FF&E)** | Consider items such as the following: tables, chairs, desks, soft and padded furniture for reading, tack boards, and marker boards. |
| **Special Requirements** | If exterior windows are provided, equip with shading devices. |
| For use during project execution by the appropriate Service agency | |
| **Occupancy** | Staff. |
|  | Patrons/Youth. |
| **Min. net m2 (ft2)** |  |