<?xml version="1.0" encoding="windows-1252"?><DOC xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance" xsi:noNamespaceSchemaLocation="http://si.ksc.nasa.gov/sidownloads/xml/specsintactDOC.xsd">

<TOC><STL><HL3>UFGS TABLE OF CONTENTS</HL3></STL><BRK/>

<BRK/>

<TXT><HL3>DIVISION 00 - PROCUREMENT AND CONTRACTING REQUIREMENTS</HL3></TXT><BRK/>

<BRK/>

<TXT>00 01 15<LST><LST><TXT>02/24<ITM><ITM>LIST OF DRAWINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>list of drawings for the project</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 01 - GENERAL REQUIREMENTS</HL3></TXT><BRK/>

<BRK/>

<TXT>01 11 00<LST><LST><TXT>02/24<ITM><ITM>SUMMARY OF WORK</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a description of work covered in this contract and

is required for use in all projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 14 00<LST><LST><TXT>11/22, CHG 4: 02/25<ITM><ITM>WORK RESTRICTIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>work and site restrictions</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 20 00<LST><LST><TXT>11/20, CHG 5: 02/25<ITM><ITM>PRICE AND PAYMENT PROCEDURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>payment instruction paragraphs

required for use in all projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 30 00<LST><LST><TXT>11/20, CHG 5: 02/25<ITM><ITM>ADMINISTRATIVE REQUIREMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>general administrative and procedural requirements for Contractor management

and coordination</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 31 20<LST><LST><TXT>05/22<ITM><ITM>PROJECT TECHNICAL DATA MANAGEMENT AND VISUALIZATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>project technical

data management and visualization</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 31 23.13 20<LST><LST><TXT>08/23, CHG 1: 02/24<ITM><ITM>ELECTRONIC CONSTRUCTION AND FACILITY SUPPORT CONTRACT MANAGEMENT SYSTEM (eCMS)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the Navy use of NAVFAC's web-based Electronic Construction

and Facility Support Contract Management System (eCMS)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 32 01.00 10<LST><LST><TXT>08/23, CHG 1: 08/24<ITM><ITM>PROJECT SCHEDULE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the preparation

and maintenance of the project schedule for construction projects or design-build

construction projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 32 16.00 20<LST><LST><TXT>08/18, CHG 1: 08/20<ITM><ITM>SMALL PROJECT CONSTRUCTION PROGRESS SCHEDULES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the preparation and use of construction schedules for small projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 32 17.00 20<LST><LST><TXT>11/23, CHG 1: 08/24<ITM><ITM>COST-LOADED NETWORK ANALYSIS SCHEDULES (NAS)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>preparation

and use of Cost-Loaded Network Analysis Schedules (NAS) for construction using Primavera P6</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 33 00<LST><LST><TXT>08/18, CHG 4: 02/21<ITM><ITM>SUBMITTAL PROCEDURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>general procedures

regarding submittals, data normally submitted for review to establish conformance

with the design concept and contract documents</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 33 16.00 10<LST><LST><TXT>05/16<ITM><ITM>DESIGN DATA (DESIGN AFTER AWARD)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>design/build project,

including design development and design submittals.  Use this section in a design/build

project executed by the Army only.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 33 23.33<LST><LST><TXT>08/18, CHG 1: 02/21<ITM><ITM>AVIATION FUEL SYSTEM SPECIFIC SUBMITTAL REQUIREMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>specific contract

requirements for aircraft refueling systems constructed to the requirements

of the DoD Type III/IV/V, and Cut'n Cover Hydrant Refueling System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 33 29<LST><LST><TXT>02/21<ITM><ITM>SUSTAINABILITY REQUIREMENTS AND REPORTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>providing sustainability documentation for Guiding

Principles Validation (GPV) and Third Party Certification (TPC)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 35 13<LST><LST><TXT>11/20, CHG 1: 02/22<ITM><ITM>SPECIAL PROJECT PROCEDURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>special procedures for airfields, heliports, harbors

and repetitive military housing facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 35 13.43 10<LST><LST><TXT>08/15<ITM><ITM>SPECIAL PROJECT PROCEDURES FOR CONTAMINATED SITES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>preparing a cost

and performance documentation report on environmental remediation projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 35 26<LST><LST><TXT>05/24<ITM><ITM>GOVERNMENTAL SAFETY REQUIREMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>safety and occupational health requirements for the

protection of Contractor and Government personnel, property, and resources</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 35 29.13<LST><LST><TXT>11/15, CHG 1: 08/22<ITM><ITM>HEALTH, SAFETY, AND EMERGENCY RESPONSE PROCEDURES FOR CONTAMINATED SITES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>safety and health documents

and procedures for hazardous toxic radioactive waste (HTRW) site cleanup projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 42 00<LST><LST><TXT>05/24<ITM><ITM>SOURCES FOR REFERENCE PUBLICATIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>listing of organizations whose publications

are referenced in other sections of the specifications.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 42 15<LST><LST><TXT>02/24<ITM><ITM>METRIC MEASUREMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>metric measurements

in project specifications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 45 00<LST><LST><TXT>08/23, CHG 1: 05/24<ITM><ITM>QUALITY CONTROL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>preparation and use of Design-Bid-Build (DBB) and Design-Build (DB)

Quality Control</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 45 00.15 10<LST><LST><TXT>11/23<ITM><ITM>RESIDENT MANAGEMENT SYSTEM CONTRACTOR MODE (RMS CM)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>use of the Resident

Management System (RMS) for contract monitoring and administration.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 45 35<LST><LST><TXT>05/24<ITM><ITM>SPECIAL INSPECTIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>special inspections where required by UFC 3-301-01</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 50 00<LST><LST><TXT>11/20, CHG 3: 08/24<ITM><ITM>TEMPORARY CONSTRUCTION FACILITIES AND CONTROLS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>temporary construction

facilities, safety systems, construction traffic provisions, construction signage,

jobsite Wi-Fi, and controls over Contractor operations required for use in all

projects.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 57 19<LST><LST><TXT>08/22<ITM><ITM>TEMPORARY ENVIRONMENTAL CONTROLS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>environmental protection and other environmental temporary

controls</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 58 00<LST><LST><TXT>08/19, CHG 5: 08/22<ITM><ITM>PROJECT IDENTIFICATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>temporary signs for project identification</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 74 19<LST><LST><TXT>02/19, CHG 3: 11/21<ITM><ITM>CONSTRUCTION WASTE MANAGEMENT AND DISPOSAL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the management of

non-hazardous construction waste and demolition debris/waste materials</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 78 00<LST><LST><TXT>05/19, CHG 1: 08/21<ITM><ITM>CLOSEOUT SUBMITTALS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>closeout submittals

including:  revised project documents, warranty management, testing, adjusting

and balancing, O &amp; M manuals, and cleanup</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 78 23<LST><LST><TXT>05/23<ITM><ITM>OPERATION AND MAINTENANCE DATA</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Operation and Maintenance (O&amp;M) data packages,

manuals and training</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 78 23.33<LST><LST><TXT>08/18, CHG 1: 02/21<ITM><ITM>OPERATION AND MAINTENANCE MANUALS FOR AVIATION FUEL SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>O&amp;M Manuals

for Aircraft Refueling systems constructed to the requirements of the DoD Type

III/IV/V, and Cut and Cover Hydrant Refueling System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 78 24.00 10<LST><LST><TXT>05/23<ITM><ITM>FACILITY DATA REQUIREMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>for maintenance and

turnover of electronic Facility Data for use by O&amp;M personnel and systems

of record.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 78 24.00 20<LST><LST><TXT>05/23, CHG 1: 11/23<ITM><ITM>FACILITY DATA WORKBOOK (FDW)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Facility Data Workbook (FDW)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 91 00.15<LST><LST><TXT>05/23, CHG 3: 08/24<ITM><ITM>BUILDING COMMISSIONING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Building Commissioning requirements for design and construction of Army

managed, Navy managed, and Air Force Managed: new building; additions; existing building sustainment, restoration,

and modernization</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>01 91 19<LST><LST><TXT>05/2023<ITM><ITM>BUILDING ENCLOSURE COMMISSIONING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>building enclosure/envelope commissioning,

including requirements for pressure testing a building's air barrier for air

leaks.  Minimizing air leakage through an air barrier helps reduce energy costs</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 02 - EXISTING CONDITIONS</HL3></TXT><BRK/>

<BRK/>

<TXT>02 32 13<LST><LST><TXT>02/21<ITM><ITM>SUBSURFACE DRILLING AND SAMPLING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>determining the

type, nature, and characteristics of subsurface materials as they exist to the

depths and at the locations specified</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 41 00<LST><LST><TXT>08/22<ITM><ITM>[DEMOLITION][ AND ][DECONSTRUCTION]</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>demolition, deconstructon,

dismantling, reconditioning and disposal of existing building materials, equipment

and utilities as a part of new construction or renovation work</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 42 51<LST><LST><TXT>11/19<ITM><ITM>CARPET REMOVAL AND RECLAMATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>removal and reclamation

of used carpet, including EPA Affirmative Procurement requirements and Carpet

America Recovery Efforts (CARE)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 42 91<LST><LST><TXT>11/18<ITM><ITM>REMOVAL AND SALVAGE OF HISTORIC CONSTRUCTION MATERIALS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>removal and salvage

of historic building materials of historic buildings and structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 51 19<LST><LST><TXT>02/25<ITM><ITM>SOLIDIFICATION AND STABILIZATION DECONTAMINATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>solidification/stabilization

(S/S) of contaminated materials</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 53 16.13<LST><LST><TXT>02/25<ITM><ITM>REMEDIATION OF CONTAMINATED SOILS BY THERMAL DESORPTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>onsite thermal desorption

of non-radioactive materials contaminated by hazardous or toxic organic wastes

and by petroleum, oil, or lubricants (POL)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 53 16.16<LST><LST><TXT>02/25<ITM><ITM>IN-SITU THERMAL REMEDIATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>in-situ thermal

remediation (ISTR) of materials contaminated by hazardous or toxic organic wastes

and/or by petroleum, oil, or lubricants (POL)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 54 19.13<LST><LST><TXT>02/25<ITM><ITM>BIOREMEDIATION USING LANDFARMING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>reduction of the

concentrations of organic contaminants in soils by bioremediation using landfarming

systems.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 54 19.16<LST><LST><TXT>02/25<ITM><ITM>BIOREMEDIATION OF SOILS USING WINDROW COMPOSTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>reduction of the

concentrations of organic contaminants in soils by bioremediation using windrow

composting</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 54 23<LST><LST><TXT>02/25<ITM><ITM>SOIL WASHING THROUGH SEPARATION/SOLUBILIZATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>removal of contaminants

by soil washing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 56 13.13<LST><LST><TXT>02/25<ITM><ITM>GEOMEMBRANE WASTE CONTAINMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>geomembrane barrier

for waste containment applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 56 13.16<LST><LST><TXT>02/25<ITM><ITM>CLAY WASTE CONTAINMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>construction of

a clay barrier layer (liner and cover) to isolate contaminated material from

the environment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 56 13.19<LST><LST><TXT>02/25<ITM><ITM>GEOSYNTHETIC CLAY LINER WASTE CONTAINMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>geosynthetic clay

liners</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 61 13<LST><LST><TXT>02/25<ITM><ITM>EXCAVATION AND HANDLING OF CONTAMINATED MATERIAL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>excavation, handling,

and temporary storage of contaminated material</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 61 23<LST><LST><TXT>02/25<ITM><ITM>REMOVAL AND DISPOSAL OF PCB CONTAMINATED SOILS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the removal of polychlorinated biphenyls (PCBs) contaminated

soils</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 62 13.00 10<LST><LST><TXT>08/18<ITM><ITM>AIR AND STEAM STRIPPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>systems to transfer

volatile compounds from a water stream to an air stream.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 62 16.13 10<LST><LST><TXT>08/18<ITM><ITM>OPERATION, MAINTENANCE, AND PROCESS MONITORING FOR SOIL VAPOR EXTRACTION (SVE) SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>operation, maintenance,

and process monitoring for soil vapor extraction (SVE) systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 62 16.16 10<LST><LST><TXT>08/18<ITM><ITM>COMMISSIONING AND DEMONSTRATION FOR SOIL VAPOR EXTRACTION (SVE) SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>commissioning and

demonstration for soil vapor extraction (SVE) systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 65 00<LST><LST><TXT>11/22<ITM><ITM>UNDERGROUND STORAGE TANK REMOVAL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>removal and disposal

of underground, nonhardened tanks and piping used to store petroleum products,

waste oils or hazardous wastes in accordance with Federal, State, and local

regulations.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 66 13<LST><LST><TXT>02/25<ITM><ITM>SELECT FILL AND TOPSOIL FOR LANDFILL COVER</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>select fill and

topsoil layers for landfill cover systems.  Select fill is the term used to

describe soil layers (other than low permeability clay barrier layers placed

above a gas collection layer) placed directly on geosynthetic materials</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 66 16<LST><LST><TXT>02/21<ITM><ITM>TEST FILL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a test fill for

a landfill liner or cover</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 72 13.13<LST><LST><TXT>02/25<ITM><ITM>POINT OF ENTRY TREATMENT FOR DRINKING WATER</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>drinking water treatment

via a point of entry treatment (POET) system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 81 00<LST><LST><TXT>11/18<ITM><ITM>TRANSPORTATION AND DISPOSAL OF HAZARDOUS MATERIALS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>transportation and

disposal of hazardous material</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 82 00<LST><LST><TXT>11/18, CHG 1: 11/19<ITM><ITM>ASBESTOS REMEDIATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>safety procedures and requirements for the demolition,

removal, encapsulation, and disposal of asbestos containing materials (ACM)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 83 00<LST><LST><TXT>11/18<ITM><ITM>LEAD REMEDIATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>protection of workers, disposal of lead, cadmium and

chromium painted material, abatement of lead based paint hazards in target housing and child occupied facilities

and limiting occupational and environmental exposure to lead-based paint or paint with lead (LBP/PWL)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 84 16<LST><LST><TXT>11/22<ITM><ITM>HANDLING OF LIGHTING BALLASTS AND LAMPS CONTAINING PCBs AND MERCURY</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>requirements for removal and disposal of polychlorinated

biphenyl (PCB) containing lighting ballasts and mercury containing lamps, and the handling of resulting wastes</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 84 33<LST><LST><TXT>11/22<ITM><ITM>REMOVAL AND DISPOSAL OF POLYCHLORINATED BIPHENYLS (PCBs)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the removal and disposal of polychlorinated biphenyls

(PCBs) and the handling of PCB containing materials</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>02 85 00<LST><LST><TXT>11/18, CHG 1: 05/22<ITM><ITM>MOLD REMEDIATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the requirements for the demolition, cleaning, removal, and disposal of mold contaminated

materials.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 03 - CONCRETE</HL3></TXT><BRK/>

<BRK/>

<TXT>03 01 00<LST><LST><TXT>02/18<ITM><ITM>REHABILITATION OF CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>repair of portland

cement concrete using epoxy resin grouts, mortars and concretes</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 11 19.00<LST><LST><TXT>08/22<ITM><ITM>INSULATING CONCRETE FORMING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Insulating Concrete

Forming (ICF)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 23 00<LST><LST><TXT>05/16, CHG 1: 08/18<ITM><ITM>STRESSED TENDON REINFORCING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing all equipment,

materials, techniques and labor for providing and installing steel stressing

tendons and accessories for the construction of prestressed concrete</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 30 00<LST><LST><TXT>02/19, CHG 9: 08/24<ITM><ITM>CAST-IN-PLACE CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>cast-in-place concrete not exposed to a marine or

high chloride environment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 30 53<LST><LST><TXT>05/14<ITM><ITM>MISCELLANEOUS CAST-IN-PLACE CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>projects involving

amounts of concrete less than 380 cubic meters 500 cubic yards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 31 29<LST><LST><TXT>05/24<ITM><ITM>MARINE CONCRETE WITH SERVICE LIFE MODELING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>reinforced concrete exposed to marine and chloride

environments for projects with a defined service life</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 31 30<LST><LST><TXT>05/24<ITM><ITM>MARINE CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>reinforced concrete exposed to marine and chloride

environments for projects with no specific requirements for service life design.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 33 00<LST><LST><TXT>11/09<ITM><ITM>CAST-IN-PLACE ARCHITECTURAL CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>cast-in-place architectural

concrete</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 37 00<LST><LST><TXT>11/09<ITM><ITM>PREPLACED-AGGREGATE CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing, hauling,

and preplacing aggregate concrete incidental to the drilling and the grouting.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 37 13<LST><LST><TXT>02/18<ITM><ITM>SHOTCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>materials, proportioning,

application, and curing of shotcrete</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 37 23<LST><LST><TXT>11/09<ITM><ITM>ROLLER-COMPACTED CONCRETE FOR MASS CONCRETE CONSTRUCTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing, hauling,

placing, and roller-compacting concrete for mass concrete construction</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 37 29<LST><LST><TXT>11/09, CHG 1: 11/23<ITM><ITM>CONCRETE FOR CONCRETE CUTOFF WALLS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>concrete cutoff

wall structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 41 16.08<LST><LST><TXT>11/19<ITM><ITM>PRECAST CONCRETE ROOF SLABS (MAX. SPAN 8 FEET O.C.)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>flat-shaped or channel-shaped

roof slabs, max. span 8 feet o.c.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 41 33<LST><LST><TXT>11/16, CHG 1: 11/18<ITM><ITM>PRECAST STRUCTURAL PRETENSIONED CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabrication and

erection of precast structural concrete framing elements, floor units, and roof

units for buildings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 42 13.00 10<LST><LST><TXT>05/16<ITM><ITM>PLANT-PRECAST CONCRETE PRODUCTS FOR BELOW GRADE CONSTRUCTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>precast, non-prestressed

concrete products used for below grade construction (Sewage Systems, Subdrainage

Systems, Storm Drainage Systems, Utility and Communications Structures, etc.)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 44 00<LST><LST><TXT>02/13<ITM><ITM>REINFORCED AUTOCLAVE AERATED CONCRETE PANELS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabrication and

erection of reinforced precast autoclave aerated concrete (PAAC) panels, used

as structural floor units, and roof units and wall units for buildings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 45 00<LST><LST><TXT>05/16, CHG 2: 11/21<ITM><ITM>PRECAST ARCHITECTURAL CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>architectural precast concrete products, that through

their finish, shape, color, or texture contribute to a structure's architectural expression</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 45 33<LST><LST><TXT>05/16, CHG 1: 11/21<ITM><ITM>PRECAST[ PRESTRESSED] STRUCTURAL CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>precast non-prestressed and precast prestressed concrete

used for structural purposes (floor units, roof units, joists, beams, planks, columns, single- and double-tee

slabs, hollow-cored flat slabs, tee- or keystone-joists, and other structural framing elements, etc.) and for

minor architectural purposes (copings, window sills, etc.) in building and waterfront facilities construction</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 47 13<LST><LST><TXT>08/16<ITM><ITM>TILT-UP CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>tilt-up concrete

wall panels precast on a previously prepared casting bed</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 51 13<LST><LST><TXT>05/16<ITM><ITM>CEMENTITIOUS WOOD FIBER DECKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>cementitious wood

fiber decks</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 53 14<LST><LST><TXT>08/21<ITM><ITM>LIGHT REFLECTIVE NONFERROUS METALLIC AGGREGATE FLOOR SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>light reflective, non-oxidizing, metallic (not silica

or quartz) dry shake surface hardener for concrete floor finish</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 62 16<LST><LST><TXT>08/23<ITM><ITM>METALLIC NON-SHRINK GROUTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the material and application of expansive grout to

ensure structural integrity of construction</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>03 70 00<LST><LST><TXT>02/10, CHG 2: 08/20<ITM><ITM>MASS CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>large projects containing

mass concrete or mass and structural concrete, and major projects where the

government retains the responsibility for concrete mixture proportioning</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 04 - MASONRY</HL3></TXT><BRK/>

<BRK/>

<TXT>04 01 20.73<LST><LST><TXT>11/15, CHG 1: 08/17<ITM><ITM>MASONRY STRENGTHENING USING FRP BARS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>strengthening of

masonry walls and is intended for use in defining those requirements for procurment

of structural strengthening using fiber reinforced polymer (FRP) composit systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>04 01 20.75<LST><LST><TXT>11/15, CHG 2: 05/21<ITM><ITM>MASONRY STRENGTHENING USING SURFACE APPLIED FRP COMPOSITES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>strengthening of

masonry walls and is intended for use in defining those requirements for procurement

of structural strengthening using fiber reinforced polymer (FRP) composite systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>04 03 00<LST><LST><TXT>11/17<ITM><ITM>CONSERVATION TREATMENT FOR PERIOD MASONRY</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>restoration and

cleaning of masonry in historic structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>04 20 00<LST><LST><TXT>11/15, CHG 2: 05/19<ITM><ITM>UNIT MASONRY</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>reinforced and nonreinforced

masonry</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>04 23 00<LST><LST><TXT>11/15<ITM><ITM>GLASS UNIT MASONRY</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>glass unit masonry

work</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 05 - METALS</HL3></TXT><BRK/>

<BRK/>

<TXT>05 05 20<LST><LST><TXT>05/22, CHG 1: 08/24<ITM><ITM>POST-INSTALLED CONCRETE AND MASONRY ANCHORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>post-installed concrete and masonry anchors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 05 23.13 10<LST><LST><TXT>08/18<ITM><ITM>ULTRASONIC INSPECTION OF WELDMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>ultrasonic inspections

of weldments; including qualifications and procedures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 05 23.16<LST><LST><TXT>08/18<ITM><ITM>STRUCTURAL WELDING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>(1) qualifying welding

procedures, welders and welding operators, and (2) the fabrication, welding

and inspection of carbon steel, low alloy steel, extra-high-strength quenched

and tempered low alloy steels, and austenitic stainless steel materials for

structural steel for buildings, other structures and non-structural use</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 12 00<LST><LST><TXT>08/18, CHG 2: 05/21<ITM><ITM>STRUCTURAL STEEL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>structural steel used in building construction</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 14 00.13<LST><LST><TXT>11/19<ITM><ITM>WELDING STRUCTURAL ALUMINUM FRAMING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>minimum requirements

for qualifying welding procedures, welders, and welding operators for making

and inspecting welds in structural and non-structural fabrications of weldable

aluminum materials</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 21 00<LST><LST><TXT>05/15, CHG 1: 08/18<ITM><ITM>STEEL JOIST FRAMING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steel joist framing

and accessories</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 30 00<LST><LST><TXT>05/15, CHG 2: 08/18<ITM><ITM>STEEL DECKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steel floor and roof decks, including accessories</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 40 00<LST><LST><TXT>05/15, CHG 1: 08/18<ITM><ITM>COLD-FORMED METAL FRAMING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>framing components and erection of load-bearing cold-formed

metal framing and trusses</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 50 13<LST><LST><TXT>08/24<ITM><ITM>MISCELLANEOUS METAL FABRICATIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>miscellaneous metalwork</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 50 14<LST><LST><TXT>08/18<ITM><ITM>STRUCTURAL METAL FABRICATIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>general workmanship

applicable to the fabrication, assembly and testing custom fabricated or machined

assemblages requiring strict tolerances and specific expertise in detailing,

fabrication, and installation</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 50 15<LST><LST><TXT>08/18<ITM><ITM>CIVIL WORKS FABRICATIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>providing all equipment,

materials, and labor for fabricating, furnishing, and installing miscellaneous

metal materials, standard metal articles, and shop fabricated items for Civil

Works type structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 51 00<LST><LST><TXT>08/23<ITM><ITM>METAL STAIRS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steel stair systems which are not a part of any other

metals system of the specification</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 51 33<LST><LST><TXT>08/24<ITM><ITM>METAL LADDERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>metal ladders</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 52 00<LST><LST><TXT>08/23<ITM><ITM>METAL RAILINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>metal railing systems which are not a part of any

other metals system of the specification</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 59 10<LST><LST><TXT>11/22<ITM><ITM>ROLLING COVER FOR AVIATION REFUELING VAULTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>custom fabricated

rolling covers installed on new or existing aircraft refueling system vaults

constructed to the requirements of the DoD Type III/IV/V, and Cut and Cover

Hydrant Refueling System Standards.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 59 20<LST><LST><TXT>05/21<ITM><ITM>FABRICATION OF HYDRAULIC STEEL STRUCTURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>general workmanship

applicable to the fabrication, assembly and testing of fracture critical Hydraulic

Steel Structures.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>05 72 00<LST><LST><TXT>08/23<ITM><ITM>DECORATIVE METAL SPECIALTIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>decorative metal products used in building construction

for architectural and decorative effects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 06 - WOOD, PLASTICS, AND COMPOSITES</HL3></TXT><BRK/>

<BRK/>

<TXT>06 10 00<LST><LST><TXT>08/16, CHG 2: 11/18<ITM><ITM>ROUGH CARPENTRY</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>framing, grounds, nailers, blocking,

and sheathing of light wooden structures and includes the use of preassembled

components and plastic lumber</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>06 13 33<LST><LST><TXT>11/16, CHG 1: 08/17<ITM><ITM>PIER TIMBERWORK</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>timber piers and timber work on other than timber

piers</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>06 17 19<LST><LST><TXT>11/16, CHG 2: 05/21<ITM><ITM>CROSS-LAMINATED TIMBER</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabrication and

erection of cross laminated timber panels for walls, floors, roofs, partitions,

and all metal shapes and hardware required for their installation</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>06 18 00<LST><LST><TXT>08/23<ITM><ITM>GLUED-LAMINATED CONSTRUCTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabrication and

erection of laminated wood arches, beams, purlins, columns, and all metal shapes

and hardware required for installation of wood components.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>06 20 00<LST><LST><TXT>08/24<ITM><ITM>FINISH CARPENTRY</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>covers general exterior and interior finish

carpentry in a condensed format and is therefore intended for use on small projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>06 41 16.00 10<LST><LST><TXT>08/10, CHG 1: 11/18<ITM><ITM>PLASTIC-LAMINATE-CLAD ARCHITECTURAL CABINETS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>laminate clad architectural

casework</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>06 61 16<LST><LST><TXT>08/20<ITM><ITM>SOLID SURFACING FABRICATIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>solid polymer and

quartz agglomerate (or "engineered quartz") fabrications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>06 71 33<LST><LST><TXT>08/23<ITM><ITM>FIBERGLASS REINFORCED PLASTIC (FRP) LADDERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fiberglass reinforced plastic (FRP) ladders</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>06 73 01<LST><LST><TXT>08/23<ITM><ITM>FIBERGLASS REINFORCED PLASTIC (FRP) GRATING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fiberglass reinforced plastic (FRP) gratings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>06 82 14<LST><LST><TXT>08/23<ITM><ITM>FIBERGLASS REINFORCED PLASTIC (FRP) PIPE AND TUBE RAILINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fiberglass reinforced plastic (FRP) pipe and tube

railings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 07 - THERMAL AND MOISTURE PROTECTION</HL3></TXT><BRK/>

<BRK/>

<TXT>07 11 13<LST><LST><TXT>08/23<ITM><ITM>BITUMINOUS DAMPPROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>bituminous dampproofing to resist passage of moisture/water

in the absence of hydrostatic pressure.  It is intended to be used where protection is required against ingress

of water by capillary action resulting from occasional exposure to moisture or where reduced transfer of water

vapor through the surface is necessary</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 12 00<LST><LST><TXT>02/16<ITM><ITM>BUILT-UP BITUMINOUS WATERPROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>built-up bituminous membrane waterproofing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 13 53<LST><LST><TXT>02/16, CHG 1: 08/17<ITM><ITM>ELASTOMERIC SHEET WATERPROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sheet applied elastomeric waterproofing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 14 00<LST><LST><TXT>08/23<ITM><ITM>FLUID-APPLIED WATERPROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fluid-applied elastomeric waterproofing systems for

horizontal applications where this membrane is protected by a separate wearing course</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 16 19<LST><LST><TXT>08/23<ITM><ITM>METALLIC OXIDE WATERPROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>metallic oxide waterproofing for application on interior

face of concrete walls and floors below grade, to provide a barrier impervious to passage of water under hydrostatic

pressure</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 17 00<LST><LST><TXT>02/16<ITM><ITM>BENTONITE WATERPROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>bentonite waterproofing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 19 00<LST><LST><TXT>08/23<ITM><ITM>WATER REPELLENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the application of water repellent coatings to above

grade concrete, concrete masonry, and plaster surfaces</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 21 13<LST><LST><TXT>08/23<ITM><ITM>BOARD AND BLOCK INSULATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>board and block thermal insulation</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 21 16<LST><LST><TXT>08/23<ITM><ITM>MINERAL FIBER BLANKET INSULATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>mineral fiber blanket thermal insulation in attics,

ceilings, walls, and floors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 21 23<LST><LST><TXT>08/23<ITM><ITM>LOOSE FILL THERMAL INSULATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>loose fill cellulosic and mineral fiber insulation

materials in attics, ceilings, and framed walls and mineral granular in masonry walls</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 22 00<LST><LST><TXT>08/23<ITM><ITM>ROOF AND DECK INSULATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>insulation materials used below low-slope built-up

roofing and single ply roofing systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 24 00<LST><LST><TXT>08/23<ITM><ITM>EXTERIOR INSULATION AND FINISH SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>barrier-type and drainable exterior insulation and

finish systems (EIFS), Classes PB and PM, which may be applied to concrete or brick  masonry, or to wood or metal

frame construction.  EIFS are exterior finish systems that include an integral layer of thermal insulation</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 27 10<LST><LST><TXT>08/23<ITM><ITM>BUILDING AIR BARRIER SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Contractor responsibilities, quality

control, and maximum leakage requirements of the constructed air barrier system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 27 19.01<LST><LST><TXT>08/23, CHG 1: 08/24<ITM><ITM>SELF-ADHERING AIR BARRIERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>self-adhering air barrier, for use inside exterior

wall cavities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 27 26<LST><LST><TXT>08/23<ITM><ITM>FLUID-APPLIED MEMBRANE AIR BARRIERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fluid-applied membrane air barriers for use inside

exterior wall cavities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 27 36<LST><LST><TXT>08/23<ITM><ITM>SPRAY FOAM AIR BARRIERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>open cell and closed cell sprayed polyurethane foam

(SPF) materials used in wall, ceiling, and roof assemblies</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 31 13<LST><LST><TXT>08/16, CHG 2: 08/18<ITM><ITM>ASPHALT SHINGLES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>asphalt shingle roofing, surfaced with mineral granules,

including roofing felt, ridge vents, underlayments, and flashings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 31 26<LST><LST><TXT>08/09<ITM><ITM>SLATE SHINGLES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>slate roofing on

new construction and on historic buildings which require replacement, reinstallation,

or repair of slate roofs</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 32 13<LST><LST><TXT>04/06<ITM><ITM>ROOF TILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>clay and concrete roofing tiles and underlayments</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 32 14<LST><LST><TXT>04/06<ITM><ITM>CLAY TILE ROOFING REPLACEMENT OR REPAIR</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>clay tile roofing on historic buildings which require

replacement, reinstallation, or repair of clay tile roofs</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 41 13<LST><LST><TXT>05/11, CHG 4: 02/21<ITM><ITM>METAL ROOF PANELS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>both factory color and mill finish aluminum or steel

non-structural metal roofing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 41 13.16<LST><LST><TXT>08/09<ITM><ITM>COPPER ROOF PANELS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>copper roof system

applied to solid roof decking</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 41 63<LST><LST><TXT>11/16<ITM><ITM>FABRICATED ROOF PANEL ASSEMBLIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>both factory color

and mill finish aluminum or steel fabricated roof panel assemblies</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 42 13<LST><LST><TXT>05/11, CHG 2: 02/18<ITM><ITM>METAL WALL PANELS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>both factory color and mill finish aluminum or steel

non-structural metal wall panels</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 42 63<LST><LST><TXT>05/11, CHG 4: 08/20<ITM><ITM>FABRICATED WALL PANEL ASSEMBLIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>both factory color and mill finish fabricated aluminum

or steel structural metal wall panel assemblies</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 51 13<LST><LST><TXT>05/12, CHG 2: 11/18<ITM><ITM>BUILT-UP ASPHALT ROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>aggregate surfaced bituminous built-up roofing, and

built-up roofing with granule-surfaced modified bitumen cap sheet for existing and new roof systems on slopes

from 6 mm to 76 mm 1/4 inch to 3 inches per foot</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 52 00<LST><LST><TXT>05/12, CHG 5: 11/19<ITM><ITM>MODIFIED BITUMINOUS MEMBRANE ROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>modified bitumen sheet roofing.  Hot mopped asphalt,

torch applied, hot air, and cold-applied adhesive applications are included on both existing and new roof systems

with slopes from 6 mm to 76 mm 1/4 inch to 3 inches per foot.  Both SBS and APP modified bitumen membranes are

included</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 53 23<LST><LST><TXT>05/12, CHG 2: 08/18<ITM><ITM>ETHYLENE-PROPYLENE-DIENE-MONOMER ROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>ethylene propylene diene terpolymer (EPDM) elastomeric

sheet roofing, with associated elastomeric sheet flashing, for installations with the insulation below the membrane</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 54 19<LST><LST><TXT>08/23<ITM><ITM>POLYVINYL-CHLORIDE ROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>reinforced polyvinyl

chloride roofing membrane on both existing and new roof systems with slopes

from 6 mm to 76 mm 1/4 inch to 3 inches per foot</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 55 00<LST><LST><TXT>08/09, CHG 1: 05/14<ITM><ITM>PROTECTED MEMBRANE ROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>protected membrane

roof system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 57 13<LST><LST><TXT>05/11, CHG 4: 02/23<ITM><ITM>SPRAYED POLYURETHANE FOAM (SPF) ROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>spray applied urethane foam roofing systems with a

fluid applied elastomeric protection coating</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 60 00<LST><LST><TXT>08/23<ITM><ITM>FLASHING AND SHEET METAL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>flashing and sheet metal work including gutters and

downspouts, scuppers, splash pans, and sheet metal roofing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 61 14.00 20<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>STEEL STANDING SEAM ROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steel standing seam roofing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 61 15.00 20<LST><LST><TXT>08/16, CHG 2: 11/18<ITM><ITM>ALUMINUM STANDING SEAM ROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>aluminum standing seam roofing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 62 13<LST><LST><TXT>08/09<ITM><ITM>COPPER SHEET METAL FLASHING AND TRIM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>copper sheet metal

used as flashing, including gutters and downspouts and for historic structures

which require roof repairs</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 72 20<LST><LST><TXT>08/23<ITM><ITM>GRAVITY-TYPE ROOF VENTILATORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>gravity-type roof

ventilators including stationary, turbine, and ridge types</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 81 00<LST><LST><TXT>02/11<ITM><ITM>SPRAY-APPLIED FIREPROOFING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>spray-applied fire

protection.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 84 00<LST><LST><TXT>05/10, CHG 1: 08/13<ITM><ITM>FIRESTOPPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>firestopping using

tested and listed firestop systems to form an effective barrier against the

spread of fire, smoke and gases, and to maintain the integrity of fire resistance

rated construction</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>07 92 00<LST><LST><TXT>08/23<ITM><ITM>JOINT SEALANTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sealants for normal building construction</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 08 - OPENINGS</HL3></TXT><BRK/>

<BRK/>

<TXT>08 01 52<LST><LST><TXT>08/09<ITM><ITM>OPERATION AND MAINTENANCE OF WOOD WINDOWS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>repair and rehabilitation

of wood windows in historic buildings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 11 13<LST><LST><TXT>08/20<ITM><ITM>STEEL DOORS AND FRAMES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steel doors and frames</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 11 16<LST><LST><TXT>05/17, CHG 2: 11/18<ITM><ITM>ALUMINUM DOORS AND FRAMES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>aluminum doors and frames intended for use primarily as main entrance and

vestibule doors, and for prominent interior doors from lobbies and similar spaces in buildings of public access</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 11 73<LST><LST><TXT>08/20<ITM><ITM>SLIDING FIRE DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>horizontal and vertical sliding steel-covered composite,

hollow-metal, corrugated sheet metal, and tin-clad fire doors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 13 73<LST><LST><TXT>02/11<ITM><ITM>SLIDING METAL DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>horizontal sliding

steel doors used primarily for fire rated application and electrically operated

horizontal and biparting sliding doors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 14 00<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>WOOD DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>wood doors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 22 20<LST><LST><TXT>11/19<ITM><ITM>FIBERGLASS REINFORCED PLASTIC (FRP) DOORS AND FRAMES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fiberglass reinforced plastic (FRP) doors

and frames</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 31 00<LST><LST><TXT>05/17, CHG 1: 08/18<ITM><ITM>ACCESS DOORS AND PANELS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>access doors and panels</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 32 13<LST><LST><TXT>08/20, CHG 1: 02/22<ITM><ITM>ALUMINUM SLIDING GLASS DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>aluminum sliding glass doors for commercial, residential,

and monumental type buildings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 33 13<LST><LST><TXT>05/09, CHG 2: 11/12<ITM><ITM>COILING COUNTER DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>metal rolling counter

doors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 33 23<LST><LST><TXT>08/20, CHG 1: 02/22<ITM><ITM>OVERHEAD COILING DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>manually-operated,

power-operated overhead coiling doors, and overhead coiling counter doors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 34 01<LST><LST><TXT>08/09<ITM><ITM>FORCED ENTRY RESISTANT COMPONENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>forced entry resistant

door assemblies, window assemblies, louvers, pass-through drawers, and prefabricated

guardhouses</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 34 02<LST><LST><TXT>08/09<ITM><ITM>BULLET-RESISTANT COMPONENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>bullet resistant components including

doors, windows, louvers, gunports, pass drawers, deal trays, and speaking apertures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 34 16<LST><LST><TXT>05/17<ITM><ITM>CORROSION CONTROL HANGAR DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabrication and manufacture of hangar doors used in

corrosion control hangars</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 34 16.10<LST><LST><TXT>11/21, CHG 1: 08/24<ITM><ITM>HORIZONTAL ROLLING STEEL DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>horizontal rolling steel door systems including their

operators and controls</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 34 16.20<LST><LST><TXT>08/21, CHG 2: 08/24<ITM><ITM>VERTICAL LIFT FABRIC DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>vertical lift fabric doors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 34 49.00 20<LST><LST><TXT>11/22<ITM><ITM>HEMP SHIELDED DOOR</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing and installing high-altitude electromagnetic

pulse (HEMP) shielded door</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 34 58<LST><LST><TXT>08/08<ITM><ITM>FILE ROOM DOORS AND FRAMES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>non-security type

fire-insulated record-vault doors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 34 59<LST><LST><TXT>08/08, CHG 1: 11/12<ITM><ITM>VAULT DOORS AND DAY GATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>vault door units

meeting the protective storage criteria for classified materials</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 34 63<LST><LST><TXT>08/24<ITM><ITM>DETENTION HOLLOW METAL FRAMES, DOORS, AND DOOR FRAMES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>detention hollow frames, metal doors, and door frames

for use in brigs and detention facilities in locations where prisoners may have access</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 34 73<LST><LST><TXT>11/19, CHG 1: 02/21<ITM><ITM>SOUND CONTROL DOOR ASSEMBLIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>flush steel and

wood sound retardant doors with Sound Transmission Classification (STC) ranging

from 25 to 45</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 36 13<LST><LST><TXT>08/20<ITM><ITM>SECTIONAL OVERHEAD DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sectional overhead doors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 36 19<LST><LST><TXT>08/20<ITM><ITM>VERTICAL LIFT DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>vertical lift metal doors of the stacking type</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 39 53<LST><LST><TXT>02/19, CHG 1: 05/20<ITM><ITM>BLAST RESISTANT DOORS (EARTH COVERED MAGAZINES)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>blast resistant

doors used in the construction or retrofit of earth covered magazines</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 39 54<LST><LST><TXT>08/09<ITM><ITM>BLAST RESISTANT DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>manually operated

swinging structural steel, reinforced concrete, and hollow metal blast resistant

doors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 39 55.00 20<LST><LST><TXT>11/24<ITM><ITM>NAVY STANDARD EARTH-COVERED MAGAZINE DOORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Earth Covered Navy Magazine Doors, security, operators,

and controls</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 41 13<LST><LST><TXT>08/18, CHG 1: 08/18<ITM><ITM>ALUMINUM-FRAMED ENTRANCES AND STOREFRONTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Aluminum Entrances, glass and glazing, door hardware

and components.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 44 00<LST><LST><TXT>05/19<ITM><ITM>CURTAIN WALL AND GLAZED ASSEMBLIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>complete glazed curtain wall system exclusive of doors,

entrances, and store fronts, commercial aluminum curtain walls designed to accommodate fixed-glass lights, window

sashes, panels, louvers, and other curtain-wall accessories</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 51 13<LST><LST><TXT>05/19<ITM><ITM>ALUMINUM WINDOWS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>R, LC, CW and AW performance class aluminum windows</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 51 23<LST><LST><TXT>08/20, CHG 1: 02/22<ITM><ITM>STEEL WINDOWS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>standard steel windows</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 51 69.10<LST><LST><TXT>08/20<ITM><ITM>ALUMINUM STORM WINDOWS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>storm windows for internal or external application

on existing buildings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 52 00<LST><LST><TXT>08/20, CHG 1: 02/22<ITM><ITM>WOOD WINDOWS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>wood windows of the following types:  single-hung,

double-hung, awning, casement, horizontal sliding, and non-operative (stationary window unit)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 53 00<LST><LST><TXT>08/20, CHG 1: 02/22<ITM><ITM>PLASTIC WINDOWS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>prime and replacement PVC windows</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 56 46.10 20<LST><LST><TXT>08/11, CHG 1: 02/22<ITM><ITM>RADIO FREQUENCY SHIELDED ENCLOSURES, DEMOUNTABLE TYPE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>radio frequency shielded enclosures, demountable Type</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 56 46.20 20<LST><LST><TXT>08/11, CHG 2: 02/22<ITM><ITM>RADIO FREQUENCY SHIELDED ENCLOSURES, WELDED TYPE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>radio frequency shielded enclosures, welded type in

sizes under 50 square meters 500 square feet</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 56 53<LST><LST><TXT>08/20, CHG 1: 08/24<ITM><ITM>BLAST RESISTANT TEMPERED GLASS WINDOWS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>blast resistant tempered glass windows</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 56 63<LST><LST><TXT>04/06<ITM><ITM>DETENTION AND SECURITY WINDOWS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>detention steel cell windows</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 60 45<LST><LST><TXT>08/20<ITM><ITM>[SKYLIGHTS][ AND ][TRANSLUCENT PANELS]</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>skylights and translucent

panels manufactured from glass-fiber or thermoplastic polycarbonate</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 71 00<LST><LST><TXT>02/16, CHG 4: 02/22<ITM><ITM>DOOR HARDWARE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>finish hardware for permanent structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 71 63<LST><LST><TXT>08/24<ITM><ITM>DETENTION HARDWARE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>detention hardware for use in brigs and detention

facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 71 63.10<LST><LST><TXT>11/22<ITM><ITM>ELECTRICAL LOCKING CONTROL FOR BRIGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>locking control systems which control all electrically

controlled hardware and motorized gates and doors, including but not limited to solenoid locks</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 81 00<LST><LST><TXT>05/19<ITM><ITM>GLAZING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>normal glazing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 87 23.13<LST><LST><TXT>08/09<ITM><ITM>SAFETY FILMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>transparent film

at least 0.10 mm 0.004 inch thick (4 mil) applied to the interior side of glass

to reduce spalling and fragment dispersal</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 88 53<LST><LST><TXT>05/11<ITM><ITM>DETENTION AND SECURITY GLAZING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>security glazing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 88 58<LST><LST><TXT>05/14<ITM><ITM>AIR TRAFFIC CONTROL TOWER CAB GLASS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>engineered outward sloping low-iron clear annealed

tower cab glass for use in military air traffic control towers</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>08 91 00<LST><LST><TXT>08/20<ITM><ITM>METAL [WALL] [AND] [DOOR] LOUVERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>average metal wall louvers, metal louvers in wood

doors, screens and frames, and accessories</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 09 - FINISHES</HL3></TXT><BRK/>

<BRK/>

<TXT>09 01 90.50<LST><LST><TXT>05/09, CHG 1: 08/17<ITM><ITM>PREPARATION OF HISTORIC WOOD AND METAL SURFACES FOR PAINTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>preparation for

painting wood and metal surfaces in historic structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 06 00<LST><LST><TXT>08/22<ITM><ITM>SCHEDULES FOR FINISHES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>color of exterior

and interior materials and products</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 22 00<LST><LST><TXT>08/24<ITM><ITM>SUPPORTS FOR PLASTER AND GYPSUM BOARD</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>non-load bearing cold-formed metal framing, furring,

and ceiling suspension systems for the attachment of lath, plaster, stucco, and wallboard</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 22 36<LST><LST><TXT>08/24<ITM><ITM>LATH</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>lathing for gypsum and portland cement-based plaster

work</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 23 00<LST><LST><TXT>08/24<ITM><ITM>GYPSUM PLASTERING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>interior and exterior plaster work</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 23 82<LST><LST><TXT>11/19<ITM><ITM>FIREPROOF GYPSUM PLASTERING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fire protection

applications of specified plaster bases</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 24 23<LST><LST><TXT>08/17, CHG 2: 11/18<ITM><ITM>CEMENT STUCCO</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>stucco, including associated framing

and lathing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 26 00<LST><LST><TXT>08/24<ITM><ITM>VENEER PLASTER</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>veneer plaster systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 29 00<LST><LST><TXT>08/24<ITM><ITM>GYPSUM BOARD</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>gypsum board, cementitious backer units, and accessories

intended for use in drywall construction</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 30 10<LST><LST><TXT>08/20<ITM><ITM>CERAMIC, QUARRY, AND GLASS TILING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a variety of types

of ceramic tile for walls and floors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 35 16<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>CHEMICAL-RESISTANT QUARRY TILING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>quarry tile with

chemical resistant grout and setting bed for use in medium to large dining facilities

and other areas subject to spillage of acids or other chemicals</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 51 00<LST><LST><TXT>08/20<ITM><ITM>ACOUSTICAL CEILINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>conventional and

impact/abrasion resistant acoustical ceiling tile and panels, unit acoustical

absorbers, hangers, and suspension system grid for installation in commercial-type

work</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 62 38<LST><LST><TXT>08/17, CHG 1: 08/18<ITM><ITM>STATIC-CONTROL FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>static-control resilient

flooring over a concrete surface and static-control carpet over concrete or

access flooring</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 64 00<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>PORTABLE (DEMOUNTABLE) WOOD FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>portable (demountable)

wood flooring for use in enclosed multipurpose areas</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 64 23<LST><LST><TXT>08/16, CHG 3: 11/18<ITM><ITM>WOOD PARQUET FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>wood parquet flooring

systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 64 29<LST><LST><TXT>08/16, CHG 2: 11/18<ITM><ITM>WOOD STRIP AND PLANK FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>wood strip and plank

flooring for gymnasiums, handball and squash courts, and other special purpose

applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 64 66<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>WOOD ATHLETIC FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>five gymnasium-type

hardwood strip flooring systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 65 00<LST><LST><TXT>11/24<ITM><ITM>RESILIENT FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>resilient floor

coverings, base materials, and accessory items</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 65 66<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>RESILIENT ATHLETIC FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>resilient athletic

flooring</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 66 13<LST><LST><TXT>08/16, CHG 2: 11/18<ITM><ITM>PORTLAND CEMENT TERRAZZO FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>standard terrazzo

bonded to concrete subfloor</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 66 16<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>TERRAZZO FLOOR TILE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>cast marble or granite

terrazzo tile of various sizes and thicknesses)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 66 23<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>RESINOUS MATRIX TERRAZZO FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>resinous terrazzo

flooring and conductive resinous terrazzo flooring</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 67 23.13<LST><LST><TXT>11/19<ITM><ITM>STANDARD RESINOUS FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>thin-set, troweled,

heavy-duty, epoxy floor toppings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 67 23.14<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>CHEMICAL RESISTANT RESINOUS FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>trowelled-on industrial

resinous flooring, conductive resinous flooring, and decorative resinous flooring

except resinous terrazzo</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 67 23.15<LST><LST><TXT>02/21<ITM><ITM>FUEL RESISTIVE RESINOUS FLOORING, 3-COAT SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a three-coat, liquid flooring system with reflective

urethane topcoats, slip resistance, and joint work</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 67 23.16<LST><LST><TXT>02/21<ITM><ITM>FUEL RESISTIVE RESINOUS FLOORING, 5-COAT SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a five-coat, epoxy mortar flooring system with reflective

urethane topcoats, slip resistance, and joint work</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 68 00<LST><LST><TXT>11/24<ITM><ITM>CARPETING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>broadloom carpet,

modular tile carpet, and entrance carpet.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 69 13<LST><LST><TXT>11/24<ITM><ITM>RIGID GRID ACCESS FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>rigid grid access

flooring</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 69 19<LST><LST><TXT>11/24<ITM><ITM>STRINGERLESS ACCESS FLOORING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>stringerless access

flooring</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 72 00<LST><LST><TXT>08/17, CHG 1: 08/18<ITM><ITM>WALLCOVERINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>wallcoverings over

gypsum wallboard, plaster, concrete, or masonry</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 84 20<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>ACOUSTICAL WALL PANELS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabric covered acoustical

wall panel systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 90 00<LST><LST><TXT>02/21<ITM><ITM>PAINTS AND COATINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>painting of new and existing, interior and exterior

substrates, including masonry, concrete, metal, wood, and other miscellaneous materials</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 96 00<LST><LST><TXT>11/14<ITM><ITM>HIGH-PERFORMANCE COATINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>special coatings

as required for harsh indoor locations or operations (any area subjected to

chemical and/or abrasive action), and all outdoor installations</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 96 59<LST><LST><TXT>05/11, CHG 1: 08/17<ITM><ITM>HIGH-BUILD GLAZE COATINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>epoxy-polyamide, polyurethane, and epoxy polyester

high performance, architectural wall coating systems for interior and exterior surfaces</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 97 02<LST><LST><TXT>02/20, CHG 1: 11/21<ITM><ITM>PAINTING:  HYDRAULIC STRUCTURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the preparation

of surfaces and the application of paints for hydraulic structures and appurtenant

items</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 97 10.00 10<LST><LST><TXT>08/21<ITM><ITM>METALLIC COATINGS FOR HYDRAULIC STRUCTURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>preparation of surfaces

and application of metallized coatings for hydraulic structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 97 13.16<LST><LST><TXT>05/11, CHG 2: 08/19<ITM><ITM>INTERIOR COATING OF WELDED STEEL WATER TANKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>polyamide epoxy coating system for interior of newly

constructed Navy and Air force water tanks, potable and non-potable, where shop applied coatings are not being

considered</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 97 13.17<LST><LST><TXT>05/22<ITM><ITM>THREE COAT EPOXY INTERIOR COATING OF WELDED STEEL PETROLEUM FUEL TANKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a three-coat epoxy system for interior coating of

newly constructed, bulk fuel storage tanks</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 97 13.25<LST><LST><TXT>05/11, CHG 1: 08/17<ITM><ITM>MAINTENANCE, REPAIR, AND COATING OF TALL ANTENNA TOWERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>coating of new, and repairs to existing, steel towers</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 97 13.27<LST><LST><TXT>02/21, CHG 1: 08/22<ITM><ITM>HIGH PERFORMANCE COATING FOR STEEL STRUCTURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>zinc-rich epoxy/epoxy/polyurethane coating systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 97 13.28<LST><LST><TXT>02/10<ITM><ITM>PROTECTION OF BURIED STEEL PIPING AND STEEL BULKHEAD TIE RODS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>exterior protection tape wrapping systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 97 23<LST><LST><TXT>08/18<ITM><ITM>METALLIC TYPE CONDUCTIVE/SPARK RESISTANT CONCRETE FLOOR FINISH</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>metallic type conductive/spark resistant concrete

floor finish for ordnance and other similar structures over a bonded floor topping with a thickness of 2 inches

or greater or a monolithic base slab.  For other installation procedures, edit specification accordingly</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 97 23.16<LST><LST><TXT>08/24<ITM><ITM>LINSEED OIL PROTECTION OF CONCRETE SURFACES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sealing, waterproofing, and anti-spall protection

of concrete where freezing temperatures may cause damage</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>09 97 23.17<LST><LST><TXT>08/16, CHG 1: 11/16<ITM><ITM>CORROSION INHIBITOR COATING OF CONCRETE SURFACES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>corrosion inhibiting coatings for concrete surfaces</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 10 - SPECIALTIES</HL3></TXT><BRK/>

<BRK/>

<TXT>10 11 00<LST><LST><TXT>08/20<ITM><ITM>VISUAL DISPLAY UNITS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>visual communications

specialties</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 14 00.10<LST><LST><TXT>08/17, CHG 1: 11/18<ITM><ITM>EXTERIOR SIGNAGE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>common types of

exterior signs, dimensional building letters, and metal plaques</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 14 00.20<LST><LST><TXT>08/20<ITM><ITM>INTERIOR SIGNAGE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>common types of

signs, dimensional letters, and metal plaques used inside buildings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 14 53<LST><LST><TXT>02/15, CHG 1: 05/17<ITM><ITM>TRAFFIC SIGNAGE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>traffic signs and

sign posts</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 21 13<LST><LST><TXT>08/20<ITM><ITM>TOILET COMPARTMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>ceiling-hung, floor

anchored, and overhead-braced toilet partitions</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 21 23.16<LST><LST><TXT>08/24<ITM><ITM>CUBICLE TRACK AND HARDWARE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the provision and installation of hospital cubicle

tracks</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 22 13<LST><LST><TXT>08/24<ITM><ITM>WIRE MESH PARTITIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>wire mesh partitions for normal and for extra heavy

industrial use</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 22 19<LST><LST><TXT>08/17, CHG 1: 08/18<ITM><ITM>DEMOUNTABLE AND MOVABLE PARTITIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>demountable and

movable partitions</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 22 26.13<LST><LST><TXT>08/24<ITM><ITM>ACCORDION FOLDING PARTITIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>accordion folding partitions, manually and/or electrically

operated</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 22 26.23<LST><LST><TXT>08/24<ITM><ITM>COILING PARTITIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>coiling partitions, manually and/or electrically operated</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 22 39<LST><LST><TXT>08/20<ITM><ITM>FOLDING PANEL PARTITIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>folding panel partitions,

also referred to as operable partitions</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 22 43<LST><LST><TXT>11/24<ITM><ITM>SLIDING PARTITIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sliding partitions</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 26 00<LST><LST><TXT>08/20<ITM><ITM>WALL AND DOOR PROTECTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>corner guards, wall

guards, door protectors, and wall panels</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 28 13<LST><LST><TXT>08/20<ITM><ITM>TOILET ACCESSORIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>toilet accessories

suitable for a wide variety of applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 44 16<LST><LST><TXT>11/19<ITM><ITM>FIRE EXTINGUISHERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>portable fire extinguishers, including wall brackets,

accessories, maintenance servicing and inspection tagging requirements</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 51 13<LST><LST><TXT>08/24<ITM><ITM>LOCKERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>permanently installed metal lockers; single and double

tier, used for temporary storage and security of personal belongings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>10 56 13<LST><LST><TXT>08/24<ITM><ITM>STEEL SHELVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>hand loaded steel shelving units</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 11 - EQUIPMENT</HL3></TXT><BRK/>

<BRK/>

<TXT>11 05 40<LST><LST><TXT>08/17, CHG 1: 02/18<ITM><ITM>COMMON WORK RESULTS FOR FOODSERVICE EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>general requirements and common works result for foodservice

equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 06 40.13<LST><LST><TXT>08/17<ITM><ITM>FOODSERVICE EQUIPMENT SCHEDULE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>foodservice equipment schedules</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 13 19.13<LST><LST><TXT>02/24<ITM><ITM>LOADING DOCK LEVELERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>dock bumpers, truck-trailer

restraining devices, and industrial, mechanical and electro-hydraulic dock levelers

of the fixed hinged type</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 31 13<LST><LST><TXT>08/17, CHG 2: 11/24<ITM><ITM>ELECTRIC KITCHEN EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>electric kitchen equipment for family housing, child

care centers, and other similar facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 41 11<LST><LST><TXT>08/17<ITM><ITM>REFRIGERATED AND FROZEN FOOD STORAGE EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>refrigerated and frozen food and drink storage cases,

walk-in coolers, and walk-in freezers</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 42 00<LST><LST><TXT>08/17<ITM><ITM>FOOD PREPARATION EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>non-heated, non-refrigerated equipment used for food

preparation other than cooking and baking</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 44 00<LST><LST><TXT>08/17, CHG 1: 08/18<ITM><ITM>FOOD COOKING EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>commercial cooking

equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 46 00<LST><LST><TXT>01/08<ITM><ITM>FOOD DISPENSING EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>food dispensing

equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 47 00<LST><LST><TXT>08/17, CHG 1: 08/18<ITM><ITM>ICE MACHINES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>equipment used to

produce, store, autoclean, and dispense ice.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 48 00<LST><LST><TXT>08/17, CHG 1: 08/18<ITM><ITM>CLEANING AND DISPOSAL EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>equipment used to clean food service tableware, utensils,

pots, pans, spray units, booster heaters, steam exhaust hoods, waste containers and disposers.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 53 00<LST><LST><TXT>05/11, CHG 1: 11/17<ITM><ITM>LABORATORY EQUIPMENT AND FUMEHOODS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>laboratory equipment and fume hoods</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 68 13<LST><LST><TXT>08/17, CHG 1: 08/18<ITM><ITM>PLAYGROUND EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing and installing

manufactured playground equipment in children's outdoor play areas.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 70 00<LST><LST><TXT>05/20<ITM><ITM>GENERAL REQUIREMENTS FOR MEDICAL AND DENTAL EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>general requirements for medical and dental equipment

and similar related specialties</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 71 00<LST><LST><TXT>05/20<ITM><ITM>STERILIZERS AND ASSOCIATED EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>warming cabinets,

sterilizers, and associated equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 72 13<LST><LST><TXT>05/20<ITM><ITM>MEDICAL EQUIPMENT, MISCELLANEOUS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>miscellaneous medical equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 74 00<LST><LST><TXT>05/20<ITM><ITM>DENTAL EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>dental equipment including dental operating lights

and similar related dental equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>11 82 19<LST><LST><TXT>05/20<ITM><ITM>PACKAGED INCINERATORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>packaged, and modular

field-erected; starved, and excess air incinerators</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 12 - FURNISHINGS</HL3></TXT><BRK/>

<BRK/>

<TXT>12 00 01.00 20<LST><LST><TXT>02/23<ITM><ITM>FURNITURE, FIXTURES AND EQUIPMENT (FF&amp;E) PACKAGE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the design, procurement and installation of furniture,

fixtures and equipment (FF&amp;E) for new construction and building renovation projects for Navy and Marine Corps

(USMC) projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 21 00<LST><LST><TXT>08/17, CHG 2: 11/18<ITM><ITM>WINDOW BLINDS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>window blinds and

hardware.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 22 00<LST><LST><TXT>08/16, CHG 1: 08/18<ITM><ITM>CURTAINS AND DRAPES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>draperies, drapery hardware, and installation</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 24 13<LST><LST><TXT>08/20<ITM><ITM>ROLLER WINDOW SHADES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>roller window shades

and hardware.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 35 30.23 20<LST><LST><TXT>08/11<ITM><ITM>BATHROOM CASEWORK</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>vanities for Bachelor Enlisted Quarters (BEQ)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 35 39<LST><LST><TXT>08/17, CHG 1: 08/18<ITM><ITM>COMMERCIAL KITCHEN CASEWORK</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>foodservice casework,

countertops, slide rails, food shields, pass through shelves, and other accessories.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 35 70<LST><LST><TXT>08/16, CHG 2: 11/18<ITM><ITM>HEALTHCARE CASEWORK</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>metal and wood casework

for medical and dental facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 48 13<LST><LST><TXT>08/23<ITM><ITM>ENTRANCE FLOOR MATS AND FRAMES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>entrance floor mats

and frames</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 50 00.13 10<LST><LST><TXT>08/17, CHG 1: 11/18<ITM><ITM>FURNITURE AND FURNITURE INSTALLATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furniture and furniture

installation</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 55 00<LST><LST><TXT>08/24<ITM><ITM>DETENTION FURNITURE AND ACCESSORIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>detention furniture, and accessories for use in brigs

and detention facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 59 00<LST><LST><TXT>08/17, CHG 1: 08/18<ITM><ITM>SYSTEMS FURNITURE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>systems furniture

which include panels, workstations and components</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 61 13<LST><LST><TXT>08/20<ITM><ITM>UPHOLSTERED AUDIENCE SEATING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>upholstered fixed

seating</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>12 93 00<LST><LST><TXT>08/17, CHG 1: 08/18<ITM><ITM>SITE FURNISHINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>miscellaneous site

and street furniture and furnishings including shelters.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 13 - SPECIAL CONSTRUCTION</HL3></TXT><BRK/>

<BRK/>

<TXT>13 17 43<LST><LST><TXT>05/20<ITM><ITM>HYDROTHERAPY EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>prefabricated hydrotherapy equipment and required

accessories</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>13 21 26<LST><LST><TXT>02/16, CHG 1: 08/18<ITM><ITM>COLD-STORAGE ROOMS (PREFABRICATED PANEL TYPE)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>requirements for walk-in refrigerators and freezers</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>13 21 48<LST><LST><TXT>04/06<ITM><ITM>PREFABRICATED AUDIOMETRIC ROOMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>prefabricated audiometric rooms</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>13 31 33<LST><LST><TXT>02/23<ITM><ITM>FRAME SUPPORTED MEMBRANE STRUCTURES FOR PROTECTION OF AIRCRAFT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>frame supported membrane structures on airfields which

are commonly referred to as Aircraft Protective Equipment or Sunshades</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>13 34 19<LST><LST><TXT>08/20, CHG 1: 02/21<ITM><ITM>METAL BUILDING SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabricated, pre-engineered metal structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>13 34 23.12 10<LST><LST><TXT>05/24<ITM><ITM>RELOCATABLE BUILDING UNITS (RLB)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the performance, material, and production

requirements for Relocatable Building (RLB) units</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>13 48 73<LST><LST><TXT>05/22<ITM><ITM>SEISMIC CONTROL FOR MISCELLANEOUS EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>seismic structural

elements for protection of miscellaneous equipment.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>13 49 10<LST><LST><TXT>11/20<ITM><ITM>X-RAY SHIELDING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>x-ray shielding

for medical and dental radiological facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>13 49 20.00 10<LST><LST><TXT>10/07<ITM><ITM>RFI/EMI SHIELDING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>electromagnetic

shielded facilities.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>13 49 21<LST><LST><TXT>11/20<ITM><ITM>RADIO FREQUENCY (RF) SHIELDING: MAGNETIC RESONANCE IMAGING (MRI)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>radio frequency

(RF) interference shielding for magnetic resonance imaging (MRI) facilities

of copper construction</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 14 - CONVEYING EQUIPMENT</HL3></TXT><BRK/>

<BRK/>

<TXT>14 21 13<LST><LST><TXT>05/16, CHG 1: 05/18<ITM><ITM>ELECTRIC TRACTION FREIGHT ELEVATORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>requirements for electric traction freight elevators</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>14 21 23<LST><LST><TXT>05/16, CHG 1: 05/18<ITM><ITM>ELECTRIC TRACTION PASSENGER ELEVATORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>requirements for electric traction passenger elevators</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>14 24 13<LST><LST><TXT>05/16<ITM><ITM>HYDRAULIC FREIGHT ELEVATORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>requirements for hydraulic freight elevators</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>14 24 23<LST><LST><TXT>05/16<ITM><ITM>HYDRAULIC PASSENGER ELEVATORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>requirements for hydraulic passenger elevators</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>14 92 00<LST><LST><TXT>02/09, CHG 1: 02/15<ITM><ITM>PNEUMATIC-TUBE SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>computer controlled

pneumatic tube system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 21 - FIRE SUPPRESSION</HL3></TXT><BRK/>

<BRK/>

<TXT>21 13 13<LST><LST><TXT>08/20<ITM><ITM> WET PIPE SPRINKLER SYSTEMS, FIRE PROTECTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>wet pipe fire protection

sprinkler systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>21 13 16<LST><LST><TXT>08/20<ITM><ITM> DRY PIPE SPRINKLER SYSTEMS, FIRE PROTECTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>dry pipe fire protection

sprinkler systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>21 13 18<LST><LST><TXT>08/20<ITM><ITM>PREACTION SPRINKLER SYSTEMS, FIRE PROTECTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>preaction fire protection

sprinkler systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>21 13 19<LST><LST><TXT>08/20<ITM><ITM>DELUGE SPRINKLER SYSTEMS, FIRE PROTECTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>deluge fire protection

sprinkler systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>21 13 24.00 10<LST><LST><TXT>10/07<ITM><ITM>AQUEOUS FILM-FORMING FOAM (AFFF) FIRE PROTECTION SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>foam-water AFFF fire

protection sprinkler and nozzle systems.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>21 13 25<LST><LST><TXT>02/19, CHG 1: 02/21<ITM><ITM>HIGH-EXPANSION FOAM SYSTEM, FIRE PROTECTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>optical flame detection

and high-expansion foam fire suppression systems for aircraft hangars for the

Army and Air Force</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>21 21 01<LST><LST><TXT>05/24<ITM><ITM>CARBON-DIOXIDE FIRE-EXTINGUISHING SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>high-pressure and

low-pressure carbon-dioxide fire-extinguishing systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>21 22 00.00 20<LST><LST><TXT>05/11<ITM><ITM>HALON 1301 FIRE EXTINGUISHING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Halon 1301 fire extinguishing systems for protection

of data processing equipment and similar electronics occupancies</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>21 23 00<LST><LST><TXT>05/24<ITM><ITM>WET CHEMICAL FIRE EXTINGUISHING SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>wet chemical fire

extinguishing systems that protect kitchen equipment and exhaust systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>21 30 00<LST><LST><TXT>04/08, CHG 1: 08/13<ITM><ITM>FIRE PUMPS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fire pumps</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 22 - PLUMBING</HL3></TXT><BRK/>

<BRK/>

<TXT>22 00 00<LST><LST><TXT>05/24, CHG 1: 11/24<ITM><ITM>PLUMBING, GENERAL PURPOSE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>general purpose plumbing systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>22 00 70<LST><LST><TXT>05/20<ITM><ITM>PLUMBING FOR HEALTHCARE FACILITIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>plumbing systems in healthcare

facilities.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>22 13 29<LST><LST><TXT>02/11<ITM><ITM>SANITARY SEWERAGE PUMPS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sewage and sludge

pumps for domestic type waste</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>22 14 29.00<LST><LST><TXT>02/23<ITM><ITM>SUMP PUMPS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>automatic, electric-motor-driven,

centrifugal, wet-pit and submersible sump pumps up to 1000 gpm</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>22 15 19.13 20<LST><LST><TXT>11/09<ITM><ITM>LARGE NONLUBRICATED RECIPROCATING AIR COMPRESSORS (OVER 300 HP)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>large nonlubricated reciprocating air compressors

larger than 224 kW 300 hp</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>22 15 19.19 20<LST><LST><TXT>05/11<ITM><ITM>NONLUBRICATED ROTARY SCREW AIR COMPRESSORS (100 HP AND LARGER)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>large nonlubricated rotary screw air compressors 75

kW 100 hp and larger</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>22 15 26.00 20<LST><LST><TXT>04/06<ITM><ITM>HIGH AND MEDIUM PRESSURE COMPRESSED AIR PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>non-breathing air compressed air systems inside of

buildings with pressures up to  34,470 kPa (gage) 5000 psig</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>22 16 19.26 20<LST><LST><TXT>11/09<ITM><ITM>LARGE CENTRIFUGAL AIR COMPRESSORS (OVER 200 HP)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>large centrifugal air compressors over 150 kW 200

hp and certain accessories</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>22 31 00<LST><LST><TXT>02/09<ITM><ITM>WATER SOFTENERS, CATION-EXCHANGE (SODIUM CYCLE)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fully automatic,

semi-automatic, and manual water softening equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>22 33 30.00 10<LST><LST><TXT>08/20<ITM><ITM>SOLAR WATER HEATING EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>solar domestic and

service water heating equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>22 60 70<LST><LST><TXT>05/20<ITM><ITM>GAS AND VACUUM SYSTEMS FOR HEALTHCARE FACILITIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>medical and dental gas,

support and vacuum systems for healthcare facilities.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 23 - HEATING, VENTILATING, AND AIR CONDITIONING (HVAC)</HL3></TXT><BRK/>

<BRK/>

<TXT>23 01 30.41<LST><LST><TXT>05/22<ITM><ITM>HVAC SYSTEM CLEANING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>cleaning of HVAC systems, including applicable industry

standards, qualifications of cleaning contractor, cleaning methodology, and performance verification</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 03 00.00 20<LST><LST><TXT>08/10, CHG 3: 08/18<ITM><ITM>BASIC MECHANICAL MATERIALS AND METHODS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the mechanical general requirements for all sections

of Divisions: 21, FIRE SUPPRESSION; 22, PLUMBING; and 23 HEATING, VENTILATING AND AIR CONDITIONING</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 05 15<LST><LST><TXT>05/22, CHG 2: 08/24<ITM><ITM>COMMON PIPING FOR HVAC</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>standard basic mechanical work</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 05 48.19<LST><LST><TXT>02/25<ITM><ITM>SEISMIC BRACING FOR MECHANICAL SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>seismic protection

of mechanical equipment, ductwork, building piping, and exterior utilities.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 05 93<LST><LST><TXT>11/15<ITM><ITM>TESTING, ADJUSTING, AND BALANCING FOR HVAC</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>testing, adjusting, and balancing (TAB) of heating,

ventilating, and air-conditioning (HVAC) air and water distribution systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 07 00<LST><LST><TXT>08/24<ITM><ITM>THERMAL INSULATION FOR MECHANICAL SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>field applied thermal

insulation on HVAC and plumbing systems located within, on, under, and adjacent

to buildings; above and below ground</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 08 00<LST><LST><TXT>05/23, CHG 1: 08/24<ITM><ITM>COMMISSIONING OF MECHANICAL[ AND PLUMBING] SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>commissioning requirements for HVAC[ and plumbing] systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 08 01.00 20<LST><LST><TXT>04/06<ITM><ITM>TESTING INDUSTRIAL VENTILATION SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>air flow testing of industrial ventilation systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 09 00<LST><LST><TXT>08/24<ITM><ITM>INSTRUMENTATION AND CONTROL FOR HVAC</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>HVAC control systems,

including  tailoring options for LNS-Based LonWorks, Niagara Framework-Based

LonWorks, BACnet and Niagara Framework-Based BACnet systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 09 13<LST><LST><TXT>11/15, CHG 2: 05/21<ITM><ITM>INSTRUMENTATION AND CONTROL DEVICES FOR HVAC</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>instrumentation

and control devices for HVAC when combined with a companion DDC Network</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 09 23.01<LST><LST><TXT>08/24<ITM><ITM>LONWORKS DIRECT DIGITAL CONTROL FOR HVAC AND OTHER BUILDING CONTROL SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>LonWorks-based building

control systems using the CEA-709.1-D-C communications protocol, including

tailoring options for LNS-based and Niagara Framework-based LonWorks systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 09 23.02<LST><LST><TXT>08/24<ITM><ITM>BACNET DIRECT DIGITAL CONTROL FOR HVAC AND OTHER BUILDING CONTROL SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>protocol-specific

requirements for a Direct Digital Control (DDC) building control system based

on the ASHRAE 135 protocol, including  a tailoring option to require the Niagara

Framework</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 09 53.00 20<LST><LST><TXT>02/10, CHG 3: 08/24<ITM><ITM>SPACE TEMPERATURE CONTROL SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>space temperature control systems of the electric,

analog electronic, and pneumatic type for heating, ventilating, and cooling systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 09 93<LST><LST><TXT>11/15<ITM><ITM>SEQUENCES OF OPERATION FOR HVAC CONTROL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sequences of operation

for HVAC control</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 11 20<LST><LST><TXT>05/20<ITM><ITM>FACILITY GAS PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>low pressure facility

gas piping systems conforming to NFPA 54 NFPA 58 for non-industrial uses</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 21 13.00 20<LST><LST><TXT>04/06, CHG 2: 11/19<ITM><ITM>LOW TEMPERATURE WATER (LTW) HEATING SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>complete low temperature water heating system including

hot water piping (supply and return) and terminal units used for heating</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 21 13.23 20<LST><LST><TXT>07/07, CHG 1: 11/19<ITM><ITM>[HIGH ][MEDIUM ]TEMPERATURE WATER SYSTEM WITHIN BUILDINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>high and medium temperature water piping systems inside

of building mechanical rooms, including connections to interior existing piping and system terminal unit</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 21 23<LST><LST><TXT>08/17<ITM><ITM>HYDRONIC PUMPS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>hydronic pumps primarily

designed for chilled water, hot water and condenser water service in building

HVAC systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 22 26.00 20<LST><LST><TXT>02/10, CHG 1: 05/15<ITM><ITM>STEAM SYSTEM AND TERMINAL UNITS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>provision of a complete steam system within the building

including steam, condensate, and terminal units for heating</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 23 00<LST><LST><TXT>08/21<ITM><ITM>REFRIGERANT PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>refrigerant piping

systems inside of buildings, or leading from equipment adjacent to buildings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 25 00<LST><LST><TXT>05/21<ITM><ITM>CHEMICAL TREATMENT OF WATER FOR MECHANICAL SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>chemical treatment

of water for mechanical systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 30 00<LST><LST><TXT>02/25<ITM><ITM>HVAC AIR DISTRIBUTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>air supply, distribution,

ventilation, and exhaust portions of an HVAC system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 35 16<LST><LST><TXT>02/25<ITM><ITM>MECHANICAL ENGINE[ AND WELDING FUME] EXHAUST SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>exposed flexible

tubing, vehicle tailpipe and welding fume exhaust systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 35 19.00 20<LST><LST><TXT>02/10, CHG 3: 11/24<ITM><ITM>INDUSTRIAL VENTILATION AND EXHAUST</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>blower and exhaust systems for removal of flammable

vapors including paint spraying residue, corrosive fumes, dust, and stock conveying</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 44 00.00 10<LST><LST><TXT>02/16<ITM><ITM>CHEMICAL, BIOLOGICAL, AND RADIOLOGICAL (CBR) AIR FILTRATION SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>chemical, biological,

and radiological air filtration systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 50 52.00 10<LST><LST><TXT>02/16<ITM><ITM>CENTRAL HIGH TEMPERATURE WATER (HTW) GENERATING PLANT AND AUXILIARIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>high temperature

water plants of capacities over 2,930 kW 10,000,000 Btuh, producing water at

temperatures of 115 to 227 degrees C 240 to 440 degrees F at pressures up to

2.8 MPa 400 psig</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 51 43.00 20<LST><LST><TXT>02/10<ITM><ITM>DUST AND GAS COLLECTOR, DRY SCRUBBER AND FABRIC FILTER TYPE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing, installing, adjusting, and testing of

a dry flue gas desulfurization (FGD) scrubber(s) and fabric filter baghouse(s) system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 51 43.01 20<LST><LST><TXT>04/06<ITM><ITM>MECHANICAL CYCLONE DUST COLLECTOR OF FLUE GAS PARTICULATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing, installing, adjusting, and testing of

mechanical cyclone-type dust collector(s)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 51 43.02 20<LST><LST><TXT>04/06, CHG 1: 11/24<ITM><ITM>ELECTROSTATIC DUST COLLECTOR OF FLUE GAS PARTICULATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing, installing, adjusting, and testing of

electrostatic precipitator(s)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 51 43.03 20<LST><LST><TXT>02/10, CHG 1: 11/24<ITM><ITM>FABRIC FILTER DUST COLLECTOR OF FLY ASH PARTICLES IN FLUE GAS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>providing, installing, adjusting, and testing of fabric

filter type dust collectors (baghouses)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 00<LST><LST><TXT>04/08, CHG 5: 11/19<ITM><ITM>HEATING BOILERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>packaged hot water

and steam boiler systems (oil, gas or combination oil/gas fired) of up to 6000

kW 20,000,000 Btuh output capacity.  The hot water boiler systems operate at

water temperatures below 120 degrees C 250 degrees F and water working pressures

less than 1100 kPa 160 psi.  The steam heating systems operate up to 100 kPa

15 psig</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 30.00 10<LST><LST><TXT>05/20<ITM><ITM>HEAT RECOVERY BOILERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>both fire-tube and

water-tube heat recovery, steam generating boilers with individual capacities

from 907 to 136,000 kg 2,000 to 300,000 pounds of steam per hour</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 30.01 10<LST><LST><TXT>05/20<ITM><ITM>CENTRAL COAL-FIRED STEAM-GENERATING SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>coal-fired central

steam-generating systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 30.02 10<LST><LST><TXT>05/20<ITM><ITM>CENTRAL STEAM GENERATING SYSTEM - COMBINATION GAS AND OIL FIRED</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steam generation

plants based on operating pressure above 200 kPa 30 psig to a maximum of 1030

kPa 150 psig</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 33.01 20<LST><LST><TXT>11/08, CHG 3: 02/22<ITM><ITM>STEAM HEATING PLANT WATERTUBE (SHOP ASSEMBLED) COAL/OIL OR COAL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>equipment for a steam heating plant which will generate

from 2 1/2 to 9 1/2 kg per second 20,000 to 75,000 pounds per hour of steam</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 33.02 20<LST><LST><TXT>11/08, CHG 5: 02/22<ITM><ITM>STEAM HEATING PLANT WATERTUBE (FIELD ERECTED) COAL/OIL OR COAL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steam heating plants from 7 1/2 to 60 1/2 kg/sec 60,000

to 480,000 lbs/hr steam capacity using a field erected watertube boiler</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 33.03 20<LST><LST><TXT>11/08, CHG 4: 02/22<ITM><ITM>WATER-TUBE BOILERS, OIL/GAS OR OIL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steam heating plants from 2 1/2 to 47 1/4 kg/sec 20,000

to 375,000 lbs/hr of steam capacity using packaged watertube boilers which burn either oil or gas or both fuels

combined</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 43.00 20<LST><LST><TXT>05/15, CHG 2: 08/18<ITM><ITM>LOW PRESSURE WATER HEATING BOILERS (UNDER 800,000 BTU/HR OUTPUT)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>low pressure hot water heating boilers under 235 kilowatt

800,000 BTU/hr output</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 46.00 20<LST><LST><TXT>05/15, CHG 3: 08/18<ITM><ITM>LOW PRESSURE WATER HEATING BOILERS (OVER 800,000 BTU/HR OUTPUT)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>low pressure hot water heating boilers over 235 kilowatt

800,000 BTU/hr output</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 49.00 20<LST><LST><TXT>11/08, CHG 2: 08/18<ITM><ITM>STEAM BOILERS AND EQUIPMENT (500,000 - 18,000,000 BTU/HR)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steam boilers and related equipment for capacities

from 150 to 5275 kW 500,000 to 18,000,000 Btu/Hr</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 52 53.00 20<LST><LST><TXT>04/06, CHG 2: 08/18<ITM><ITM>STEAM BOILERS AND EQUIPMENT (18,000,000 - 60,000,000 BTU/HR)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>packaged steam boilers and equipment with gross outputs

over 5275 kW 18,000,000 Btu's per hour</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 54 19<LST><LST><TXT>08/21<ITM><ITM>BUILDING HEATING SYSTEMS, WARM AIR</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>warm air heating systems for buildings (not including

Family Housing) using direct or indirect; oil-fired or gas-fired; vented; forced air furnaces.  It does not cover

wall furnaces or floor furnaces.  Warm air systems applications include but are not limited to barracks, offices,

warehouses, maintenance, and production facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 57 10.00 10<LST><LST><TXT>11/19<ITM><ITM>FORCED HOT WATER HEATING SYSTEMS USING WATER AND STEAM HEAT EXCHANGERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>forced hot water

heating system using a steam or high temperature water heat exchanger</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 58 00.00 10<LST><LST><TXT>05/20<ITM><ITM>CENTRAL STEAM HEATING AND UTILITIES SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>two types of central

steam heating systems and one type of central steam utilities system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 63 00.00<LST><LST><TXT>08/22<ITM><ITM>COLD STORAGE REFRIGERATION SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>refrigeration equipment

for cold storage facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 64 10<LST><LST><TXT>11/16, CHG 2: 08/18<ITM><ITM>WATER CHILLERS, VAPOR COMPRESSION TYPE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>water chilling equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 64 26<LST><LST><TXT>08/09, CHG 7: 02/24<ITM><ITM>CHILLED, CHILLED-HOT, AND CONDENSER WATER PIPING SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>chilled water, chilled-hot (dual service) water and condenser

water piping systems associated with HVAC systems, and located within, on, or under buildings, or connected to

equipment adjacent to buildings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 65 00<LST><LST><TXT>11/16, CHG 2: 08/18<ITM><ITM>COOLING TOWERS AND REMOTE EVAPORATIVELY-COOLED CONDENSERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>induced mechanical draft cooling towers (both packaged

and field-erected)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 69 00.00 20<LST><LST><TXT>07/06, CHG 2: 08/18<ITM><ITM>REFRIGERATION EQUIPMENT FOR COLD STORAGE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>requirements for refrigeration equipment for cold

storage facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 71 19<LST><LST><TXT>05/18<ITM><ITM>THERMAL ENERGY STORAGE SYSTEM:  ICE-ON-COIL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>ice-on-coil type

thermal energy storage systems, including the system refrigeration, controls,

piping and electrical work</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 72 00<LST><LST><TXT>05/24<ITM><ITM>ENERGY RECOVERY SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>energy recovery

systems for power plant installations and boilers where a steady source of waste

heat is available.  This specification also covers air-to-air energy recovery

for HVAC systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 74 33<LST><LST><TXT>05/24<ITM><ITM>DEDICATED OUTDOOR AIR SYSTEMS (DOAS)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>dedicated outdoor air systems (DOAS)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 75 15<LST><LST><TXT>02/20, CHG 1: 05/24<ITM><ITM>CUSTOM-PACKAGED, AIRCRAFT PRE-CONDITIONED AIR UNITS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>high-pressure, preconditioned air units, ductwork and controls

for aircraft cooling systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 76 00<LST><LST><TXT>08/21<ITM><ITM>EVAPORATIVE COOLING SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>evaporative cooling systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 80 20.00 10<LST><LST><TXT>05/20<ITM><ITM>GAS-FIRED HEATING EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>gas-fired heaters,

including unit heaters, wall furnaces, and infrared heaters</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 81 00<LST><LST><TXT>05/24<ITM><ITM>DECENTRALIZED UNITARY HVAC EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>unitary (packaged

and split systems) air conditioners, heat pumps, and accessories</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 81 23<LST><LST><TXT>11/20<ITM><ITM>COMPUTER ROOM AIR CONDITIONING UNITS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>heating, ventilating, and cooling (HVAC) equipment

for thermal, humidity, and airflow control in data processing environments</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 81 29<LST><LST><TXT>02/20<ITM><ITM>VARIABLE REFRIGERANT FLOW HVAC SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>variable refrigerant flow (VRF) type air conditioning

and heat pumps systems and accessories</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 81 47<LST><LST><TXT>02/25<ITM><ITM>WATER-LOOP AND GROUND-LOOP HEAT PUMP SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>water source heat pump systems and ground source closed-loop

heat pump systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 82 00.00 20<LST><LST><TXT>02/16, CHG 1: 08/18<ITM><ITM>TERMINAL HEATING UNITS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>unit heaters and infrared heaters</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 83 00.00 20<LST><LST><TXT>04/06<ITM><ITM>ELECTRIC SPACE HEATING EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>electric space heating equipment for construction

projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>23 84 19.00<LST><LST><TXT>02/18<ITM><ITM>DESICCANT COOLING SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>desiccant cooling

systems, both solid and liquid types, which offset the latent cooling load by

removing moisture from the outside air before it reaches the cooling coil</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 25 - INTEGRATED AUTOMATION</HL3></TXT><BRK/>

<BRK/>

<TXT>25 05 11<LST><LST><TXT>08/24<ITM><ITM>CYBERSECURITY FOR FACILITY-RELATED CONTROL SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>cybersecurity for

LOW and MODERATE impact facility-related control systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>25 08 10<LST><LST><TXT>05/21<ITM><ITM>UTILITY MONITORING AND CONTROL SYSTEM TESTING</ITM></ITM></TXT></LST></LST></TXT>#

#

<TXT>25 08 11.00 20<LST><LST><TXT>11/20<ITM><ITM>RISK MANAGEMENT FRAMEWORK FOR FACILITY-RELATED CONTROL SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>to support the Risk Management Framework (RMF) Authority

to Operate (ATO) Process for Facility-Related Control Systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>25 10 10<LST><LST><TXT>02/19, CHG 1: 05/21<ITM><ITM>UTILITY MONITORING AND CONTROL SYSTEM (UMCS) FRONT END AND INTEGRATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Utility Monitoring

and Control System (UMCS) Front End using Open protocols (LonWorks, BACnet,

Modbus, DNP and OPC), a UMCS using the Niagara Framework, and the integration

of field control systems.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 26 - ELECTRICAL</HL3></TXT><BRK/>

<BRK/>

<TXT>26 05 13.00 10<LST><LST><TXT>11/23<ITM><ITM>MEDIUM-VOLTAGE CABLES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>medium-voltage cables,

including shielded and nonshielded single-and multiple-conductor power cables,

portable cables, cable splices and terminations, single- and multiple-conductor

potheads, and fireproofing cables in manholes and utility tunnels</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 05 19.00 10<LST><LST><TXT>11/22<ITM><ITM>INSULATED WIRE AND CABLE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>insulated wire and

cable for use on hydraulic structures, except for wire and cable for special

applications, such as low-level circuits for analog signals, data and supervisory

control, communication and telemetering systems.  Specification of wire and

cable for special applications may be found in other technical guide specifications

for the system to which the wire and cable will be applied.  Otherwise, the

designer must develop and write specifications listing the salient characteristics

for the basis of design of the special wire and cable needed.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 05 33<LST><LST><TXT>02/22<ITM><ITM>DOCKSIDE POWER CONNECTION STATIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>600 V and 15 kV dockside power connection stations for use in 480 V, 4160

V, and 13.8 kV ship service and 480 V industrial service electrical distribution systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 05 48<LST><LST><TXT>11/23<ITM><ITM>SEISMIC PROTECTION FOR ELECTRICAL EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>seismic protection

of electrical equipment systems.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 05 73<LST><LST><TXT>08/23<ITM><ITM>POWER SYSTEM STUDIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>power system studies

typical for incident energy analysis to support an arc flash risk assessment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 08 00<LST><LST><TXT>11/22<ITM><ITM>APPARATUS INSPECTION AND TESTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>electrical inspection and testing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 11 13.00 20<LST><LST><TXT>11/21<ITM><ITM>PRIMARY UNIT SUBSTATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>for primary substations and associated load break switches

and switchgear</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 11 14.00 10<LST><LST><TXT>11/21<ITM><ITM>MAIN ELECTRIC SUPPLY STATION AND SUBSTATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>main electric supply

stations or substations having a nominal voltage class of 15 kV up to 115 kV</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 11 16<LST><LST><TXT>11/21<ITM><ITM>SECONDARY UNIT SUBSTATIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>secondary unit substations for step-down

operation at primary voltages of 601 volts through 38 kilovolts, and secondary voltages, of 600 volts or less</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 12 19<LST><LST><TXT>05/24<ITM><ITM>PAD-MOUNTED, LIQUID-FILLED, MEDIUM-VOLTAGE TRANSFORMERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>three-phase pad-mounted, liquid-filled transformers

of the dead-front and live-front types for exterior applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 12 21<LST><LST><TXT>11/22, CHG 1: 11/23<ITM><ITM>SINGLE-PHASE PAD-MOUNTED TRANSFORMERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>single-phase clam shell type and two-compartment type

pad-mounted transformers of the dead-front type for exterior applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 13 00<LST><LST><TXT>05/21, CHG 1: 05/22<ITM><ITM>SF6/HIGH-FIREPOINT FLUIDS INSULATED PAD-MOUNTED SWITCHGEAR</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>SF6 or high-firepoint biodegradable fluid insulated,

dead-front, enclosed and non-enclosed, pad-mounted switchgear with load and fault interrupting switched ways,

with maximum ratings of 600 amperes and 38 kV, 60 Hz</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 13 01<LST><LST><TXT>05/24<ITM><ITM>PAD-MOUNTED DEAD-FRONT AIR INSULATED SWITCHGEAR</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>air insulated, enclosed

and non-enclosed, dead-front pad-mounted switchgear.  This guide specification

is not intended for Navy installations and will be used when specified for Army

and Air Force projects.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 13 02<LST><LST><TXT>11/24<ITM><ITM>PAD-MOUNTED SOLID DIELECTRIC SWITCHGEAR</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Solid dielectric, dead-front, enclosed and non-enclosed,

pad-mounted switchgear with load and fault interrupting ways, with maximum ratings of 600 amperes and 38 kV (35kV

Class), 60 Hz.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 13 13<LST><LST><TXT>11/21<ITM><ITM>METAL-CLAD SWITCHGEAR</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>metal-clad switchgear.  Metal-Clad Switchgear as used

in this specification is switchgear rated 1000 volts and above, normally in the medium voltage range of 5 kV to

35 kV.  This specification includes indoor and outdoor applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 13 14<LST><LST><TXT>11/21<ITM><ITM>SWITCHGEAR HOUSE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>environmentally controlled, exterior prefabricated,

pre-engineered structures to house a coordinated grouping of electrical switchgear and associated power and control

equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 13 32<LST><LST><TXT>11/23<ITM><ITM>MEDIUM-VOLTAGE SWITCHGEAR, GAS-INSULATED</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>gas-insulated switchgear

up to 38 kV with vacuum circuit breakers</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 20 00<LST><LST><TXT>08/23<ITM><ITM>INTERIOR DISTRIBUTION SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>procurement, installation, and testing of electrical

wiring systems for construction projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 22 00.00 10<LST><LST><TXT>11/23<ITM><ITM>480-VOLT STATION SERVICE SWITCHGEAR AND TRANSFORMERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>480-volt station

service switchgear and transformers normally used for hydroelectric power plant

facilities, navigation locks and pumping plants</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 23 00<LST><LST><TXT>02/24<ITM><ITM>LOW-VOLTAGE SWITCHGEAR</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>metal-enclosed low-voltage power circuit-breaker switchgear

assemblies in either interior or exterior locations</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 24 13<LST><LST><TXT>08/21<ITM><ITM>SWITCHBOARDS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>free standing deadfront switchboard assemblies rated 6000

amperes or less, 600 volts or less</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 27 13.10 30<LST><LST><TXT>10/07, CHG 2: 08/18<ITM><ITM>ELECTRIC METERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>installation

of poly-phase electricity meters suitable for billing, allocation of costs,

and recording of data for energy management and control applications and is

intended to comply with the metering requirements of EPACT05</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 27 14.00 20<LST><LST><TXT>02/21, CHG 1: 05/21<ITM><ITM>ELECTRICITY METERING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the installation of electricity meters suitable for

billing, allocation of costs, and recording of data for energy management and control applications for Navy projects.

This specification is intended to comply with the metering requirements of EPACT05.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 27 29<LST><LST><TXT>05/21<ITM><ITM>MARINA ELECTRICAL WORK</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>procurement, installation, and testing of electrical

wiring systems for construction projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 28 00.00 10<LST><LST><TXT>08/22<ITM><ITM>MOTOR CONTROL CENTERS, SWITCHBOARDS AND PANELBOARDS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>motor control centers,

switchboards and panelboards by formal advertising, using a SUPPLY-type contract</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 29 01.00 10<LST><LST><TXT>11/22<ITM><ITM>ELECTRIC MOTORS, 3-PHASE VERTICAL INDUCTION TYPE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>procurement of 3-phase

vertical induction motors for driving storm-water pumps for local flood-control

pumping stations</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 29 02.00 10<LST><LST><TXT>11/22<ITM><ITM>ELECTRIC MOTORS, 3-PHASE VERTICAL SYNCHRONOUS TYPE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the procurement

of three-phase vertical synchronous motors, 1118 kW 1500 horsepower and above,

for driving storm-water pumps for local flood-control pumping stations</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 29 23<LST><LST><TXT>02/20, CHG 1: 05/21<ITM><ITM>ADJUSTABLE SPEED DRIVE (ASD) SYSTEMS UNDER 600 VOLTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>ASD (also referred to as variable frequency drive

(VFD)) for motors rated up to 575 volts, for use on electric power systems of 600 volts or less, 50/60 hertz</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 31 00<LST><LST><TXT>11/21<ITM><ITM>FACILITY-SCALE SOLAR PHOTOVOLTAIC (PV) SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>facility-scale solar photovoltaic (PV) systems, and related

equipment and materials</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 32 15<LST><LST><TXT>05/24<ITM><ITM>ENGINE-GENERATOR SET STATIONARY 15-2500 KW, WITH AUXILIARIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>stationary generator

sets up to 2500 kilowatt capacity</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 33 53<LST><LST><TXT>05/19<ITM><ITM>STATIC UNINTERRUPTIBLE POWER SUPPLY (UPS)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>static UPS to provide

continuous ac power to critical loads and/or to improve the quality of ac power

to critical loads.  The specification is intended to cover three-phase systems

starting with the smallest unit at 20 kVA.  The upper end for a single module

is around 750 kVA; however, parallel systems can have a larger total output.

This guide specification is intended to be used with individual UPS units which

contain a single module, parallel systems of the same size module, and scalable

modular UPS systems.  Single phase systems are not addressed.  This specification

covers UPS with electro-chemical batteries. Electro-mechanical (stored energy)

UPS are not addressed.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 35 43<LST><LST><TXT>08/21, CHG 1: 05/24<ITM><ITM>400-HERTZ (HZ) SOLID STATE FREQUENCY CONVERTER</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the procurement, installation, and testing of 400

Hz solid state frequency converters</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 35 44<LST><LST><TXT>08/21, CHG 1: 05/24<ITM><ITM>270 VDC SOLID STATE CONVERTER</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the procurement, installation,

and testing of 72 kW, 270 VDC solid state converters</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 36 23<LST><LST><TXT>05/20, CHG 1: 08/21<ITM><ITM>AUTOMATIC TRANSFER SWITCHES AND BY-PASS/ISOLATION SWITCH</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>low voltage applications

(600V or less) of automatic transfer switches (ATS) and ATS with by-pass/isolation

switches.  See TSEWG TP-09 Automatic Transfer Equipment white paper at https://www.wbdg.org/ffc/dod/supplemental-technical-<BRK/>

criteria/tsewg-tp-09See TSEWG TP-19 Static Uninterruptible Power Supply (UPS)

white paper at https://www.wbdg.org/ffc/dod/supplemental-technical-<BRK/>

criteria/tsewg-tp-19 </TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 37 13<LST><LST><TXT>02/24<ITM><ITM>MICROGRID CONTROL SYSTEM </ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Microgrid Control

System (MCS) in accordance with UFC 3-550-04 Installation Microgrid Design and

IEEE 2030.7</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 41 00<LST><LST><TXT>08/23<ITM><ITM>LIGHTNING PROTECTION SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>lightning protection systems for non-ordnance facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 42 13<LST><LST><TXT>05/21<ITM><ITM>GALVANIC (SACRIFICIAL) ANODE CATHODIC PROTECTION (GACP) SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a cathodic protection

system utilizing continuous flow direct current from galvanic anodes</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 42 15<LST><LST><TXT>05/21<ITM><ITM>CATHODIC PROTECTION SYSTEM FOR THE INTERIOR OF STEEL WATER TANKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steel water tank

cathodic protection systems using either galvanic or impressed current systems

(impressed current or galvanic anodes)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 42 17<LST><LST><TXT>05/21<ITM><ITM>IMPRESSED CURRENT CATHODIC PROTECTION (ICCP) SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a cathodic protection

system using Impressed Current anodes</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 42 19.00 10<LST><LST><TXT>11/24<ITM><ITM>CATHODIC PROTECTION SYSTEMS (IMPRESSED CURRENT) FOR CIVIL WORKS STRUCTURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>impressed current cathodic protection

(ICCP) systems for use in submerged environments (water). This specification

can be utilized for civil works structures such as lock miter gates, tainter

gates, sector gates, and sheet pile walls.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 51 00<LST><LST><TXT>05/20, CHG 2: 11/21<ITM><ITM>INTERIOR LIGHTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>lighting and lighting control system requirements for interior installations</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 55 53<LST><LST><TXT>11/23<ITM><ITM>SECURITY LIGHTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>lighting for security

and closed circuit television (CCTV) area illumination</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 55 80<LST><LST><TXT>11/20<ITM><ITM>SURGICAL, PROCEDURE AND EXAM LIGHTING FIXTURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>surgical lighting fixtures and similar related specialties</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 56 00<LST><LST><TXT>08/21<ITM><ITM>EXTERIOR LIGHTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>lighting and lighting control system requirements for exterior installations</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>26 56 20<LST><LST><TXT>02/19<ITM><ITM>AIRFIELD AND HELIPORT LIGHTING AND VISUAL NAVIGATION AIDS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>lighting and visual

navigation aids for airfields and heliports</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 27 - COMMUNICATIONS</HL3></TXT><BRK/>

<BRK/>

<TXT>27 05 13.43<LST><LST><TXT>05/20<ITM><ITM>TELEVISION DISTRIBUTION SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>procurement and testing of a television distribution

system for housing units and for other jobs where the local cable television company provides service to the facility</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>27 05 29.00 10<LST><LST><TXT>08/11<ITM><ITM>PROTECTIVE DISTRIBUTION SYSTEM (PDS) FOR SIPRNET COMMUNICATION SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a protective distribution

system used in conjunction with SIPRNET communication systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>27 10 00<LST><LST><TXT>08/11<ITM><ITM>BUILDING TELECOMMUNICATIONS CABLING SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>building telecommunications cabling systems using a physical

star network topology for transporting telecommunications signals within a building.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>27 41 00<LST><LST><TXT>11/21<ITM><ITM>AUDIO-VISUAL SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>most audio-visual system projects.  This specification

does not cover detailed, project specific, design requirements.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>27 51 16<LST><LST><TXT>05/20, CHG 1: 05/22<ITM><ITM>PUBLIC ADDRESS SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>public address systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>27 51 23<LST><LST><TXT>11/21<ITM><ITM>INTERCOMMUNICATION SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>electronic intercommunication systems, including master

and remote stations of the wired and wireless types</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>27 52 24<LST><LST><TXT>11/20<ITM><ITM>NURSE CALL SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>nurse

call systems in medical treatment facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>27 53 19.13<LST><LST><TXT>05/20<ITM><ITM>FIRST RESPONDER DISTRIBUTED ANTENNAE SYSTEMS (DAS)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>distributed antenna

systems (DAS)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 28 - ELECTRONIC SAFETY AND SECURITY</HL3></TXT><BRK/>

<BRK/>

<TXT>28 08 10<LST><LST><TXT>08/23<ITM><ITM>ELECTRONIC SECURITY SYSTEM ACCEPTANCE TESTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>acceptance testing

of electronic security systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>28 10 05<LST><LST><TXT>05/24<ITM><ITM>ELECTRONIC SECURITY SYSTEMS (ESS)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Electronic Security

Systems (ESS) consisting of commercial off-the-shelf equipment</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>28 20 02<LST><LST><TXT>11/08<ITM><ITM>CENTRAL MONITORING SERVICES FOR ELECTRONIC SECURITY SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>central monitoring

services for electronic security systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>28 31 32<LST><LST><TXT>08/23<ITM><ITM>FIRE ALARM REPORTING SYSTEM, DIGITAL COMMUNICATOR TYPE</ITM></ITM></TXT></LST></LST></TXT>#

#

<TXT>28 31 33<LST><LST><TXT>08/23<ITM><ITM>FIRE ALARM REPORTING SYSTEM, RADIO TYPE</ITM></ITM></TXT></LST></LST></TXT>#

#

<TXT>28 31 60<LST><LST><TXT>08/20<ITM><ITM>INTERIOR FIRE ALARM SYSTEM, NON-ADDRESSABLE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a non-addressable integrated

fire detection, fire alarm system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>28 31 66<LST><LST><TXT>08/20<ITM><ITM>INTERIOR FIRE ALARM AND MASS NOTIFICATION SYSTEM, NON-ADDRESSABLE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a non-addressable integrated

fire detection, fire alarm evacuation and mass notification system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>28 31 70<LST><LST><TXT>08/20<ITM><ITM>INTERIOR FIRE ALARM SYSTEM, ADDRESSABLE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>an addressable integrated

fire detection, fire alarm system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>28 31 76<LST><LST><TXT>08/20<ITM><ITM>INTERIOR FIRE ALARM AND MASS NOTIFICATION SYSTEM, ADDRESSABLE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>an addressable integrated

fire detection, fire alarm evacuation and mass notification system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 31 - EARTHWORK</HL3></TXT><BRK/>

<BRK/>

<TXT>31 00 00<LST><LST><TXT>08/23<ITM><ITM>EARTHWORK</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>earthwork activities

for buildings, utilities, roadways, railroads, and airfields</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 05 19.13<LST><LST><TXT>02/21<ITM><ITM>GEOTEXTILES FOR EARTHWORK</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing, hauling,

and placing the geotextile, complete, as specified and shown, and maintaining

the geotextile until placement of the granular filter material, bedding material,

and/or riprap cover is completed and accepted</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 10 00<LST><LST><TXT>02/21<ITM><ITM>SITE CLEARING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing all labor

and equipment and performing all work required for clearing and disposal of

trees, stumps, clearing fences, buildings, and other structures and disposal

of debris, trash, and materials resulting from clearing operations</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 11 00<LST><LST><TXT>11/18<ITM><ITM>CLEARING AND GRUBBING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>clearing and grubbing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 21 00<LST><LST><TXT>02/21<ITM><ITM>OFF-GASSING MITIGATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>pipe systems for

the transmission of gases and vapors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 21 13<LST><LST><TXT>11/18<ITM><ITM>RADON MITIGATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>constructing radon mitigation systems in new buildings,

existing buildings and facilities, including constructing radon mitigation systems enclosures, when required</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 23 00.00<LST><LST><TXT>11/21<ITM><ITM>TUNNEL EXCAVATION - BLASTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>tunnel excavation

for underground construction by blasting</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 23 01<LST><LST><TXT>02/21; CHG 1: 11/21<ITM><ITM>UNDERWATER BLASTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>underwater (from

overwater vessels and platforms) blasting and blasting near a water body with

adverse impacts for any use of blasting, most commonly submerged rock excavation

and/or submerged structural demolition</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 23 06.00<LST><LST><TXT>02/21, CHG 1: 11/21<ITM><ITM>BLASTING - SURFACE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>blasting at the

ground surface and the avoidance of adverse impacts for any use of blasting,

most commonly rock excavation</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 31 16.13<LST><LST><TXT>08/22, CHG 1: 11/23<ITM><ITM>CHEMICAL TERMITE CONTROL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>termiticide treatment measures for subterranean termite

control</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 31 16.19<LST><LST><TXT>08/22<ITM><ITM>TERMITE CONTROL BARRIERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>termite control barriers, including both steel mesh

and basaltic sand barriers.  Project requirements and local conditions will dictate which barrier system is to

be used.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 32 19.13<LST><LST><TXT>02/21<ITM><ITM>GEOGRID SOIL STABILIZATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>geosynthetic drainage

layers</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 32 19.16<LST><LST><TXT>02/21<ITM><ITM>GEOTEXTILE SOIL STABILIZATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>geotextiles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 32 39<LST><LST><TXT>08/08<ITM><ITM>BIOENGINEERING PRACTICES FOR STREAM BANK AND SHORELINE STABILIZATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>bioengineering practices

for stream bank and shoreline stabilization</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 33 20<LST><LST><TXT>11/24<ITM><ITM>VOID AND PERMEATION GROUTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>This guide specification has been prepared as a construction guide specification

to address permeation grouting, void grouting, and grouting in unconsolidated

deposits, such as breakwaters, alluvial/colluvial deposits, and soil/fill using

both cementitious and solution grouts with high to moderate mobility. This specification

is intended for  minimally disruptive grouting techniques specific to cases

where soil grouting may be needed for seepage control or structural support

at lower grouting pressures.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 33 30<LST><LST><TXT>11/24<ITM><ITM>LIMITED MOBILITY GROUTING IN SOIL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT> This guide specification has been prepared<BRK/>

as a construction guide specification to address limited mobility grouting (LMG)

with cementitious grout.  This specification includes requirements for drilling,

grouting, furnishing, handling, transporting, storing, mixing and injecting

the grouting materials; care and disposal of wastewater and waste grout; and

clean-up of areas as necessary to complete the work.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 35 19.13<LST><LST><TXT>02/21<ITM><ITM>GEOGRID SLOPE PROTECTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>geogrid reinforcement

to enhance the veneer soil stability for landfill liners and covers</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 36 00<LST><LST><TXT>02/21<ITM><ITM>GABIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the procurement

and installation of steel wire mesh gabion and mattress units used as a measure

of protection against erosion forces of stream flow in water courses and slope

instability</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 41 16<LST><LST><TXT>11/20<ITM><ITM>METAL SHEET PILING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>metal sheet piling</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 41 16.16<LST><LST><TXT>05/23<ITM><ITM>SYNTHETIC SHEET PILING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>synthetic sheet

piling</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 43 13.13<LST><LST><TXT>02/21<ITM><ITM>CONCRETE PRESSURE GROUTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>drilling exploratory

holes; drilling drain holes; drilling, washing and pressure testing grout holes;

making grout connections; furnishing, handling, transporting, storing, mixing

and injecting the grouting materials; patching the finished grout holes; care

and disposal of drill cuttings, waste water and waste grout; clean-up grout

galleries and shafts and areas upon completion of the work and all such other

operations as are incidental to the drilling and the grouting</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 56 13.13<LST><LST><TXT>02/21<ITM><ITM>SOIL-BENTONITE SLURRY WALLS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>constructing a soil-bentonite

slurry trench at both conventional and hazardous waste projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 13.13<LST><LST><TXT>04/06, CHG 3: 02/24<ITM><ITM>CAST-IN-PLACE CONCRETE PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>procurement, installation, and testing of cast-in-place

concrete piles, steel casing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 13.20<LST><LST><TXT>11/20, CHG 2: 02/24<ITM><ITM>PRECAST/PRESTRESSED CONCRETE PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>precast, prestressed piles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 13.24<LST><LST><TXT>11/20, CHG 2: 02/24<ITM><ITM>CONCRETE CYLINDER PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT> post-tensioned, centrifugally cast cylinder piles

and prestressed statically cast cylinder piles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 13.26<LST><LST><TXT>11/20, CHG 2: 02/24<ITM><ITM>PRESSURE-INJECTED FOOTINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the installation, testing, and forming of enlarged

concrete footings and cylindrical shafts by ramming the concrete into place under a specific energy of impact</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 16.13<LST><LST><TXT>11/20, CHG 2: 02/24<ITM><ITM>STEEL PIPE PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing all equipment, labor, and materials (except materials

specified to be furnished by the Government) and performing all operations in connection with the furnishing,

installing and testing of steel pipe piles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 16.16<LST><LST><TXT>11/20, CHG 2: 02/24<ITM><ITM>STEEL H-PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing all equipment, labor, and materials (except

materials specified to be furnished by the Government) and performing all operations in connection with the furnishing,

installing and testing of steel H-piles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 19<LST><LST><TXT>11/20, CHG 2: 02/24<ITM><ITM>TIMBER PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>procurement, installation, and testing of land and

fresh water construction timber piles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 19.13<LST><LST><TXT>11/16, CHG 2: 05/22<ITM><ITM>TIMBER MARINE PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing all plant, labor, materials, and equipment,

except material and equipment specified to be furnished by the Government, and for performing all operations in

connection with the installation of round (treated) (untreated) (treated and untreated) timber piles and the testing

of such piles for waterfront and other marine type structures as directed in accordance with this section of the

specifications and the applicable drawings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 23<LST><LST><TXT>11/20<ITM><ITM>PILING:  COMPOSITE, WOOD AND CAST IN-PLACE CONCRETE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>composite, wood

and cast-in-place concrete piles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 23.13<LST><LST><TXT>02/21<ITM><ITM>CONCRETE-FILLED STEEL PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>procurement, installation,

and testing of cast-in-place concrete piles utilizing steel casing</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 62 50<LST><LST><TXT>11/20, CHG 2: 02/24<ITM><ITM>DENSIFIED AGGREGATE PIERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the design and construction of densified aggregate

piers</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 63 16<LST><LST><TXT>11/20<ITM><ITM>AUGERED CAST-IN-PLACE PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>augered cast-in-place

grout piles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 63 26<LST><LST><TXT>08/08<ITM><ITM>DRILLED CAISSONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>procurement,

installation, and testing of drilled foundation caissons including reinforcing

and cast-in-place concrete</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 63 26.60<LST><LST><TXT>11/20, CHG 2: 02/24<ITM><ITM>[GROUTED] HELICAL PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>[grouted] helical piles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 63 29<LST><LST><TXT>11/19<ITM><ITM>DRILLED CONCRETE PIERS AND SHAFTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the procurement,

installation, and testing of drilled concrete piers and shafts</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 66 10<LST><LST><TXT>02/21<ITM><ITM>ROCK FOUNDATION PREPARATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>embankments and

concrete structures placed on rock foundations, including all operations on

the rock surface to make that surface acceptable for the placement of embankment

or concrete</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 68 13<LST><LST><TXT>11/20<ITM><ITM>SOIL AND ROCK ANCHORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>soil and rock anchors</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 71 19<LST><LST><TXT>11/22<ITM><ITM>TUNNEL AND SHAFT EXCAVATION IN ROCK - MECHANICAL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>tunnel excavation

for underground construction by mechanical excavation using Tunnel Boring Machine

(TBM), roadheader, or hydraulic rock breaker</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>31 73 19<LST><LST><TXT>02/21<ITM><ITM>TUNNEL AND SHAFT GROUTING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>tunnel and shaft

grouting applicable to constructing new and repairing existing underground structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 32 - EXTERIOR IMPROVEMENTS</HL3></TXT><BRK/>

<BRK/>

<TXT>32 01 11.51<LST><LST><TXT>11/23<ITM><ITM>[RUBBER] [AND] [PAINT] REMOVAL FROM AIRFIELD PAVEMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>removal of rubber

deposits and paint from asphalt concrete or portland cement concrete airfield

pavements</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 13.62<LST><LST><TXT>11/23<ITM><ITM>BITUMINOUS SURFACE TREATMENT [AND] [SAND SEAL]</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>single and double

bituminous surface treatment of pavements for airfields, roads, streets, parking

areas, and other general applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 13.63<LST><LST><TXT>02/16, CHG 1: 08/16<ITM><ITM>GILSONITE MODIFIED ASPHALT EMULSION SEAL COATS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>gilsonite modified asphalt surface coatings (not coal

tars products, only Gilsonite modified asphalt emulsion sea coats with a bituminous base residue containing no

less than 20 percent Uintaite or Gilsonite, here after referred to as Gilsonite modified asphalt emulsion.) for

low volume roads, parking areas, airfield secondary and tertiary pavements (low-speed taxiways, shoulders, overruns),

and other general applications with or without aggregate applied on the applied coating</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 13.64<LST><LST><TXT>11/23<ITM><ITM>REJUVENATION OF ASPHALT PAVEMENT SURFACES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>applying a bituminous-based

rejuvenator containing maltenes to the surface of asphalt pavements</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 16.70<LST><LST><TXT>05/18<ITM><ITM>COLD-MIX REUSED ASPHALT PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>recycled cold-mix

asphalt mixture</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 16.71<LST><LST><TXT>11/22<ITM><ITM>COLD MILLING ASPHALT PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>cold milling of

bituminous pavement for airfields, roads, streets, parking areas, and other

general applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 16.74<LST><LST><TXT>05/18<ITM><ITM>IN PLACE HOT REUSED ASPHALT PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the hot in-place

recycling of existing bituminous pavement using either single- or multiple-pass

methods</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 16.75<LST><LST><TXT>02/17<ITM><ITM>HEATER SCARIFYING OF ASPHALT PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>heater scarifier

procedures for bituminous pavements in connection with surface treatments or

asphalt overlays</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 17.61<LST><LST><TXT>05/22, CHG 1: 11/23<ITM><ITM>SEALING CRACKS IN ASPHALT PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sealing cracks in

bituminous pavements</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 17.62<LST><LST><TXT>05/20<ITM><ITM>PAVING FABRIC INTERLAYER</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>geosynthetic paving fabric interlayer for asphaltic

overlays and surface treatments for roads, streets, and airfield pavements</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 18.71<LST><LST><TXT>11/23<ITM><ITM>GROOVING OF AIRFIELD PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>providing grooves

in airfield pavements to reduce the potential for hydroplaning of aircraft by

providing a skid-resistance surface.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 19.61<LST><LST><TXT>11/19CHG 1: 11/24<ITM><ITM>SEALING OF JOINTS IN RIGID PAVEMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>field molded sealants in sealing or resealing joints

in rigid pavements on airfields, roads, streets, and other areas</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 29.61<LST><LST><TXT>05/17, CHG 1: 08/17<ITM><ITM>PARTIAL DEPTH PATCHING OF RIGID PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>partial depth patching

of spalled concrete and popout areas of rigid paving</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 01 29.62<LST><LST><TXT>11/18<ITM><ITM>CONCRETE PAVEMENT RAISING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>slabjacking of rigid

pavements for roads, streets, parking areas, airfield and other general applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 05 33<LST><LST><TXT>08/17<ITM><ITM>LANDSCAPE ESTABLISHMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>plant material and irrigation during the establishment

period</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 11 13.13<LST><LST><TXT>11/19<ITM><ITM>LIME TREATED SUBGRADE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>lime stabilization

or modification of subgrades airfield pavements and for roads, streets, and

parking areas</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 11 13.16<LST><LST><TXT>05/20<ITM><ITM>BITUMINOUS-STABILIZED SUBGRADE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>bituminous stabilization

of subgrades for airfield pavements, roads, streets, and parking areas</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 11 20<LST><LST><TXT>05/22<ITM><ITM>[BASE COURSE FOR RIGID][ AND ][SUBBASE] [SELECT-MATERIAL] [FOR FLEXIBLE PAVING]</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>base course for

rigid pavements and subbase or select-material for flexible airfield pavements,

roads and streets.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 11 23<LST><LST><TXT>05/22<ITM><ITM>[AGGREGATE BASE COURSE] [AND/OR][GRADED CRUSHED AGGREGATE BASE COURSE] FOR FLEXIBLE PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>base course to be

used directly under bituminous pavement courses for airfields, roads, and streets</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 11 23.23<LST><LST><TXT>08/22<ITM><ITM>BASE COURSE DRAINAGE LAYERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a drainage layer

under roads, streets and airfield pavements.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 11 26<LST><LST><TXT>05/20<ITM><ITM>HOT-MIX BITUMINOUS BASE COURSE FOR ROADS AND STREETS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>hot-mix bituminous

base course for road and street pavements</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 11 26.19<LST><LST><TXT>05/20<ITM><ITM>BITUMINOUS-STABILIZED BASE AND SUBBASE COURSES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>bituminous stabilization

of base and subbase courses for airfield pavements, roads, streets, and parking

areas</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 11 33.13<LST><LST><TXT>05/20<ITM><ITM>PORTLAND CEMENT-STABILIZED BASE COURSES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>portland cement-stabilized

base or subbase for airfields, roads, and streets</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 11 36.13<LST><LST><TXT>11/19<ITM><ITM>LEAN CONCRETE BASE COURSE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>lean concrete base course for portland cement concrete

pavement</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 12 13<LST><LST><TXT>05/24<ITM><ITM>BITUMINOUS TACK[ AND][ PRIME] COATS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>bituminous tack

and prime coats for airfield pavements, roads, parking areas and general paving

needs</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 12 15.13<LST><LST><TXT>11/20, CHG 1: 05/22<ITM><ITM>ASPHALT PAVING FOR AIRFIELDS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>bituminous intermediate

and wearing courses (central-plant hot-mix and warm-mix) for airfields using

Marshall or Gyratory compaction method</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 12 15.16<LST><LST><TXT>02/19<ITM><ITM>STONE MATRIX ASPHALT (SMA) FOR AIRFIELD PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>stone matrix asphalt

(SMA) for airfield pavements</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 12 16.16<LST><LST><TXT>11/20<ITM><ITM>ROAD-MIX ASPHALT PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>intermediate and

wearing courses (central-plant hot-mix and warm-mix) for roads using Marshall

or Gyratory compaction methods</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 12 16.19<LST><LST><TXT>11/19<ITM><ITM>COLD-MIX ASPHALT PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>cold-mix asphalt

paving</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 12 17.19<LST><LST><TXT>11/20<ITM><ITM>FUEL RESISTANT ASPHALT PAVING FOR AIRFIELDS - SURFACE COURSE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fuel resistant asphalt

pavement - surface course (central-plant) for airfields using Marshall or Gyratory

compaction method</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 12 19.16<LST><LST><TXT>11/19<ITM><ITM>RESIN-MODIFIED ASPHALT PAVING WEARING COURSES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>resin-modified asphalt

paving wearing courses</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 12 36.13<LST><LST><TXT>11/23<ITM><ITM>BITUMINOUS FOG SEAL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a light spray application of asphalt emulsion to the surface of a chip seal,

an open-graded mix, or a weathered asphalt surface</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 12 36.26<LST><LST><TXT>11/20<ITM><ITM>POLYMER CONCRETE MICRO-OVERLAY (PCMO) FOR FUEL AND ABRASION RESISTANT WEARING SURFACES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Polymer Concrete

Micro-Overlay (PCMO) for fuel and abrasion resistant wearing surfaces</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 13 13.06<LST><LST><TXT>05/20<ITM><ITM>PORTLAND CEMENT CONCRETE PAVEMENT FOR ROADS AND SITE FACILITIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Portland cement concrete paving jobs such as roads,

streets, sidewalks, and parking lots</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 13 13.17<LST><LST><TXT>11/20<ITM><ITM>ROLLER COMPACTED CONCRETE PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>roller compacted

concrete (RCC) pavements for roads, streets, parking areas, repair yards, open-storage

areas, and other utility grade pavements.  For DOD projects, RCC cannot be used

for airfield pavement unless approved by the USACE Transportation Systems Center

or the appropriate DOD service.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 13 13.43<LST><LST><TXT>02/18<ITM><ITM>HIGH TEMPERATURE CONCRETE PAVING FOR AIRFIELDS USING LIGHTWEIGHT AND TRAPROCK AGGREGATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>concrete pavements exposed to temperatures of 482 degrees C 900 degrees F or

higher, referred to herein as High Temperature Concrete</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 13 14.13<LST><LST><TXT>11/22, CHG 1: 05/24<ITM><ITM>CONCRETE PAVING FOR AIRFIELDS AND OTHER HEAVY DUTY PAVEMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>construction of

concrete pavement for Army, Navy and Air Force airfields and heavy-duty roads,

parking areas, hardstands, and vehicular pavement</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 13 14.14<LST><LST><TXT>08/23<ITM><ITM>CONCRETE PAVING FOR SMALL AIRFIELD PROJECTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>construction of

exterior concrete pavement for airfield projects with less than 750 cubic meters

1,000 cubic yards.  Do not divide projects into small construction phases so

this spec can be used.  This specification is not permitted for high risk areas

such as aircraft arresting systems, compass calibration pads, and fixed-wing

short takeoff and vertical landing (STOVL) facilities</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 13 15.20<LST><LST><TXT>11/22<ITM><ITM>CONCRETE PAVEMENT FOR FUEL STORAGE CONTAINMENT DIKES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>concrete containment

dikes and basins</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 13 43<LST><LST><TXT>05/20<ITM><ITM>PERVIOUS CONCRETE PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Pervious Portland cement concrete paving such as roads,

streets, sidewalks, and parking lots</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 13 73.19<LST><LST><TXT>11/19<ITM><ITM>COMPRESSION CONCRETE PAVING JOINT SEALANT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>polychloroprene

compression seals used for sealing joints of rigid pavements for airfields,

roads, streets, hardstands, and other areas</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 14 13.13<LST><LST><TXT>11/19<ITM><ITM>INTERLOCKING PRECAST CONCRETE UNIT PAVING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>constructing a concrete

block pavement</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 15 00<LST><LST><TXT>05/17<ITM><ITM>AGGREGATE SURFACING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>aggregate surfacing

for roads, parking areas and Army airfields</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 16 19<LST><LST><TXT>05/18<ITM><ITM>CONCRETE CURBS, GUTTERS AND SIDEWALKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>concrete sidewalks

and curbs and gutters</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 17 23.16<LST><LST><TXT>11/24<ITM><ITM>ROAD AND PARKING LOT PAVEMENT MARKINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>pavement marking requirements for roads

and parking lots by means of paint and raised pavement markers.  This guide

specification also covers removal of existing pavement markings on roads and

parking lots.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 17 23.19<LST><LST><TXT>11/24<ITM><ITM>AIRFIELD PAVEMENT MARKINGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>pavement marking requirements for airfields,

heliports,and hangar floors by means of paint with spray guns and glass bead

dispensers.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 18 16.13<LST><LST><TXT>08/17<ITM><ITM>PLAYGROUND PROTECTIVE SURFACING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>furnishing and installing

protective surfacing in children's outdoor play areas</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 31 13<LST><LST><TXT>11/21<ITM><ITM>CHAIN LINK FENCES AND GATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steel fencing, including

posts, fabric, gates, and miscellaneous accessories</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 31 13.53<LST><LST><TXT>11/21<ITM><ITM>HIGH-SECURITY FENCES (CHAIN LINK AND ORNAMENTAL) AND GATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>chain link and ornamental

fencing for high security applications.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 31 26<LST><LST><TXT>11/21<ITM><ITM>WIRE FENCES AND GATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Wire Fences and

Gates</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 32 23.13<LST><LST><TXT>02/20<ITM><ITM>SEGMENTAL CONCRETE BLOCK RETAINING WALL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>segmental concrete

block retaining walls</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 84 23<LST><LST><TXT>02/21<ITM><ITM>UNDERGROUND SPRINKLERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>underground sprinkler

irrigation systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 84 24<LST><LST><TXT>08/11, CHG 1: 05/17<ITM><ITM>IRRIGATION SPRINKLER SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>irrigation sprinkler systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 92 19<LST><LST><TXT>08/17, CHG 1: 08/21<ITM><ITM>SEEDING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>seeding</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 92 23<LST><LST><TXT>04/06, CHG 1: 08/21<ITM><ITM>SODDING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sod</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 92 26<LST><LST><TXT>08/17, CHG 1: 08/21<ITM><ITM>SPRIGGING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sprigging</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 93 00<LST><LST><TXT>08/17, CHG 1: 08/21<ITM><ITM>EXTERIOR PLANTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>exterior planting</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>32 96 00<LST><LST><TXT>08/17, CHG 1: 08/21<ITM><ITM>TRANSPLANTING EXTERIOR PLANTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>transplanting exterior plant material</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 33 - UTILITIES</HL3></TXT><BRK/>

<BRK/>

<TXT>33 01 30.16<LST><LST><TXT>11/21, CHG 1: 02/24<ITM><ITM>TV INSPECTION OF SEWER LINES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>pipeline cleaning and TV inspection of sanitary or

storm sewer pipelines</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 01 30.72<LST><LST><TXT>11/21<ITM><ITM>RELINING SEWERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>storm sewer and sanitary sewer pipeline renewal utilizing

Cured-In-Place Pipe (CIPP) and Fold-and-Form Pipe (FFP)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 01 50.31<LST><LST><TXT>02/20<ITM><ITM>LEAK DETECTION FOR FUELING SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>leak detection

systems for fueling applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 01 50.55<LST><LST><TXT>02/21<ITM><ITM>CLEANING OF PETROLEUM STORAGE TANKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>clean-up of the interior of concrete or steel tanks

used for petroleum storage</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 01 50.65<LST><LST><TXT>02/21<ITM><ITM>INSPECTION OF FIELD FABRICATED FUEL STORAGE TANKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Inspection of a Field Fabricated

Fuel Storage Tank</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 01 98<LST><LST><TXT>02/23<ITM><ITM>SLIP LINING OF EXISTING PIPING FOR LEVEE APPLICATIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the procurement,

installation, and testing of slip lining for existing piping within levees only.

Other specifications are available that cover the specific slip lining technologies

provided here.  It is encouraged to provide this specification to non-federal

levee sponsors as an example to be used on rehabilitation projects associated

with levee systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 05 07.13<LST><LST><TXT>02/24<ITM><ITM>UTILITY DIRECTIONAL DRILLING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>directional drilling

systems, equipment, piping (PVC and HDPE), and procedures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 05 23<LST><LST><TXT>08/15, CHG 2: 08/16<ITM><ITM>TRENCHLESS UTILITY INSTALLATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>work related to the installation of utility pipelines

(i.e., electrical power, communications, water, gas, oil, petroleum products, steam, sewage, drainage, irrigation,

and similar facilities) utilizing microtunneling or boring and jacking trenchless construction methods</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 08 53<LST><LST><TXT>08/18<ITM><ITM>AVIATION FUEL DISTRIBUTION SYSTEM START-UP</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the flushing, cleaning

and performance testing of new and existing aircraft refueling systems constructed

to the requirements of the DoD Type III/IV/V, and Cut and Cover Hydrant Refueling

System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 08 55<LST><LST><TXT>08/19<ITM><ITM>FUEL DISTRIBUTION SYSTEM START-UP (NON-HYDRANT)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the start-up (flushing, cleaning, equipment tests),

and performance testing of new and existing fuel systems that are dead head type</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 09 52<LST><LST><TXT>11/18<ITM><ITM>FUEL PUMP CONTROL AND ANNUNCIATION SYSTEM (NON-HYDRANT)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the Pump Control and Annunciation System for fueling

systems that are not Hydrant Systems and are not Military Service Stations</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 09 53<LST><LST><TXT>02/21<ITM><ITM>AVIATION FUEL PUMP CONTROL AND ANNUNCIATION SYSTEM (TYPE III)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the Pump Control

and Annunciation System for aircraft refueling systems constructed to the requirements

of the DOD Type III Hydrant Refueling System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 09 54<LST><LST><TXT>08/18<ITM><ITM>AVIATION FUEL PUMP CONTROL AND ANNUNCIATION SYSTEM (TYPE [IV][V])</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the Pump Control

and Annunciation System for aircraft refueling systems constructed to the requirements

of the DOD Type IV or V Direct Aircraft Refueling System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 09 55<LST><LST><TXT>08/18<ITM><ITM>AVIATION FUEL PUMP CONTROL AND ANNUNCIATION SYSTEM (CUT AND COVER TANKS)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the Pump Control

and Annunciation System for aircraft refueling systems constructed to the requirements

of the DOD Cut and Cover Hydrant Refueling System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 11 00<LST><LST><TXT>08/24<ITM><ITM>WATER UTILITY DISTRIBUTION PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>potable and non-potable (i.e., raw water, sea, salt

water) systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 11 13<LST><LST><TXT>08/17<ITM><ITM>POTABLE WATER SUPPLY WELLS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>drilling of water

supply wells, furnishing and installing the pump, and associated testing.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 11 23<LST><LST><TXT>11/09, CHG 1: 08/17<ITM><ITM>NATURAL GAS AND LIQUID PETROLEUM PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>exterior and interior fuel gas piping</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 16 13.16<LST><LST><TXT>04/06<ITM><ITM>WIRE-WOUND CIRCULAR PRESTRESSED-CONCRETE WATER TANK</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>precast, wire wound prestressed concrete water tanks

for potable water storage</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 16 15<LST><LST><TXT>11/20<ITM><ITM>WATER STORAGE STEEL TANKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>ground-supported

(flat-bottomed) bolted and welded standpipes and reservoirs, and elevated welded

steel water storage tanks 190 to 3800 kL 50,000 to 1,000,000 gallon capacity</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 26 00.00 10<LST><LST><TXT>04/08<ITM><ITM>RELIEF WELLS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>relief wells, (except

materials and equipment specified to be furnished by the Government) to be constructed

near dams or levees to relieve the excess hydrostatic pressures created by the

presence of pervious strata close to the surface</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 30 00<LST><LST><TXT>05/18<ITM><ITM>SANITARY SEWERAGE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>piping and appurtenant

structures for an exterior sanitary sewer system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 31 23.00 10<LST><LST><TXT>08/18<ITM><ITM>SANITARY SEWER FORCE MAIN PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>force mains and

inverted siphons for sewage systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 32 16<LST><LST><TXT>11/19, CHG 1: 11/23<ITM><ITM>PACKAGED UTILITY WASTEWATER PUMPING STATIONS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Packaged Submersible

Sewage GrinderNonclog Pump Stations including alarm requirements, station piping,

and O&amp;M data packages</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 34 56.00 10<LST><LST><TXT>08/18<ITM><ITM>DRAINAGE FIELD DOSING CHAMBERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>automatic dosing

siphons for sewage</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 40 00<LST><LST><TXT>11/21<ITM><ITM>STORMWATER UTILITIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>storm drainage piping

systems using concrete, clay, steel, ductile iron, aluminum, polyvinyl chloride

(PVC), polyethylene (PE),  polypropylene (PP) pipe and steel reinforced polyethylene

(SRPE) pipe</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 46 13<LST><LST><TXT>05/20<ITM><ITM>FOUNDATION DRAINAGE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>foundation drainage

system using clay, concrete, cast iron, corrugated steel, corrugated aluminum,

and plastic pipe</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 46 16<LST><LST><TXT>05/18<ITM><ITM>SUBDRAINAGE PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>subdrainage systems

for drainage of water from under the ground</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 47 13<LST><LST><TXT>11/14, CHG 2: 11/15<ITM><ITM>POND AND RESERVOIR LINERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>rubber and plastic flexible pond and reservoir liners</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 51 15<LST><LST><TXT>08/19<ITM><ITM>NATURAL-GAS / LIQUEFIED PETROLEUM GAS DISTRIBUTION PIPELINES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>distribution pipelines

that convey natural gas, manufactured gas, or Liquefied Petroleum Gas (LPG)

in the vapor phase in order to comply with the regulations written in 49 CFR

192.  LPG vapor distribution pipelines must additionally comply with the requirements

of NFPA 58, as is required by 49 CFR 192</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 51 39<LST><LST><TXT>08/17<ITM><ITM>MONITORING WELLS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>monitoring well installation

and testing at hazardous and non-hazardous waste sites</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 51 43<LST><LST><TXT>05/22<ITM><ITM>INSTRUMENTATION AND PERFORMANCE MONITORING OF STRUCTURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>instrumentation

and monitoring for geotechnical and hydraulic structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 52 10<LST><LST><TXT>11/18, CHG 1: 11/20<ITM><ITM>FUEL SYSTEMS PIPING (SERVICE STATION)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>interior and exterior fuel piping and accessories for

small, non-aviation fueling applications (i.e., gasoline fueling, diesel fueling, fuel oil systems) and service

station type aviation fuel systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 52 23.15<LST><LST><TXT>11/18<ITM><ITM>POL SERVICE PIPING WELDING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>welding of piping and piping system components used

for petroleum, oil and lubricants (POL) under pressure, including modification to existing hydrant fueling systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 52 40<LST><LST><TXT>11/18, CHG 2: 11/20<ITM><ITM>FUEL SYSTEMS PIPING (NON-HYDRANT)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>piping, piping components, valving and miscellaneous

accessories for general fueling systems, non-hydrant type and non-service station</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 52 43.11<LST><LST><TXT>08/18<ITM><ITM>AVIATION FUEL MECHANICAL EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>general equipment

required for aircraft refueling systems constructed to the requirements of the

DoD Type III/IV/V, and Cut and Cover Hydrant Refueling System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 52 43.12<LST><LST><TXT>08/18<ITM><ITM>AVIATION FUEL PANTOGRAPHS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Pantographs used

in aircraft refueling systems or at truck fill stands constructed to the requirements

of the DoD Type III/IV/V, and Cut and Cover Hydrant Refueling System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 52 43.13<LST><LST><TXT>08/18, CHG 1: 02/21<ITM><ITM>AVIATION FUEL PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>piping and valves

for aircraft refueling systems constructed to the requirements of the DoD Type

III/IV/V, and Cut and Cover Hydrant Refueling System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 52 43.14<LST><LST><TXT>08/18, CHG 1: 02/21<ITM><ITM>AVIATION FUEL CONTROL VALVES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>diaphragm type automatic

control valves used in aircraft refueling systems constructed to the requirements

of the DoD Type III/IV/V, and Cut and Cover Hydrant Refueling System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 52 43.23<LST><LST><TXT>08/18, CHG 1: 02/21<ITM><ITM>AVIATION FUEL PUMPS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>refueling pumps

used in aircraft refueling systems constructed to the requirements of the DoD

Type III/IV/V, and Cut and Cover Hydrant Refueling System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 52 43.28<LST><LST><TXT>08/18<ITM><ITM>FILTER SEPARATOR, AVIATION FUELING SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>filter separators

and fuel quality monitors used in aircraft refueling systems constructed to

the requirements of the DoD Type III/IV/V, and Cut and Cover Hydrant Refueling

System Standards</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 52 80<LST><LST><TXT>08/22<ITM><ITM>LIQUID FUELS PIPELINE COATING SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>interior and exterior coating of aboveground and buried

carbon steel liquid fuel pipelines and exterior coating of aboveground and buried stainless steel liquid fuel

pipelines</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 56 10<LST><LST><TXT>05/19, CHG 1: 11/20<ITM><ITM>FACTORY-FABRICATED FUEL STORAGE TANKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>factory-fabricated

fuel storage tanks</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 56 19<LST><LST><TXT>11/22<ITM><ITM>FUEL IMPERMEABLE LINER SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a fuel impermeable

liner system intended to serve a diked tank enclosure (petroleum applications

only)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 56 21.17<LST><LST><TXT>11/18, CHG 2: 11/22<ITM><ITM>SINGLE WALL ABOVEGROUND FIXED ROOF STEEL POL STORAGE TANK</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>design and installation of atmospheric aboveground

steel tanks with fixed cone roofs</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 56 21.18<LST><LST><TXT>11/18<ITM><ITM>SINGLE WALL POL TANK UNDERTANK INTERSTITIAL SPACE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>is intended to be used in conjunction with Section 33 56 21.17 SINGLE WALL ABOVE

GROUND FIXED ROOF STEEL POL STORAGE TANK</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 56 53<LST><LST><TXT>05/20<ITM><ITM>COMPRESSED GASES STORAGE TANKS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>pressure vessels

for the storage of compressed gases</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 57 55<LST><LST><TXT>11/18, CHG 1: 11/20<ITM><ITM>FUEL SYSTEM COMPONENTS (NON-HYDRANT)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>general system components for fuel systems (non-hydrant

type)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 60 02<LST><LST><TXT>08/24<ITM><ITM>ABOVEGROUND HEAT DISTRIBUTION SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>insulated aboveground

heat distribution systems as covered in UFC 3-430-09 "Mechanical Utility Distribution"

(hot water systems to 216 degrees C 420 degrees F and steam systems to 1.72

MPa 250 psig)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 61 13<LST><LST><TXT>08/24<ITM><ITM>PRE-ENGINEERED UNDERGROUND HEAT DISTRIBUTION SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>an insulated underground

heat distribution system (UHDS) and/or condensate return system of the pre-engineered

type as covered in UFC 3-430-09 "Exterior Mechanical Utility Distribution",

for steam and high temperature hot water up to 230 degrees C 450 degrees F</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 61 13.13<LST><LST><TXT>02/16<ITM><ITM>PREFABRICATED UNDERGROUND HYDRONIC ENERGY DISTRIBUTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>prefabricated underground

distribution system for chilled water, low temperature hot water (less than

95 degrees C 200 degrees F) or dual temperature water</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 61 13.19<LST><LST><TXT>02/16<ITM><ITM>VALVES, PIPING, AND EQUIPMENT IN VALVE MANHOLES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>valves, piping and

equipment in valve manholes that form a part of an underground heat distribution

system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 61 14<LST><LST><TXT>02/10<ITM><ITM>EXTERIOR BURIED PREINSULATED WATER PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>exterior buried factory-prefabricated preinsulated

water piping system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 63 13<LST><LST><TXT>02/25<ITM><ITM>EXTERIOR UNDERGROUND STEAM DISTRIBUTION SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>an insulated underground heat distribution system

(UHDS) and/or condensate return system of the pre-engineered type</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 63 13.19<LST><LST><TXT>02/16<ITM><ITM>CONCRETE TRENCH HYDRONIC AND STEAM ENERGY DISTRIBUTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>heat distribution

systems of the concrete trench type for water systems from 66 to 232 degrees

C 150 to 450 degrees F and steam systems up to 1.72 MPa 250 psig</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 63 14<LST><LST><TXT>04/06<ITM><ITM>EXTERIOR BURIED PUMPED CONDENSATE RETURN</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>Contractor designing and providing buried factory-prefabricated

preinsulated pumped condensate piping systems for server ground water conditions</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 63 16<LST><LST><TXT>07/06<ITM><ITM>EXTERIOR SHALLOW TRENCH STEAM DISTRIBUTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>exterior shallow trench heat distribution systems

including concrete trench, manholes, piping, pipe anchors, pipe supports, interface with each manhole, and the

watershed to aboveground piping</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 63 23<LST><LST><TXT>04/06<ITM><ITM>EXTERIOR ABOVEGROUND STEAM DISTRIBUTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>exterior aboveground steam and condensate piping systems

and buried factory-prefabricated preinsulated steam and condensate piping under roads</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 71 01<LST><LST><TXT>05/19, CHG 1: 11/19<ITM><ITM>OVERHEAD TRANSMISSION AND DISTRIBUTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>overhead electrical work and utility poles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 71 02<LST><LST><TXT>08/21<ITM><ITM>UNDERGROUND ELECTRICAL DISTRIBUTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>underground electrical work</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>33 82 00<LST><LST><TXT>04/06<ITM><ITM>TELECOMMUNICATIONS OUTSIDE PLANT (OSP)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>exterior telecommunications Outside Plant consisting of the campus distributor,

outside copper and fiber optic (FO) cable media, and associated hardware necessary to support communications systems

at facility installations including permanently constructed buildings</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 34 - TRANSPORTATION</HL3></TXT><BRK/>

<BRK/>

<TXT>34 11 00<LST><LST><TXT>04/08<ITM><ITM>RAILROAD TRACK AND ACCESSORIES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>new railroads after

the roadbed has been prepared, and railroad rehabilitation</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>34 11 19.00 20<LST><LST><TXT>08/18<ITM><ITM>WELDING CRANE AND RAILROAD RAIL - THERMITE METHOD</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>welding of crane rail and railroad rail by a thermite

process</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>34 60 13<LST><LST><TXT>08/24<ITM><ITM>ELECTRIC VEHICLE CHARGING FACILITY (EVCF)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>charging facilities

to support electric vehicles</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>34 71 13.16<LST><LST><TXT>02/15, CHG 1: 05/17<ITM><ITM>VEHICLE CRASH BARRIERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>roadside barriers</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>34 73 13<LST><LST><TXT>11/19<ITM><ITM>AIRCRAFT TIEDOWNS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>aircraft tiedowns for

Army and Air Force aircraft</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>34 73 16<LST><LST><TXT>11/19<ITM><ITM>AIRFIELD GROUNDING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>airfield grounding points</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>34 75 13.13<LST><LST><TXT>02/22<ITM><ITM>CRASH RATED ACTIVE VEHICLE BARRIERS AND CONTROLS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the design of a

crash rated active vehicle barrier system where the crash rated active vehicle

barriers can consist of a portable, semi-permanent, permanent, power-assisted

or manually deployed crash rated active vehicle barriers, covers the active

vehicle barrier control system, and non-crash rated actuated traffic arms</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 35 - WATERWAY AND MARINE CONSTRUCTION</HL3></TXT><BRK/>

<BRK/>

<TXT>35 01 41.00 10<LST><LST><TXT>08/20, CHG 3: 05/23<ITM><ITM>ELECTROMECHANICAL OPERATING MACHINERY FOR LOCKS AND DAMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>mechanical power

systems to operate gates, culvert valves, and other mechanisms at navigational

locks and dams, flood control dams, and other civil works structures.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 01 70.13<LST><LST><TXT>05/21<ITM><ITM>WIRE ROPE FOR GATE OPERATING DEVICES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>supplying and installing

wire rope (new or replacement) needed by gate operating devices (i.e. spillway

gates, Tainter gates, etc.)</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 05 40.14 10<LST><LST><TXT>11/23<ITM><ITM>HYDRAULIC POWER SYSTEMS FOR CIVIL WORKS STRUCTURES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>hydraulic power

systems to operate gates and other mechanisms at civil works structures</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 05 40.17<LST><LST><TXT>08/20 CHG 1: 08/23<ITM><ITM>SELF-LUBRICATED MATERIALS, FABRICATION, HANDLING, AND ASSEMBLY</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>self-lubricated bearing materials</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 14<LST><LST><TXT>08/22<ITM><ITM>STOPLOGS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabricating, assembling,

delivering, and installing stoplogs</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 15<LST><LST><TXT>08/18, CHG 1: 08/20<ITM><ITM>FRP COMPOSITES FOR LOW-HEAD WATER CONTROL STRUCTURES</ITM></ITM></TXT></LST></LST></TXT>#

#

<TXT>35 20 16.33<LST><LST><TXT>08/22<ITM><ITM>HYDRAULIC MITER GATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabrication,

assembly, delivery, and installation of miter gates and appurtenant items</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 16.39<LST><LST><TXT>08/22<ITM><ITM>HYDRAULIC SECTOR GATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the fabrication,

assembly, delivery, and installation of sector gates and appurtenant items</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 16.46<LST><LST><TXT>08/22<ITM><ITM>HYDRAULIC TAINTER GATES AND ANCHORAGES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabrication, assembly,

delivery, and installation of Tainter gates, anchorage assemblies, and appurtenant

items</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 16.53<LST><LST><TXT>08/22<ITM><ITM>HYDRAULIC VERTICAL LIFT GATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the fabrication,

assembly, delivery, and installation of vertical lift slide gate, vertical lift

wheel gate, and vertical lift tractor gate and appurtenant items</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 16.54<LST><LST><TXT>05/21<ITM><ITM>SLIDE GATES AND ACTUATORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabrication,

assembly, delivery, and installation of slide gates and actuators </TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 16.59<LST><LST><TXT>08/22<ITM><ITM>HYDRAULIC CLOSURE GATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fabricating, assembling, delivering, and installing closure

gates</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 20<LST><LST><TXT>05/22<ITM><ITM>ELECTRICAL EQUIPMENT FOR GATE HOIST</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>hoist

applications using a squirrel-type induction motor commonly used for control

gates for outlet works; penstock gates, crest gates, spillway tainter gates,

and other similar applications</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 23<LST><LST><TXT>08/20<ITM><ITM>DREDGING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>dredging</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 23.13<LST><LST><TXT>02/22<ITM><ITM>NATIONAL DREDGING QUALITY MANAGEMENT PROGRAM - SCOW [MONITORING][ AND ][ULLAGE] PROFILE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the National Dredging

Quality Management Program for the scow monitoring[ and ]ullage profile</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 23.23<LST><LST><TXT>02/22<ITM><ITM>NATIONAL DREDGING QUALITY MANAGEMENT PROGRAM - HOPPER DREDGE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the National Dredging

Quality Management Program for hopper dredging</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 20 23.33<LST><LST><TXT>02/22<ITM><ITM>NATIONAL DREDGING QUALITY MANAGEMENT PROGRAM - PIPELINE HYDRAULIC DREDGE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>the National Dredging

Quality Management Program for pipeline hydraulic dredging</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 31 19.20<LST><LST><TXT>11/23<ITM><ITM>ARTICULATING CONCRETE BLOCK REVETMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>commercially available

concrete block products for revetments</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 31 19.40<LST><LST><TXT>11/24<ITM><ITM>STONE REVETMENTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>stone protection,

including foundation preparation, bedding layers and filters, for the slopes

and bottom of channels, ditches, structures, lock approaches, etc.; constructing

trenchfill revetment, bank paving, and outlet drains; stone revetment, stonefill

dikes, stoneroots, and junctions; constructing stone capouts and revetment reinforcing

along the river; revetment repairs; shoreline/coastal protection</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 41 00<LST><LST><TXT>11/18, CHG 1: 02/20<ITM><ITM>LEVEE CONSTRUCTION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>levee construction</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 42 34<LST><LST><TXT>08/20<ITM><ITM>REINFORCED SOIL SLOPE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>steepened soil slopes

using geosynthetic soil reinforcement</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 45 01<LST><LST><TXT>02/21, CHG 3: 08/23<ITM><ITM>VERTICAL PUMPS, AXIAL-FLOW AND MIXED-FLOW IMPELLER-TYPE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>vertical axial-and

mixed-flow impeller-type pumps, having a pump discharge diameter up to and including

2100 mm 84 inches, for flood control and hurricane protection projects</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 45 02.00 10<LST><LST><TXT>05/21, CHG 1: 08/23<ITM><ITM>SUBMERSIBLE PUMP, AXIAL-FLOW AND MIXED-FLOW TYPE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>submersible axial-flow

and mixed-flow pumps for a turbid water pumping station</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 45 03.00 10<LST><LST><TXT>05/22<ITM><ITM>SPEED REDUCERS FOR STORM WATER PUMPS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>speed reducers

used with vertical impeller pumps</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 45 04.00 10<LST><LST><TXT>11/20<ITM><ITM>SUBMERSIBLE PUMP, CENTRIFUGAL TYPE</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>submersible centrifugal

pumps for a turbid water pumping station</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 51 13.00 20<LST><LST><TXT>04/06<ITM><ITM>CONCRETE FLOATING PIER FOR SMALL CRAFT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>for precast non-prestressed concrete floating piers and

associated hardware and accessories</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 59 13.13<LST><LST><TXT>08/09<ITM><ITM>PRESTRESSED CONCRETE FENDER PILING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>prestressed concrete fender piling</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 59 13.14 20<LST><LST><TXT>02/18<ITM><ITM>POLYMERIC PILES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>polymeric marine fender piling</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 59 13.16<LST><LST><TXT>11/21<ITM><ITM>EXTRUDED AND MOLDED MARINE FENDERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>extruded and molded marine fenders</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 59 13.17<LST><LST><TXT>11/21<ITM><ITM>FOAM-FILLED MARINE FENDERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>foam-filled marine fenders</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 59 13.18<LST><LST><TXT>11/21<ITM><ITM>PNEUMATIC AND HYDRO-PNEUMATIC MARINE FENDERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>pneumatic and hydro-pneumatic marine fenders</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>35 73 13<LST><LST><TXT>11/18<ITM><ITM>EMBANKMENT FOR EARTH AND ROCKFILL DAMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>preparing the embankment

and blanket foundations and placing and compacting all permanent fills and backfills

for earth and rock fill dams</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 40 - PROCESS INTERCONNECTIONS</HL3></TXT><BRK/>

<BRK/>

<TXT>40 05 13<LST><LST><TXT>10/07, CHG 2: 02/20<ITM><ITM>PIPELINES, LIQUID PROCESS PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>above and below

grade liquid process piping located both inside and outside of treatment plants.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>40 05 13.96<LST><LST><TXT>05/10<ITM><ITM>WELDING PROCESS PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>welding of piping

and piping system components used for fluids and gases under pressure, including

hydraulic systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>40 17 26.00 20<LST><LST><TXT>04/06<ITM><ITM>WELDING PRESSURE PIPING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>welding of piping and piping system components which

will contain fluids under pressure including hydraulic systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>40 60 00<LST><LST><TXT>05/20<ITM><ITM>PROCESS CONTROL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>process instrumentation

and control systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 41 - MATERIAL PROCESSING AND HANDLING EQUIPMENT</HL3></TXT><BRK/>

<BRK/>

<TXT>41 22 13.14<LST><LST><TXT>11/19, CHG 1: 02/21<ITM><ITM>BRIDGE CRANES, OVERHEAD ELECTRIC, TOP RUNNING</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>top running overhead electric traveling (OET) cranes

with top running bridges and trolleys, Crane Manufacturers Association of America (CMAA) 70 service class A, B,

C, D, E, and F and with capacities less than 27 metric ton 30 ton 27,000 kg 60,000 pounds, suitable for indoor

or outdoor use in general purpose service, ordnance handling service, or hazardous area environments</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>41 22 13.15<LST><LST><TXT>11/22, CHG 1: 02/23<ITM><ITM>BRIDGE CRANES, OVERHEAD ELECTRIC, UNDER RUNNING TROLLEY</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>top running and under running single girder electric traveling

(OET) cranes with under running trolleys and hoists, Crane Manufacturers Association of America (CMAA) 74 Class

A, B, C and D suitable for indoor or outdoor use in general purpose service, ordnance handling service, or hazardous

area environments</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>41 22 13.16<LST><LST><TXT>04/08, CHG 1: 02/20<ITM><ITM>GANTRY CRANES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>overhead electric traveling (OET) gantry cranes with

capacities in excess of  9 tons 10 tons 9072 kg 20,000 pounds capacity but less than 27 metric tons 30 tons 27,000

kg 60,000 pounds, suitable for [indoor][ or outdoor] use in [hazardous][ or non-hazardous] environments</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>41 22 13.33<LST><LST><TXT>05/10<ITM><ITM>PORTAL CRANE TRACK INSTALLATION</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>procurement, installation and testing of portal crane

trackage</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>41 22 13.55<LST><LST><TXT>02/22, CHG 3: 02/23<ITM><ITM>BRIDGE CRANES, UNDER RUNNING, AIRCRAFT HANGAR</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>under running bridge cranes that are procured as part

of a building construction contract for Aircraft Maintenance Hangars</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>41 22 23.19<LST><LST><TXT>05/20<ITM><ITM>MONORAIL HOISTS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>monorail hoists with manual, electric, or air powered

lifting chains or wire rope; with or without manual, electric or air powered trolleys and other accessories; suitable

for indoor or outdoor use in general purpose service, ordnance handling service, or hazardous area environments</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>41 36 30.00 10<LST><LST><TXT>01/08<ITM><ITM>ULTRASONIC INSPECTION OF PLATES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>ultrasonic inspection

of rolled steel plates</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>41 65 10.00 10<LST><LST><TXT>05/09<ITM><ITM>[DIESEL][NATURAL GAS] FUELED ENGINE PUMP DRIVES</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>diesel or natural

gas fueled engines used as prime movers for vertical pumps at civil works flood

control pumping stations</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 43 - PROCESS GAS AND LIQUID HANDLING, PURIFICATION, AND STORAGE EQUIPMENT</HL3></TXT><BRK/>

<BRK/>

<TXT>43 11 00.10<LST><LST><TXT>05/20<ITM><ITM>OFF-GAS FANS, BLOWERS AND PUMPS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>fans, blowers or

vacuum pumps and drive units</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>43 15 00.00 20<LST><LST><TXT>04/06<ITM><ITM>LOW PRESSURE COMPRESSED AIR PIPING (NON-BREATHING AIR TYPE)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>non-breathing air compressed air systems inside of

buildings with pressures up to 862 kPa (gage) 125 psig</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>43 21 29<LST><LST><TXT>04/06, CHG 1: 11/24<ITM><ITM>FLOW MEASURING EQUIPMENT [POTABLE WATER] [SEWAGE TREATMENT PLANT]</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>flow measuring equipment for use in potable water

or sewage treatment plant</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>43 31 13.13 10<LST><LST><TXT>08/18<ITM><ITM>ACTIVATED CARBON-GAS AND LIQUID PURIFICATION FILTERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>systems to transfer

organic contaminants from water to activated carbon adsorption media</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 44 - POLLUTION AND WASTE CONTROL EQUIPMENT</HL3></TXT><BRK/>

<BRK/>

<TXT>44 10 00<LST><LST><TXT>11/22<ITM><ITM>AIR POLLUTION CONTROL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>air pollution control

equipment and accessories for use with various pollutant emitters</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>44 13 10.13<LST><LST><TXT>05/20<ITM><ITM>VAPOR PHASE ACTIVATED CARBON ADSORPTION UNITS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>systems to transfer

organic contaminants from a contaminated air/gas stream (e.g. landfill off gas,

soil vapor extraction, air stripping, process tank vapors, thermal desorption)

to activated carbon adsorption media.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>44 13 51<LST><LST><TXT>05/20<ITM><ITM>THERMAL OXIDATION EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>systems to destroy,

by thermal oxidation, organic contaminants contained in an off-gas stream; with

options to use concentration system, heat recovery and/or a catalyst to conserve

fuel</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>44 41 00<LST><LST><TXT>08/20, CHG 1: 02/24<ITM><ITM>WATER POLLUTION CONTAINMENT AND CLEANUP EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>factory fabricated storage tanks used to contain fire

suppressant discharge</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 46 - WATER AND WASTEWATER EQUIPMENT</HL3></TXT><BRK/>

<BRK/>

<TXT>46 07 13.13<LST><LST><TXT>05/21<ITM><ITM>PRECIPITATION/COAGULATION/FLOCCULATION (P/C/F) WATER TREATMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>precipitation/coagulation

/flocculation (P/C/F) systems with flow rates ranging from 4 to 940 liters 1

to 250 gallons per minute</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 07 53<LST><LST><TXT>02/20, CHG 2: 11/23<ITM><ITM>PACKAGED WASTEWATER TREATMENT EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>prefabricated package wastewater treatment biochemical

and aeration systems, including extended aeration, contact stabilization, step aeration, and complete mixing.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 20 20<LST><LST><TXT>05/21<ITM><ITM>SEWAGE BAR SCREEN AND MECHANICAL SHREDDER</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sewage bar screen

and mechanical shredder for use in sewage treatment plants normally handling

domestic sewage.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 23 00<LST><LST><TXT>02/20<ITM><ITM>GRIT REMOVAL AND HANDLING EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>grit removal and handling equipment to remove, collect, pump, and wash

grit from wastewater.  This guide is for treatment of domestic wastewater only.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 24 16<LST><LST><TXT>05/21<ITM><ITM>COMMINUTORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>comminutor for use

in sewage treatment plants normally handling domestic sewage</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 25 14<LST><LST><TXT>02/11, CHG 1: 11/13<ITM><ITM>COALESCING [OR VERTICAL TUBE] OIL-WATER SEPARATORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>parallel plate, and vertical tube gravity oil-water

separators to remove free oil and particulate matter from oily waste water</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 30 00<LST><LST><TXT>08/17<ITM><ITM>WATER AND WASTEWATER CHEMICAL FEED SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>THIS SPECIFICATION IS PRIMARILY USED FOR WATER, WASTEWATER AND MECHANICAL

PROCESS WATER TREATMENT SYSTEM.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 30 13<LST><LST><TXT>02/11<ITM><ITM>ADVANCED OXIDATION PROCESSES (AOP)</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>liquid phase advanced

oxidation processes using titanium dioxide or hydrogen peroxide and/or ozone

with or without ultraviolet light</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 31 11<LST><LST><TXT>08/17<ITM><ITM>CHLORINE GAS FEED EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>chlorine feeding

equipment for the treatment of water or sewage</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 43 21<LST><LST><TXT>02/20<ITM><ITM>CIRCULAR CLARIFIER EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>circular clarifiers for use in Water Resource Recovery Facilities

(WRRFs).</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 51 00.00 10<LST><LST><TXT>05/21<ITM><ITM>AIR AND GAS DIFFUSION SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>air supply and diffusion

equipment for sewage treatment plants</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 53 22<LST><LST><TXT>05/18<ITM><ITM>TRICKLING FILTER</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>a trickling filter

for use in sewage treatment plants normally handling domestic sewage</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 53 62<LST><LST><TXT>05/21<ITM><ITM>CONTINUOUS LOOP REACTOR (CLR) WASTEWATER TREATMENT SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>continuous loop

reactor wastewater treatment system</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 61 00<LST><LST><TXT>05/21<ITM><ITM>FILTRATION EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>filtration systems

with capacity less than 750 liters 200 gallons per minute</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 66 56<LST><LST><TXT>05/21<ITM><ITM>OPEN-CHANNEL DISINFECTION EQUIPMENT</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>ultraviolet (UV)

disinfection equipment for treatment of wastewater</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>46 71 16<LST><LST><TXT>02/11<ITM><ITM>GRAVITY BELT THICKENERS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>sludge collecting

equipment.</TXT></LST></LST></TXT><BRK/>

<BRK/>

<BRK/>

<TXT><HL3>DIVISION 48 - ELECTRICAL POWER GENERATION</HL3></TXT><BRK/>

<BRK/>

<TXT>48 06 15<LST><LST><TXT>11/23<ITM><ITM>TURBINE OIL</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>turbine oil for

hydroelectric power plants</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>48 14 00<LST><LST><TXT>05/17<ITM><ITM>SOLAR PHOTOVOLTAIC SYSTEMS</ITM></ITM></TXT></LST></LST></TXT>#

#

<TXT>48 14 13.00 20<LST><LST><TXT>05/15<ITM><ITM>SOLAR LIQUID FLAT PLATE AND EVACUATED TUBE COLLECTORS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>medium-temperature (38-82 degrees C100-180 degrees

F), liquid-flat-plate or evacuated tube collector loop systems, heat storage tanks, pumps, controls and related

equipment and materials</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>48 15 00<LST><LST><TXT>05/17<ITM><ITM>WIND GENERATOR SYSTEM</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>wind generator systems</TXT></LST></LST></TXT><BRK/>

<BRK/>

<TXT>48 16 00<LST><LST><TXT>05/17<ITM><ITM>LANDFILL GAS SYSTEMS</ITM></ITM></TXT></LST></LST><BRK/>

<LST><LST><TXT>landfill gas systems

as utility grade renewable power generation source</TXT></LST></LST></TXT><BRK/>

<BRK/>

#

<TXT>-- End of Master Table of Contents --</TXT>#

</TOC></DOC>