Electronic Security System

###### Cost Estimator

Version 5.1C

USER'S MANUAL

November 2007

Originally developed for:

U.S. ARMY ENGINEERING and

SUPPORT CENTER

HUNTSVILLE, ALABAMA

Updated for:

NAVFAC for the

DoD SECURITY ENGINEERING WORKING GROUP (SEWG)

ESS COST ESTIMATOR

Version 5.1C

User's Manual

TABLE OF CONTENTS

1  INTRODUCTION	2

1.1	Purpose	2

1.2	Estimator Summary	2

2  ESTIMATOR USE	2

2.1	System Requirements	2

2.2	Estimator Installation	2

2.3	Estimator Features	2

2.4	Estimator Scope	2

2.4.1	Exterior Sensor Equipment	2

2.4.1.1	Strain-Sensitive Cable Sensor	2

2.4.1.2	Bistatic Microwave Sensor	2

2.4.1.3	Monostatic Microwave Sensor	2

2.4.1.4	Tension Wire Sensor	2

2.4.1.5	Buried Ported Coaxial Cable Sensor	2

2.4.1.6	Video Motion Detection (VMD)	2

2.4.1.7	Photo-Electric Sensor	2

2.4.1.8	Capacitance Fence Top Sensor	2

2.4.1.9	Capacitance Fence Sensor	2

2.4.1.10	Electrical Field Disturbance Fence Sensor	2

2.4.1.11	Passive Infrared Motion Sensor	2

2.4.1.12	Pulsed Microphonic Coaxial Cable Sensor	2

2.4.1.13	Fiber Optic Cable Sensor	2

2.4.1.14	Mounted Vibration Sensor	2

2.4.1.15	Radar	2

2.4.2	Interior Sensor Equipment	2

2.4.2.1	Duress Alarm Switch - Push Button	2

2.4.2.2	Duress Alarm Switch - Footrail	2

2.4.2.3	Wireless Duress Switch	2

2.4.2.4	Vibration Sensor	2

2.4.2.5	Glass Break Sensor, Acoustic	2

2.4.2.6	Glass Break Sensor, Piezoelectric	2

2.4.2.7	Balanced Magnetic Switch	2

2.4.2.8	Seismic Detection Sensor	2

2.4.2.9	Microwave/Passive Infrared Dual Technology Motion Sensor	2

2.4.2.10	Passive Infrared Motion Sensor	2

2.4.2.11	Passive Ultrasonic Sensor	2

2.4.2.12	Photo-Electric Sensor	2

2.4.2.13	Security Screen	2

2.4.2.14	Capacitance Proximity Sensor	2

2.4.2.15	Video Motion Sensor	2

2.4.2.16	Access/Secure Switches	2

2.4.3	CCTV  Equipment	2

2.4.3.1	High Resolution Monochrome 1/3" Format Camera	2

2.4.3.2	Low Light Monochrome 1/3" Format Camera	2

2.4.3.3	High Resolution 1/3" Format Color Camera	2

2.4.3.4	1/3" Format Camera Lens	2

2.4.3.5	1/2" Format Camera Lens	2

2.4.3.6	1/3" Format Camera Lens	2

2.4.3.7	1/3" Format Camera Lens, Motorized Zoom	2

2.4.3.8	1/2" Format Camera Lens, Motorized Zoom	2

2.4.3.9	1/3" Format Camera Lens, Motorized Zoom	2

2.4.3.10	Environmentally Sealed CCTV Housing with Mount	2

2.4.3.11	Indoor Camera Housing with Mount	2

2.4.3.12	9" Monochrome Video Monitor	2

2.4.3.13	15" Monochrome Video Monitor	2

2.4.3.14	20" Monochrome Video Monitor	2

2.4.3.15	9" Color Video Monitor	2

2.4.3.16	14" Color Video Monitor	2

2.4.3.17	20" Color Video Monitor	2

2.4.3.18	Video Matrix Switcher	2

2.4.3.19	Video Input Module (VIM)	2

2.4.3.20	Video Output Module (VOM)	2

2.4.3.21	Alarm Interface Module	2

2.4.3.22	Control Keyboard	2

2.4.3.23	Video Annotation	2

2.4.3.24	Video Cassette Recorder	2

2.4.3.25	Ground Loop Corrector	2

2.4.3.26	Video Loss/Presence Detector	2

2.4.3.27	Video Equalizing Amplifier	2

2.4.3.28	Video Distribution Amplifier	2

2.4.3.29	Video Sync Distribution Amplifier	2

2.4.3.30	Sixteen Channel Video Multiplexer	2

2.4.3.31	Interior Dome Camera System - Monochrome	2

2.4.3.32	Interior Dome Camera System - Color	2

2.4.3.33	Exterior Dome Camera System - Monochrome	2

2.4.3.34	Exterior Dome Camera System - Color	2

2.4.4	CCTV Support Equipment	2

2.4.4.1	Cantilever Camera Pole	2

2.4.4.2	Straight Camera Pole	2

2.4.4.3	Straight Camera Pole with Pan/Tilt Mount	2

2.4.4.4	Exterior Wall Mount	2

2.4.4.5	Interior Wall Mount	2

2.4.4.6	Pan & Tilt Mount	2

2.4.4.7	Low Profile Ceiling Housing	2

2.4.4.8	Interior Dome Housing	2

2.4.4.9	19" Rack Enclosures	2

2.4.4.10	RG 59/U Coaxial Cable	2

2.4.4.11	RG 11/U Coaxial Cable	2

2.4.4.12	Four Pair Low Voltage Control Wiring	2

2.4.4.13	Eight Pair Low Voltage Control Wiring	2

2.4.4.14	Two Conductor Digital Data Interconnection Wiring	2

2.4.4.15	Three Conductor Digital Data Interconnection Wiring	2

2.4.4.16	Five Conductor Digital Data Interconnection Wiring	2

2.4.5	Electronic Entry Control Systems	2

2.4.5.1	Magnetic Stripe Card Reader	2

2.4.5.2	Smart Card Reader	2

2.4.5.3	Smart Card Reader with Keypad	2

2.4.5.4	Weigand Wire Card Reader	2

2.4.5.5	Weigand Wire Card Reader with Keypad	2

2.4.5.6	Contactless Smart Card Reader	2

2.4.5.7	Contactless Smart Card Reader with Keypad	2

2.4.5.8	Proximity Card Reader	2

2.4.5.9	Proximity Card Reader with Keypad	2

2.4.5.10	Magnetic Stripe Cards	2

2.4.5.11	Weigand Cards	2

2.4.5.12	Proximity Cards	2

2.4.5.13	Keypads	2

2.4.5.14	Fingerprint Analysis Scanner	2

2.4.5.15	Hand Geometry Unit	2

2.4.5.16	Iris Scan Device	2

2.4.5.17	Push Button Switches - Request to Exit Button	2

2.4.5.18	Electronic Door Strikes/Bolts	2

2.4.5.19	Electromagnetic Locks	2

2.4.5.20	Entry Control Booth	2

2.4.5.21	Vehicle Gate Opener	2

2.4.5.22	Article Surveillance X-Ray Device	2

2.4.5.23	Walk-Through Metal Detector	2

2.4.5.24	Panic Door Hardware	2

2.4.5.25	Panic Door Hardware with Audible Alarm	2

2.4.6	Head End Equipment, Commercial	2

2.4.6.1	Large Head End System	2

2.4.6.2	Small Head End System	2

2.4.7	Common Items	2

2.4.7.1	Ground Rod Assembly	2

2.4.7.2	NEMA 4 Enclosure, Exterior pole mounted	2

2.4.7.3	NEMA 4 Enclosure	2

2.4.7.4	3/4” EMT Conduit	2

2.4.7.5	18 Gauge, 6 Pair Twisted Shielded Cable	2

2.4.7.6	Interior Electrical Power Distribution	2

2.4.7.7	Exterior Electrical Power Distribution	2

2.4.7.8	Exterior Mounted Post	2

2.4.7.9	Direct Burial Fiber Optic Cable, 16 Conductor	2

2.4.7.10	Direct Burial Fiber Optic Cable, 4 Conductor	2

2.4.7.11	Fiber Optic Cable, 4 Conductor, Plenum Rated	2

2.4.8	USER DEFINED Equipment	2

2.5	Main Menu Definitions	2

2.6	Cost Estimating Data	2

2.6.1	Cost Growth	2

2.6.2	Reserve for Contingencies	2

2.6.3	Supervision and Administration Allowances	2

2.6.4	Current Working Estimates (CWEs)	2

2.6.5	Sales Taxes and/or Construction Gross Receipt Taxes	2

2.6.6	Unit Costs	2

2.6.7	Labor Rates	2

2.6.8	Overhead	2

2.6.9	Profit	2

2.6.10	Bond	2

2.6.11	Cost Summary Page Totals	2

2.6.12	Context Sensitive Help Files	2

2.6.13	Notes within the Estimator File	2

Appendix A – User Defined Page	A-1

Table of Acronyms

CCTV		Closed Circuit Television

CPU		Central Processing Unit

CWE		Current Working Estimate

DOE		Date of Estimate

EECS		Electronic Entry Control System

EMT		Electro Metallic Tubing

ESS 		Electronic Security System

FDB		Field Distribution Box

GPS		Global Positioning Satellite

I/O		Input/Output

LF		Linear Foot

MCA		Military Construction Army

MCP		Military Construction Program

MPC		Midpoint of Construction

MUX		Multiplexer

ODC		Other Direct Costs

OP		Other Procurement

PIR		Passive Infrared

RDR		Reader

REX		Request to Exit

RGS		Rigid Galvanized Steel

SF		Square Foot

UPS		Uninterruptible Power Supply

VCR		Video Cassette Recorder

VIM		Video Input Module

VMD 		Video Motion Detection

VOM		Video Output Module

ESS COST ESTIMATOR

Version 5.1C

User's Manual

# 1  INTRODUCTION

## 1.1	Purpose

This document provides data and guidance for the preparation of cost estimates for Electronic Security Systems (ESS) and related components. The cost estimator program is intended for use in the development of project specific ESS cost estimates when a limited amount of design detail is available.  It is ideal for developing purchase level estimates utilizing conventional equipment configurations as described later in this manual.

Defining the requirements of an ESS involves an interdisciplinary planning team.  The team considers all interests relating to a project to determine how security fits into the total project design.  The specific membership of the planning team is based on local considerations, but in general, the following functions should be represented; facility user, antiterrorism officer, operations, security, logistics, engineering, life safety, and others as required.  That team will use the process in UFC 4-020-01 Security Engineering Planning Manual to identify the design criteria, which includes the assets to be protected, the threats to those assets (the Design Basis Threat), and the levels of protection to be provided for the assets against the identified threats.  In addition to those criteria elements, the team must also identify user constraints such as appearance, operational considerations, manpower requirements or limitations, energy conservation and sustainment costs.

Once the ESS is defined, this tool can be used to calculate the expected expenditures for both supporting infrastructure (funded by MILCON monies) and ESS equipment (funded by Other Procurement (OP) monies) based on the input provided by the team.  These numbers can then be input into the DD 1391 as required.

The material included herein describes the general rules, references, and assumptions appropriate for constructing these estimates.  In addition, guidance is provided for using the software-driven estimating system.  The specifications for the systems addressed in this tool are:

	UFGS 28 20 01.00 10 Electronic Security System

	UFGS 28 23 23.00 10 Closed Circuit Television System

	UFGS 27 15 19.00 10 Wireline Data Transmission System

	UFGS 27 21 10.00 10 Fiber Optic Data Transmission System

General design and cost estimating guidance may be found in the following references:

	UFC 4-020-04FA Electronic Security Systems: Security Engineering

	UFC 3-700-01A Programming Cost Estimates for Military Construction

## 1.2	Estimator Summary

The ESS Cost Estimator has been developed as a Microsoft Excel application and consists of one spreadsheet:

- CE_COE_Designer_Version_5-1c.xls, which is the cost estimator template and user interface

A user-definable page, discussed in Appendix A, is included in the template for additional project items not included in the cost estimator template.  This page has been provided to allow user entry of additional project components and costs.

# 2  ESTIMATOR USE

## 2.1	System Requirements

The minimum system requirements for installing and using the ESS Cost Estimator are:

PC running Windows 95 or higher

Microsoft Windows Excel 2000 or higher

Printer - local or LAN

## 2.2	Estimator Installation

The cost estimator files are contained in one Excel file called CE_COE_Designer_Version_5-1c.xls. The ESS Cost Estimator v5 Users Manual.doc (this document) is contained in a separate file.

When opening the CE_COE_Designer_Version_5-1c.xls spreadsheet the user will be through the process of saving the template with a new, unique filename.  The individual sheets of the Cost Estimator template have been password protected to preserve the template structure and formulas.  The cells that require user inputs have not been protected to allow the user to enter data into these fields.

After the file has been created the user is ready to begin the estimating process.  The fist step is to provide the necessary project information on the Project Data page after which the user may step through the estimator using the buttons located at the top of each page.

The system has been designed for use by individuals familiar with ESS systems and electronic spreadsheets.  Any questions regarding the capabilities of the ESS components included in the estimator can be addressed by referring to the UFGS specifications referenced above or UFC 4-020-04FA, Electronic Security Systems: Security Engineering.

## 2.3	Estimator Features

The ESS components are divided into logical units for ease of estimating and a main menu system provides quick access to the various areas of the spreadsheet.  A view of the Main Menu is shown on Figure 2.1 which also provides an overview of the structure of the estimator.

Figure 2.1

ESS Cost Estimator Menu

The system accepts user inputs into pages segregated by equipment type. The spreadsheet then automatically combines the page totals into a single summary sheet.  Units of the items in the estimator are:

- Length: This input option is primarily applicable to perimeter intrusion detection systems where the amount of coverage can be normalized to a per foot basis.  Care should be taken in using this option as misleading results can be obtained, especially for small systems.  For interior volumetric sensors, this option is also labeled as Area where the coverage of the particular sensor has been normalized to the approximate area of coverage stated by the manufacturer.  Again, care should be taken in using this option.

- Zone or Kit: This option includes a specific ESS component and the associated data transmission media, conduit and other material and labor necessary for interconnection to a local distributed processing system panel.

- Quantity (each) which includes specific ESS components without the supporting system interconnection materials and labor included under Zone.  This option is useful for costing out spare components.

Unit labor costs are preprogrammed based on national average data but can be adjusted for the specific site location.  This is done with the Labor Multiplier from the Project Data screen which can be changed to adjust the preprogrammed labor rates up (Labor Multiplier >1.0) or down (Labor Multiplier <1.0) to reflect actual project site labor conditions. The Labor Multiplier can also be sued to account for other labor rate factors such as shift work.  Geographical adjustment for materials is not provided as most materials have similar pricing nationwide.

This estimating system includes automated special functions required by and based on Corps of Engineers guidelines.  This includes semi-automatic cost growth development and bond rate calculation.  The system allows the user to enter the multipliers for Contractor Overhead, Material Tax, Contingencies, Supervision & Administration on the Project Data screen.  It is the responsibility of the user to assure that the factors used are appropriate for the project and written current guidelines.

## 2.4	Estimator Scope

The following types of systems are included in the ESS Cost Estimator:

Exterior Sensors

Interior Sensors

CCTV Assessment

CCTV Support Equipment

Electronic Entry Control Systems

Head End Equipment

Common Items

USER-DEFINED Equipment

### 2.4.1	Exterior Sensor Equipment

#### 2.4.1.1	Strain-Sensitive Cable Sensor

This line item includes the cost of the sensor cable, the electronics and its environmental enclosure, ground rods, and signal cable and its associated trenching that connects the electronics to the overall system.  The sensor cable is installed in a loop configuration.  It is assumed that this sensor can protect 300 feet of perimeter.

#### 2.4.1.2	Bistatic Microwave Sensor

This line item includes the cost of a microwave sensor pair, concrete foundations for the two sensor heads, signal and power cable, trenching and the junction box where the sensor is tied into the alarm annunciation system.  It is assumed that this sensor can protect 300 ft. of perimeter.

#### 2.4.1.3	Monostatic Microwave Sensor

This line item includes the cost of the microwave transceiver, the concrete foundation for the sensor, signal and power cabling, trenching and the junction box where the sensor is tied into the alarm annunciation system.  It is assumed that this sensor has a maximum range of 200 feet.

#### 2.4.1.4	Tension Wire Sensor

This tension wire sensor is installed on an existing, properly prepared fence.  The line item includes the cost of the taut wire (barbed wire), the special fence hardware, the electronics, and the signal cable and its associated trenching that connects the electronics to the overall system.  It is assumed that this sensor can protect 300 ft. of perimeter.

#### 2.4.1.5	Buried Ported Coaxial Cable Sensor

This line item includes the cost of the sensor cables and their associated trenches, the electronics and its environmental enclosure, and the miscellaneous components needed to complete the installation.  It is assumed that this sensor can protect 300 ft. of perimeter.

#### 2.4.1.6	Video Motion Detection (VMD)

This line item includes only the cost of the VMD processing equipment and its installation. This item does not include the associated CCTV video system equipment, which must be entered separately.  It is assumed that this sensor can provide VMD capability for one camera.  It represents the allocated cost of the VMD chassis and the individual VMD modules.

#### 2.4.1.7	Photo-Electric Sensor

This line item includes the cost of the sensors, sensor posts, local processor electronics, power converters, battery chargers, batteries, environmental enclosures, ground rods, and local signal cable and trenching that connects the electronics to the alarm annunciation system.  It is assumed that this sensor can protect 300 feet of perimeter.

#### 2.4.1.8	Capacitance Fence Top Sensor

The capacitance fence top sensor is mounted on outriggers on top of an existing fence.  This line item includes the cost of the sense wires, the local processor electronics and its environmental enclosure, ground rods, and local signal cable.  It is assumed that this sensor can protect 300 ft. of perimeter.  The spreadsheet price is for stranded stainless steel sense cable.

#### 2.4.1.9	Capacitance Fence Sensor

The capacitance fence array sensor is mounted on outriggers and stand-off brackets, and is attached to an existing fence.  This item includes the fence top sensors discussed above; therefore it is not necessary to include the capacitance fence top sensor when using this item. This line item includes the cost of the sense wires, the local processor electronics and its environmental enclosure, ground rods, and local signal cable.  It is assumed that this sensor can protect 300 ft. of perimeter.  The spreadsheet price is for stranded stainless steel sense cable.

#### 2.4.1.10	Electrical Field Disturbance Fence Sensor

The electrical field disturbance fence sensor is mounted on stand-off brackets and is attached to an existing fence.  This line item includes the cost of the sense wires, the local processor electronics and its environmental enclosure, ground rods, and local signal cable.  It is assumed that this sensor can protect 300 feet of perimeter.

#### 2.4.1.11	Passive Infrared Motion Sensor

The passive infrared motion fence sensor is mounted on a 4”galvanized post set in one cubic yard of concrete.  This line item includes the cost of power and sensor wiring, an environmental enclosure, ground rod set and trenching.  It is assumed that this sensor can protect 300 feet of perimeter.

#### 2.4.1.12	Pulsed Microphonic Coaxial Cable Sensor

The pulsed microphonic coaxial cable sensor is attached to an existing fence and includes the link units and processor modules.  This line item includes the cost of power and sensor wiring, an environmental enclosure, ground rod set and trenching.  It is assumed that this sensor can protect two zones at 300 meters each.

#### 2.4.1.13	Fiber Optic Cable Sensor

The fiber optic cable sensor is attached to an existing fence and includes the MUX processor, relay interface, and accessories.  This line item includes the cost of power and sensor wiring, an environmental enclosure, ground rod set and trenching.  It is assumed that this sensor can protect two zones at 300 meters each.

#### 2.4.1.14	Mounted Vibration Sensor

The mounted vibration sensor is attached to an existing fence and includes the link units and processor modules.  This line item includes the cost of power and sensor wiring, an environmental enclosure, ground rod set and trenching.  It is assumed that this sensor can protect 300 linear feet of perimeter.

#### 2.4.1.15	Radar

The radar system is a turn-key unit installed by the manufacturer.  This line item includes the cost of power and sensor wiring, an environmental enclosure, ground rod set and trenching.  It is assumed that this system can detect intrusion within a 1.5 kilometer area of the unit.

### 2.4.2	Interior Sensor Equipment

#### 2.4.2.1	Duress Alarm Switch - Push Button

This line item includes the cost of the push button type of duress alarm switch and control wiring to connect into the system.

#### 2.4.2.2	Duress Alarm Switch - Footrail

This line item includes the cost of the footrail type of duress alarm switch and control wiring to connect into the system.

#### 2.4.2.3	Wireless Duress Switch

This line item includes the cost of the wireless duress switch transmitter, receiver, and a pull box to provide the point at which the duress switch receiver is connected into the system.

#### 2.4.2.4	Vibration Sensor

This line item includes the cost of the vibration sensor and provides control wiring to connect into the system.  The manufacturer states the device is capable of monitoring an area the radius of five feet from the sensor.

#### 2.4.2.5	Glass Break Sensor, Acoustic

This line item includes the cost of the glass break sensor, signal processor, adhesive, glass break simulator and control wiring to connect to system.  Assuming a setback of ten feet, this sensor will cover an area 20x30 feet.

#### 2.4.2.6	Glass Break Sensor, Piezoelectric

This line item includes the cost of the glass break sensor, adhesive, glass break simulator and control wiring to connect to system. Sensor is placed in corner of pane and can protect a nominal 10'x10' pane.

#### 2.4.2.7	Balanced Magnetic Switch

This line item includes the cost of the balanced magnetic switch with remote-test feature,  brackets necessary to mount and control wiring to system distributed processing panel..

#### 2.4.2.8	Seismic Detection Sensor

This line item includes the cost of the seismic detection sensor with remote-test feature and control wiring to system distributed processing panel.

#### 2.4.2.9	Microwave/Passive Infrared Dual Technology Motion Sensor

This line item includes the cost of the dual technology microwave/passive infrared motion sensor with remote test and control wiring to connect into the system.  The manufacturer states that the sensor will cover an area of 1,600 sq. feet.

#### 2.4.2.10	Passive Infrared Motion Sensor

This line item includes the cost of the infrared sensor with remote test and control wiring to connect into the system.  The manufacturer states that the sensor will cover an area of 1,225 sq. feet.

#### 2.4.2.11	Passive Ultrasonic Sensor

This line item includes the cost of the passive ultrasonic sensor with remote test and control wiring to connect into the system.  The manufacturer states that the sensor will cover an area of 30’x60’.

#### 2.4.2.12	Photo-Electric Sensor

This line item includes the cost of the photo-electric sensor with remote test and control wiring to connect into the system.  It is assumed that this sensor has a range of 500 ft.

#### 2.4.2.13	Security Screen

This line item includes the cost of a 3 x 3 ft. security screen including the mounting hardware and control wiring where the sensor is tied into the system.

#### 2.4.2.14	Capacitance Proximity Sensor

This line item includes the cost of the sensor with remote test, control wiring, and local processor electronics with its junction box.  It is assumed that each sensor can provide coverage for one large item (e.g., a five drawer safe).

#### 2.4.2.15	Video Motion Sensor

This line item includes the cost of the video motion detection (VMD) processing equipment and control wiring to connect to the system.  This item does not include the associated CCTV video system equipment, which must be entered separately.  This system provides VMD coverage for one camera, and may be used only for indoor areas.

#### 2.4.2.16	Access/Secure Switches

This line item includes the cost of the access/secure switches and control wiring to connect to the system

### 2.4.3	CCTV  Equipment

#### 2.4.3.1	High Resolution Monochrome 1/3" Format Camera

This line item includes the cost for a high resolution monochrome solid state 1/3" format camera and 500 feet of RG 59/U coaxial cable.

#### 2.4.3.2	Low Light Monochrome 1/3" Format Camera

This line item includes the cost for a low light monochrome 1/2" format solid state camera and 500 feet of RG 59/U coaxial cable.

#### 2.4.3.3	High Resolution 1/3" Format Color Camera

This line item includes the cost for a color solid state 1/3" format camera and 500 feet of RG 59/U coaxial cable.

#### 2.4.3.4	1/3" Format Camera Lens

This line item includes the cost for a 1/3" format, 2.8 mm focal length, direct drive CS mount with auto iris.

#### 2.4.3.5	1/2" Format Camera Lens

This line item includes the cost for a 1/2" format, 4 mm focal length, CS mount with auto iris.

#### 2.4.3.6	1/3" Format Camera Lens

This line item includes the cost for a 1/3" format, 8 mm focal length, C mount with auto iris.

#### 2.4.3.7	1/3" Format Camera Lens, Motorized Zoom

This line item includes the cost for a 1/3" format with motorized zoom, 6 to 60 mm focal length, prepositioning, CS mount with auto iris.

#### 2.4.3.8	1/2" Format Camera Lens, Motorized Zoom

This line item includes the cost for a 1/2" format with motorized zoom, 8 to 80 mm focal length, prepositioning, CS mount with auto iris.

#### 2.4.3.9	1/3" Format Camera Lens, Motorized Zoom

This line item includes the cost for a 1/3" format with motorized zoom, 5.6 to 112 mm focal length, prepositioning CS mount with auto iris.

#### 2.4.3.10	Environmentally Sealed CCTV Housing with Mount

This line item includes the cost for an environmentally sealed CCTV housing, mount, maintenance o-ring kit and 50 feet of RG 59/U coaxial cable.  The housing will accept any fixed focal length lens.

#### 2.4.3.11	Indoor Camera Housing with Mount

This line item includes the cost for an indoor camera housing with mount.

#### 2.4.3.12	9" Monochrome Video Monitor

This line item includes the cost for a 9" monochrome video monitor, including the monitor, rack mount kit, and 15 feet of RG 59/U coaxial cable.  The output module is priced separately.

#### 2.4.3.13	15" Monochrome Video Monitor

This line item includes the cost for a 14" monochrome video monitor, including the monitor, rack mount kit, and 15 feet of RG 59/U coaxial cable.  The output module is priced separately.

#### 2.4.3.14	20" Monochrome Video Monitor

This line item includes the cost for a 17" monochrome video monitor, including the monitor, rack mount kit, and 15 feet of RG 59/U coaxial cable.  The output module is priced separately.

#### 2.4.3.15	9" Color Video Monitor

This line item includes the cost for a 9" color video monitor, including the monitor, rack mount kit, and 15 feet of RG 59/U coaxial cable.  The output module is priced separately.

#### 2.4.3.16	14" Color Video Monitor

This line item includes the cost for a 14" color video monitor, including the monitor, rack mount kit, and 15 feet of RG 59/U coaxial cable.  The output module is priced separately.

#### 2.4.3.17	20" Color Video Monitor

This line item includes the cost for a 20" color video monitor, including the monitor, rack mount kit, and 15 feet of RG 59/U coaxial cable.  The output module is priced separately.

#### 2.4.3.18	Video Matrix Switcher

This line item includes the cost for a CCTV switcher with maximum capacities of 128 camera inputs and 16 monitor outputs, including switcher with software, power supply, CPU module and switching bay.  This item DOES NOT include any input/output modules.  The chassis can accept eight video input modules and four video output modules.  Add the required input/output modules with the line items discussed below.

#### 2.4.3.19	Video Input Module (VIM)

This line item includes the cost for one VIM with a 16 camera capacity and associated cabling costs.

#### 2.4.3.20	Video Output Module (VOM)

This line item includes the cost for one VOM with a four monitor capacity and associated cabling costs.

#### 2.4.3.21	Alarm Interface Module

This line item includes the cost for one alarm interface accessory unit.  This unit provides 64 alarm inputs and eight relay closures to be used to automatically activate any camera to be displayed under alarm conditions.

#### 2.4.3.22	Control Keyboard

This line item includes the cost for one full function keyboard and variable speed joystick.

#### 2.4.3.23	Video Annotation

This line item includes the cost for one four channel text, date and character generator.

#### 2.4.3.24	Video Cassette Recorder

This line item includes the cost for one standard video cassette recorder, time lapse, 2 to 720 hour recording time, time and date search and ten T-160 VHS tapes.

#### 2.4.3.25	Ground Loop Corrector

This line item includes the cost for one video ground loop corrector.

#### 2.4.3.26	Video Loss/Presence Detector

This line item includes the cost for one video loss/presence detector.

#### 2.4.3.27	Video Equalizing Amplifier

This line item includes the cost for one post equalization only video amplifier.

#### 2.4.3.28	Video Distribution Amplifier

This line item includes the cost for one single input quad output distribution amplifier.

#### 2.4.3.29	Video Sync Distribution Amplifier

This line item includes the cost for one video sync distribution amplifier.

#### 2.4.3.30	Sixteen Channel Video Multiplexer

This line item includes the cost for one sixteen channel video multiplexer with 35 feet of coaxial cable.

#### 2.4.3.31	Interior Dome Camera System - Monochrome

This line item includes the installed cost for one complete interior dome camera system with a 1/3” monochrome camera, I/O board and interior mount.

#### 2.4.3.32	Interior Dome Camera System - Color

This line item includes the installed cost for one complete interior dome camera system with a 1/3” color camera, I/O board and interior mount.

#### 2.4.3.33	Exterior Dome Camera System - Monochrome

This line item includes the installed cost for one complete exterior dome camera system with a 1/3” monochrome camera, I/O board and exterior mount.

#### 2.4.3.34	Exterior Dome Camera System - Color

This line item includes the installed cost for one complete exterior dome camera system with a 1/3” color camera, I/O board and exterior mount.

### 2.4.4	CCTV Support Equipment

#### 2.4.4.1	Cantilever Camera Pole

This line item includes the cost for the installation of one 25 foot cantilever tilt-down camera pole with a concrete base.

#### 2.4.4.2	Straight Camera Pole

This line item includes the cost for the installation of one 15 foot straight camera pole with a concrete base.

#### 2.4.4.3	Straight Camera Pole with Pan/Tilt Mount

This line item includes the cost for the installation of one 15 foot straight camera pole with a concrete base and a pan and tilt camera mount

#### 2.4.4.4	Exterior Wall Mount

This line item includes the cost for one exterior wall mounting with an adjustable head support bracket.

#### 2.4.4.5	Interior Wall Mount

This line item includes the cost for one interior wall mounting.

#### 2.4.4.6	Pan & Tilt Mount

This line item includes the cost for one complete and functional pan and tilt mounting.

#### 2.4.4.7	Low Profile Ceiling Housing

This line item includes the cost for one low profile ceiling housing with mounting plate.

#### 2.4.4.8	Interior Dome Housing

This line item includes the cost for one interior dome housing, pan and tilt unit with feed through wiring and 15 feet of RG 59/U coaxial cable.

#### 2.4.4.9	19" Rack Enclosures

This line item includes the cost for one 19" electronics enclosure.

#### 2.4.4.10	RG 59/U Coaxial Cable

This line item includes the cost for one installed foot of RG 59/U coaxial cable.

#### 2.4.4.11	RG 11/U Coaxial Cable

This line item includes the cost for one installed foot of RG 11/U coaxial cable.

#### 2.4.4.12	Four Pair Low Voltage Control Wiring

This line item includes the cost for one installed foot of 18 gauge, four pair control wiring.

#### 2.4.4.13	Eight Pair Low Voltage Control Wiring

This line item includes the cost for one installed foot of 18 gauge, eight pair control wiring.

#### 2.4.4.14	Two Conductor Digital Data Interconnection Wiring

This line item includes the cost for one installed foot of 2 conductor digital data interconnecting wiring.

#### 2.4.4.15	Three Conductor Digital Data Interconnection Wiring

This line item includes the cost for one installed foot of 3 conductor digital data interconnecting wiring.

#### 2.4.4.16	Five Conductor Digital Data Interconnection Wiring

This line item includes the cost for one installed foot of 5 conductor digital data interconnecting wiring.

### 2.4.5	Electronic Entry Control Systems

#### 2.4.5.1	Magnetic Stripe Card Reader

This line item includes the cost of one card reader, mounting kit, 50 feet of 18 gauge four pair control wiring, electromagnetic lock and a request to exit button.

#### 2.4.5.2	Smart Card Reader

This line item includes the cost of one card reader, mounting kit, 150 feet of 18 gauge four pair control wiring, electromagnetic lock and a request to exit button.

#### 2.4.5.3	Smart Card Reader with Keypad

This line item includes the cost of one magnetic stripe reader and 150 feet of 18 gauge four pair control wiring.

#### 2.4.5.4	Weigand Wire Card Reader

This line item includes the cost of one card reader, mounting kit, 50 feet of 18 gauge four pair control wiring, electromagnetic lock and a request to exit button.

#### 2.4.5.5	Weigand Wire Card Reader with Keypad

This line item includes the cost of the previous line item with the replacement of the card reader with a combination card reader and keypad.

#### 2.4.5.6	Contactless Smart Card Reader

This line item includes the cost of one card reader, mounting kit, 150 feet of 18 gauge four pair control wiring, electromagnetic lock and a request to exit button.

#### 2.4.5.7	Contactless Smart Card Reader with Keypad

This line item includes the cost of the previous line item with the replacement of the card reader with a combination card reader and keypad.

#### 2.4.5.8	Proximity Card Reader

This line item includes the cost of one card reader, 50 feet of 18 gauge four pair control wiring, one electromagnetic lock and one request to exit button.

#### 2.4.5.9	Proximity Card Reader with Keypad

This line item includes the cost of one card reader with keypad, 50 feet of 18 gauge four pair control wiring, one electromagnetic lock and one request to exit button.

#### 2.4.5.10	Magnetic Stripe Cards

This line item includes the cost of one magnetic card purchased at a minimum of 50 cards.

#### 2.4.5.11	Weigand Cards

This line item includes the cost of one Weigand card purchased at a minimum of 50 cards.

#### 2.4.5.12	Proximity Cards

This line item includes the cost of one proximity card purchased at a minimum of 50 cards.

#### 2.4.5.13	Keypads

This line item includes the cost of one keypad and 50 feet of 18 gauge four pair control wiring.

#### 2.4.5.14	Fingerprint Analysis Scanner

This line item includes the cost of one scanner, power supply, 18 gauge four pair control wiring and mounting kit.

#### 2.4.5.15	Hand Geometry Unit

This line item includes the cost of one hand geometry unit, memory expansion module, mounting kit, 50 feet 18 gauge four pair control wiring and 25 feet of 14/2 with ground power wiring.

#### 2.4.5.16	Iris Scan Device

This line item includes the cost of one iris scan device, 50 feet of 18 gauge four pair control wiring and mounting kit.

#### 2.4.5.17	Push Button Switches - Request to Exit Button

This line item includes the cost of one request to exit push button.

#### 2.4.5.18	Electronic Door Strikes/Bolts

This line item includes the of one electronic door strike.

#### 2.4.5.19	Electromagnetic Locks

This line item includes the cost of one electromagnetic lock and 25 feet of 18 gauge four pair control wiring.

#### 2.4.5.20	Entry Control Booth

This line item includes the cost of one turnkey installation of an entry control booth.

#### 2.4.5.21	Vehicle Gate Opener

This line item includes the cost of installing one vehicle gate opener.

#### 2.4.5.22	Article Surveillance X-Ray Device

This line item includes the cost of installation of one X-Ray devise.

#### 2.4.5.23	Walk-Through Metal Detector

This line item includes the installed cost of one walk-through metal detector including 25 feet of power distribution wiring.

#### 2.4.5.24	Panic Door Hardware

This line item includes the installed cost of one ADA-compliant panic door hardware.

#### 2.4.5.25	Panic Door Hardware with Audible Alarm

This line item includes the installed cost of one ADA-compliant panic door hardware with an audible alarm.

### 2.4.6	Head End Equipment, Commercial

#### 2.4.6.1	Large Head End System

This line item includes the cost of the central station monitoring computer, fixed map display with 100 zones, 6 hour UPS, dot matrix and laser printers, enrollment station including accessories, 2 bay central console, and communication modules for 192 readers.

#### 2.4.6.2	Small Head End System

This line item includes the cost of a personal computer with a small head end software package, power supply, central station console and a communications expansion module.

### 2.4.7	Common Items

#### 2.4.7.1	Ground Rod Assembly

This item includes a copper electrolytic ground rod system, and includes augering hole, mixing bentonite clay, installing 8.5 foot ground rod and terminating ground wire.

#### 2.4.7.2	NEMA 4 Enclosure, Exterior pole mounted

This line item includes the cost of a NEMA 4 enclosure sized at 30X24X12, 20 feet of 3/4” RGS conduit, one 4”x 10’ galvanized post mounted in a concrete footing.

#### 2.4.7.3	NEMA 4 Enclosure

This line item includes the cost of a NEMA 4 enclosure sized at 30X24X12 only.

#### 2.4.7.4	3/4” EMT Conduit

This line item includes the installed cost of one foot of EMT conduit.

#### 2.4.7.5	18 Gauge, 6 Pair Twisted Shielded Cable

This line item includes the installed cost of one foot of cable.

#### 2.4.7.6	Interior Electrical Power Distribution

This line item includes the installed cost of one foot of 3/4” EMT conduit and 14/2 with ground cable.

#### 2.4.7.7	Exterior Electrical Power Distribution

This line item includes the installed cost of one foot of 10/3 underground feeder cable including trenching and backfill.

#### 2.4.7.8	Exterior Mounted Post

This line item includes the installed cost of one 4’x 10’ galvanized steel post and concrete footing.

#### 2.4.7.9	Direct Burial Fiber Optic Cable, 16 Conductor

This line item includes the installed cost of direct burial of one foot of cable including trenching and backfill.

#### 2.4.7.10	Direct Burial Fiber Optic Cable, 4 Conductor

This line item includes the installed cost of direct burial of one foot of cable including trenching and backfill.

#### 2.4.7.11	Fiber Optic Cable, 4 Conductor, Plenum Rated

This line item includes the installed cost of one foot of plenum rated cable.

### 2.4.8	USER DEFINED Equipment

The User Defined page contains blank areas where the user can enter site-specific items and contains all of the needed equations for total cost calculations.  Each user defined item may be input by length, zone or quantity.  The user needs to develop only those row(s) to accommodate the specific project cost components not provided in the main body of the estimator; unused rows will carry zero values.  Use of the User Defined page is discussed more fully in Appendix A.  Users should not attempt to work with the User Defined page until they are familiar with using other pages in this system.

## 2.5	Main Menu Definitions

The following are definitions for each of the buttons on the Main Menu of the Cost Estimator.

- COST SUMMARY: Displays the cost summary from all pages.  Also has the user entry cells for Taxes, Contractor Overhead, Contingencies and Supervision & Administration.

- PROJECT DATA: Displays the setup screen for Project Name, Contract Number, Labor Multiplier and the estimated year of construction startup and the mid-point.  The Construction Factor is calculated based on the estimated startup and estimated mid-point year information.  Also on this page is the multipliers for Contractor Overhead, Material Tax, Contingencies, Supervision & Administration.

- HEAD END EQUIPMENT:  Displays the page and allows for data entry of Head End Equipment quantities.

- EXTERIOR SENSORS:  Displays page and allows for data entry of Exterior Sensor Equipment quantities.

- INTERIOR SENSORS:  Displays page and allows for data entry of Interior Sensor Equipment quantities.

- CCTV:  Displays page and allows for data entry of CCTV Equipment quantities.

- CCTV SUPPORT: Displays page and allows for data entry of CCTV Support Equipment quantities.

- ELECTRONIC ENTRY CONTROL SYSTEMS:  Displays page and allows for data entry of EECS Equipment quantities.

- USER DEFINED:  Displays page and allows for data entry of User Defined Equipment quantities and costs.

  - COMMON ITEMS:  Displays page and allows for data entry of Common Items quantities.

  - PRINT ESTIMATE: Prints all pages in the estimator.

## 2.6	Cost Estimating Data

### 2.6.1	Cost Growth

UFC 3-701-XX, DoD Facilities Pricing Guide, provides guidance for the calculation of cost growth based on indices reflecting increases in basic project cost components such as labor and materials.  The user must assure that current indices are being used.  Escalation is determined by entering the index for the date of the estimate and the index for the mid-point of construction.  The escalation is automatically calculated when these indices are entered on the Project Data page.

### 2.6.2	Reserve for Contingencies

Generally, a 15% contingency will apply for concept or survey estimates and 5% to 10% will be used for final estimates depending on complexity and other factors associated with the project.  The greatest contingency that can be applied is 15% but must be justified.  Enter the data on the Project Data page

### 2.6.3	Supervision and Administration Allowances

This is limited to 5.5% for the Continental United States and should always be applied.  Enter the data on the Project Data page.

### 2.6.4	Current Working Estimates (CWEs)

Refer to UFC 3-740-XX Design Guide: Cost Estimating (Draft).

### 2.6.5	Sales Taxes and/or Construction Gross Receipt Taxes

Sales taxes and/or construction gross receipt taxes on materials are added to the materials costs based upon actual site requirements.  The sales tax/gross receipt tax rate for the project location is to be entered on the Project Data page.

### 2.6.6	Unit Costs

Cost data is based on currently available vendor prices, labor rates, and equipment rates.

### 2.6.7	Labor Rates

Labor rates and labor hours are typical values encountered for each task.  The labor rates used throughout this estimator were obtained from R. S. Means CostWorks 2006.  With one entry, these rates may be increased or decreased throughout the entire estimate by the Labor Multiplier on the Project Data page.

### 2.6.8	Overhead

Contractor overhead expenses may be developed from percentages derived from the characteristics of the job and guidelines provided in UFC 3-740-XX Design Guide: Cost Estimating (Draft).  Consideration must be given to contract structure, size of the project, percentage of subcontracting and facilities provided by the Government as a minimum.  Overhead expenses should also include, in addition to the normal overhead expenses, all labor taxes and insurance normally paid by the contractor.  Overhead is to be manually entered on the Project Data sheet.  A typical value for Contractor Overhead is 10-15%.  Enter the data on the Project Data page.

### 2.6.9	Profit

Profit is manually entered on the Project Data sheet.  A typical value for profit is 10%.  Enter the data on the Project Data page

### 2.6.10	Bond

The estimator approximates the Contractor's bond expense based on a Corps of Engineers supplied algorithm.  This algorithm, presented in Table 2.1, determines the bond expense base from the estimated total cost of the project before escalation.  Typical values for Bond expenses fall in the range of 1% to 1.25%.  The Bond cost is automatically calculated and used on the Cost Summary page.

### 2.6.11	Cost Summary Page Totals

The Cost Summary page automatically totals the entries from all of the data entry pages.  The summary page totals are the combined values of MCA and non-MCA costs.  Again, the MCA and non-MCA costs are not distinguished in this version of the ESS Cost Estimator.

### 2.6.12	Context Sensitive Help Files

Clicking on the “ESS Help” button on the equipment data input sheets takes the user to the first item in the Help file (1/2” Format Camera Lens). The user can then click the drop-down arrow in the subject box or click next/previous to scroll to the appropriate help context.

### 2.6.13	Notes within the Estimator File

All cells that are indicated by a red triangle in the upper right-hand corner of the cell as containing notes or messages will display the note(s) by placing/hovering the mouse cursor over the cell to provide further information or guidance to the user.

Table 2.1

Bond Rate Calculation

| Project Value | Bond Percent of Contract Amount |
| --- | --- |
| 0 to 100,000 | 2.5 |
| 100,000 to 500,000 | 1.5 |
| 500,000 to 2,500,000 | 1.0 |
| 2,500,000 to 5,000,000 | .75 |
| 5,000,000 to 7,000,000 | .70 |
| Over 7,5000,000 | .70 |

Appendix A

USER DEFINED Page

ESS Cost Estimator

Appendix A

USER DEFINED Page Description

The User Defined sheet is a blank duplicate of the other sheets in the workbook.  Enter the item description into the appropriate area and then enter the unit costs in the columns labeled Labor Unit $, Equipment Unit $, and Material Unit $.  The cost calculations will now be performed automatically when the user enters the required data.  As with the other sheets in the estimator, all cells that do not require user input have been password protected in an attempt to protect the structural integrity of the estimator template.

The appropriate costs will be included on the Cost Summary page automatically as the costs are calculated.