## PROJECT INPUT
Gate Automation Budget Estimator (Ver 12.07)
Estimated by: | Your Name
Project Title: | Main Gate
Project Location: | NAVSTA Anywhere
Project Number: | P-XXX
Fiscal Year: | FY10
Date: | 2007-12-14
ACF: | 0.94
Escalation: | 1.15
Number of Gates | 1
Number in Ingress Lanes | 4
Number of Egress Lanes | 2
Number of Pedestrian Gates | 1
Number of Security Dispatch Stations | 1
Number of Badging Stations | 2
Number of Badges/Assets | 1000
| Equipment Cost | 251606.786
| System Design Cost | 25160.6786
| System Install/Programming Cost | 75482.0358
| Integration, Testing, & Training | 35224.95
| Subtotal: | 387474.4504
| ACF Adjustment: | 364225.9834
| Escallation: | 418859.8809
| Contingency (5.0%): | 20942.994
| Total Contract Cost: | 439802.875
| SIOH (8.0%): | 35184.23
| Subtotal: | 474987.105
| Total OPN Funding Request : | 480000
Above total does not include infrastructure, only equipment costs. Enter Gate Automation Equipment costs in DD 1391, Block 12B, as a single line item titled "Gate Automation Equipment". Attach PDF of completed form to DD 1391.
Include the costs for infrastructure required to support the equipment installation and connectivity in the approprate location of block 9 of the DD 1391 with breakdown in the "Budget Estimate Summary Sheet".
Note on B8: Per UFC 3-701-XX Shoud be consistant with DD 1391
Note on B9: Per UFC 3-701-XX Shoud be consistant with DD 1391
Note on B6: Project Program Year
Note on B16: Where vistor badges will be issued. Should be one location per Installation. Some locations may need more than one Badging Station.
Note on B17: Number of Vistor Badges. Use 1000. Number should only reflect number required for system startup.

## Equipment Breakdown
|  | Estimated By: | Your Name | Number of gates: | 1
|  | Installation: | Main Gate | Number of ingress lanes: | 4
|  | Project Title: | NAVSTA Anywhere | Number of egress lanes: | 2
|  | Project Number: | P-XXX | Number of Pedestrian Gates: | 1
|  | Fiscal Year: | FY10 | Number of Security Dispatch Stations: | 1
|  | Date: | 2007-12-14 | Number of Badging Stations: | 2
|  | ACF: | 0.94 | Number of Badges/Assets: | 1000
|  | Escalation: | 1.15 | Equipment Cost: | 251606.786
Line | Qty | Unit | Description | Manufacturer | Part Number | Unit Price | Extended Price | Sub Total
Badges/Assets
18 | 1000 | EA | PROX-LINC WINDSHIELD TAG | APPLIED WIRELESS ID (AWID) | APL-1216 | 14.5 | 14500
19 | 1000 | EA | PROX-LINC METAL TAG | APPLIED WIRELESS ID (AWID) | APT-1014 | 14.5 | 14500
101 | 1000 | EA | ICLASS CARD 16L WITH MAGSTRIPE | LENEL | 2001NG1NN | 6.9 | 6900
35900
Badging
49 | 2 | EA | DIRECT-TO-CARD PRINTER/ENCODER WITH DUPLEX INLINE LAMINATION MODULE | FARGO | DTC550-LC | 6095 | 12190
98 | 2 | EA | CLIENT BADGING WORKSTATION (IAW QUOTATION NO. 5804) | LENEL | PCC-IDADV | 3150 | 6300
100 | 2 | EA | SIGNATURE CAPTURE KIT | LENEL | 941007 | 485 | 970
102 | 2 | EA | CCD IMAGE CAPTURE KIT | LENEL | CAM-CCD-500K | 1800 | 3600
23060
Dispatch
88 | 1 | EA | LASERJET 5200 PRINTER | HP [USCOMPUTERS] | Q7543A#ABA | 1439.99 | 1439.99
99 | 1 | EA | ACCESS CLIENT WORKSTATION (IAW QUOTATION NO. 5804) | LENEL | PCC-ADV | 2775 | 2775
4214.99
Server Rack
14 | 2 | EA | TIMER, PCB PROGRAMMABLE | ALTRONICS | S-0100 | 49.95 | 99.9
15 | 1 | EA | POWER SUPPLY, 12VDC @ 10A | ALTRONIX [SDI] | AL1012ULXPD16CB | 444.98 | 444.98
29 | 4 | EA | PLUGSTRIP, 8-OUTLET | BLACK BOX | SP412A | 31.95 | 127.8
31 | 1 | EA | KVM, RACKMOUNT | BLACKBOX | KVT202A-R2 | 1945 | 1945
32 | 1 | EA | BRACKET REAR, EXTENSION KIT (KVM) | BLACKBOX | RMB4 | 45 | 45
33 | 2 | EA | SWITCH, 8-PORT | CISCO | WS-CE500G-12TC | 1300 | 2600
37 | 1 | EA | FIBER HOUSING | CORNING | CCH-02U | 170 | 170
90 | 1 | EA | CONFIGURED SERVER | LENEL | PC-2950-GANI | 6000 | 6000
91 | 1 | EA | INTEGRATED SOLUTION FOR SERVER | LENEL | SWS-ADV | 2000 | 2000
92 | 1 | EA | SOFTWARE OPTION: ONGUARD FORMSDESIGNER | LENEL | SWG-1210 | 1495 | 1495
93 | 1 | EA | ASSET SOFTWARE: ONGUARD ADV | LENEL | SWG-AMADV-8 | 4995 | 4995
94 | 1 | EA | SOFTWARE OPTION: CCTV INTERFACE | LENEL | SW-1010 | 495 | 495
95 | 1 | EA | SOFTWARE: ONGUARD VIDEO SERVER LICENSE | LENEL | SWS-DV | 400 | 400
111 | 1 | EA | SQL SERVER 2000 STANDARD EDITION 10 CLIENTS | MICROSOFT | 228-00684 | 1570 | 1570
112 | 1 | EA | SHIPPING CRATE | MIDDLE ATLANTIC PRODUCTS | CRATE | 181 | 181
113 | 1 | EA | BLACK 10-32 PHILLIPS SCREWS WITH WASHERS (100 PIECES) | MIDDLE ATLANTIC PRODUCTS | HP-24 | 11 | 11
114 | 1 | EA | FILTER KIT FOR 5.25 INCH KNOCKOUT | MIDDLE ATLANTIC PRODUCTS | KO-FILTER3 | 26 | 26
115 | 1 | EA | TOP PANEL WITH 4 QUIET FANS | MIDDLE ATLANTIC PRODUCTS | MW-4QFT-FC | 309 | 309
116 | 1 | EA | 20-OUTLET, SINGLE OR DUAL 20 AMP CIRCUIT, THIN POWER STRIP WITH J-BOX | MIDDLE ATLANTIC PRODUCTS | PDT-2X1020 | 130 | 130
117 | 3 | EA | SHELF, ADJUSTABLE | MIDDLE ATLANTIC PRODUCTS | VDS | 59 | 177
118 | 1 | EA | 44-SPACE (77 INCH), 32 INCH DEEP COMPLETE NETWORK ENCLOSURE KIT, BLACK FINISH | MIDDLE ATLANTIC PRODUCTS | WRK-44-32NK | 1176 | 1176
125 | 1 | EA | RACK MOUNT CHASSIS FOR FIBER OPTIC AND UTP MODULES | PELCO | RK5000PS-3U | 497 | 497
134 | 2 | EA | BATTERY 12V, 7AH | POWER-SONIC [WIE] | PS-1270F1 | 17.95 | 35.9
138 | 1 | EA | UPS, 2000VA, RACKMOUNT | POWERWARE | 05146001-6501 | 854 | 854
140 | 1 | EA | MOUNTING RAIL KIT, 4 POST 2U | POWERWARE | 051415262-0021 | 52 | 52
142 | 1 | EA | BATTERY, EBM, 48V, 5-15A | POWERWARE | 05146074-6591 | 323 | 323
183 | 50 | EA | CONNECTORS, RJ45 | WEST PENN WIRE/CDT | RJ45/8 | 0.63 | 31.5
184 | 80 | EA | CONNECTORS, BNC, 75OHM, RG-59/U | WEST PENN WIRE/CDT | REV-CBNC-19/20 | 2 | 160
182 | 80 | EA | CONNECTOR, BNC, 75 OHM 4-PIECE, MINI-MAX | WEST PENN WIRE/CDT | CN-BM74-18 | 1.9 | 152
26503.08
Gates
1 | 1 | EA | CABLE, MICROLOGIX CH1 TO AIC, 2M | ALLEN-BRADLEY | 1761-CBL-AP00 | 31.34 | 31.34
2 | 1 | EA | CABLE, PANELVIEW TO NET-AIC, 9M | ALLEN-BRADLEY | 1761-CBL-AS09 | 77 | 77
3 | 1 | EA | ADVANCED INTERFACE CONVERTER, DH485 | ALLEN-BRADLEY | 1761-NET-AIC | 165.17 | 165.17
4 | 1 | EA | MEMORY MODULE, 4K | ALLEN-BRADLEY | 1764-MM1 | 103.33 | 103.33
5 | 1 | EA | MICROLOGIX 1500 BASE UNIT, 12 DC IN, 12 RELAY OUT | ALLEN-BRADLEY | 1764-24BWA | 446.37 | 446.37
6 | 1 | EA | MICROLOGIX 1500 PROCESSOR, 2 RS-232 PORTS | ALLEN-BRADLEY | 1764-LRP | 293.06 | 293.06
7 | 1 | EA | RIGHT END CAP | ALLEN-BRADLEY | 1769-ECR | 24.29 | 24.29
8 | 3 | EA | DIGITAL INPUT, 16 POINT, 24VDC | ALLEN-BRADLEY | 1769-IQ16 | 178.37 | 535.11
9 | 4 | EA | DIGITAL OUTPUT, 16 POINT, 24VDC | ALLEN-BRADLEY | 1769-OB16 | 234.53 | 938.12
10 | 3 | EA | CIRCUIT BREAKER 10-AMP 1 POLE | ALLEN-BRADLEY | 1489-A1C100 | 82.5 | 247.5
11 | 1 | EA | PANELVIEW PLUS 1000, DH-485, AC | ALLEN-BRADLEY | 2711-T10C3 | 5123.47 | 5123.47
12 | 1 | EA | SOUNDER / LED LAMP | ALLEN-BRADLEY | 855PC-B24LE522 | 100.44 | 100.44
13 | 1 | EA | CAMERA POWER SUPPLY | ALTRONICS | R241660ULCB | 350 | 350
16 | 1 | EA | RECEIVER (WITH RELAYS), REMOTE CONTROL, 3 FUNCTION | APPLIED WIRELESS | RCR303B-3R | 67.05 | 67.05
17 | 3 | EA | TRANSMITTER, KEYFOB, 3-BUTTON | APPLIED WIRELESS | KTX303B3 | 17.95 | 53.85
30 | 1 | EA | RACKMOUNT POWER, 15A | BLACK BOX | SP196A | 218.9 | 218.9
35 | 2 | EA | SWITCH, 24-PORT, RACK MOUNT | CISCO SYSTEMS [USCOMPUTERS] | WS-2950-24 | 715 | 1430
36 | 6 | EA | FIBER, SM, JUMPER, ST-SC, 2M | CORNING | 5861-01R2131-002-M | 25 | 150
55 | 1 | EA | DISTRIBUTION AMPLIFIER, 16CH, 1X4 OUTPUT | GE SECURITY | KTS-250-16 | 700 | 700
57 | 1 | EA | HMI ENCLOSURE, REAR DOOR, 350X450X120MM | HOFFMAN | CP354512 | 390.73 | 390.73
58 | 1 | EA | ROTATIONAL BASE, PENDANT ARM RIGHT ANGLE | HOFFMAN | CCS2FECLG | 199.89 | 199.89
59 | 1 | EA | ELBOW, PENDANT ARM | HOFFMAN | CCS2EHDLG | 108.05 | 108.05
60 | 1 | EA | PENDANT ARM TUBE, 500MM | HOFFMAN | CCS2T5 | 42.47 | 42.47
61 | 1 | EA | ROTATIONAL BASE | HOFFMAN | CCS2RBLG | 242.46 | 242.46
62 | 1 | EA | 12X16X6 ENCLOSURE | HOFFMAN | A161206LP | 201.19 | 201.19
63 | 1 | EA | PENDANT ARM TUBE, 1000MM | HOFFMAN | CCS2T10 | 71.5 | 71.5
64 | 1 | EA | ENCLOSURE, 1600X800X600, FRAME | HOFFMAN | PF1686 | -
65 | 2 | EA | SS DOORS | HOFFMAN | PDS168SS | -
66 | 1 | EA | RIGHT SIDE PANEL WITH AC CUTOUT | HOFFMAN | PSS166SS | -
67 | 1 | EA | PLINTH BASE | HOFFMAN | PPB186 | -
68 | 1 | EA | GLAND PLATE | HOFFMAN | PGP86 | -
69 | 2 | EA | TOP | HOFFMAN | PT86SS | -
70 | 2 | EA | LOCKING HANDLE | HOFFMAN | PFHPBL | -
71 | 1 | EA | SUB-PANEL | HOFFMAN | PPF168 | -
72 | 2 | EA | ENCLOSURE, 1600X600X600, FRAME | HOFFMAN | PF1666 | -
73 | 1 | EA | SS DOORS | HOFFMAN | PDS1668SS | -
74 | 1 | EA | LEFT SIDE PANEL | HOFFMAN | PSS166SS | -
75 | 1 | EA | PLINTH BASE | HOFFMAN | PPB166 | -
76 | 1 | EA | GLAND PLATE | HOFFMAN | PGP66 | -
77 | 1 | EA | TOP | HOFFMAN | PT66SS | -
78 | 2 | EA | LOCKING HANDLE | HOFFMAN | PFHPBL | -
79 | 2 | EA | RACK ANGLES | HOFFMAN | PRA1916TP | -
80 | 2 | EA | GRID STRAPS | HOFFMAN | PGH3S6 | -
81 | 1 | EA | JOINING KIT | HOFFMAN | PJ2F | 8789 | 8789
82 | 2 | EA | FOLDING SHELF | HOFFMAN | AASHLF1218 | 165.022 | 330.044
83 | 2 | EA | LIGHTING PACKAGE | HOFFMAN | ALF25M18R | 203.896 | 407.792
84 | 2 | EA | LIGHT MOUNTING KIT | HOFFMAN | PDLFBRKT | 37.356 | 74.712
85 | 1 | EA | HEATER | HOFFMAN | DAH4001B | 256.872 | 256.872
86 | 2 | EA | SUB-PANELS | HOFFMAN | PPP46 | 130.218 | 260.436
87 | 1 | EA | AIR CONDITIONING UNIT / THERMOSTAT | HOFFMAN | CR29041G068 | 3828 | 3828
96 | 1 | EA | SOFTWARE: ONGUARD VIDEO CLIENT LICENSE | LENEL | SWC-DV | 695 | 695
99 | 1 | EA | ACCESS CLIENT WORKSTATION | LENEL | PCC-ADV | 2775 | 2775
103 | 3 | EA | INTELLIGENT SYSTEM CONTROLLER | LENEL | LNL-2000 | 1300 | 3900
104 | 2 | EA | INPUT CONTROL MODULE | LENEL | LNL-1100 | 405 | 810
105 | 2 | EA | OUTPUT CONTROL MODULE | LENEL | LNL-1200 | 405 | 810
106 | 3 | EA | DUAL READER INTERFACE MODULE | LENEL | LNL-1320 | 500 | 1500
107 | 3 | EA | MICRO SERIAL SERVER | LENEL | LNL-ETHLAN | 350 | 1050
108 | 3 | EA | ON-BOARD MICRO SERIAL SERVER | LENEL | LNL-ETHLAN-MICRO | 125 | 375
109 | 15 | EA | FUSE, 1/4", 10A FAST ACTING (ALLIED#846-4013) | LITTELFUSE | 312010H | 2.5 | 37.5
110 | 5 | EA | FUSE, 1/4", 8A TIME DELAY (ALLIED#846-4065) | LITTELFUSE | 313010H | 2.5 | 12.5
119 | 18 | EA | WIREWAY COVER 1", LIGHT GRAY | PANDUIT | C1LG6 | 6 | 108
120 | 18 | EA | WIREWAY 1" X 3", LIGHT GRAY | PANDUIT | G1X3LG6 | 38 | 684
121 | 24 | EA | WIREWAY COVER 2", LIGHT GRAY | PANDUIT | C2LG6 | 9 | 216
122 | 24 | EA | WIREWAY 2" X 3", LIGHT GRAY | PANDUIT | G2X3LG6 | 48 | 1152
123 | 6 | EA | WIREWAY COVER 3", LIGHT GRAY | PANDUIT | C3LG6 | 14 | 84
124 | 6 | EA | WIREWAY 3" X 3", LIGHT GRAY | PANDUIT | G3X3LG6 | 46.32 | 277.92
129 | 1 | EA | CCTV DIGITAL SWITCHER VIDEO PROCESSOR | PELCO | MX4009CD | 1389 | 1389
130 | 1 | EA | TRANSMITTER, VIDEO | PELCO | FT8308SSTR | 2889 | 2889
131 | 1 | EA | CHASSIS, 19" RACK, 12 SLOTS, INTERNAL POWER SUPPLY | PELCO | RK5000PS-3U | 265 | 265
132 | 1 | EA | POWER SUPPLY, 12VDC, 10A | PHOENIX CONTACT | 2938811 | 399.3 | 399.3
133 | 1 | EA | POWER SUPPLY, 24VDC, 10A | PHOENIX CONTACT | 2938604 | 399.3 | 399.3
135 | 1 | EA | UPS, 1250VA | POWERWARE | 05146008-6501 | 875 | 875
137 | 1 | EA | MOUNTING HARDWARE 4-POST 2U | POWERWARE | 05141562-0091 | 105 | 105
139 | 3 | EA | UPS, 2000VA, TOWER | POWERWARE | 05146001-6501 | 854 | 2562
145 | 1 | EA | RELAY, 4 POLE | SEIDLE | BSM 650-0 | 98 | 98
146 | 1 | EA | HANDSET, STATION W/ VIDEO MONITOR | SEIDLE | BTCV 850-W | 874.3 | 874.3
148 | 1 | EA | CONTROLLER/POWER SUPPLY, A/V | SEIDLE | BVNG 650-01 | 276.5 | 276.5
150 | 2 | EA | DISTRIBUTOR, SYMMETRICAL | SEIDLE | BVVS 650-0 | 43.4 | 86.8
153 | 1 | EA | PANEL, PREFABRICATED | SEIDLE | FAB-AV-3327 | 1399.3 | 1399.3
156 | 1 | EA | INTERFACE, PROGRAMMING, USB | SEIDLE | PRI 602-0-USB | 209.3 | 209.3
158 | 1 | EA | POWER SUPPLY | SEIDLE | TR 602-1 | 45.5 | 45.5
161 | 1 | EA | PORT, PROGRAMMING | SEIDLE | ZBVG 650-1 | 26.6 | 26.6
163 | 1 | EA | ACCESSORY, TABLE-TOP | SEIDLE | ZTCV 850-0 | 129.5 | 129.5
164 | 1 | EA | AUDIO DECOUPLER, 2 WIRE BUS | SEIDLE | BAA650-0 | 23.8 | 23.8
170 | 20 | EA | GROUND TERMINAL BLOCKS, WPE4 | WEIDMULLER | 101010 | 4.73 | 94.6
171 | 10 | EA | FUSED TERMINAL BLOCKS, 24VDC INDICATOR | WEIDMULLER | 101410 | 9.9 | 99
172 | 5 | EA | FUSED TERMINAL BLOCKS, 115VAC INDICATOR | WEIDMULLER | 101430 | 9.9 | 49.5
173 | 400 | EA | TERMINAL BLOCKS, WDU2.5 | WEIDMULLER | 102000 | 0.83 | 332
174 | 30 | EA | END PLATE | WEIDMULLER | 105000 | 0.61 | 18.3
175 | 1 | EA | TERMINAL LABELS, WS12/5 | WEIDMULLER | 160986 | 37.71 | 37.71
176 | 1 | EA | JUMPERS, 50 POLE, RED, ZQV 2.5N/50 | WEIDMULLER | 171817 | 13.12 | 13.12
177 | 1 | EA | JUMPERS, 50 POLE, BLUE, ZQV 2.5N/50 | WEIDMULLER | 171818 | 13.12 | 13.12
178 | 2 | EA | DUPLEX GFI RECEPT., DIN RAIL MOUNT | WEIDMULLER | 7940000037 | 71.5 | 143
53598.616
Overspeed & WrongWay Detection and Display System (ODDS) by USR GRAB Franklin, TN 615-224-0400
185 | 4 | EA | RADAR SENSOR UNITS | Universal Safety Response, Inc. | 000261 | 1800 | 7200
186 | 1 | EACH | INTERFACE PANEL | Universal Safety Response, Inc. | 700400 | 9750 | 9750
187 | 1 | EACH | COMPUTER UNIT, MAIN DISPLAY INCLUDING SOFTWARE | Universal Safety Response, Inc. | 700401 | 3750 | 3750
188 | 3 | EACH | EXTERIOR DISPLAY UNITS | Universal Safety Response, Inc. | 000268 | 1950 | 5850
189 | 4 | EACH | CABLE, 24AWG, 6-PR, SHEILDED, STRANDED, [PUT-UPS: 150'] | Universal Safety Response, Inc. |  | 150 | 600
190 | 4 | EACH | SENSOR MOUNTING BRACKETS | Universal Safety Response, Inc. |  | 125 | 500
200 | 1 | LS | INTERFACE PANEL & DISPLAY UNIT MOUTING HARDWARE | Universal Safety Response, Inc. |  | 250 | 250
27900
Ingress Lanes
20 | 4 | EA | RFID READER | APPLIED WIRELESS ID (AWID) | Sentinel PROX LR-911 | 1650 | 6600
21 | 1 | EA | KIT, INSTALLATION | APPLIED WIRELESS ID (AWID) | LRIN | 50 | 50
22 | 4 | EA | BRACKET, READER MOUNTING | APPLIED WIRELESS ID (AWID) | LRMB | 50 | 200
23 | 4 | EA | CABLE, 20AWG, 12-CON, STRANDED, [PUT-UPS: 500'] | BELDEN | 9261 | 500 | 2000
24 | 4 | EA | CABLE, 18AWG, 3-PR, STRANDED, [PUT-UPS: 500'] | BELDEN | 9953 | 510 | 2040
25 | 4 | EA | CABLE, 24AWG, 6-CON STRANDED, [PUTUPS: 250 FT] | BELDEN | 9931 | 240 | 960
26 | 8 | EA | CABLE: 10AWG STRANDED, BLK [PUT-UP: 250 FEET] | BELDEN | 9910-10 | 210 | 1680
27 | 8 | EA | CABLE: 10AWG STRANDED, GRN SHIELDED [PUT-UP: 250 FEET] | BELDEN | 9912 | 145 | 1160
28 | 8 | EA | CABLE: 10AWG STRANDED, WHITE [PUT-UP: 250 FEET] | BELDEN | 9910-9 | 210 | 1680
38 | 12 | EA | CAMERA SURGE PROTECTOR | DITEK [DIRECT] | DTK-PVP27B-TPV | 40 | 480
39 | 4 | EA | GATE, PARKING, 1/2HP 115V | DKS | 1601-080 | 1340 | 5360
40 | 4 | EA | KIT, FAN - 1601 / 1602 / 1603 | DKS | 1601-092 | 105 | 420
41 | 4 | EA | ARM, ALUMINUM, ASSY | DKS | 1601-216 | 105 | 420
42 | 4 | EA | KIT HARDWARE, ALUMINUM ARM | DKS | 1601-242 | 73.5 | 294
44 | 8 | EA | LOOP DETECTOR, B3-DP, 120V | DKS | 9402-047 | 120.75 | 966
45 | 8 | EA | LOOP DETECTOR HARNESS | DKS | 9402-061 | 10.5 | 84
48 | 4 | EA | SENSOR, PHOTOEYE | EMX | P45 | 70 | 280
56 | 16 | EA | J-BOLTS, 3/8" x 3", SS | GENERIC | GENERIC | 4 | 64
89 | 5 | EA | READER, BARCODE, SLOT | ID TECH | WCR3237-633U | 209 | 1045
97 | 2 | EA | SOFTWARE: 8-CAMERA CHANNEL DEVICE LICENSE | LENEL | DV-CH-8UP | 1000 | 2000
126 | 1 | EA | DIGITAL VIDEO RECORDER, 16 INPUT, 1 TB STORAGE, DVD-RW | PELCO | DX8016-1000DVD | 7075 | 7075
127 | 2 | EA | 8-CHANNEL VIDEO RECEIVER, SINGLEMODE FIBER | PELCO | FR8308SSTR | 2889 | 5778
128 | 12 | EA | CAMCLOSURE CAMERA SYSTEM | PELCO | ICS310-CRV39A | 441 | 5292
143 | 8 | EA | RELAY, 4 POLE | SEIDLE | AR 402-0 | 69.3 | 554.4
144 | 4 | EA | LOUDSPEAKER, DELUXE, 2-WIRE BUS SYSTEM | SEIDLE | BLTM 650-03 | 122.5 | 490
147 | 4 | EA | BUTTON, CALL MODULE | SEIDLE | BTM 650-01 | 80.5 | 322
149 | 8 | EA | TRANSMITTER, VIDEO | SEIDLE | BVS 650-01 | 393.4 | 3147.2
151 | 4 | EA | CAMERA, COLOR (INTERCOM) | SEIDLE | CMC 612-1 | 594.3 | 2377.2
152 | 8 | EA | ACCESSORY, ANTI-THEFT | SEIDLE | DSC 602-0 | 52.5 | 420
154 | 4 | EA | PEDESTAL, FREESTANDING, 4 MODULE | SEIDLE | KSF 613-4 | 542.5 | 2170
155 | 4 | EA | POWER SUPPLY FOR TLM | SEIDLE | NG 602-0 | 84 | 336
157 | 4 | EA | SPEAKER, LINE LEVEL | SEIDLE | TLM/TK 611-0LL | 349.3 | 1397.2
159 | 8 | EA | AMPLIFIER, DISTRIBUTION | SEIDLE | VMO 511-2 | 69.3 | 554.4
160 | 4 | EA | POWER SUPPLY | SEIDLE | VNG 602-1 | 185.5 | 742
162 | 8 | EA | ACCESSORY, PILFER SAFEGUARD | SEIDLE | ZDS 601-0 | 24.5 | 196
165 | 4 | EA | POST, EXTRUSION, 2.25 INCH X 3 INCH X 60 INCH WITH 6 INCH BASE | SIGNAL TECHNOLOGIES | P60B | 100 | 400
166 | 4 | EA | POST, EXTRUSION, 2.25 INCH X 3 INCH X 90 INCH WITH 6 INCH BASE | SIGNAL TECHNOLOGIES | P90B | 100 | 400
167 | 4 | EA | LED DIRECT VIEW TRAFFIC CONTROLLER "OPEN CLOSED" | SIGNAL TECHNOLOGIES | TCL1418GR-100STK | 476 | 1904
168 | 4 | EA | LED DIRECT VIEW RED GREEN DOUBLE LIGHT INDICATOR | SIGNAL TECHNOLOGIES | TCL147RG-225 | 306 | 1224
169 | 12 | EA | STAND-ALONE MEDIA CONVERTER, 100BASE-TX TO 100BASE-FX | TRANSITION NETWORKS [ANIXTER] | E-100BTX-FX-05(SM) | 402 | 4824
179 | 12 | EA | CABLE, COAXIAL, VIDEO, 75OHM, MINATURE, (PUT-UPS: 500FT) | WEST PENN WIRE/CDT | 825 | 58.5 | 702
180 | 12 | EA | CABLE, CAT5E (PUT-UPS: 1000FT) | WEST PENN WIRE/CDT | 4245 | 99 | 1188
181 | 12 | EA | CABLE: RG-59 [500FT SPOOL] | WEST PENN WIRE/CDT | 843 | 113 | 1356
70632.4
Egress Lanes
43 | 4 | EA | SPIKES, TRAFFIC | DKS | 1610-082 | 730 | 2920
46 | 4 | EA | SPEED BUMPS | DKS | 1610-150 | 157.5 | 630
47 | 4 | EA | WARNING SIGNS | DKS | 1615-080 | 470 | 1880
50 | 3 | EA | TRAFFIC PAINT, WHITE | FRANKLIN PAINT COMPANY | 2020 | 47 | 141
51 | 2 | EA | TRAFFIC LETTER - O, 36" | FRANKLIN PAINT COMPANY | 107O | 20 | 40
52 | 2 | EA | TRAFFIC LETTER - P, 36" | FRANKLIN PAINT COMPANY | 107P | 20 | 40
53 | 2 | EA | TRAFFIC LETTER - S, 36" | FRANKLIN PAINT COMPANY | 107S | 20 | 40
54 | 2 | EA | TRAFFIC LETTER - T, 36" | FRANKLIN PAINT COMPANY | 107T | 20 | 40
5731
Pedestrian Gate
89 | 1 | EA | READER, BARCODE, SLOT | ID TECH | WCR3237-633U | 209 | 209
143 | 2 | EA | RELAY, 4 POLE | SEIDLE | AR 402-0 | 69.3 | 138.6
144 | 1 | EA | LOUDSPEAKER, DELUXE, 2-WIRE BUS SYSTEM | SEIDLE | BLTM 650-03 | 122.5 | 122.5
147 | 1 | EA | BUTTON, CALL MODULE | SEIDLE | BTM 650-01 | 80.5 | 80.5
149 | 1 | EA | TRANSMITTER, VIDEO | SEIDLE | BVS 650-01 | 393.4 | 393.4
151 | 1 | EA | CAMERA, COLOR (INTERCOM) | SEIDLE | CMC 612-1 | 594.3 | 594.3
152 | 2 | EA | ACCESSORY, ANTI-THEFT | SEIDLE | DSC 602-0 | 52.5 | 105
154 | 1 | EA | PEDESTAL, FREESTANDING, 4 MODULE | SEIDLE | KSF 613-4 | 542.5 | 542.5
155 | 1 | EA | POWER SUPPLY FOR TLM | SEIDLE | NG 602-0 | 84 | 84
157 | 1 | EA | SPEAKER, LINE LEVEL | SEIDLE | TLM/TK 611-0LL | 349.3 | 349.3
159 | 2 | EA | AMPLIFIER, DISTRIBUTION | SEIDLE | VMO 511-2 | 69.3 | 138.6
160 | 1 | EA | POWER SUPPLY | SEIDLE | VNG 602-1 | 185.5 | 185.5
162 | 2 | EA | ACCESSORY, PILFER SAFEGUARD | SEIDLE | ZDS 601-0 | 24.5 | 49
179 | 1 | EA | CABLE, COAXIAL, VIDEO, 75OHM, MINATURE, (PUT-UPS: 500FT) | WEST PENN WIRE/CDT | 825 | 58.5 | 58.5
180 | 1 | EA | CABLE, CAT5E (PUT-UPS: 1000FT) | WEST PENN WIRE/CDT | 4245 | 99 | 99
181 | 1 | EA | CABLE: RG-59 [500FT SPOOL] | WEST PENN WIRE/CDT | 843 | 113 | 113
169 | 2 | EA | STAND-ALONE MEDIA CONVERTER, 100BASE-TX TO 100BASE-FX | TRANSITION NETWORKS [ANIXTER] | E-100BTX-FX-05(SM) | 402 | 804
4066.7
[6 empty] | Equipment Cost: | 251606.786
Note on E154: (Usually Four or More Req'd) Two for zone 2 [0-200') One for zone 1 [200-800') One for Wrong Way [Additional Req'd if vehicle rejection past ID check point]
Note on E155: Landing Point for Sensors, Display Units, Relays, Port Server, and RJ45 to Computer
Note on E157: Displays Over Speed or Wrong Way conditions to Guards in Booths/Under Canopy
Note on E159: Usually mounted on ID Checkpoint Canopy or Gate House
Note on E158: Sensor cable