**6. ENGINEERING SYSTEMS REQUIREMENTS**

**F20 SELECTIVE BUILDING DEMOLITION**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
SYSTEMS REQUIREMENTS  
SELECTIVE BUILDING DEMOLITION TEMPLATE 09/22  
  
Instructions for using this template: There are template files for each UNIFORMAT Level 2 Group Elements. This template is for Group Element F20-SELECTIVE BUILDING DEMOLITION. Text such as this is hidden text that will not print when the hidden text box in "Print/Options" is un-checked.  
  
The Architectural, Civil and Environmental Member must edit this template for the requirements of the project. The SYSTEMS REQUIREMENTS are intended to define items that are required throughout the facility or on a system wide basis that is common to several rooms. Room-specific requirements are defined in the Part 3 Chapter 5 ROOM REQUIREMENTS section. Coordinate with the lead programmer for ROOM REQUIREMENTS. This section is intended to be used as a guide and contains requirements that are common to many different types of facilities, however not all requirements and equipment items will be applicable to all projects. In addition, there may be special requirements for a particular project that are not addressed at all. Editing is required where brackets [ ] appear. Delete all building elements that are not required for the project. Delete items or conditions that are not present or part of the work. If additional elements or sub-elements are required for the project that do not appear in the template, refer to the NIST UNIFORMAT II publication for additional building element numbers and descriptions. The Uniformat II Work Breakdown Structure can be found at** [**www.wbdg.org/ndbm/**](http://www.wbdg.org/ndbm/) **. Coordinate with the PERFORMANCE TECHNICAL SPECIFICATION SECTION F20 to ensure that performance requirements are provided for all of the Building Elements listed here and that paragraph numbering matches.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: This ESR is formatted utilizing Uniformat II, an industry recognized standard, ASTM E 1557. When the RFP writer chooses to add a paragraph that does not apply to an existing building element already included in the specification, refer to ASTM E 1557 for a listing of Uniformat II headings to utilize.  
  
 This section is intended to be used for projects that include hazardous materials and component requirements in accordance with UFC 3-810-01N, Navy and Marine Corps Environmental Engineering for Facility Construction.  
 \*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: This section is not intended to address removal or handling of high level radioactive materials or waste. Refer to UFC 3-810-01N, Navy and Marine Corps Environmental Engineering for Facility Construction for Low Level Radioactive Components removal and disposal requirements.  
 \*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: Coordinate demolition activities with the requirements of 01 74 19 CONSTRUCTION WASTE MANAGEMENT AND DISPOSAL  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

**GENERAL SYSTEMS REQUIREMENTS**  
**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: A blank Permits Record of Decision (PROD) form is included in Part 6 of the Standard Template Complete Set zip file on the WBDG Design-Build Request for Proposal page.  
 \*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

Perform all off-site work necessary to meet the requirements of the project, local codes, reference standards, technical specifications and performance criteria.

Identify and obtain permits to comply with federal, state, and local regulatory requirements associated with this work. Complete the Permits Record of Decision (PROD) form with the first design submittal package. Determine correct permit fees and pay said fees. Forward copies of permits, permit applications, and the completed PROD form to the Government's Civil Reviewer. Perform work in accordance with the approved permits.

Coordinate and obtain approval from the Contracting Officer for proposed haul route(s), work site access point(s), utility connections, employee parking location(s) and material laydown and storage area(s).

**F2010 BUILDING ELEMENTS DEMOLITION**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: Edit the following paragraphs to suit the project, or create your own, to describe the SELECTIVE BUILDING DEMOLITION for the project. Coordinate this section carefully with other portions of the RFP. Consider one of the following paragraphs for facilities that will include building demolition.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

[This project includes the demolition of the following: [\_\_\_\_\_\_]].

[This project includes the complete demolition and removal of Building No. [\_\_\_\_\_], a [\_\_\_\_\_] square [meter] [foot], [wood-framed] [cast-in-place concrete] [concrete and masonry] [steel-framed] structure. The existing structure is [\_\_\_\_\_] meters [feet] in height.]

**F2010 1.1 GENERAL DEMOLITION**

Remove indicated existing structure [to grade] [to top of foundation walls] [to [\_\_\_\_] mm [\_\_\_\_] feet below existing grade] [new finished grade].

**F2010 1.2 UTILITIES**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*  
NOTE: Edit the following paragraphs to suit the project, or create your own, to describe the SELECTIVE BUILDING DEMOLITION for the project. Coordinate this section carefully with other portions of the RFP. Consider one of the following paragraphs for facilities that will include building demolition.  
  
Describe the existing utilities to be demolished, removed or abandoned. Use BMS B-5.2.19 to determine Installation requirements for the demolition, removal or abandonment of existing utilities.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

[[Demolish] [Remove] [Abandon] the existing [water] [fire protection water such as high pressure or non-potable] [sanitary sewer] [electrical] [steam] [natural gas] [ ] utilities. Coordinate utility [demolition] [removal] [abandonment] in accordance with Section 01 14 00 Work Restrictions.]

**F2010 1.3 DUST CONTROL**

Prevent the spread of dust [and debris] [to occupied portions of the building] and avoid the creation of a nuisance [or hazard] in the surrounding area.

**F2010 1.4 TRAFFIC CONTROL**

[Describe traffic controls required.]

**F2010 1.5 WEATHER PROTECTION**

[Describe weather protection required.]

**F2010 1.6 BURNING**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: Delete the following section if this information is included in ESR Section G10, *Site Preparations*.  
 \*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

[Burning will not be permitted.] [Where burning is permitted, adhere to federal, state and local regulations.]

**F201001 SUBSTRUCTURE & SUPERSTRUCTURE**

[Describe the substructure or superstructure to be demolished.]

**F201002 EXTERIOR CLOSURE**

[Describe the exterior closure.]

**F201003 ROOFING**

[Describe the roofing to be demolished.]

**F201004 INTERIOR CONSTRUCTION & FINISHES**

[Describe the interior construction & finishes to be demolished.]

**F201005 CONVEYING SYSTEMS**

[Describe the conveying systems to be demolished.]

**F201006 MECHANICAL SYSTEMS**

[Describe the mechanical systems to be demolished.]

**F201007 ELECTRICAL SYSTEMS**

[Describe the electrical systems to be demolished.]

**F201008 EQUIPMENT & FURNISHINGS**

[Describe any special equipment and furnishing to be demolished.]

**F201090 OTHER NON-HAZARDOUS SELECTIVE BUILDING DEMOLITION**

[Describe any non-hazardous selective building demolition.]

**F2020 HAZARDOUS COMPONENT ABATEMENT**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: Consider the following paragraph for facilities that will include hazardous material abatement.  
  
Refer to UFC 3-810-01N, *Navy and Marine Corps Environmental Engineering for Facility Construction* for hazardous materials and components requirements. Comply with FC 1-300-09N, *Navy and Marine Corps Design Procedures* and edit the "Price Schedule" Form (located on the WBDG at** [**https://www.wbdg.org/ffc/navy-navfac/project-information-form-specifications-cover-sheet/price-schedule**](https://www.wbdg.org/ffc/navy-navfac/project-information-form-specifications-cover-sheet/price-schedule) **) as applicable for the project requirements, including unit pricing.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

**F2020 1.1 PRIVATE QUALIFIED PERSON (PQP)**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: PQP is required if any of the following are identified as part of the work: asbestos, paint (lead, cadmium, chromium), mercury containing equipment, Low Level Radioactive (LLR) components, Polychlorinated Biphenyls (PCBs), molds and spores, waste storage tanks, contaminated soil or groundwater. Revise as required for the application.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

[The General Contractor is required to hire, as a first tier subcontractor, a PQP to ensure compliance with the approved work plans and perform independent inspections, testing and verification of the hazardous components work including: [asbestos, [lead containing paint, ][cadmium containing paint, ][chromium containing paint, ][ mercury containing equipment, ][LLR components, ][PCBs, ] [animal droppings, ] [molds and spores, ][hazardous waste storage tanks, ] [and contaminated [soil] [and] [groundwater]].]

**F2020 1.2 FURNISHINGS**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*  
NOTE: Insert the type of contamination (e.g., asbestos, lead, mold). \*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

[The following items are considered [\_\_\_\_] contaminated and will require [removal] [decontamination] [ ] by the Contractor:

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*  
NOTE: List the contaminated items that will require removal or cleaning (e.g., furnishings, chairs, blinds, carpet). Revise as required for the application. \*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

[\_\_\_\_\_]

[\_\_\_\_\_]

**F2020 1.3 ASBESTOS**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: Full specifications and plans must be developed by the RFP preparer. Provide the final specifications and plans in Parts 5 and 6 respectively.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

Perform asbestos work in accordance with the specifications and plans provided in Parts 5 and 6.

**F2020 1.4 LEAD BASED PAINT IN TARGET HOUSING AND CHILD OCCUPIED FACILITIES**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: Full specifications and plans must be developed by the RFP preparer. Provide the final specifications and plans in Parts 5 and 6 respectively.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

Perform lead based paint work in target housing and child occupied facilities in accordance with the specifications and plans provided in Parts 5 and 6.

**F2020 1.5 PAINT IN OCCUPIED FACILITIES - LEAD, CADMIUM, CHROMIUM, AND OTHER HAZARDOUS METALS**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: Full specifications and plans must be developed by the RFP preparer. Provide the final specifications and plans in Parts 5 and 6 respectively.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

Perform paint work in accordance with the specifications and plans provided in Parts 5 and 6.

**F2020 1.6 LOW LEVEL RADIOACTIVE (LLR) COMPONENTS**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*  
NOTE: Full specifications and plans must be developed by the RFP preparer. Provide the final specifications and plans in Parts 5 and 6 respectively.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

Perform Low Level Radioactive (LLR) work in accordance with the specifications and plans provided in Parts 5 and 6.

**F2020 1.7 CHLORDANE**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*  
NOTE: Full specifications and plans must be developed by the RFP preparer. Provide the final specifications and plans in Parts 5 and 6 respectively.  
 \*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

Perform chlordane work in accordance with the specifications and plans provided in Parts 5 and 6.

**F2020 1.8 POLYCHLORINATED BIPHENYLS (PCB)**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*  
NOTE: Full specifications and plans must be developed by the RFP preparer. Provide the final specifications and plans in Parts 5 and 6 respectively.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

Perform PCB work in accordance with the specifications and plans provided in Parts 5 and 6.

**F2020 1.9 OZONE DEPLETING SUBSTANCES (ODS)**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: Use the information contained elsewhere in the RFP, UFC 3-810-01N, UFC 3-401-01 and consult with mechanical disciplines to determine the scope of the ODS related work. Revise as required for the application.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

[Remove the following equipment which contains ODS: [air conditioning equipment], [fire suppression system cylinders and canisters] , [\_\_\_] , [\_\_] .]

**F2020 1.10 ANIMAL DROPPINGS**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*  
NOTE: Use the first bracketed paragraph when the animal droppings survey report is included as an attachment in Part 6. Use UFC 3-810-01N and the information in the animal droppings survey report for requirements to include here. Use the second bracketed paragraph when full specifications and plans are developed by the RFP preparer. Provide the final specifications and plans in Parts 5 and 6 respectively. Revise as required for the application.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

[An animal droppings survey report was prepared of the existing facilities [was performed in \_\_\_\_][ has been performed] and is included in Part 6. The animal droppings survey report has been provided to show the type, conditions and location of animal droppings. Prior to starting work, verify the location of animal droppings [and obtain additional survey data required to][and] provide a quality comprehensive final design. [Perform an animal droppings survey in accordance with FC 1-300-09N, *Navy and Marine Corps Design Procedures* and UFC 3-810-01N, *Navy and Marine Corps Environmental Engineering for Facility Construction*. Include the animal droppings report in all design submittals.] The existence, type, and location of animal droppings is not guaranteed by the survey reports provided. Verify the location of all animal droppings prior to construction.]

[Perform animal droppings removal work in accordance with the specifications and plans provided in Parts 5 and 6.]

**F2020 1.11 MOLDS AND SPORES**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*   
NOTE: Use the first bracketed paragraph when the mold and spores survey report is included as an attachment in Part 6. Use UFC 3-810-01N and the information in the mold and spores survey report for requirements to include here. Use the second bracketed paragraph when full specifications and plans are developed by the RFP preparer. Provide the final specifications and plans in Parts 5 and 6 respectively. Revise as required for the application.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

[A mold (microbial) assessment survey report was prepared of the existing facilities [was performed in \_\_\_\_][ has been performed] and is included in Part 6. The microbial assessment survey report has been provided to show the types, conditions and locations of mold. Prior to starting work, verify the location of mold [and obtain additional survey data required to][and] provide a quality comprehensive final design. [Perform microbial assessment survey in accordance with FC 1-300-09N, *Navy and Marine Corps Design Procedures* and UFC 3-810-01N, *Navy and Marine Corps Environmental Engineering for Facility Construction*. Include the mold report in all design submittals.] The existence, type, and location of mold is not guaranteed by the survey report provided. Verify the location of mold prior to construction.]

[Perform mold removal work in accordance with the specifications and plans provided in Parts 5 and 6.]

**F2020 1.12 WASTE CHARACTERIZATION**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*  
NOTE: Full specifications and plans must be developed by the RFP preparer. Provide the final specifications and plans in Parts 5 and 6 respectively.  
 \*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

Perform disposal in accordance with this RFP and the specifications and plans provided in Parts 5 and 6.

**F2020 1.13 RADON**

**\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*  
NOTE: Full specifications and plans must be developed by the RFP preparer. Provide the final specifications and plans in Parts 5 and 6 respectively.  
\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\***

Perform radon work in accordance with the specifications and plans provided in Parts 5 and 6.

**F202001 SUBSTRUCTURE & SUPERSTRUCTURE**

[Describe the substructure or superstructure to be abated, decontaminated, or removed.]

**F202002 EXTERIOR CLOSURE**

[Describe exterior closure required.]

**F202003 ROOFING**

[Describe the roofing materials to be abated.]

**F202004 INTERIOR CONSTRUCTION & FINISHES**

[Describe the interior finishes to be abated.]

**F202005 CONVEYING SYSTEMS**

[Describe the conveying systems to be abated.]

**F202006 MECHANICAL SYSTEMS**

[Describe the mechanical systems to be abated.]

**F202007 ELECTRICAL SYSTEMS**

[Describe the electrical systems to be abated.]

**F202008 EQUIPMENT & FURNISHINGS**

[Describe the equipment & furnishings to be abated.]

**F202090 OTHER HAZARDOUS SELECTIVE BUILDING DEMOLITION**

[Describe any other building components to be abated.]

--End of Section--