6. ENGINEERING SYSTEMS REQUIREMENTS

E10 EQUIPMENT

********************************************************************************************************** 
SYSTEMS REQUIREMENTS
EQUIPMENT TEMPLATE 02/18

Instructions for using this template: There are template files for each UNIFORMAT Level 2 Group Elements. This template is for Group Element E10-EQUIPMENT. Text such as this is hidden text that will not print when the hidden text box in "Print/Options" is un-checked.

The Architectural Member must edit this template for the requirements of the project. The SYSTEMS REQUIREMENTS are intended to define items that are required throughout the facility or on a system wide basis that is common to several rooms. Room-specific requirements are defined in the Part 3 Chapter 5 ROOM REQUIREMENTS section. Coordinate with the lead programmer for ROOM REQUIREMENTS. Editing is required where brackets [ ] appear. Delete all building elements that are not required for the project. If additional elements or sub-elements are required for the project that do not appear in the template, refer to the NIST UNIFORMAT II publication for additional building element numbers and descriptions. The Uniformat II Work Breakdown Structure can be found at www.wbdg.org/ndbm/ . Coordinate with the PERFORMANCE TECHNICAL SPECIFICATION SECTION E10 to ensure that performance requirements are provided for all of the Building Elements listed here and that paragraph numbering matches.
**********************************************************************************************************

********************************************************************************************************** 
NOTE:    Edit the following paragraphs to suit the project, or create your own, to describe the EQUIPMENT for the project.    Equipment that is typically included in a construction contract includes security and vault equipment such as vault doors and day gates, loading dock equipment such as dock levelers, and food service equipment.    Coordinate this section carefully with other portions of the RFP.
**********************************************************************************************************

GENERAL SYSTEMS REQUIREMENTS
      E1010 COMMERCIAL EQUIPMENT

[Obtain the services of equipment specialists to specify [audiovisual] [shop] [fitness equipment] [or] [_______(other specialty equipment)].    Equipment specialists must not have any affiliation with the product specified.]

[All specialty equipment must be installed by qualified installers regularly engaged in installing the specialty equipment.]

Provide energy using equipment in accordance with criteria listed in Part 2 Section 01 33 29.05 20, Sustainability Reporting for Design Build.

E101003 VENDING EQUIPMENT

********************************************************************************************************** 
NOTE:    Provide a list of anticipated vending equipment for the project.    List any special utilities that are required.
**********************************************************************************************************

Design the facility to provide space, utilities, and cooling to accommodate the following vending equipment;

a.	[____]

b.	[____]

E102009 AUDIOVISUAL EQUIPMENT

********************************************************************************************************** 
NOTE:    For Navy projects choose the first bracketed option below and delete the second option.    For Marine Corps Projects choose the second bracketed option below and delete the first option.
**********************************************************************************************************

[Coordinate design requirements with the end user/Command Information Technology (IT) personnel, and provide Audiovisual (AV) equipment. Provide the services of an audiovisual equipment specialist to design and specify the audiovisual equipment.

AV Equipment including electronics potentially connected to data/IT, must be coordinated with design and construction but planned for and funded by the user or Budget Submitting Office sponsoring the user.    AV equipment includes, but is not limited to: intercom/sound systems, smartboards, flat screens, projectors, video teleconferencing, interactive wall systems and Closed-Circuit-Televisions (CCTVs).

AV equipment will not be funded as part of the          Furniture, Fixtures, & Equipment (FF&E) Package.

AV Equipment will be purchased using separate funding. The AV Equipment will be identified as a separate line item, and priced separately from the FF&E.    AV Equipment will be funded as an option.]

[Coordinate design requirements with the end user/Command Information technology (IT) personnel, and provide Audiovisual (AV) equipment.    Provide the services of an audiovisual equipment specialist to design and specify the audiovisual equipment.

AV Equipment including electronics potentially connected to data/IT, must be coordinated with design and construction but planned for and funded by the user or Budget Submitting Office sponsoring the user.    AV equipment includes, but is not limited to: intercom/sound systems, smartboards, flat screens, projectors, video teleconferencing, interactive wall systems and CCTVs. The AV equipment will be funded as part of the FF&E Package.]

E1040 GOVERNMENT FURNISHED EQUIPMENT

********************************************************************************************************** 
NOTE:    Choose second bracketed option and edit appropriately when Government Furnished Contractor Installed equipment is part of RFP. Include building number and approximate distance from site in bracketed spaces. When equipment is furnished by the Government, include Shop Drawings and Product Data sheets with information defining equipment and requirements in Part 5 of the RFP documents. Choose first option for all other projects.
**********************************************************************************************************

[There is no Government Furnished equipment in this project.]

[Rough-in and provide connections for Government-furnished equipment such that equipment will operate as intended, including providing miscellaneous items such as plugs, receptacles, wire, cable, conduit, flexible conduit and outlet boxes or fittings. [Pick up equipment at [        ] and transfer to site for storage until ready for installation.] [Equipment will remain under the control of the Government until such time as the Contractor is ready to install.    Provide 30 days advance notice of expected installation date and pick up equipment at [            ] and transfer to site for installation.] Testing requirements of Government Furnished equipment is the responsibility of the Contractor and must follow the same guidelines as though the Contractor had provided the equipment. Install and test the following Government furnished items: [          ], [          ], [          ]]

E1090 OTHER EQUIPMENT

-- End of Section --