6. ENGINEERING SYSTEMS REQUIREMENTS

C10 INTERIOR CONSTRUCTION

********************************************************************************************************** 
SYSTEMS REQUIREMENTS
INTERIOR CONSTRUCTION TEMPLATE 02/18

Instructions for using this template: There are template files for each UNIFORMAT Level 2 Group Elements. This template is for Group Element C10-INTERIOR CONSTRUCTION. Text such as this is hidden text that will not print when the hidden text box in "Print/Options" is unchecked.

The Architectural Team Member must edit this template for the requirements of the project. The SYSTEMS REQUIREMENTS are intended to define items that are required throughout the facility or on a system wide basis that is common to several rooms. Room-specific requirements are defined in the Part 3 Chapter 5 ROOM REQUIREMENTS section. Coordinate with the lead programmer for ROOM REQUIREMENTS. Editing is required where brackets [ ] appear. Delete all building elements that are not required for the project. If additional elements or sub-elements are required for the project that do not appear in the template, refer to the NIST UNIFORMAT II publication for additional building element numbers and descriptions. The Uniformat II Work Breakdown Structure can be found at www.wbdg.org/ndbm/ . Coordinate with the PERFORMANCE TECHNICAL SPECIFICATION SECTION C10 to ensure that performance requirements are provided for all of the Building Elements listed here and that paragraph numbering matches.
**********************************************************************************************************

********************************************************************************************************** 
NOTE: Consider each interior construction component relative to Section 01 33 29.05 20 Sustainability Reporting for Design-Build and UFC 1-200-02 High Performance and Sustainable Building Requirements.
**********************************************************************************************************

SYSTEM DESCRIPTION
Interior construction includes interior partitions, interior doors, and fittings.

Provide durable construction appropriate for the building's function as a Marine Corps barracks.    Acoustic properties of materials, as well as durability, must be considered during material selection.

GENERAL SYSTEM REQUIREMENTS
The Project is subject to abuse and requires an "Impact Resistant" systems be provided.    See "Room Requirements" for specific requirements on "Partitions", "Interior Doors", and "Specialties".

C1010 PARTITIONS

All interior partitions must be concrete masonry or cast-in-place concrete.

Concrete mixture must provide an average compressive strength of 3000 PSI (20,680 kPa) and meet or exceed          American Concrete Institute (ACI) 301/301M.

C101001 FIXED PARTITIONS

Provide fixed interior partitions        that extend from finished floor to underside of structure above. Sound-rated partition assemblies around perimeter walls of each sleeping room shall have a minimum Sound Transmission Coefficient (STC) of 52 in accordance with          American Society for Testing and Materials (ASTM) E 90 or ASTM E 413 for frequency data.

C101005 INTERIOR WINDOWS

Provide interior windows of aluminum hollow metal, fixed or operable depending on the individual use.            Provide each window as a complete factory-assembled unit with glass factory or field installed.

C101006 GLAZED PARTITIONS & STOREFRONTS

Provide glazed storefront system.

C101007 INTERIOR GLAZING

Provide interior glazing of clear glass, tempered glass.

C1020 INTERIOR DOORS

C102001 INTERIOR DOORS

[Refer to Part 3 Section 5.0, Room Requirements for door requirements for individual rooms.    Where rooms with different door requirements are connected by a door, provide a door type that meets the security and durability as well as finish requirements of both spaces.]

All interior doors and frames must be hollow metal.

All interior doors must be flush type doors and must be insulated metal or solid core wood as identified in the Room Requirements Charts.

Flush wood doors must be WDMA I.S.1A-04, custom grade, extra heavy duty.

Flush Steel doors must be heavy duty, Level 4, physical performance Level A.

Doors must have Factory Finish of          Architectural Woodwork Institute (AWI) Quality Standards Section 1500, specification for Conversion varnish alkyd urea, catalyzed polyurethane or acrylated uv curable epoxy.

********************************************************************************************************** 
NOTE:    Fill in the necessary door assembly STC rating below.    Indicate on the RFP Part 5, Room Requirements where the following sound control doors are located.

Choose the bracketed paragraph below for doors that need sound control but do not need to be sound rated.
**********************************************************************************************************

[Provide [____] STC sound rated door and standard hollow metal door frame with continuous sound/ weather seals around the door to create a sound control door.    Provide sound/ weather seals at the top and both sides that are integral with the door frame and drop down door bottom sound/ weather seals must rest on a metal threshold.    After installation, test the doors with a flashlight to determine if any gaps in the sound seals allow light to be viewed on the opposite side of the door.]

C102002 GLAZED INTERIOR DOORS

Provide vision glazing in doors where it is required by the “Room Requirements” portion of this RFP, or it is deemed advantageous to be able to see through the door, either for safety of pedestrian traffic, or other functional reason.

C102003 FIRE DOORS

Provide interior fire doors as necessary to meet applicable codes.

C102007 INTERIOR DOOR HARDWARE

**********************************************************************************************************

NOTE:    For building main entry doors and Room Plan entry doors, the RFP editor must discuss the desired locking mechanisms with the facility users and modify the door hardware requirements accordingly.    If card key entry is not required delete the bracketed card key option below.

**********************************************************************************************************

[Provide card key type access units for Room Plan entry doors[ and building main entry doors].    Provide lithium battery powered, magnetic stripe keycard locksets that are [American National Standards Institute/Builders Hardware Manufacturers Association (ANSI/BHMA) A156.2, Series 4000, Grade 1, cylindrical locks, tamper resistant,          Underwriters Laboratories (UL) listed with 1 inch (25 mm) throw deadbolt, 3/4-inch (19 mm ) throw latch bolt, auxiliary dead-locking latch, and 2-3/4 inch (68.75 mm) backset.]

Provide lock cores compatible with the BEST system.

Provide [chrome-plated brass or bronze] [or] [stainless steel] door hardware finish.

C102091 OTHER INTERIOR PERSONNEL DOORS

[Provide [___] interior personnel doors.]

C1030 SPECIALTIES

C103001 COMPARTMENTS, CUBICLES, & TOILET PARTITIONS

Provide [stainless steel] [plastic laminate] [solid plastic] [phenolic core] [or metal with enamel finish] toilet partitions in all toilet rooms with more than one water closet or urinal.    Provide toilet accessories as indicated in Chapter 3, “Room Requirements” portion of this RFP.

C103002 TOILET AND BATH ACCESSORIES

Provide toilet and bath accessories.

C103003 MARKER BOARDS AND TACK BOARDS

Provide marker boards and tack boards as indicated in Chapter 5 "Room Requirements" portion of this RFP.    Marker boards and tack boards are funded as part of the construction contract.

C103004 IDENTIFYING DEVICES

Provide interior room identification signs on each entrance to each interior room.    Provide signage to identify each space by room number and name.    Signage for general office areas must have changeable room name sections to accommodate personnel and functional changes.

Incorporate all necessary interior signage as part of the architectural drawings.    Interior signage is not collateral equipment. Interior signage must demonstrate complete coordination with the facility design,          Structural Interior Design (SID) and FF&E submittals.    Provide interior directional signage as required for facility wayfinding.    Provide an identifying device at each interior door.    Signs must meet Architectural Barriers Act (ABA) Standards requirements.    Refer to Unified Facilities (UFC) 3-120-01, Design: Sign Standards, for more information.

C103005 LOCKERS

Provide [wire] [metal construction and enamel finish] [high density polyethylene/solid plastic] [or plastic laminate] lockers [with special bases of [____].    Lockers are funded as part of the construction contract.

C103006 SHELVING

Provide heavy-duty wire shelving. Built-in fixed shelving is funded as part of the construction contract.

C103007 FIRE EXTINGUISHER CABINETS

Provide fire extinguisher cabinets.    Cabinet must be semi-recessed in new construction and surface-mounted in new mechanical/electrical spaces and existing wall construction.      Coordinate cabinets with interior finishes.

C103008 COUNTERS

Provide solid-surface counter tops and back splashes within a Grade 3 level with a full range of color selection.

C103009 CABINETS

Provide cabinetry and millwork items with associated accessories.    Cabinetry must be          Architectural Woodwork Institute (AWI) custom grade and have concealed hinges with adjustable standards for shelves.    All exposed surfaces must be hardwood veneer with exposed edges of solid hardwood.

Cabinetry doors and drawer fronts must be solid hardwood.

Provide specific cabinetry and storage as noted in Part 3, Chapter 5 Room Requirements.

C103010 CASEWORK

Provide specific casework as noted in Part 3, Chapter 5 Room Requirements.

C103012 FIRESTOPPING PENETRATIONS

Provide all sleeves, caulking, and flashing for firestopping penetrations.

C103013 SPRAYED FIRE-RESISTIVE MATERIALS

If structural steel framing is used          provide sprayed fire-resistive materials to the building's structural framing components as required by Building Code to prevent structural failure.

C103014 ENTRANCE FLOOR GRILLES AND MATS

Provide recessed pan floor mats at main building entrances.

--End of Section--