***************************************************************************

USACE / NAVFAC / AFCEC / NASA          UFGS-01 35 26.05 20 (December 2015)

-----------------------------------

Preparing Activity:  NAVFAC            Superseding

UFGS-01 35 26.05 20 (April 2013)

UNIFIED FACILITIES GUIDE SPECIFICATIONS

References are in agreement with UMRL dated July 2017

***************************************************************************

SECTION 01 35 26.05 20

GOVERNMENT SAFETY REQUIREMENTS FOR DESIGN-BUILD

12/15

***************************************************************************

NOTE:  This guide specification covers the requirements for safety and occupational health requirements for the protection of Contractor and Government personnel, property, and resources.

This guide specification is intended for use in contracts that specify Federal Acquisition Regulation (FAR) clause 52.236-13, "Accident Prevention", or its Alternate I, to include contracts for construction, dismantling, renovation and demolition; dredging; environmental restoration (investigation, design, remediation); asbestos abatement or lead hazard control; projects in the continental U.S. and overseas.

The requirements of this guide specification supplement U.S. Army Corps of Engineers (USACE) Safety and Health Requirements Manual, EM 385-1-1, and clarify safety concerns for high-risk construction activities.

Adhere to UFC 1-300-02 Unified Facilities Guide Specifications (UFGS) Format Standard when editing this guide specification or preparing new project specification sections.  Edit this guide specification for project specific requirements by adding, deleting, or revising text.  For bracketed items, choose applicable item(s) or insert appropriate information.

Remove information and requirements not required in respective project, after consulting with Command Safety staff whether or not brackets are present.

Comments, suggestions and recommended changes for this guide specification are welcome and should be submitted as a Criteria Change Request (CCR).

***************************************************************************

***************************************************************************

NOTE:  Include other referenced sections in the contract where work, such as environmental restoration, asbestos abatement or lead hazard control, requires additional safety and health plans to be made part of and appended to the APP.  These sections include Section 01 35 29.13 HEALTH, SAFETY, AND EMERGENCY RESPONSE PROCEDURES FOR CONTAMINATED SITES for environmental restoration project; Section 02 82 13.00 10 ASBESTOS ABATEMENT or 02 82 16.00 20 ENGINEERING CONTROL OF ASBESTOS CONTAINING MATERIALS, for asbestos abatement; Section 02 83 19.00 10 LEAD BASED PAINT HAZARD ABATEMENT, TARGET HOUSING AND CHILD OCCUPIED FACILITIES or 02 83 13.00 20  LEAD IN CONSTRUCTION  for lead hazard control activities; and Section 02 85 00.00 20 MOLD REMEDIATION. For NAVY environmental restoration contracts, an APP is required with the overall contract and a site specific Health and Safety Plan is required for each task order (contact the FEAD Safety Manager for applicability).

Many states and municipalities have more stringent or additional requirements;  modify this section as required to meet local requirements and regulations.

***************************************************************************

# PART 1   GENERAL

## 1.1   REFERENCES

***************************************************************************

NOTE:  This paragraph is used to list the publications cited in the text of the guide specification. The publications are referred to in the text by basic designation only and listed in this paragraph by organization, designation, date, and title.

Use the Reference Wizard's Check Reference feature when you add a RID outside of the Section's Reference Article to automatically place the reference in the Reference Article.  Also use the Reference Wizard's Check Reference feature to update the issue dates.

References not used in the text will automatically be deleted from this section of the project specification when you choose to reconcile references in the publish print process.

***************************************************************************

The publications listed below form a part of this specification to the extent referenced.  The publications are referred to within the text by the basic designation only.

AMERICAN SOCIETY OF SAFETY ENGINEERS (ASSE/SAFE)

ASSE/SAFE A10.34	(2001; R 2012) Protection of the Public on or Adjacent to Construction Sites

ASSE/SAFE A10.44	(2014) Control of Energy Sources (Lockout/Tagout) for Construction and Demolition Operations

ASSE/SAFE A1264.1	(2017) Safety Requirements for Workplace Walking/Working Surfaces and Their Access; Workplace, Floor, Wall and Roof Openings; Stairs and Guardrail/Handrail Systems

ASSE/SAFE Z244.1	(2003; R 2014) Control of Hazardous Energy Lockout/Tagout and Alternative Methods

ASSE/SAFE Z359.0	(2012) Definitions and Nomenclature Used for Fall Protection and Fall Arrest

ASSE/SAFE Z359.1	(2016) The Fall Protection Code

ASSE/SAFE Z359.11	(2014) Safety Requirements for Full Body Harnesses

ASSE/SAFE Z359.12	(2009) Connecting Components for Personal Fall Arrest Systems

ASSE/SAFE Z359.13	(2013) Personal Energy Absorbers and Energy Absorbing Lanyards

ASSE/SAFE Z359.14	(2014) Safety Requirements for Self-Retracting Devices for Personal Fall Arrest and Rescue Systems

ASSE/SAFE Z359.15	(2014) Safety Requirements for Single Anchor Lifelines and Fall Arresters for Personal Fall Arrest Systems

ASSE/SAFE Z359.2	(2007) Minimum Requirements for a Comprehensive Managed Fall Protection Program

ASSE/SAFE Z359.3	(2007) Safety Requirements for Positioning and Travel Restraint Systems

ASSE/SAFE Z359.4	(2013) Safety Requirements for Assisted-Rescue and Self-Rescue Systems, Subsystems and Components

ASSE/SAFE Z359.6	(2009) Specifications and Design Requirements for Active Fall Protection Systems

ASSE/SAFE Z359.7	(2011) Qualification and Verification Testing of Fall Protection Products

ASSE/SAFE Z490.1	(2009) Criteria for Accepted Practices in Safety, Health, and Environmental Training

ASME INTERNATIONAL (ASME)

ASME B30.20	(2013; INT Oct 2010 - May 2012) Below-the-Hook Lifting Devices

ASME B30.22	(2016) Articulating Boom Cranes

ASME B30.26	(2015; INT Jun 2010 - Jun 2014) Rigging Hardware

ASME B30.3	(2016) Tower Cranes

ASME B30.5	(2014) Mobile and Locomotive Cranes

ASME B30.8	(2015) Floating Cranes and Floating Derricks

ASME B30.9	(2014; INT Feb 2011 - Nov 2013) Slings

ASTM INTERNATIONAL (ASTM)

ASTM F855	(2015) Standard Specifications for Temporary Protective Grounds to Be Used on De-energized Electric Power Lines and Equipment

INSTITUTE OF ELECTRICAL AND ELECTRONICS ENGINEERS (IEEE)

IEEE 1048	(2003) Guide for Protective Grounding of Power Lines

IEEE C2	(2017; Errata 1 2017) National Electrical Safety Code

HUMAN FACTORS AND ERGONOMICS SOCIETY

ANSI/HFES 100	(2007) Human Factors Engineering of Computer Workstations

NATIONAL ELECTRICAL MANUFACTURERS ASSOCIATION (NEMA)

NEMA Z535.2	(2011)  Environmental and Facility Safety Signs

NATIONAL FIRE PROTECTION ASSOCIATION (NFPA)

NFPA 1	(2015; ERTA 2015) Fire Code

NFPA 10	(2013) Standard for Portable Fire Extinguishers

NFPA 241	(2013; Errata 2015) Standard for Safeguarding Construction,Alteration, and Demolition Operations

NFPA 306	(2014) Standard for Control of Gas Hazards on Vessels

NFPA 51B	(2014) Standard for Fire Prevention During Welding, Cutting, and Other Hot Work

NFPA 70	(2017; ERTA 1-2 2017; TIA 17-1; TIA 17-2) National Electrical Code

NFPA 70E	(2015; ERTA 1 2015) Standard for Electrical Safety in the Workplace

U.S. ARMY CORPS OF ENGINEERS (USACE)

EM 385-1-1	(2014) Safety and Health Requirements Manual

U.S. NATIONAL ARCHIVES AND RECORDS ADMINISTRATION (NARA)

10 CFR 20	Standards for Protection Against Radiation

29 CFR 1910	Occupational Safety and Health Standards

29 CFR 1910.146	Permit-required Confined Spaces

29 CFR 1910.147	Control of Hazardous Energy (Lock Out/Tag Out)

29 CFR 1910.333	Selection and Use of Work Practices

29 CFR 1915	Confined and Enclosed Spaces and Other Dangerous Atmospheres in Shipyard Employment

29 CFR 1915.89	Control of Hazardous Energy (Lockout/Tags-Plus)

29 CFR 1919	Gear Certification

29 CFR 1926	Safety and Health Regulations for Construction

29 CFR 1926.1400	Cranes and Derricks in Construction

29 CFR 1926.16	Rules of Construction

29 CFR 1926.450	Scaffolds

29 CFR 1926.500	Fall Protection

49 CFR 173	Shippers - General Requirements for Shipments and Packagings

CPL 2.100	(1995) Application of the Permit-Required Confined Spaces (PRCS) Standards, 29 CFR 1910.146

## 1.2   DEFINITIONS

### 1.2.1   Competent Person (CP)

The CP is a person designated in writing, who, through training, knowledge and experience, is capable of identifying, evaluating, and addressing existing and predictable hazards in the working environment or working conditions that are dangerous to personnel, and who has authorization to take prompt corrective measures with regards to such hazards.

### 1.2.2   Competent Person, Confined Space

The CP, Confined Space, is a person meeting the competent person requirements as defined EM 385-1-1 Appendix Q, with thorough knowledge of OSHA’s Confined Space Standard, 29 CFR 1910.146, and designated in writing to be responsible for the immediate supervision, implementation and monitoring of the confined space program, who through training, knowledge and experience in confined space entry is capable of identifying, evaluating and addressing existing and potential confined space hazards and, who has the authority to take prompt corrective measures with regard to such hazards.

### 1.2.3   Competent Person, Cranes and Rigging

The CP, Cranes and Rigging, as defined in EM 385-1-1 Appendix Q, is a person meeting the competent person, who has been designated in writing to be responsible for the immediate supervision, implementation and monitoring of the Crane and Rigging Program, who through training, knowledge and experience in crane and rigging is capable of identifying, evaluating and addressing existing and potential hazards and, who has the authority to take prompt corrective measures with regard to such hazards.

### 1.2.4   Competent Person, Excavation/Trenching

A CP, Excavation/Trenching, is a person meeting the competent person requirements as defined in EM 385-1-1 Appendix Q and 29 CFR 1926, who has been designated in writing to be responsible for the immediate supervision, implementation and monitoring of the excavation/trenching program, who through training, knowledge and experience in excavation/trenching is capable of identifying, evaluating and addressing existing and potential hazards and, who has the authority to take prompt corrective measures with regard to such hazards.

### 1.2.5   Competent Person, Fall Protection

The CP, Fall Protection, is a person meeting the competent person requirements as defined in EM 385-1-1 Appendix Q and in accordance with ASSE/SAFE Z359.0, who has been designated in writing by the employer to be responsible for immediate supervising, implementing and monitoring of the fall protection program, who through training, knowledge and experience in fall protection and rescue systems and equipment, is capable of identifying, evaluating and addressing existing and potential fall hazards and, who has the authority to take prompt corrective measures with regard to such hazards.

### 1.2.6   Competent Person, Scaffolding

The CP, Scaffolding is a person meeting the competent person requirements in EM 385-1-1 Appendix Q, and designated in writing by the employer to be responsible for immediate supervising, implementing and monitoring of the scaffolding program.  The CP for Scaffolding has enough training, knowledge and experience in scaffolding to correctly identify, evaluate and address existing and potential hazards and also has the authority to take prompt corrective measures with regard to these hazards.  CP qualifications must be documented and include experience on the specific scaffolding systems/types being used, assessment of the base material that the scaffold will be erected upon, load calculations for materials and personnel, and erection and dismantling.  The CP for scaffolding must have a documented, minimum of 8-hours of scaffold training to include training on the specific type of scaffold being used (e.g. mast-climbing, adjustable, tubular frame), in accordance with EM 385-1-1 Section 22.B.02.

### 1.2.7   Competent Person (CP) Trainer

A competent person trainer as defined in EM 385-1-1 Appendix Q, who is qualified in the material presented, and who possesses a working knowledge of applicable technical regulations, standards, equipment and systems related to the subject matter on which they are training Competent Persons.  A competent person trainer must be familiar with the typical hazards and the equipment used in the industry they are instructing.  The training provided by the competent person trainer must be appropriate to that specific industry.  The competent person trainer must evaluate the knowledge and skills of the competent persons as part of the training process.

### 1.2.8   High Risk Activities

High Risk Activities are activities that involve work at heights, crane and rigging, excavations and trenching, scaffolding, electrical work, and confined space entry.

### 1.2.9   High Visibility Accident

A High Visibility Accident is any mishap which may generate publicity or high visibility.

### 1.2.10   Load Handling Equipment (LHE)

LHE is a term used to describe cranes, hoists and all other hoisting equipment (hoisting equipment means equipment, including crane, derricks, hoists and power operated equipment used with rigging to raise, lower or horizontally move a load).

### 1.2.11   Medical Treatment

Medical Treatment is treatment administered by a physician or by registered professional personnel under the standing orders of a physician.  Medical treatment does not include first aid treatment even through provided by a physician or registered personnel.

### 1.2.12   Near Miss

A Near Miss is a mishap resulting in no personal injury and zero property damage, but given a shift in time or position, damage or injury may have occurred (e.g., a worker falls off a scaffold and is not injured; a crane swings around to move the load and narrowly misses a parked vehicle).

### 1.2.13   Operating Envelope

The Operating Envelope is the area surrounding any crane or load handling equipment. Inside this "envelope" is the crane, the operator, riggers and crane walkers, other personnel involved in the operation, rigging gear between the hook, the load, the crane's supporting structure (i.e. ground or rail), the load's rigging path, the lift and rigging procedure.

### 1.2.14   Qualified Person (QP)

The QP is a person designated in writing, who, by possession of a recognized degree, certificate, or professional standing, or extensive knowledge, training, and experience, has successfully demonstrated their ability to solve or resolve problems related to the subject matter, the work, or the project.

### 1.2.15   Qualified Person, Fall Protection (QP for FP)

A QP for FP is a person meeting the requirements of EM 385-1-1 Appendix Q, and ASSE/SAFE Z359.0, with a recognized degree or professional certificate and with extensive knowledge, training and experience in the fall protection and rescue field who is capable of designing, analyzing, and evaluating and specifying fall protection and rescue systems.

### 1.2.16   Recordable Injuries or Illnesses

Recordable Injuries or Illnesses are any work-related injury or illness that results in:

a.  Death, regardless of the time between the injury and death, or the length of the illness;

b.  Days away from work (any time lost after day of injury/illness onset);

c.  Restricted work;

d.  Transfer to another job;

e.  Medical treatment beyond first aid;

f.  Loss of consciousness; or

g.  A significant injury or illness diagnosed by a physician or other licensed health care professional, even if it did not result in (a) through (f) above.

### 1.2.17   USACE Property and Equipment

Interpret "USACE" property and equipment specified in USACE EM 385-1-1 as Government property and equipment.

### 1.2.18   Load Handling Equipment (LHE) Accident or Load Handling Equipment Mishap

A LHE accident occurs when any one or more of the eight elements in the operating envelope fails to perform correctly during operation, including operation during maintenance or testing resulting in personnel injury or death; material or equipment damage; dropped load; derailment; two-blocking; overload; or collision, including unplanned contact between the load, crane, or other objects.  A dropped load, derailment, two-blocking, overload and collision are considered accidents, even though no material damage or injury occurs.  A component failure (e.g., motor burnout, gear tooth failure, bearing failure) is not considered an accident solely due to material or equipment damage unless the component failure results in damage to other components (e.g., dropped boom, dropped load, or roll over).  Document any mishap that meets the criteria described in the Contractor Significant Incident Report (CSIR) using the NAVFAC prescribed Navy Crane Center (NCC) form.

## 1.3   SUBMITTALS

***************************************************************************

NOTE:  Review Submittal Description (SD) definitions in Section 01 33 00.05 20 CONSTRUCTION SUBMITTAL PROCEDURES and 01 33 10.05 20 DESIGN SUBMITTAL PROCEDURES and edit the following list to reflect only the submittals required for the project.  Keep submittals to the minimum required for quality control.

The Guide Specification technical editors have designated those items that require Government approval, due to their complexity or criticality, with a "G."  Generally, other submittal items can be reviewed by the Contractor's Quality Control System.  Only add a "G" to an item, if the submittal is sufficiently important or complex in context of the project.

An "S" following a submittal item indicates that the submittal is required for the Sustainability eNotebook to fulfill federally mandated sustainable requirements in accordance with Section 01 33 29 SUSTAINABILITY REPORTING FOR DESIGN-BUILD.  Coordinate all Part 2 and Part 4 Specification Sections with 01 33 29.05 20 SUSTAINABILITY REPORTING FOR DESIGN-BUILD.

***************************************************************************

Government approval is required for submittals with a "G" designation; submittals not having a "G" designation are for Contractor Quality Control approval.  Submittals with an "S" are for inclusion in the Sustainability eNotebook, in conformance with Section 01 33 29.05 20 SUSTAINABILITY REPORTING FOR DESIGN-BUILD.  Submit the following in accordance with Section 01 33 00.05 20 CONSTRUCTION SUBMITTAL PROCEDURES and 01 33 10.05 20 DESIGN SUBMITTAL PROCEDURES:

SD-01 Preconstruction Submittals

APP - Pre-Design Submittal; G

APP - Pre-Construction Submittal; G

SD-06 Test Reports

Monthly Exposure Reports

Notifications and Reports

Accident Reports; G

LHE Inspection Reports

SD-07 Certificates

Contractor Safety Self-Evaluation Checklist

Crane Operators/Riggers

Standard Lift Plan; G

Critical Lift Plan ; G

Naval Architecture Analysis; G

Activity Hazard Analysis (AHA)

Confined Space Entry Permit

Hot Work Permit

Certificate of Compliance

Third Party Certification of Barge-Mounted Mobile Cranes

License Certificates

Radiography Operation Planning Work Sheet; G

Machinery & Mechanized Equipment Certification Form

## 1.4   MONTHLY EXPOSURE REPORTS

Provide a Monthly Exposure Report and attach to the monthly billing request.  This report is a compilation of employee-hours worked each month for all site workers, both Prime and subcontractor.  Failure to submit the report may result in retention of up to 10 percent of the voucher.

## 1.5   CONTRACTOR SAFETY SELF-EVALUATION CHECKLIST

Contracting Officer will provide a "Contractor Safety Self-Evaluation checklist" to the Contractor at the pre-construction conference.  Complete the checklist monthly and submit with each request for payment voucher.  An acceptable score of 90 or greater is required.  Failure to submit the completed safety self-evaluation checklist or achieve a score of at least 90 may result in retention of up to 10 percent of the voucher.

## 1.6   REGULATORY REQUIREMENTS

***************************************************************************

NOTE: Edit to include any additional requirements which apply to the work to be performed including Federal, state and local laws, regulations and statutes; Host Nation requirements; and NAVY, AIR FORCE and ARMY installation or  by authority and document number.  Consult with the supporting local safety and occupational health office for assistance in identifying local requirements.

***************************************************************************

In addition to the detailed requirements included in the provisions of this contract, comply with the most recent edition of USACE EM 385-1-1, and the following [federal, state, and local ][host nation ]laws, ordinances, criteria, rules and regulations.  Submit matters of interpretation of standards to the appropriate administrative agency for resolution before starting work.  Where the requirements of this specification, applicable laws, criteria, ordinances, regulations, and referenced documents vary, the most stringent requirements govern.

### 1.6.1   Subcontractor Safety Requirements

***************************************************************************

NOTE:  Use this paragraph and subsequent paragraphs for NAVY projects in CONUS only.

***************************************************************************

For this contract, neither Contractor nor any subcontractor may enter into contract with any subcontractor that fails to meet the following requirements.  The term subcontractor in this and the following paragraphs means any entity holding a contract with the Contractor or with a subcontractor at any tier.

#### 1.6.1.1   Experience Modification Rate (EMR)

Subcontractors on this contract must have an effective EMR less than or equal to 1.10, as computed by the National Council on Compensation Insurance (NCCI) or if not available, as computed by the state agency's rating bureau in the state where the subcontractor is registered, when entering into a subcontract agreement with the Prime Contractor or a subcontractor at any tier.  The Prime Contractor may submit a written request for additional consideration to the Contracting Officer where the specified acceptable EMR range cannot be achieved.  Relaxation of the EMR range will only be considered for approval on a case-by-case basis for special conditions and must not be anticipated as tacit approval.  Contractor's Site Safety and Health Officer (SSHO) must collect and maintain the certified EMR ratings for all subcontractors on the project and make them available to the Government at the Government's request.

#### 1.6.1.2   OSHA Days Away from Work, Restricted Duty, or Job Transfer (DART) Rate

Subcontractors on this contract must have a DART rate, calculated from the most recent, complete calendar year, less than or equal to 3.4 when entering into a subcontract agreement with the Prime Contractor or a subcontractor at any tier.  The OSHA Dart Rate is calculated using the following formula:

(N/EH) x 200,000

where:

N = number of injuries and illnesses with days away, restricted work, or job transfer

EH = total hours worked by all employees during most recent, complete calendar year

200,000 = base for 100 full-time equivalent workers (working 40 hours per week, 50 weeks per year)

The Prime Contractor may submit a written request for additional consideration to the Contracting Officer where the specified acceptable OSHA Dart rate range cannot be achieved for a particular subcontractor.  Relaxation of the OSHA DART rate range will only be considered for approval on a case-by-case basis for special conditions and must not be anticipated as tacit approval.  Contractor's Site Safety and Health Officer (SSHO) must collect and maintain self-certified OSHA DART rates for all subcontractors on the project and make them available to the Government at the Government's request.

## 1.7   SITE QUALIFICATIONS, DUTIES, AND MEETINGS

### 1.7.1   Personnel Qualifications

***************************************************************************

NOTE:  Coordinate with the supporting local FEAD or ROICC office to determine if the Site Safety and Health Officer (SSHO) may be dual-hatted as the Superintendent based on the hazards of the project, job complexity, size, and any other pertinent factors.  Add language here if allowed.

***************************************************************************

#### 1.7.1.1   Site Safety and Health Officer (SSHO)

Provide an SSHO that meets the requirements of EM 385-1-1 Section 1.  The SSHO must ensure that the requirements of 29 CFR 1926.16 are met for the project.  Provide a Safety oversight team that includes a minimum of one (1) person at each project site to function as the Site Safety and Health Officer (SSHO).  The SSHO or an equally-qualified Alternate SSHO must be at the work site at all times to implement and administer the Contractor's safety program and government-accepted Accident Prevention Plan.  The SSHO and Alternate SSHO must have the required training, experience, and qualifications in accordance with EM 385-1-1 Section 01.A.17, and all associated sub-paragraphs.

If the SSHO is off-site for a period longer than 24 hours, an equally-qualified alternate SSHO must be provided and must fulfill the same roles and responsibilities as the primary SSHO.  When the SSHO is temporarily (up to 24 hours) off-site, a Designated Representative (DR), as identified in the AHA may be used in lieu of an Alternate SSHO, and must be on the project site at all times when work is being performed.  Note that the DR is a collateral duty safety position, with safety duties in addition to their full time occupation.

##### 1.7.1.1.1   Additional Site Safety and Health Officer (SSHO) Requirements and Duties

***************************************************************************

NOTE: Use this paragraph for NAVFAC Pacific (Excluding Contingency Engineering), Hawaii, and Marianas projects only.  Paragraph is tailored for NAVFAC PAC, HI, and MAR.

***************************************************************************

The SSHO must have completed a 40 hour contract safety awareness course based on the content and principles of EM 385-1-1, and instructed in accordance with the guidelines of ASSE/SAFE Z490.1, by a trainer meeting the qualifications of paragraph QUALIFIED TRAINER REQUIREMENTS.  If the SSHO does not have a current certification, certification must be obtained within 60 days, maximum, of contract award.

#### 1.7.1.2   Contractor Quality Control (QC) Manager:

***************************************************************************

NOTE:  Choose one of the bracketed items below.  When the project allows the use of the QC Manager as the SSHO, edit Section 01 45 00.00 20 QUALITY CONTROL to ensure consistency.

***************************************************************************

The Contractor Quality Control Manager [cannot be the SSHO on this project, even though the QC has safety inspection responsibilities as part of the QC duties.][can be the SSHO on this project.]

#### 1.7.1.3   Competent Person Qualifications

Provide Competent Persons in accordance with EM 385-1-1, Appendix Q and herein.  Competent Persons for high risk activities include confined space, cranes and rigging, excavation/trenching, fall protection, and electrical work.  The CP for these activities must be designated in writing, and meet the requirements for the specific activity (i.e. competent person, fall protection).

The Competent Person identified in the Contractor's Safety and Health Program and accepted Accident Prevention Plan, must be on-site at all times when the work that presents the hazards associated with their professional expertise is being performed.  Provide the credentials of the Competent Persons(s) to the the Contracting Officer for information in consultation with the Safety Office.

##### 1.7.1.3.1   Competent Person for Confined Space Entry

Provide a Confined Space (CP) Competent Person who meets the requirements of EM 385-1-1, Appendix Q, and herein.  The CP for Confined Space Entry must supervise the entry into each confined space.

***************************************************************************

NOTE:  Use this paragraph for marine operations involving combustible or hazardous materials.

***************************************************************************

[Since this work involves marine operations that handle combustible or hazardous materials, this person must have the ability to understand and follow through on the air sampling, Personal Protective Equipment (PPE), and instructions of a Marine Chemist, Coast Guard authorized persons, or Certified Industrial Hygienist.  Confined space and enclosed space work must comply with NFPA 306, OSHA 29 CFR 1915, Subpart B, "Confined and Enclosed Spaces and Other Dangerous Atmospheres in Shipyard Employment," or as applicable, 29 CFR 1910.147 for general industry.

##### ]1.7.1.3.2   Competent Person for Scaffolding

Provide a Competent Person for Scaffolding who meets the requirements of EM 385-1-1, Section 22.B.02 and herein.

##### 1.7.1.3.3   Competent Person for Fall Protection

Provide a Competent Person for Fall Protection who meets the requirements of EM 385-1-1, Section 21.C.04 and herein.

#### 1.7.1.4   Qualified Trainer Requirements

***************************************************************************

NOTE:  Item a below with reference to NAVFAC is tailored for NAVFAC MAR.

***************************************************************************

Individuals qualified to instruct the 40 hour contract safety awareness course, or portions thereof, must meet the definition of a Competent Person Trainer, and, at a minimum, possess a working knowledge of the following subject areas:  EM 385-1-1, Electrical Standards,Lockout/Tagout, Fall Protection, Confined Space Entry for Construction; Excavation, Trenching and Soil Mechanics, and Scaffolds in accordance with 29 CFR 1926.450, Subpart L.

Instructors are required to:

a.  Prepare class presentations that cover construction-related safety requirements and includes topics covered in the NAVFAC Construction Safety Hazard Awareness Course for Contractors.

b.  Ensure that all attendees attend all sessions by using a class roster signed daily by each attendee.  Maintain copies of the roster for at least five (5) years.  This is a certification class and must be attended 100 percent.  In cases of emergency where an attendee cannot make it to a session, the attendee can make it up in another class session for the same subject.

c.  Update training course materials whenever an update of the EM 385-1-1 becomes available.

d.  Provide a written exam of at least 50 questions.  Students are required to answer 80 percent correctly to pass.

e.  Request, review and incorporate student feedback into a continuous course improvement program.

#### 1.7.1.5   Requirements for all Contractor Jobsite Personnel Holding H-1B or H-2B Visas:

***************************************************************************

NOTE:  Use this paragraph for NAVFAC MARIANAS projects only.  Paragraph is tailored for NAVFAC MARIANAS.

***************************************************************************

All Contractor jobsite workers holding an H-1B or H-2B visa must complete a minimum 16 hours of classroom training on the requirements of the latest version of EM 385-1-1 prior to their first day on the jobsite to include but not limited to the following topics: Sanitation; Medical and First Aid Requirements; Temporary Facilities; Personal Protective Equipment; Electrical; Hand and Power Tools; Material Handling and Storage; Motor Vehicles; Fall Protection; Work Platforms and Scaffoldings; Demolition; Safe Access, Ladders, Floor & Wall Openings, Stairs and Railing Systems; Excavations and Trenching; and Confined Spaces, prior to reporting to the jobsite.

Submit a list of workers who have completed the training to the Contracting Officer prior to them reporting to the jobsite.  Update the list as additional workers are added.  Maintain the updated list at the jobsite for review by the government's designated authority.  Include the qualifications of qualified trainer(s) that provided the training.  Personnel who have taken the 40 Hour Construction Safety Hazard Awareness Training Course for Contractors or similar course that includes emphasis on EM 385-1-1 compliance, are not required to take the 16 hours of classroom training on the requirements of the latest version of the EM 385-1-1.  The 16 hours classroom training may be provided by the Guam Contractors Association Trades Academy (GCA Trades Academy) or other qualified trainers as outlined in paragraph QUALIFIED TRAINER REQUIREMENTS.

#### 1.7.1.6   Dredging Contract Requirements

***************************************************************************

Note:  Dredging contracts may include several project sites.  Consult with the NAVFAC FEAD or ROICC to determine the project site and SSHO staffing requirements, considering size of contract, organization of dredging operation requirements, dispersion of operations, and travel time to associated sites by SSHO.  The SSHO must be able to travel to all areas within project site within 45 minutes using equipment maintained on-site.

***************************************************************************

##### 1.7.1.6.1   Dredging Safety Personnel Requirements

a.  Provide a minimum of [one] [_____] [full time ][collateral duty ]SSHO assigned per project site for the primary working shift.

b.  For a project involving multiple work shifts,[ provide one[ full-time][ or][ collateral duty] SSHO for each additional shift.][ provide one Collateral Duty Safety Officer (CDSO) on a dredge and one at the dredged material placement site.  During these shifts, the SSHO must be available at all times to assist with emergency situations.]

c.  For individual dredging projects or sites with a dredge crew and fill crew on watch of 8 employees or less, a CDSO must be appointed, instead of an SSHO.  The CDSO assumes the same responsibilities as a full-time SSHO.

d.  An example  of one dredging project site is reflected in each of the following:

(1) a mechanical dredge, tug(s) and scow(s), scow route, and material placement site; or

(2) a hydraulic pipeline dredge, attendant plant, and material placement site; or,

(3) a hopper dredge (include land-based material placement site - if applicable.)

e.  For Hopper Dredges with the U.S. Coast Guard, documented crews may designate an officer as a Collateral Duty Safety Officer (CDSO) instead of having a full-time SSHO onboard if the officer meets the SSHO training and experience requirements.

##### 1.7.1.6.2   SSHO Requirements for Dredging

a.  In addition to requirements stated elsewhere in this specification, an individual serving as a SSHO must be present at the project site, located so that they have full mobility and reasonable access to all major work operations, for at least one shift in each 24 hour period when work is being performed.  The SSHO must be available during their shift for immediate verbal consultation and notification, either by phone or radio.

b.  The SSHO is a full-time, dedicated position, except as noted above, who must report to a senior project (or corporate) official.  When the SSHO is permitted to be a collateral duty, the SSHO is not permitted to be in another position requiring continuous mechanical or equipment operations, such as equipment operators.

c.  The SSHO must inspect all work areas and operations during initial set-up and at least monthly observe and provide personal oversight on each shift during dredging operations for projects with many work sites, more often for those with less work sites.

d.  If the SSHO is off-site for a period longer than 24 hours, anotherqualified SSHO must be provided and fulfill the same roles and responsibilities as the SSHO during their absence.

##### 1.7.1.6.3   Collateral Duty Safety Officer (CDSO) Requirements for Dredging

a.  A CDSO is an individual who is assigned  collateral duty safety responsibilities in addition to their full-time occupation, and who supports and supplements the SSHO efforts in managing, implementing and enforcing the Contractor's Safety and Health Program.  The assigned CDSO must be an individual(s) with work oversight responsibilities, such as master, mate, fill foreman, or superintendent.  A CDSO must not be an employee responsible for continuous mechanical or equipment operations, such as an equipment operator.

b.  A CDSO performs safety program tasks as assigned by the SSHO and must report safety findings to the SSHO.  The SSHO must document results of safety findings and provide information for inclusion in the CQC reports to the Contracting Officer.

##### 1.7.1.6.4   Safety Personnel Training Requirements for Dredging

A SSHO and a CDSO for dredging contracts must take either a formal classroom or online OSHA 30-hour Construction Safety Course, or an equivalent 30 hours of formal classroom or online safety and health training covering the subjects of the OSHA 30-hour Course in accordance with EM 385-1-1 Appendix A, paragraph 3.d.(3), applicable to dredging work, and given by qualified instructors.  In exception to EM 385-1-1, Section 01.A.17, comply with the following:

a.  The SSHO must maintain competency through having taken 8 hours of formal classroom or online safety and health related coursework every year.  Hours spent as an instructor in such courses will be considered the same as attending them, but each course only gets credit once (for example, instructing a 1-hour asbestos awareness course 5 times in a year provides one hour credit for training).

b.  The SSHO and a CDSO must have a minimum of three years of experience within the past five years in one of the following:

(1) Supervising/managing dredging activities

(2) Supervising/managing marine construction activities

(3) Supervising/managing land-based construction activities

(4) Work managing safety programs or processes

(5) Conducting hazard analyses and developing controls in activities or environments with similar hazards

#### 1.7.1.7   Crane Operators/Riggers

Provide Operators meeting the requirements in EM 385-1-1, Section 15.B for Riggers and Section 16.B for Crane Operators.  In addition, for mobile cranes with Original Equipment Manufacturer (OEM) rated capacities of 50,000 pounds or greater, designate crane operators qualified by a source that qualifies crane operators (i.e., union, a government agency, or an organization that tests and qualifies crane operators).  Provide proof of current qualification.

***************************************************************************

NOTE:  Add the following paragraph for projects in the State of Hawaii only.

***************************************************************************

[Crane Operators must also meet the crane operator requirements of the State of Hawaii for Crane certification.

]

### 1.7.2   Personnel Duties

#### 1.7.2.1   Duties of the Site Safety and Health Officer (SSHO)

The SSHO must:

a.  Conduct daily safety and health inspections and maintain a written log which includes area/operation inspected, date of inspection, identified hazards, recommended corrective actions, estimated and actual dates of corrections. Attach safety inspection logs to the Contractors' daily production report.

b.  Conduct mishap investigations and complete required accident reports.  Report mishaps and near misses.

c.  Use OSHA's Form 300 to log work-related injuries and illnesses occurring on the project site for Prime Contractors and subcontractors.  Post and maintain the Form 300 on the site Safety Bulletin Board.

d.  Maintain applicable safety reference material on the job site.

e.  Attend the pre-construction conference, pre-work meetings including preparatory meetings, and periodic in-progress meetings.

f.  Review the APP and AHAs for compliance with EM 385-1-1, and approve, sign, implement and enforce them.

g.  Establish a Safety and Occupational Health (SOH) Deficiency Tracking System that lists and monitors outstanding deficiencies until resolution.

h.  Ensure subcontractor compliance with safety and health requirements.

i.  Maintain a list of hazardous chemicals on site and their material Safety Data Sheets (SDS).

j.  Maintain a weekly list of high hazard activities involving energy, equipment, excavation, entry into confined space, and elevation, and be prepared to discuss details during QC Meetings.

k.  Provide and keep a record of site safety orientation and indoctrination for Contractor employees, subcontractor employees, and site visitors.

Superintendent, QC Manager, and SSHO are subject to dismissal if the above duties are not being effectively carried out.  If Superintendent, QC Manager, or SSHO are dismissed, project work will be stopped and will not be allowed to resume until a suitable replacement is approved and the above duties are again being effectively carried out.

### 1.7.3   Meetings

#### 1.7.3.1   Prework Conference

a.  Contractor representatives who have a responsibility or significant role in accident prevention on the project must attend the Prework Conference.  This includes the project superintendent, Site Safety and Occupational Health officer, quality control manager, or any other assigned safety and health professionals who participated in the development of the APP (including the Activity Hazard Analyses (AHAs) and special plans, program and procedures associated with it).

b.  Discuss the details of the submitted APP to include incorporated plans, programs, procedures and a listing of anticipated AHAs that will be developed and implemented during the performance of the contract.  This list of proposed AHAs will be reviewed at the conference and an agreement will be reached between the Contractor and the Contracting Officer as to which phases will require an analysis.  In addition, establish a schedule for the preparation, submittal, and Government review of AHAs to preclude project delays.

c.  Deficiencies in the submitted APP, identified during the Contracting Officer's review, must be corrected, and the APP re-submitted for review prior to the scheduling the Prework Conference.  Work is not permitted to begin until an APP is established that is acceptable to the Contracting Officer.

#### 1.7.3.2   Safety Meetings

Conduct safety meetings to review past activities, plan for new or changed operations, review pertinent aspects of appropriate AHA (by trade), establish safe working procedures for anticipated hazards, and provide pertinent Safety and Occupational Health (SOH) training and motivation. Conduct meetings at least once a month for all supervisors on the project location.  The SSHO, supervisors, foremen, or CDSOs must conduct meetings at least once a week for the trade workers.  Document meeting minutes to include the date, persons in attendance, subjects discussed, and names of individual(s) who conducted the meeting.  Maintain documentation on-site and furnish copies to the Contracting Officer on request.  Notify the Contracting Officer of all scheduled meetings 7 calendar days in advance.

## 1.8   ACCIDENT PREVENTION PLAN (APP)

***************************************************************************

NOTE:  Contracts that include FAR clause 52.236-13 require the Contractor to prepare and execute a written Accident Prevention Plan (APP) in accordance with Appendix A of EM 385-1-1 to include Activity Hazard Analyses (AHA).

***************************************************************************

### 1.8.1   Plans and Submissions

#### 1.8.1.1   APP - Pre-Design Submittal

Provide a site-specific Accident Prevention Plan (APP), including Activity Hazard Analyses (AHA), in accordance with the US Army Corps of Engineers Safety and Health Manual EM 385-1-1 Appendix A, paragraph 3.k for the design team to follow during site visits and investigations.  For subsequent visits, update the form if there are changes in the personnel who will be attending, or the tasks to be performed.  Submit the APP for review and acceptance by the Government at least 15 calendar days prior to the start of the design field work.  Field work may not begin until the pre-design APP is accepted by the Contracting Officer.

If the design scope includes borings or other subsurface investigations, as part of the APP identify the type of field investigation and verification techniques, such as visual, local utility locating service scanning and third party/subcontractor scanning, potholing, or hand digging within two feet of a known utility.  Mark underground utilities before starting any ground-disturbing actions.  Notify the Contracting Officer 15 days prior to the start of soil borings or sub-surface investigations.

Prior to the start of construction incorporate the Pre-Design APP into the Pre-Construction APP so that one site specific APP exists for the project and submit to the Contracting Officer for acceptance

#### 1.8.1.2   APP - Pre-Construction Submittal

A qualified person must prepare the written site-specific APP.  Prepare the APP in accordance with the format and requirements of EM 385-1-1, Appendix A, and as supplemented herein.  Cover all paragraph and subparagraph elements in EM 385-1-1, Appendix A.  The APP must be job-specific and address any unusual or unique aspects of the project or activity for which it is written.  The APP must interface with the Contractor's overall safety and health program referenced in the APP in the applicable APP element, and made site-specific.  Describe the methods to evaluate past safety performance of potential subcontractors in the selection process.  Also, describe innovative methods used to ensure and monitor safe work practices of subcontractors.  The Government considers the Prime Contractor to be the "controlling authority" for all work site safety and health of the subcontractors.  Contractors are responsible for informing their subcontractors of the safety provisions under the terms of the contract and the penalties for noncompliance, coordinating the work to prevent one craft from interfering with or creating hazardous working conditions for other crafts, and inspecting subcontractor operations to ensure that accident prevention responsibilities are being carried out.  The APP must be signed by an officer of the firm (Prime Contractor senior person), the individual preparing the APP, the on-site superintendent, the designated SSHO, the Contractor Quality Control Manager, and any designated Certified Safety Professional (CSP) or Certified Health Physicist (CIH).  The SSHO must provide and maintain the APP and a log of signatures by each subcontractor foreman, attesting that they have read and understand the APP, and make the APP and log available on-site to the Contracting Officer.  If English is not the foreman's primary language, the Prime Contractor must provide an interpreter.

Submit the APP to the Contracting Officer 15 calendar days prior to the date of the preconstruction conference for acceptance.  Work cannot proceed without an accepted APP.  Once reviewed and accepted by the Contracting Officer, the APP and attachments will be enforced as part of the contract.  Disregarding the provisions of this contract or the accepted APP is cause for stopping of work, at the discretion of the Contracting Officer, until the matter has been rectified.  Continuously review and amend the APP, as necessary, throughout the life of the contract.  Changes to the accepted APP must be made with the knowledge and concurrence of the Contracting Officer, project superintendent, SSHO and Quality Control Manager.  Incorporate unusual or high-hazard activities not identified in the original APP as they are discovered.  Should any severe hazard exposure ( i.e. imminent danger) become evident, stop work in the area, secure the area, and develop a plan to remove the exposure and control the hazard.  Notify the Contracting Officer within 24 hours of discovery.  Eliminate and remove the hazard.  In the interim, take all necessary action to restore and maintain safe working conditions in order to safeguard onsite personnel, visitors, the public (as defined by ASSE/SAFE A10.34), and the environment.

### 1.8.2   Names and Qualifications

Provide plans in accordance with the requirements outlined in Appendix A of EM 385-1-1, including the following:

a.  Names and qualifications (resumes including education, training, experience and certifications) of site safety and health personnel designated to perform work on this project to include the designated Site Safety and Health Officer and other competent and qualified personnel to be used.  Specify the duties of each position.

b.  Qualifications of competent and of qualified persons.  As a minimum, designate and submit qualifications of competent persons for each of the following major areas: excavation; scaffolding; fall protection; hazardous energy; confined space; health hazard recognition, evaluation and control of chemical, physical and biological agents; and personal protective equipment and clothing to include selection, use and maintenance.

### 1.8.3   Plans

Provide plans in the APP in accordance with the requirements outlined in Appendix A of EM 385-1-1, including the following:

#### 1.8.3.1   Confined Space Entry Plan

Develop a confined or enclosed space entry plan in accordance with EM 385-1-1, applicable OSHA standards 29 CFR 1910, 29 CFR 1915, and 29 CFR 1926, OSHA Directive CPL 2.100, and any other federal, state and local regulatory requirements identified in this contract.  Identify the qualified person's name and qualifications, training, and experience.  Delineate the qualified person's authority to direct work stoppage in the event of hazardous conditions.  Include procedure for rescue by contractor personnel and the coordination with emergency responders.  (If there is no confined space work, include a statement that no confined space work exists and none will be created.)

#### 1.8.3.2   Standard Lift Plan (SLP)

Plan lifts to avoid situations where the operator cannot maintain safe control of the lift.  Prepare a written SLP in accordance with EM 385-1-1, Section 16.A.03, using Form 16-2 for every lift or series of lifts (if duty cycle or routine lifts are being performed).  The SLP must be developed, reviewed and accepted by all personnel involved in the lift in conjunction with the associated AHA.  Signature on the AHA constitutes acceptance of the plan.  Maintain the SLP on the LHE for the current lift(s) being made.  Maintain historical SLPs for a minimum of 3 months.

#### 1.8.3.3   Critical Lift Plan - Crane or Load Handling Equipment

Provide a Critical Lift Plan as required by EM 385-1-1, Section 16.H.01, using Form 16-3.  Critical lifts require detailed planning and additional or unusual safety precautions.  Develop and submit a critical lift plan to the Contracting Officer 30 calendar days prior to critical lift.  Comply with load testing requirements in accordance with EM 385-1-1, Section 16.F.03.

In addition to the requirements of EM 385-1-1, Section 16.H.02, the critical lift plan must include the following:

a.  For lifts of personnel, demonstrate compliance with the requirements of 29 CFR 1926.1400 and EM 385-1-1, Section 16.T.

b.  For barge mounted mobile cranes, provide a Naval Architecture Analysis and include an LHE Manufacturer's Floating Service Load Chart in accordance with the criteria from the selected standard in EM 385-1-1, Section 16.L.02.  The Floating Service Load Chart must provide a table of rated load versus boom angle and radius.  The Floating Service Load Chart must also provide the maximum allowable machine list and trim associated with the tabular loads and radii provided.  If the Manufacturer's Floating Service Load Chart is not available, a floating service load chart may be developed and provided by a qualified Registered Professional Engineer (RPE), competent in the field of floating cranes.  The Load Chart must be in accordance with the criteria from the selected standard in EM 385-1-1, Section 16.L; provide a table of rated load versus boom angle and radius; provide the maximum allowable machine list and machine trim associated with the tabular loads and radii provided; and be stamped by a RPE qualified and competent in the field of floating cranes.  The RPE, competent in the field of floating cranes must stamp and certify (sign) that the Naval Architectural Analysis (NAA) meets the requirements of EM 385-1-1, Section 16.L.03.

c.  Multi-purpose machines, material handling equipment, and construction equipment used to lift loads that are suspended by rigging gear, require proof of authorization from the machine OEM that the machine is capable of making lifts of loads suspended by rigging equipment.  Demonstrate that the operator is properly trained and that the equipment is properly configured to make such lifts and is equipped with a load chart.

#### 1.8.3.4   Fall Protection and Prevention (FP&P) Plan

The plan must comply with the requirements of EM 385-1-1, Section 21.D and ASSE/SAFE Z359.2, be site specific, and address all fall hazards in the work place and during different phases of construction.  Address how to protect and prevent workers from falling to lower levels when they are exposed to fall hazards above 1.8 m (6 feet).  A competent person or qualified person for fall protection must prepare and sign the plan documentation.  Include fall protection and prevention systems, equipment and methods employed for every phase of work, roles and responsibilities, assisted rescue, self-rescue and evacuation procedures, training requirements, and monitoring methods.  Review and revise, as necessary, the Fall Protection and Prevention Plan documentation as conditions change, but at a minimum every six months, for lengthy projects, reflecting any changes during the course of construction due to changes in personnel, equipment, systems or work habits.  Keep and maintain the accepted Fall Protection and Prevention Plan documentation at the job site for the duration of the project.  Include the Fall Protection and Prevention Plan documentation in the Accident Prevention Plan (APP).

#### 1.8.3.5   Rescue and Evacuation Plan

Provide a Rescue and Evacuation Plan in accordance with EM 385-1-1 Section 21.N and ASSE/SAFE Z359.2, and include in the FP&P Plan and as part of the APP.  Include a detailed discussion of the following: methods of rescue; methods of self-rescue; equipment used; training requirement; specialized training for the rescuers; procedures for requesting rescue and medical assistance; and transportation routes to a medical facility.

#### 1.8.3.6   Hazardous Energy Control Program (HECP)

Develop a HECP in accordance with EM 385-1-1 Section 12, 29 CFR 1910.147, 29 CFR 1910.333, 29 CFR 1915.89, ASSE/SAFE Z244.1, and ASSE/SAFE A10.44.  Submit this HECP as part of the Accident Prevention Plan (APP).  Conduct a preparatory meeting and inspection with all effected personnel to coordinate all HECP activities.  Document this meeting and inspection in accordance with EM 385-1-1, Section 12.A.02.  Ensure that each employee is familiar with and complies with these procedures.

#### 1.8.3.7   Excavation Plan

Identify the safety and health aspects of excavation, and provide and prepare the plan in accordance with EM 385-1-1, Section 25.A and Section 31 00 00 EARTHWORK.

#### [1.8.3.8   Occupant Protection Plan

Identify the safety and health aspects of lead-based paint removal, prepared in accordance with Section 02 82 33.13 20 REMOVAL/CONTROL AND DISPOSAL OF PAINT WITH LEAD.

#### ][1.8.3.9   Lead Compliance Plan

Identify the safety and health aspects of lead work, and prepare in accordance with Section 02 83 13.00 20 LEAD IN CONSTRUCTION.

#### ][1.8.3.10   Asbestos Hazard Abatement Plan

Identify the safety and health aspects of asbestos work, and prepare in accordance with Section 02 82 16.00 20 ENGINEERING CONTROL OF ASBESTOS CONTAINING MATERIALS.

#### ][1.8.3.11   Site Safety and Health Plan

Identify the safety and health aspects, and prepare in accordance with Section 01 35 29.13 HEALTH, SAFETY, AND EMERGENCY RESPONSE PROCEDURES FOR CONTAMINATED SITES.

#### ][1.8.3.12   PCB Plan

Identify the safety and health aspects of Polychlorinated Biphenyls work, and prepare in accordance with Sections 02 84 33 REMOVAL AND DISPOSAL OF POLYCHLORINATED BIPHENYLS (PCBs) and 02 61 23 REMOVAL AND DISPOSAL OF PCB CONTAMINATED SOILS.

#### ][1.8.3.13   Site Demolition Plan

Identify the safety and health aspects, and prepare in accordance with Section 02 41 00 [DEMOLITION] [AND] [DECONSTRUCTION] and referenced sources.  Include engineering survey as applicable.

## ]1.9   ACTIVITY HAZARD ANALYSIS (AHA)

Before beginning each activity, task or Definable Feature of Work (DFOW) involving a type of work presenting hazards not experienced in previous project operations, or where a new work crew or subcontractor is to perform the work, the Contractor(s) performing that work activity must prepare an AHA.  AHAs must be developed by the Prime Contractor, subcontractor, or supplier performing the work, and provided for Prime Contractor review and approval before submitting to the Contracting Officer.  AHAs must be signed by the SSHO, Superintendent, QC Manager and the subcontractor Foreman performing the work.  Format the AHA in accordance with EM 385-1-1, Section 1 or as directed by the Contracting Officer.  Submit the AHA for review at least 15 working days prior to the start of each activity task, or DFOW.  The Government reserves the right to require the Contractor to revise and resubmit the AHA if it fails to effectively identify the work sequences, specific anticipated hazards, site conditions, equipment, materials, personnel and the control measures to be implemented.

AHAs must identify competent persons required for phases involving high risk activities, including confined entry, crane and rigging, excavations, trenching, electrical work, fall protection, and scaffolding.

### 1.9.1   AHA Management

Review the AHA list periodically (at least monthly) at the Contractor supervisory safety meeting, and update as necessary when procedures, scheduling, or hazards change.  Use the AHA during daily inspections by the SSHO to ensure the implementation and effectiveness of the required safety and health controls for that work activity.

### 1.9.2   AHA Signature Log

Each employee performing work as part of an activity, task or DFOW must review the AHA for that work and sign a signature log specifically maintained for that AHA prior to starting work on that activity.  The SSHO must maintain a signature log on site for every AHA.  Provide employees whose primary language is other than English, with an interpreter to ensure a clear understanding of the AHA and its contents.

## 1.10   DISPLAY OF SAFETY INFORMATION

### 1.10.1   Safety Bulletin Board

Within one calendar day(s) after commencement of work, erect a safety bulletin board at the job site.  Where size, duration, or logistics of project do not facilitate a bulletin board, an alternative method, acceptable to the Contracting Officer, that is accessible and includes all mandatory information for employee and visitor review, may be deemed as meeting the requirement for a bulletin board.  Include and maintain information on safety bulletin board as required by EM 385-1-1, Section 01.A.06.  Additional items required to be posted include:

a.  Confined space entry permit.

b.  Hot work permit.

### 1.10.2   Safety and Occupational Health (SOH) Deficiency Tracking System

Establish a SOH deficiency tracking system that lists and monitors the status of SOH deficiencies in chronological order.  Use the tracking system to evaluate the effectiveness of the APP.  A monthly evaluation of the data must be discussed in the QC or SOH meeting with everyone on the project. The list must be posted on the project bulletin board and updated daily, and provide the following information:

a.  Date deficiency identified;

b.  Description of deficiency;

c.  Name of person responsible for correcting deficiency;

d.  Projected resolution date;

e.  Date actually resolved.

## 1.11   SITE SAFETY REFERENCE MATERIALS

Maintain safety-related references applicable to the project, including those listed in paragraph REFERENCES.  Maintain applicable equipment manufacturer's manuals.

## 1.12   EMERGENCY MEDICAL TREATMENT

Contractors must arrange for their own emergency medical treatment.  Government has no responsibility to provide emergency medical treatment.

## 1.13   NOTIFICATIONS and REPORTS

### 1.13.1   Mishap Notification

***************************************************************************

NOTE:  For NAVY projects with Crane Involvement only, any deviation from the 24-hour notification requirement must be approved by the Navy Crane Center.

***************************************************************************

Notify the Contracting Officer as soon as practical, but no more than twenty-four hours, after any mishaps, including recordable accidents, incidents, and near misses, as defined in EM 385-1-1 Appendix Q,  any report of injury, illness, load handling equipment (LHE) or rigging mishaps, or any property damage.  The Contractor is responsible for obtaining appropriate medical and emergency assistance and for notifying fire, law enforcement, and regulatory agencies.  Immediate reporting is required for electrical mishaps, to include Arc Flash; shock; uncontrolled release of hazardous energy (includes electrical and non-electrical); load handling equipment or rigging; fall from height (any level other than same surface); and underwater diving.  These mishaps must be investigated in depth to identify all causes and to recommend hazard control measures.

Within notification include Contractor name; contract title; type of contract; name of activity, installation or location where accident occurred; date and time of accident; names of personnel injured; extent of property damage, if any; extent of injury, if known, and brief description of accident (for example, type of construction equipment used and PPE used).  Preserve the conditions and evidence on the accident site until the Government investigation team arrives on-site and Government investigation is conducted.  Assist and cooperate fully with the Government's investigation(s) of any mishap.

### 1.13.2   Accident Reports

a.  Conduct an accident investigation for recordable injuries and illnesses, property damage, and near misses as defined in EM 385-1-1, to establish the root cause(s) of the accident.  Complete the applicable NAVFAC Contractor Incident Reporting System (CIRS), and electronically submit via the NAVFAC Enterprise Safety Applications Management System (ESAMS).  The Contracting Officer will provide copies of any required or special forms.

b.  Near Misses:  For Navy Projects, complete the applicable documentation in NAVFAC Contractor Incident Reporting System (CIRS), and electronically submit via the NAVFAC Enterprise Safety Applications Management System (ESAMS).  Near miss reports are considered positive and proactive Contractor safety management actions.

***************************************************************************

NOTE:  Include the following paragraph for all NAVY projects; paragraph is optional for ARMY projects.

***************************************************************************

c.  Conduct an accident investigation for any load handling equipment accident (including rigging gear accidents) to establish the root cause(s) of the accident.  Complete the LHE Accident Report (Crane and Rigging Gear) form and provide the report to the Contracting Officer within 30 calendar days of the accident.  Do not proceed with crane operations until cause is determined and corrective actions have been implemented to the satisfaction of the Contracting Officer.  The Contracting Officer will provide a blank copy of the accident report form.

### 1.13.3   LHE Inspection Reports

Submit LHE inspection reports required in accordance with EM 385-1-1 and as specified herein with Daily Reports of Inspections.

### 1.13.4   Certificate of Compliance and Pre-lift Plan/Checklist for LHE and Rigging

Provide a FORM 16-1 Certificate of Compliance for LHE entering an activity under this contract and in accordance with EM 385-1-1.  Post certifications on the crane.

Develop a Standard Lift Plan (SLP) in accordance with EM 385-1-1, Section 16.H.03 using Form 16-2 Standard Pre-Lift Crane Plan/Checklist for each lift planned.  Submit SLP to the Contracting Officer for approval within 15 calendar days in advance of planned lift.

### [1.13.5   Third Party Certification of Barge-Mounted Mobile Cranes

Certify barge-mounted mobile cranes in accordance with 29 CFR 1919 by an OSHA accredited person.

## ]1.14   HOT WORK

### 1.14.1   Permit and Personnel Requirements

Submit and obtain a written permit prior to performing "Hot Work" (i.e. welding or cutting) or operating other flame-producing/spark producing devices, from the [Fire Division][_____].  A permit is required from the Explosives Safety Office for work in and around where explosives are processed, stored, or handled.  CONTRACTORS ARE REQUIRED TO MEET ALL CRITERIA BEFORE A PERMIT IS ISSUED.  Provide at least two 9 kg (20 pound) 4A:20 BC rated extinguishers for normal "Hot Work".  The extinguishers must be current inspection tagged, and contain an approved safety pin and tamper resistant seal.  It is also mandatory to have a designated FIRE WATCH for any "Hot Work" done at this activity.  The Fire Watch must be trained in accordance with NFPA 51B and remain on-site for a minimum of one hour after completion of the task or as specified on the hot work permit.

When starting work in the facility, require personnel to familiarize themselves with the location of the nearest fire alarm boxes and place in memory the emergency [Fire Division][_____] phone number.  REPORT ANY FIRE, NO MATTER HOW SMALL, TO THE RESPONSIBLE [FIRE DIVISION][_____] IMMEDIATELY.

### 1.14.2   Work Around Flammable Materials

***************************************************************************

NOTE: Include the following paragraph in USACE marine operation projects involving fuel tank/pipes that have the potential for explosive atmospheres.  Include in NAVY projects as applicable.

***************************************************************************

Obtain services from a NFPA Certified Marine Chemist for "HOT WORK" within or around flammable materials (such as fuel systems or welding/cutting on fuel pipes) or confined spaces (such as sewer wet wells, manholes, or vaults) that have the potential for flammable or explosive atmospheres.

Whenever these materials, except beryllium and chromium (VI), are encountered in indoor operations, local mechanical exhaust ventilation systems that are sufficient to reduce and maintain personal exposures to within acceptable limits must be used and maintained in accordance with manufacturer's instruction and supplemented by exceptions noted in EM 385-1-1, Section 06.H

## 1.15   RADIATION SAFETY REQUIREMENTS

Submit License Certificates, employee training records, and Leak Test Reports for radiation materials and equipment to the Contracting Officer and Radiation Safety Office (RSO), and Contracting Oversight Technician (COT) for all specialized and licensed material and equipment proposed for use on the construction project.  Maintain on-site records whenever licensed radiological materials or ionizing equipment are on government property.

Protect workers from radiation exposure in accordance with 10 CFR 20, ensuring any personnel exposures are maintained As Low As Reasonably Achievable.

### 1.15.1   Radiography Operation Planning Work Sheet

Submit a Radiography Operation Planning Work Sheet to Contracting Officer 14 days prior to commencement of operations involving radioactive materials or radiation generating devices.  The Contracting Officer and COT will review this worksheet and submit questions and comments.

Contractors must use primary dosimeters process by a National Voluntary Laboratory Accreditation Program (NVLAP) accredited laboratory.

### 1.15.2   Site Access and Security

Coordinate site access and security requirements with the Contracting Officer and COT for all radiological materials and equipment containing ionizing radiation that are proposed for use on a government facility.  The Navy COT or authorized representative will meet the Contractor at a designated location, ensure safety of the materials being transported, and will escort the Contractor to the job site and return upon completion of the work.

Provide a copy of all calibration records, and utilization records to the COT for radiological operations performed on the site.

### 1.15.3   Loss or Release and Unplanned Personnel Exposure

Loss or release of radioactive materials, and unplanned personnel exposures must be reported immediately to the Contracting Officer, RSO, and Base Security Department Emergency Number.

### 1.15.4   Site Demarcation and Barricade

***************************************************************************

NOTE:  Add any applicable Instructions or local requirements to first sentence.

***************************************************************************

Properly demark and barricade an area surrounding radiological operations to preclude personnel entrance, in accordance with EM 385-1-1, Nuclear Regulatory Commission, and Applicable State regulations and license requirements, and in accordance with requirements established in the accepted Radiography Operation Planning Work Sheet.

Do not close or obstruct streets, walks, and other facilities occupied and used by the Government without written permission from the Contracting Officer.

### 1.15.5   Security of Material and Equipment

Properly secure the radiological material and ionizing radiation equipment at all times, including keeping the devices in a properly marked and locked container, and secondarily locking the container to a secure point in the Contractor's vehicle or other approved storage location during transportation and while not in use.  While in use, maintain a continuous visual observation on the radiological material and ionizing radiation equipment.  In instances where radiography is scheduled near or adjacent to buildings or areas having limited access or one-way doors, make no assumptions as to building occupancy.  Where necessary, the Contracting Officer will direct the Contractor to conduct an actual building entry, search, and alert.  Where removal of personnel from such a building cannot be accomplished and it is otherwise safe to proceed with the radiography, position a fully instructed employee inside the building or area to prevent exiting while external radiographic operations are in process.

### 1.15.6   Transportation of Material

Comply with 49 CFR 173 for Transportation of Regulated Amounts of Radioactive Material.  Notify Local Fire authorities and the site Radiation Safety officer (RSO) of any Radioactive Material use.

### 1.15.7   Schedule for Exposure or Unshielding

Actual exposure of the radiographic film or unshielding the source must not be initiated until after 5 p.m. on weekdays.

### 1.15.8   Transmitter Requirements

Adhere to the base policy concerning the use of transmitters, such as radios and cell phones.  Obey Emissions control (EMCON) restrictions.

## 1.16   CONFINED SPACE ENTRY REQUIREMENTS.

Confined space entry must comply with Section 34 of EM 385-1-1, OSHA 29 CFR 1926, OSHA 29 CFR 1910, OSHA 29 CFR 1910.146, and OSHA Directive CPL 2.100.  Any potential for a hazard in the confined space requires a permit system to be used.  Contractors entering and working in confined spaces while performing shipyard industry work are required to follow the requirements of OSHA 29 CFR 1915 Subpart B.

### 1.16.1   Entry Procedures

Prohibit entry into a confined space by personnel for any purpose, including hot work, until the qualified person has conducted appropriate tests to ensure the confined or enclosed space is safe for the work intended and that all potential hazards are controlled or eliminated and documented.  Comply with EM 385-1-1, Section 34 for entry procedures.  Hazards pertaining to the space must be reviewed with each employee during review of the AHA.

### 1.16.2   Forced Air Ventilation

Forced air ventilation is required for all confined space entry operations and the minimum air exchange requirements must be maintained to ensure exposure to any hazardous atmosphere is kept below its action level.

### 1.16.3   Sewer Wet Wells

Sewer wet wells require continuous atmosphere monitoring with audible alarm for toxic gas detection.

### 1.16.4   Rescue Procedures and Coordination with Local Emergency Responders

Develop and implement an on-site rescue and recovery plan and procedures. The rescue plan must not rely on local emergency responders for rescue from a confined space.

## 1.17   DIVE SAFETY REQUIREMENTS

Develop a Dive Operations Plan, AHA, emergency management plan, and personnel list that includes qualifications, for each separate diving operation.  Submit these documents to the District Dive Coordinator (DDC) for review and acceptance at least [15][_____] working days prior to commencement of diving operations.  These documents must be at the diving location at all times.  Provide each of these documents as a part of the project file.

## 1.18   SEVERE STORM PLAN

In the event of a severe storm warning, the Contractor must:

a.  Secure outside equipment and materials and place materials that could be damaged in protected areas.

b.  Check surrounding area, including roof, for loose material, equipment, debris, and other objects that could be blown away or against existing facilities.

c.  Ensure that temporary erosion controls are adequate.

# PART 2   PRODUCTS

## 2.1   CONFINED SPACE SIGNAGE

Provide permanent signs integral to or securely attached to access covers for new permit-required confined spaces.  Signs for confined spaces must comply with NEMA Z535.2.  Signs wording:  "DANGER--PERMIT-REQUIRED CONFINED SPACE, DO NOT ENTER" in bold letters a minimum of 25 mm (one inch) in height and constructed to be clearly legible with all paint removed.  The signal word "DANGER" must be red and readable from 1520 mm (5 feet).

# PART 3   EXECUTION

## 3.1   CONSTRUCTION AND OTHER WORK

Comply with EM 385-1-1, NFPA 70, NFPA 70E, NFPA 241, the APP, the AHA, Federal and State OSHA regulations, and other related submittals and activity fire and safety regulations.  The most stringent standard prevails.

PPE is governed in all areas by the nature of the work the employee is performing.  Use personal hearing protection at all times in designated noise hazardous areas or when performing noise hazardous tasks.  Safety glasses must be worn or carried/available on each person.  Mandatory PPE includes:

a.  Hard Hat

b.  Long Pants

c.  Appropriate Safety Shoes

d.  Appropriate Class Reflective Vests

### 3.1.1   Worksite Communication

Employees working alone in a remote location or away from other workers must be provided an effective means of emergency communications (i.e., cellular phone, two-way radios, land-line telephones or other acceptable means).  The selected communication must be readily available (easily within the immediate reach) of the employee and must be tested prior to the start of work to verify that it effectively operates in the area/environment.  An employee check-in/check-out communication procedure must be developed to ensure employee safety.

### 3.1.2   Hazardous Material Use

Each hazardous material must receive approval from the Contracting Office or their designated representative prior to being brought onto the job site or prior to any other use in connection with this contract.  Allow a minimum of 10 working days for processing of the request for use of a hazardous material.

### 3.1.3   Hazardous Material Exclusions

Notwithstanding any other hazardous material used in this contract, radioactive materials or instruments capable of producing ionizing/non-ionizing radiation (with the exception of radioactive material and devices used in accordance with EM 385-1-1 such as nuclear density meters for compaction testing and laboratory equipment with radioactive sources) as well as materials which contain asbestos, mercury or polychlorinated biphenyls, di-isocyanates, lead-based paint, and hexavalent chromium, are prohibited.  The Contracting Officer, upon written request by the Contractor, may consider exceptions to the use of any of the above excluded materials.  Low mercury lamps used within fluorescent lighting fixtures are allowed as an exception without further Contracting Officer approval.  Notify the Radiation Safety Officer (RSO) prior to excepted items of radioactive material and devices being brought on base.

### 3.1.4   Unforeseen Hazardous Material

Contract documents identify materials such as PCB, lead paint, and friable and non-friable asbestos and other OSHA regulated chemicals (i.e. 29 CFR Part 1910.1000).  If material(s) that may be hazardous to human health upon disturbance are encountered during construction operations, stop that portion of work and notify the Contracting Officer immediately.  Within [14][_____] calendar days the Government will determine if the material is hazardous.  If material is not hazardous or poses no danger, the Government will direct the Contractor to proceed without change.  If material is hazardous and handling of the material is necessary to accomplish the work, the Government will issue a modification pursuant to FAR 52.243-4, "Changes" and FAR 52.236-2, "Differing Site Conditions."

## 3.2   PRE-OUTAGE COORDINATION MEETING

Apply for utility outages at least [_____] days in advance.  As a minimum, the request must include the location of the outage, utilities being affected, duration of outage and any necessary sketches.  Special requirements for electrical outage requests are contained elsewhere in this specification section.  Once approved, and prior to beginning work on the utility system requiring shut down, attend a pre-outage coordination meeting with the Contracting Officer to review the scope of work and the lock-out/tag-out procedures for worker protection.  No work will be performed on energized electrical circuits unless proof is provided that no other means exist.

## 3.3   CONTROL OF HAZARDOUS ENERGY (LOCKOUT/TAGOUT)

Provide and operate a Hazardous Energy Control Program (HECP) in accordance with EM 385-1-1 Section 12, 29 CFR 1910.333, 29 CFR 1915.89, and paragraph HAZARDOUS ENERGY CONTROL PROGRAM (HECP).

## 3.4   FALL PROTECTION PROGRAM

Establish a fall protection program, for the protection of all employees exposed to fall hazards.  Within the program include company policy, identify roles and responsibilities, education and training requirements, fall hazard identification, prevention and control measures, inspection, storage, care and maintenance of fall protection equipment and rescue and evacuation procedures in accordance with ASSE/SAFE Z359.2 and EM 385-1-1, Sections 21.A and 21.D.

### 3.4.1   Training

Institute a fall protection training program.  As part of the Fall Protection Program, provide training for each employee who might be exposed to fall hazards.  Provide training by a competent person for fall protection in accordance with EM 385-1-1, Section 21.C.  Document training and practical application of the competent person in accordance with EM 385-1-1, Section 21.C.04 and ASSE/SAFE Z359.2 in the AHA.

### 3.4.2   Fall Protection Equipment and Systems

Enforce use of personal fall protection equipment and systems designated (to include fall arrest, restraint, and positioning) for each specific work activity in the Site Specific Fall Protection and Prevention Plan and AHA at all times when an employee is exposed to a fall hazard.  Protect employees from fall hazards as specified in EM 385-1-1, Section 21.

Provide personal fall protection equipment, systems, subsystems, and components that comply with EM 385-1-1 Section 21.I, 29 CFR 1926.500 Subpart M,ASSE/SAFE Z359.0, ASSE/SAFE Z359.1, ASSE/SAFE Z359.2, ASSE/SAFE Z359.3, ASSE/SAFE Z359.4, ASSE/SAFE Z359.6, ASSE/SAFE Z359.7, ASSE/SAFE Z359.11, ASSE/SAFE Z359.12, ASSE/SAFE Z359.13, ASSE/SAFE Z359.14, and ASSE/SAFE Z359.15.

#### 3.4.2.1   Additional Personal Fall Protection

In addition to the required fall protection systems, other protection such as safety skiffs, personal floatation devices, and life rings, are required when working above or next to water in accordance with EM 385-1-1, Sections 21.O through 21.O.06.  Personal fall protection systems and equipment are required when working from an articulating or extendible boom, swing stages, or suspended platform.  In addition, personal fall protection systems are required when operating other equipment such as scissor lifts.  The need for tying-off in such equipment is to prevent ejection of the employee from the equipment during raising, lowering, travel, or while performing work.

#### 3.4.2.2   Personal Fall Protection Harnesses

Only a full-body harness with a shock-absorbing lanyard or self-retracting lanyard is an acceptable personal fall arrest body support device.  The use of body belts is not acceptable.  Harnesses must have a fall arrest attachment affixed to the body support (usually a Dorsal D-ring) and specifically designated for attachment to the rest of the system.  Snap hooks and carabiners must be self-closing and self-locking, capable of being opened only by at least two consecutive deliberate actions and have a minimum gate strength of 1633 kg (3,600 lbs) in all directions.  Use webbing, straps, and ropes made of synthetic fiber.  The maximum free fall distance when using fall arrest equipment must not exceed 1.8 m (6 feet), unless the proper energy absorbing lanyard is used.  Always take into consideration the total fall distance and any swinging of the worker (pendulum-like motion), that can occur during a fall, when attaching a person to a fall arrest system.  All full body harnesses must be equipped with Suspension Trauma Preventers such as stirrups, relief steps, or similar in order to provide short-term relief from the effects of orthostatic intolerance in accordance with EM 385-1-1, Section 21.I.06.

### 3.4.3   Fall Protection for Roofing Work

Implement fall protection controls based on the type of roof being constructed and work being performed.  Evaluate the roof area to be accessed for its structural integrity including weight-bearing capabilities for the projected loading.

a.  Low Sloped Roofs:

(1) For work within 1.8 m (6 feet) of an edge, on a roof having a slope less than or equal to 4:12 (vertical to horizontal), protect personnel from falling by use of personal fall arrest/restraint systems, guardrails, or safety nets.  A safety monitoring system is not adequate fall protection and is not authorized.  Provide in accordance with 29 CFR 1926.500.

(2) For work greater than 1.8 m (6 feet) from an edge, erect and install warning lines in accordance with 29 CFR 1926.500 and EM 385-1-1, Section L.

b.  Steep-Sloped Roofs:  Work on a roof having a slope greater than 4:1 (vertical to horizontal) requires a personal fall arrest system, guardrails with toe-boards, or safety nets.  This requirement also applies to residential or housing type construction.

### 3.4.4   Horizontal Lifelines (HLL)

Provide HLL in accordance with EM 385-1-1, Section 21.I.08.d.2.  Commercially manufactured horizontal lifelines (HLL) must be designed, installed, certified and used, under the supervision of a qualified person, for fall protection as part of a complete fall arrest system which maintains a safety factor of 2 (29 CFR 1926.500).  The competent person for fall protection may (if deemed appropriate by the qualified person) supervise the assembly, disassembly, use and inspection of the HLL system under the direction of the qualified person.  Locally manufactured HLLs are not acceptable unless they are custom designed for limited or site specific applications by a Registered Professional Engineer who is qualified in designing HLL systems.

### 3.4.5   Guardrails and Safety Nets

Design, install and use guardrails and safety nets in accordance with EM 385-1-1, Section 21.F.01 and 29 CFR 1926 Subpart M.

### 3.4.6   Rescue and Evacuation Plan and Procedures

When personal fall arrest systems are used, ensure that the mishap victim can self-rescue or can be rescued promptly should a fall occur.  Prepare a Rescue and Evacuation Plan and include a detailed discussion of the following: methods of rescue; methods of self-rescue or assisted-rescue; equipment used; training requirement; specialized training for the rescuers; procedures for requesting rescue and medical assistance; and transportation routes to a medical facility.  Include the Rescue and Evacuation Plan within the Activity Hazard Analysis (AHA) for the phase of work, in the Fall Protection and Prevention (FP&P) Plan, and the Accident Prevention Plan (APP).  The plan must comply with the requirements of EM 385-1-1, ASSE/SAFE Z359.2, and ASSE/SAFE Z359.4.

### 3.4.7   Fall Prevention During Design Phase

During design phase the Contractor must consider and eliminate fall hazards anticpated during the operation and maintenance evolutions of the facility.  If it is not feasible to eliminate or prevent the need to work at heights with the subsequent exposure to fall hazards, control measures must be included in the design to protect personnel conducting maintenance work after completion of the project.  In addition to the detailed requirements included in the provisions of this contract, the design work must incorporate the requirements of 29 CFR 1910 and ASSE/SAFE Z359.0, ASSE/SAFE Z359.1, ASSE/SAFE Z359.2, ASSE/SAFE Z359.3, ASSE/SAFE Z359.4, ASSE/SAFE A1264.1, and NFPA 1.

## 3.5   ERGONOMICS CONSIDERATIONS DURING DESIGN PHASE

Design Facilities, processes, job tasks, tools and materials to reduce or eliminate work-related musculoskeletal (WMSD) injuries and risk factors in the workplace.  Ensure that facility maintenance access is designed to reduce WMSD risk factors to the lowest level possible.  In addition to the detailed requirements included in the provisions of this contract, the design work must incorporate the requirements of MIL-STD-1472, DoD-HDBK 743 and ANSI/HFES 100.

## [3.6   SHIPYARD REQUIREMENTS

***************************************************************************

NOTE: Use this paragraph for projects at the Norfolk Naval Shipyard (NNSY) and Portsmouth Naval Shipyard (PNSY) only.  This paragraph is tailored for NAVFAC MIDLANT.

***************************************************************************

All personnel who enter the Controlled Industrial Area (CIA) must wear mandatory personal protective equipment (PPE) at all times and comply with PPE postings of shops both inside and outside the CIA.

## ]3.7   WORK PLATFORMS

### 3.7.1   Scaffolding

Provide employees with a safe means of access to the work area on the scaffold.  Climbing of any scaffold braces or supports not specifically designed for access is prohibited.  Comply with the following requirements:

a.  Scaffold platforms greater than 6 m (20 feet) in height must be accessed by use of a scaffold stair system.

b.  Ladders commonly provided by scaffold system manufacturers are prohibited for accessing scaffold platforms greater than 6 m (20 feet) maximum in height.

c.  An adequate gate is required.

d.  Employees performing scaffold erection and dismantling must be qualified.

e.  Scaffold must be capable of supporting at least four times the maximum intended load or without appropriate fall protection as delineated in the accepted fall protection and prevention plan.

f.  Stationary scaffolds must be attached to structural building components to safeguard against tipping forward or backward.

g.  Special care must be given to ensure scaffold systems are not overloaded.

h.  Side brackets used to extend scaffold platforms on self-supported scaffold systems for the storage of material are prohibited.  The first tie-in must be at the height equal to 4 times the width of the smallest dimension of the scaffold base.

i.  Scaffolding other than suspended types must bear on base plates upon wood mudsills (51 mm x 254 mm x 203 mm(2 in x 10 in x 8 in) minimum) or other adequate firm foundation.

j.  Scaffold or work platform erectors must have fall protection during the erection and dismantling of scaffolding or work platforms that are more than 1.83 meters (six feet).

k.  Delineate fall protection requirements when working above 1.83 meters (six feet) or above dangerous operations in the Fall Protection and Prevention (FP&P) Plan and Activity Hazard Analysis (AHA) for the phase of work.

### 3.7.2   Elevated Aerial Work Platforms (AWPs)

Workers must be anchored to the basket or bucket in accordance with manufacturer's specifications and instructions (anchoring to the boom may only be used when allowed by the manufacturer and permitted by the CP).  Lanyards used must be sufficiently short to prohibit worker from climbing out of basket.  The climbing of rails is prohibited.  Lanyards with built-in shock absorbers are acceptable.  Self-retracting devices are not acceptable.  Tying off to an adjacent pole or structure is not permitted unless a safe device for 100 percent tie-off is used for the transfer.

Use of AWPs must be operated, inspected, and maintained as specified in the operating manual for the equipment and delineated in the AHA.  Operators of AWPs must be designated as qualified operators by the Prime Contractor.  Maintain proof of qualifications on site for review and include in the AHA.

## 3.8   EQUIPMENT

### 3.8.1   Material Handling Equipment (MHE)

a.  Material handling equipment such as forklifts must not be modified with work platform attachments for supporting employees unless specifically delineated in the manufacturer's printed operating instructions.  Material handling equipment fitted with personnel work platform attachments are prohibited from traveling or positioning while personnel are working on the platform.

b.  The use of hooks on equipment for lifting of material must be in accordance with manufacturer's printed instructions.  Material Handling Equipment Operators must be trained in accordance with OSHA 29 CFR 1910, Subpart N.

c.  Operators of forklifts or power industrial trucks must be licensed in accordance with OSHA.

### 3.8.2   Load Handling Equipment (LHE)

a.  Equip cranes and derricks as specified in EM 385-1-1, Section 16.

***************************************************************************

NOTE:  Choose bracketed item for host country as applicable to project location.

***************************************************************************

b.  Notify the Contracting Officer 15 working days in advance of any LHE entering the activity, in accordance with EM 385-1-1, Section 16.A.02, so that necessary quality assurance spot checks can be coordinated.  Prior to cranes entering federal activities, a Crane Access Permit must be obtained from the Contracting Officer.  A copy of the permitting process will be provided at the Preconstruction Conference.  Contractor's operator must remain with the crane during the spot check.  Rigging gear must comply with OSHA, ASME B30.9 Standards[ and host country] safety standards.

c.  Comply with the LHE manufacturer's specifications and limitations for erection and operation of cranes and hoists used in support of the work.  Perform erection under the supervision of a designated person (as defined in ASME B30.5).  Perform all testing in accordance with the manufacturer's recommended procedures.

d.  Comply with ASME B30.5 for mobile and locomotive cranes, ASME B30.22 for articulating boom cranes, ASME B30.3 for construction tower cranes, ASME B30.8 for floating cranes and floating derricks, ASME B30.9 for slings, ASME B30.20 for below the hook lifting devices and ASME B30.26 for rigging hardware.

e.  Under no circumstance must a Contractor make a lift at or above 90 percent of the cranes rated capacity in any configuration.

f.  When operating in the vicinity of overhead transmission lines, operators and riggers must be alert to this special hazard and follow the requirements of EM 385-1-1 Section 11, and ASME B30.5 or ASME B30.22 as applicable.

g.  Do not use crane suspended personnel work platforms (baskets) unless the Contractor proves that using any other access to the work location would provide a greater hazard to the workers or is impossible.  Do not lift personnel with a line hoist or friction crane.  Additionally, submit a specific AHA for this work to the Contracting Officer.  Ensure the activity and AHA are thoroughly reviewed by all involved personnel.

h.  Inspect, maintain, and recharge portable fire extinguishers as specified in NFPA 10, Standard for Portable Fire Extinguishers.

i.  All employees must keep clear of loads about to be lifted and of suspended loads.

j.  Use cribbing when performing lifts on outriggers.

k.  The crane hook/block must be positioned directly over the load.  Side loading of the crane is prohibited.

l.  A physical barricade must be positioned to prevent personnel access where accessible areas of the LHE's rotating superstructure poses a risk of striking, pinching or crushing personnel.

m.  Maintain inspection records in accordance by EM 385-1-1, Section 16.D, including shift, monthly, and annual inspections, the signature of the person performing the inspection, and the serial number or other identifier of the LHE that was inspected.  Records must be available for review by the Contracting Officer.

n.  Maintain written reports of operational and load testing in accordance with EM 385-1-1, Section 16.F, listing the load test procedures used along with any repairs or alterations performed on the LHE.  Reports must be available for review by the Contracting Officer.

o.  Certify that all LHE operators have been trained in proper use of all safety devices (e.g. anti-two block devices).

p.  Take steps to ensure that wind speed does not contribute to loss of control of the load during lifting operations.  At wind speeds greater than 9 m/s (20 mph), the operator, rigger and lift supervisor must cease all crane operations, evaluate conditions and determine if the lift may proceed.  Base the determination to proceed or not on wind calculations per the manufacturer and a reduction in LHE rated capacity if applicable.  Include this maximum wind speed determination as part of the activity hazard analysis plan for that operation.

### 3.8.3   Machinery and Mechanized Equipment

a.  Proof of qualifications for operator must be kept on the project site for review.

b.  Manufacture specifications or owner's manual for the equipment must be on-site and reviewed for additional safety precautions or requirements that are sometimes not identified by OSHA or USACE EM 385-1-1.  Incorporate such additional safety precautions or requirements into the AHAs.

***************************************************************************

NOTE:  Include the following tailored item in NAVFAC Marianas projects only.

***************************************************************************

[c.  Submit a Machinery & Mechanized Equipment Certification Form to the Contracting Officer prior to being placed into use.

### ]3.8.4   USE OF EXPLOSIVES

Explosives must not be used or brought to the project site without prior written approval from the Contracting Officer.  Such approval does not relieve the Contractor of responsibility for injury to persons or for damage to property due to blasting operations.

Storage of explosives, when permitted on Government property, must be only where directed and in approved storage facilities.  These facilities must be kept locked at all times except for inspection, delivery, and withdrawal of explosives.

## 3.9   EXCAVATIONS

Soil classification must be performed by a competent person in accordance with 29 CFR 1926 and EM 385-1-1.

### 3.9.1   Utility Locations

Provide a third party, independent, private utility locating company to positively identify underground utilities in the work area in addition to any station locating service and coordinated with the station utility department.

### 3.9.2   Utility Location Verification

Physically verify underground utility locations, including utility depth, by hand digging using wood or fiberglass handled tools when any adjacent construction work is expected to come within 1 meter (three feet) of the underground system.

### 3.9.3   Utilities Within and Under Concrete, Bituminous Asphalt, and Other Impervious Surfaces

Utilities located within and under concrete slabs or pier structures, bridges, parking areas, and the like, are extremely difficult to identify. Whenever contract work involves chipping, saw cutting, or core drilling through concrete, bituminous asphalt or other impervious surfaces, the existing utility location must be coordinated with station utility departments in addition to location and depth verification by a third party, independent, private locating company.  The third party, independent, private locating company must locate utility depth by use of Ground Penetrating Radar (GPR), X-ray, bore scope, or ultrasound prior to the start of demolition and construction.  Outages to isolate utility systems must be used in circumstances where utilities are unable to be positively identified.  The use of historical drawings does not alleviate the Contractor from meeting this requirement.

## 3.10   ELECTRICAL

Perform electrical work in accordance with EM 385-1-1, Appendix A, Sections 11 and 12.

### 3.10.1   Conduct of Electrical Work

As delineated in EM 385-1-1, electrical work is to be conducted in a de-energized state unless there is no alternative method for accomplishing the work.  In those cases obtain an energized work permit from the Contracting Officer.  The energized work permit application must be accompanied by the AHA and a summary of why the equipment/circuit needs to be worked energized.  Underground electrical spaces must be certified safe for entry before entering to conduct work.  Cables that will be cut must be positively identified and de-energized prior to performing each cut.  Attach temporary grounds in accordance with ASTM F855 and IEEE 1048.  Perform all high voltage cable cutting remotely using hydraulic cutting tool.  When racking in or live switching of circuit breakers, no additional person other than the switch operator is allowed in the space during the actual operation.  Plan so that work near energized parts is minimized to the fullest extent possible.  Use of electrical outages clear of any energized electrical sources is the preferred method.

When working in energized substations, only qualified electrical workers are permitted to enter.  When work requires work near energized circuits as defined by NFPA 70, high voltage personnel must use personal protective equipment that includes, as a minimum, electrical hard hat, safety shoes, insulating gloves and electrical arc flash protection for personnel as required by NFPA 70E.  Insulating blankets, hearing protection, and switching suits may also be required, depending on the specific job and as delineated in the Contractor's AHA.  Ensure that each employee is familiar with and complies with these procedures and 29 CFR 1910.147.

### 3.10.2   Qualifications

Electrical work must be performed by QP personnel with verifiable credentials who are familiar with applicable code requirements.  Verifiable credentials consist of State, National and Local Certifications or Licenses that a Master or Journeyman Electrician may hold, depending on work being performed, and must be identified in the appropriate AHA.  Journeyman/Apprentice ratio must be in accordance with State, Local[ and Host Nation] requirements applicable to where work is being performed.

### 3.10.3   Arc Flash

Conduct a hazard analysis/arc flash hazard analysis whenever work on or near energized parts greater than 50 volts is necessary, in accordance with NFPA 70E.

All personnel entering the identified arc flash protection boundary must be QPs and properly trained in NFPA 70E requirements and procedures.  Unless permitted by NFPA 70E, no Unqualified Person is permitted to approach nearer than the Limited Approach Boundary of energized conductors and circuit parts.  Training must be administered by an electrically qualified source and documented.

### 3.10.4   Grounding

Ground electrical circuits, equipment and enclosures in accordance with NFPA 70 and IEEE C2 to provide a permanent, continuous and effective path to ground unless otherwise noted by EM 385-1-1.

Check grounding circuits to ensure that the circuit between the ground and a grounded power conductor has a resistance low enough to permit sufficient current flow to allow the fuse or circuit breaker to interrupt the current.

### 3.10.5   Testing

Temporary electrical distribution systems and devices must be inspected, tested and found acceptable for Ground-Fault Circuit Interrupter (GFCI) protection, polarity, ground continuity, and ground resistance before initial use, before use after modification and at least monthly.  Monthly inspections and tests must be maintained for each temporary electrical distribution system, and signed by the electrical CP or QP.

-- End of Section --