## Read Me First
Program Title: | Control Systems Inventory Process
Project Title: | Discovery and Documentation of CS Assets
Task: | Maintain a current inventory of all assets within your FECs AoR
Purpose:
Scope:
Data Dictionary:
Inventory:
Per NNWC ltr dtd 14 DEC 2009, DESIGNATION AS PLATFORM INFORMATION TECHNOLOGY (PIT) FOR THE BUILDING AND UTILITIES INDUSTRIAL CONTROL SYSTEMS, the requirement to discover, document, and institute a configuration management program.
This data dictionary will assist in the data collection process. The most common terms and labels of anticipated equipments to be found are defined through graphic examples.
It is important to understand this data collection is the FECs responsibility to maintain and report on when changes toICS configuration occur affecting the Information Assurance (IA) controls of ICS. This data collection will serve to register all systems IAW DON CIO requirements and will be the authoritative information source for the regional CS Configuration Control Board (CCB) in the administration and the configuration management of all CS associated assets. It will be the source in providing the required reports in maintaining the PIT designation and continued operation of all CS.
This action encompasses all facilities constructed by or for Naval Facilities Engineering COmmand.
This tab is the detailed Inventory of CS devices. The content of this tab should be considered sensitive, and only shared with those having explicit need-to know. Each row in this tab must correspond to a single hardware device (or Virtual Machine).It is important that entire systems are broken out by component, and not simnply listed on one line as "the system".
[
[

## Data Dictionary
| Template Data Dictionary | The following provides a detailed description of the fields used in the inventory spreadsheet
DATA DISTRIBUTION
| Data Field | Description | Details | HQ/FEC Required | Optional | Restricted to FEC and select HQ/Ech III FTEs | FEC only | Partial FEC, partial HQ/Ech III FTEs
X
| Bar Code or Identifier | Local FEC tracking information , if applied by construction contractor |  |  | X
LOCATION | Region | Drop down accessible Options Include: EU - COMMANDER NAVY REG EURAFSWA FE - FAR EAST HI - COMNAVREG PEARL HARBOR HI JP - COMNAVREG JAPAN (Included in FE) KO - NAVY REGION KOREA (Included in FE) MA - JTREG MARIANAS GUAM ML - COMNAVREG MIDLANT NW - COMNAVREG NW SEATTLE WA SE - COMNAVREG SE JACKSONVILLE FL SW - COMNAVREG SW SAN DIEGO CA WA - COMNAVDIST WASHINGTON DC | IA Required | X
| Installation |  | IA Required | X
| Special Area | Optional. Fill in as needed to support your data entry. Not required for submittal, but left in as a possible aid. | Helps Identify location |  | X
| Facility # / ID | Building Number | IA Required | X
| Facility name |  | IA Required | X
| NFAID | iNFADS ID number, if available | Use for governance tied to MDI and other facility databases | X
| Commodity (or System) | Drop down accessible Options include: CA - Compressed Air CW - Chilled Water DI - Deioninzed Water EL - Electric FO - Fuel Oil HW - Hot Water HVAC - HVAC and other building systems IR - Irrigation such as sprinklers LT - Lighting (Other than that associated with a single building) Multiple - More than one commodity is supported by this device. List the individual commodities in the Comments field. NET - Network NG - Natural Gas OW - Oily Water PW - Pure Water SE - Sanitary Sewage ST - Steam SW - Salt Water WA - Potable Water WO - Waste Oil | IA Required | X
| Floor | Floor in facility where device is located | IA Required | X
| Room | Room number, name or both where device is located. Example: "Mechanical Room 123", "Room 123", "Electrical Room" | IA Required | X
| Location | Specific location of device in identified room. Examples: "Cabinet", "Brown Cabinet", "Back of Room", "On transformer" |  |  | X
| Enclosure / Mount Type | How is the listed device mounted? Locking Coabinet Non-Locking Cabinet Open, attached Open, loose Other (Write in)
Extended Fac Info
| UPS | Is the component powered by a UPS? Yes - Local Yes - Building No
| Estimated Number of Equipment Controllers in Facility | Write in; will be the same for each device entry in a single building
| Locked Room | Is the room locked? Y or N
| Device in cabinet? | Is the device loctae dinside a cabinet? Y or N
| Locked Cabinet Y or N | Is the cabinet holding the device locked? Y or N
| Device Attached to Facility Y or N | Is the device securely afixed (bolted, screwed) to the structure of the faicilty? Y or N
Fiber Plant | Fiber Connection Point Location
| Dark Fiber Available | Options Include: Yes No
| Fiber Destinations | Write-in your own answer listing where fiber travels to other facilities | Ties to DADMS Master Record | X
Control System Info | Functional Type | Per the Five Level Control System Architecture (Layer Cake) identify the approriate category below: INF - Component is part of the CS Infrastrcuture FCS - Component is part of a Field Control System | Used for prioritization during the approval process | X
| Functional Sub-Type | Based upon selection of Infrastructure or FCS above, enter the appropriate choice below: Infrastructure [Leave Blank] -Level 5 in Layer Cake Front End - Operational Servers, Workstations (Level 4 in Layer Cake) FPOC - Field Point of Connection (Level 3 in the layer Cake) Field Control System (Layers 0-2 in the Layer Cake) BCS - Building Control System UCS - Utility Control System BCS-UCS - part of both a BCS and UCS [other] - Use appropriate system desgination(ESS, FLSS, etc.) or just "Other" if unknown
| Accreditation Boundary | See Enclosure (3) in CIO Bulletin "Sustain, Manage and Protect CS Inventory" and select from the following choices: PE - Platform Enclave. This refers architecture, which may or may not be the "ICS-PE" OA - Operational Architecture
| Accreditation Component | Based upon selection of PE or OA above, enter the appropriate choice below: Platform Enclave CS-PE - Part of the ICS-PE authorization FACMCS - FEC NW Only [Leave Blank] - If not part of ICS-PE or FACMCS Operational Architecture NUMCS VHE - Hardware that is part of the NUMCS Virtual Hosting Environment NUMCS - If accredited under the NUMCS authorization, but not part of the VHE [Leave Blank] - If not part of NUMCS
| Part of which UMCS | The name of the UMCS to which this component belongs, e.g.: Hampton Roads TCON, Johnson2, SD Metro Telvent, SW AMI, AWEMS, etc. | Used for prioritization during the approval process | X
| Electrical/Mechanical system or equipment Controlled | Identify the specific real-world system or component which the listed device controls or monitors, such as "Feeder 17", "Boiler 2", etc. | Required as other fields do not easily identify what the device does. | X
HARDWARE DETAILS* | Device Type | Drop down accessible Options Include: Computer - Any laptop, desktop or server computer Supervisory Controller Equipment Controller Network Other | Required as other fields do not easily identify what the device does. | X
| Device Sub-Type | See Drop-Down menu options. Note that there is an "Other" option. If other is selected, please describe the device in the Device Function field. | Clarification for Device | X
| Device Function | A third level of breakdown as to what the specific Device is, or function it performs. Required for any device for which a Device Sub-Type of "Other" has been selected. Example 1: Device Type: IED Sub-Device Type: Protective Relay Device Function: Overcurrent Protection Example 2: Device type: IED Sub-Device Type: Gateway (Protocol Converter) Device Function: BACnet MS/TP to BACnet/IP router | IA Required | X
| Manufacturer | Device Manufacturer | I/A Required. Part of model designation. | X
| Product Line | Many inventory entries are part of a product line. Examples: Dell: "PowerEdge" Invensys: "I/A Series" Johnson Controls: "Metasys NOTE: Keep in mind that this is applicable to the software/firmware aspects as well and may or may not be identical to hardware product line, or different. | IA Required | X
| Model # | Device Model Number | IA Required | X
| Serial # | Device Serial Number | IA Required | X
Upstream Connectivity | Network Media Type | Does the device have remote connectivity to other devices, and if so is it hardwired, wireless, or both? Options Include: None DSL Telephone Wired, Copper Wired, Fiber Wireless Wired (Copper) and Wireless Wired (Fiber) and Wireless | IA Required | X
| Transport Protocol | Options Include: Ethernet Non-IP - The device utilizes Ethernet but is non-IP (non-Internet Protocol) Ethernet IP - The device utilizes an Ethernet IP protocol None - The device has no connected network Other - The device uses a protocol other than Ethernet
| Control Protocol | Options Include: Fox DNP 3.0 IEC-61850 BACnet C37.118 COMTRADE FTP Modbus MV-90 SEL Telnet Other (Write in)
Downstream Connectivity | Network Media Type | Options Include: None Wired, Copper Wired, Fiber Wireless
| Transport Protocol | Options Include: None Other Ethernet Non-IP Ethernet IP Non-Ethernet RS-485 RS-232 ARCNET
| Control Protocol | Options Include: DNP IEC-61850 BACnet Lon Modbus N1 N2 etc.
Maintenance Vendor Info | Vendor | Free form
| Maintenance Contract | Yes, No
| Contract Expiration | Date
| Service Frequency | Free form
| Format of service provided | Free form | IA Required | X
OPERATING SYSTEM & PLATFORM | Embedded OS? | Options Include: Yes - The device has an embedded Operating System (It is NOT a full-blown computer) No - The device has a conventional Operating System (It is a full-blown computer) | I/A Required | X
| OS Vendor | Provide the O/S Vendor Name, such as "Microsoft" or "Red Hat" | IA Required | X
| Operating System (O/S) | Provide the underlying operating system for the device. In the case of embedded controllers this will not always be known. For servers it is the flavor of Windows or Linux, etc. For embedded controllers it is the base O/S, such a QNX or Windows XP | IA Required | X
| O/S Version | Provide the version of the O/S | I/A Required | X
Platform | Platform Vendor | Provide the vendor of the platform. Mandatory for all computers; for embedded controllers provide content when known. | I/A Required (Part of Platform designation) | X
| Platform Product Line | Many inventory platform entries are part of a product line. Examples: Invensys: "I/A Series" Johnson Controls: "Metasys NOTE: Keep in mind that this is applicable to the software/firmware aspects only, and may be identical to hardware product line, or different. | IA Required | X
| Platform | Provide the name of the platform(s) running on top of the O/S. This will not always be known, and would include the application(s) being run on a server or embedded device such as Niagara, Metasys, Telvent, etc. | IA Required
| Platform Version | Provide the platform version | Needed for active Enclave management, full MAC retained by FEC. Minimum of first three octets will be submitted to HQ for verification against manufacturer. |  |  |  |  | X
NETWORK INFORMATION | MAC Address(es) | The MAC address. There will be one unique MAC address for each connected Ethernet port. MAC addresses may be captured in a later Stage, if not readily available at this time. | Required to manage Enterprise IP ranges and VLANs. |  |  | X
| IP Address(es) | Provide each IP address in use by the device | Reference use in developing IA required drawings, restrict to FEC retention. |  |  |  | X
| Upstream Device | Provide the serial number of the upstream Network device that this device connects to. | IA Required | X
| Hostname | Provide the hostname of the device, if known | I/A Required | X
| Logical Hardware | The Activity Assigned Unique ID number of the physical device upon which this entry resides. i.e.: if this entry is a virtual server, this field will contain the Activity Assigned Unique ID number of the physical server that hosts this virtual server | I/A Required | X
| Subnet Designation (VLAN) | Subnet upon which an IP device resides
| Date netowrk or securtiy scan performed | Self explanatory | I/A Required | X
|  |  | I/A Required | X
|  |  | IA Required | X
|  |  | I/A Required | X
|  |  | I/A Required | X
X
| Comments | Any comments about this Contorl System component
IMPORTANT: a. Where data is not available because it simply does not exist, such as the IP address of an unmanaged Ethernet switch, note this in the Comment field. b. Where data does exist, but has not yet been gathered in the inventory process, leave data fields BLANK.
** The Data Collection Form has fields for entering information specific to switch port usage. While not required for the inventory, this is valuable information to have in developing your IT/OT implementation, and takes little extra effort to capture during the inventory. It is highly recommended that each FEC capture this data for local use.

## Inventory
Control System Inventory TEMPLATE Version 10.6, for Contractor use only, in association with new contruciotn or repair projects that involve control systems.
Tracking |  | Location Information | [10 empty] | Physical Security |  |  |  | Extended Facility Information |  |  | Fiber Plant |  |  | Control System Info | [5 empty] | Hardware Details | [6 empty] | Upstream Network Connectivity |  |  | Downstream Network (Not Sensor) Connectivity |  |  | Vendor Contract Support / Maintenance |  |  |  |  | Operating System and Platform |  |  |  | Platform |  |  |  | Network Information (Actual Function, not potential function) |  |  |  | Miscellaneous |  | IA Posture |  | Device Custodian Information
| Barcode or Identifier | Region | Installation | Special Area (Optional) | Facility # / ID | Facility name | NFAID | Commodity | Floor | Room | Location | Enclosure / Mount Type | Locked Room | In Cabinet | Locked Cabinet | Attached to Facility |  | UPS | Estimated Number of Equipment Controllers in Facility | Fiber Connection Point Location | Dark Fiber Available | Fiber Destinations | Functional Type | Functional Sub-Type | Accreditation Boundary | Accreditation Component | Part of which UMCS | Electrical or Mechanical system or equipment Controlled | Device Type | Device Sub-Type | Device Function | Manufacturer | Product Line | Model # | Serial # | Network Media Type | Transport Protocol | Control Protocol | Network Media Type | Transport Protocol | Control Protocol | Vendor | Maintenance Contract | Contract Expiration | Service Frequency | Format of service provided | Embedded OS | O/S Vendor | Operating System (O/S) | O/S Version | Platform Vendor | Platform Product Line | Platform | Platform Version | MAC-Address(es) | IP Address(es) | Upstream Device | Hostname | Logical Hardware | Subnet Designation (VLAN) |  | Date Network or computer Scan performed |  | Comments

## iNFADSLKUP
| REGION_UIC | REGION_UIC_TITLE |  | Short FEC Name |  | NAVFAC_REGION_UIC | NAVFAC_REGION_UIC_TITLE | Manufacturer
N00171_COMNAVDISTWASHINGTONDC | N00171 | COMNAVDIST WASHINGTON DC |  | WA | N40080-NAVFAC WASHINGTON DC | N40080 | NAVFAC WASHINGTON DC | Siemens
N00242_COMNAVREGSWSANDIEGOCA | N00242 | COMNAVREG SW SAN DIEGO CA |  | SW | N62473-NAVFAC SOUTHWEST SAN DIEGO | N62473 | NAVFAC SOUTHWEST SAN DIEGO | 2WIRE
N09697_COMNAVREGSEJACKSONVILLEFL | N09697 | COMNAVREG SE JACKSONVILLE FL |  | SE | N69450-NAVFAC SOUTHEAST JACKSONVILLE | N69450 | NAVFAC SOUTHEAST JACKSONVILLE | 3Com
N3049B_COMMANDERNAVYREGEURAFSWA | N3049B | COMMANDER NAVY REG EURAFSWA |  | EU | N33191-NAVFAC EURSWA NAPLES IT | N33191 | NAVFAC EURSWA NAPLES IT | 3eTI
N61040_CNINAVALREGIONMIDWEST | N61040 | CNI NAVAL REGION MIDWEST |  | MW | N40083-NAVFAC MIDWEST GREAT LAKES IL | N40083 | NAVFAC MIDWEST GREAT LAKES IL | A.W. CASH CO.
N61075_NAVYREGIONKOREA | N61075 | NAVY REGION KOREA | [5 empty] | AAEON Electronics
N61076_COMNAVREGJAPAN | N61076 | COMNAVREG JAPAN |  | FE | N40084-NAVFAC FAR EAST YOKOSUKA JA | N40084 | NAVFAC FAR EAST YOKOSUKA JA | ABB
N61128_JTREGMARIANASGUAM | N61128 | JTREG MARIANAS GUAM |  | MA | N40192-NAVFAC MARIANAS GU | N40192 | NAVFAC MARIANAS GU | Acer
N61449_COMNAVREGPEARLHARBORHI | N61449 | COMNAVREG PEARL HARBOR HI |  | HI | N62478-NAVFAC HAWAII PEARL HARBOR HI | N62478 | NAVFAC HAWAII PEARL HARBOR HI | Acuity Brands
N61463_COMNAVREGMIDLANT | N61463 | COMNAVREG MIDLANT |  | ML | N40085-NAVFAC MIDLANT NORFOLK | N40085 | NAVFAC MIDLANT NORFOLK | ADC
N68742_COMNAVREGNWSEATTLEWA | N68742 | COMNAVREG NW SEATTLE WA |  | NW | N44255-NAVFAC NORTHWEST POULSBO | N44255 | NAVFAC NORTHWEST POULSBO | Adder
EU | N3049B | COMMANDER NAVY REG EURAFSWA | EU |  |  |  |  | Addison Fabricators
FE |  | FAR East | FE |  |  |  |  | Advantage Controls
HI | N61449 | COMNAVREG PEARL HARBOR HI | HI |  | N00025-NAVFACENGCOM WASHINGTON DC | N00025 | NAVFACENGCOM WASHINGTON DC | Advantech
JP | N61076 | COMNAVREG JAPAN | JP |  |  |  |  | AEG Schneider Automation
KO | N61075 | NAVY REGION KOREA | KO |  |  |  |  | AFL Industries
MA | N61128 | JTREG MARIANAS GUAM | MA |  |  |  |  | AirMagnet
ML | N61463 | COMNAVREG MIDLANT | ML |  |  |  |  | Air-X-Changers
MW | N61040 | CNI NAVAL REGION MIDWEST | MW |  |  |  |  | Alcad
NW | N68742 | COMNAVREG NW SEATTLE WA | NW |  |  |  |  | Alerton
SE | N09697 | COMNAVREG SE JACKSONVILLE FL | SE |  |  |  |  | Alfa-Laval
SW | N00242 | COMNAVREG SW SAN DIEGO CA | SW |  |  |  |  | ALFEX
WA | N00171 | COMNAVDIST WASHINGTON DC | WA |  |  |  |  | All-City Computers
Allen-Bradley
Allied Technologies
| ACTIVITY_UIC | ACTIVITY_UIC_TITLE | REGION_UIC | Short_Activity_Name | Short_Commodity | COMMODITY | SYS TYPE | Allied Telesis
Bethesda | N33355 | NAVSUPPACT BETHESDA MD | N00171 | Bethesda | CA | Compressed Air | AMI | Allied Telesyn
Pax_River | N47608 | NAVAL AIR STATION PAX RIVER | N00171 | Pax_River | CW | Chilled Water | BCS | Ameresco
Anacostia | N61142 | JBAB ANACOSTIA BOLLING | N00171 | Anacostia | EL | Electric | DDC | Americad
Potomac | N61151 | NSA SOUTH POTOMAC | N00171 | Potomac | Elevator | Elevator | ICS | American Air Filter
Annapolis | N61152 | NAVSUPPACT ANNAPOLIS | N00171 | Annapolis | FO | Fuel Oil | SCADA | American Auto-Matrix
Wash | N68469 | NAVAL SUPPORT ACTIVITY WASH | N00171 | Wash | HW | Hot Water | UCS | American Standard
San_Diego | N00245 | NAVBASE SAN DIEGO | N00242 | San_Diego | HVAC | HVAC and other building systems |  | Ametek, US BELLOWS
Coronado | N00246 | NAVBASE CORONADO | N00242 | Coronado | IR | Irrigation such as sprinklers |  | AMOT
China_Lake | N47609 | NAWS CHINA LAKE | N00242 | China_Lake | LT | Lighting (Other than that asscoiated with a single building) |  | Andover Controls
El_Centro | N60042 | NAF EL CENTRO CA | N00242 | El_Centro | Multiple | Multiple Commodities |  | Antec
Fallon | N60495 | NAS FALLON NV | N00242 | Fallon | NET | Network |  | APC
Monterey | N61014 | NAVSUPPACT MONTEREY CA | N00242 | Monterey | NG | Natural Gas |  | Arbiter Systems
Seal_Beach | N61065 | NAVWPNSTA SEAL BEACH | N00242 | Seal_Beach | Other | Other |  | Arena
Lemoore | N63042 | NAS LEMOORE CA | N00242 | Lemoore | OW | Oily Water |  | Arista
Point_Loma | N63406 | NAVBASE POINT LOMA | N00242 | Point_Loma | PW | Pure Water |  | Armstrong
Ventura | N69232 | NAVBASE VENTURA CTY PT MUGU CA | N00242 | Ventura | RG | Rain Guage |  | Artisan Controls
Atlanta | N00196 | NAS ATLANTA GA | N09697 | Atlanta | SE | Sanitary Sewage |  | Asante Tech
Pensacola | N00204 | NAS PENSACOLA FL | N09697 | Pensacola | ST | Steam |  | ASCO
New_Orleans | N00206 | NAS JRB NEW ORLEANS LA | N09697 | New_Orleans | SW | Salt Water |  | ASI Controls
Jacksonville | N00207 | NAS JACKSONVILLE FL | N09697 | Jacksonville | WA | Potable Water |  | ASIC
Key_West | N00213 | NAS KEY WEST FL | N09697 | Key_West | WO | Waste Oil |  | ASUS
Corpus_Christi | N00216 | NAS CORPUS CHRISTI TX | N09697 | Corpus_Christi | DW | Demineralized Water |  | Autoflame
Puerto_Rico | N40003 | NAVAL ACTIVITY PUERTO RICO | N09697 | Puerto_Rico | DI | Deionized Water |  | Automated Logic
Kings_Bay | N42237 | SUBASE KINGS BAY GA | N09697 | Kings_Bay | IW | Industrial Waste |  | Automated Solutions Group
Beaufort | N50173 | NAVSUPPFAC BEAUFORT SC | N09697 | Beaufort | Sol_Wst | Solid Waste |  | Automation Direct
Mayport | N60201 | NAVSTA MAYPORT FL | N09697 | Mayport |  |  |  | AVG
Kingsville | N60241 | NAS KINGSVILLE TX | N09697 | Kingsville |  |  |  | Axis
Milton | N60508 | NAS WHITING FLD MILTON FL | N09697 | Milton |  |  |  | Azio
GTMO | N60514 | NAVSTA GUANTANAMO BAY | N09697 | GTMO | Device Type |  |  | B&B Electronics
Orlando | N61007 | NAVAL SUPPORT ACTIVITY ORLANDO | N09697 | Orlando | Computer |  |  | Baldor
Panama_City | N61008 | NAVAL SUPPORT ACTY PANAMA CITY | N09697 | Panama_City | Peripheral |  |  | Baldor Reliance
Gulfport | N62604 | CBC GULFPORT MS | N09697 | Gulfport | Equipment Controller |  |  | Barber Coleman
Meridian | N63043 | NAS MERIDIAN MS | N09697 | Meridian | Supervisory Controller |  |  | BASLER ELECTRIC
Ingleside | N68891 | NAVSTA INGLESIDE TX | N09697 | Ingleside | Network |  |  | Bay Controls
Fort_Worth | N83447 | NAS JRB FT WORTH TX | N09697 | Fort_Worth | Other |  |  | Bay Networks
Djibouti | N3379A | CAMP LEMONNIER DJIBOUTI | N3049B | Djibouti |  |  |  | Belkin
Naples | N62588 | NAVSUPPACT NAPLES IT | N3049B | Naples |  |  |  | Beloit Power Systems
Rota | N62863 | NAVSTA ROTA SP | N3049B | Rota |  |  |  | Black Box
Sigonella | N62995 | NAS SIGONELLA IT | N3049B | Sigonela |  |  |  | Bristol Babcock
Bahrain | N63005 | NAVSUPPACT BAHRAIN | N3049B | Bahrain |  |  |  | Brother
Souda_Bay | N66691 | NAVSUPPACT SOUDA BAY GR | N3049B | Souda_Bay | Device Sub-Type |  |  | Buffalo
New_Orleans | M67861 | MARCORRESFOR NEW ORLEANS LA | N61040 | New_Orleans | Computer | Laptop |  | Burgess-Manning
Grreat_Lakes | N00128 | GREAT LAKES NAVAL STATION | N61040 | Grreat_Lakes | Computer | Other |  | Busby
Memphis | N00639 | NAVSUPPACT MIDSOUTH MEMPHIS TN | N61040 | Memphis | Computer | Server, Child |  | Busby Marine & Tank
Crane | N61018 | NAVAL SUPPORT ACTIVITY CRANE | N61040 | Crane | Computer | Server, Parent |  | Cal Amp
Chinhae | N32778 | FLEET ACTIVITIES CHINHAE KS | N61075 | Chinhae | Computer | Workstation, Development |  | Caloritech
Yokosuka | N61054 | COMFLEACT YOKOSUKA JA | N61076 | Yokosuka | Computer | Workstation, Operator |  | Campbell Scientific
Okinawa | N61056 | COMFLEACT OKINAWA JA | N61076 | Okinawa | Computer | Workstation, System Access |  | CAPRI
Atdugi | N61057 | NAF ATSUGI JA | N61076 | Atdugi | Peripheral | Monitor |  | CAPRON
Sasebo | N61058 | COMFLEACT SASEBO JA | N61076 | Sasebo | Supervisory Controller | Building Level Controller |  | Cardinal
Misawa | N61060 | NAF MISAWA JA | N61076 | Misawa | Supervisory Controller | Comm Processor |  | Carel
Singapore | N61077 | SINGAPORE AREA COORDINATOR | N61076 | Singapore | Supervisory Controller | RTAC |  | Carrier
Diego_Garcia | N61078 | NAVSUPPFAC DIEGO GARCIA IO | N61076 | Diego_Garcia | Supervisory Controller | RTU |  | CentreCom
Anderson | N41557 | NSA ANDERSEN GUAM | N61128 | Anderson | Supervisory Controller | With Device IO |  | Check Point
NAVBASE_Guam | N61755 | NAVBASE GUAM | N61128 | NAVBASE_Guam | Equipment Controller | Battery Charger |  | Cisco Systems
NAVHOSP_Guam | N68096 | NAVHOSP GUAM | N61128 | NAVHOSP_Guam | Equipment Controller | Other |  | C-More
Barking_Sands | N61064 | CNIC PMRF BARKING SANDS HI | N61449 | Barking_Sands | Equipment Controller | PLC |  | Colt Industries
Pearl_Harbor | N62813 | JBPHH PEARL HARBOR HI | N61449 | Pearl_Harbor | Equipment Controller | Power Meter |  | Commercial Control Services
New_London | N00129 | NAVSUBASE NEW LONDON CT | N61463 | New_London | Equipment Controller | Protective Relay |  | Commercial Fabricators
Sugar_Grove | N31188 | NIOC SUGAR GROVE WV | N61463 | Sugar_Grove | Equipment Controller | UPS |  | Compaq
Newport | N32411 | NAVAL STATION NEWPORT RI | N61463 | Newport | Equipment Controller | PDU |  | Computer Dynamics
Mechanicsburg | N32414 | NAVSUPPACT MECHANICSBURG PA | N61463 | Mechanicsburg | Equipment Controller | Weather Station |  | Com-Trol
NSA_Norfolk | N32443 | NSA NORFOLK NAVY SHIPYARD | N61463 | NSA_Norfolk | Network | Ethernet Switch |  | Connect Tech
Portsmouth | N32446 | NSS PORTSMOUTH NAVY SHIPYARD | N61463 | Portsmouth | Network | Ethernet Switch, Edge |  | Contemporary Controls
Little_Creek | N50092 | JNTEXPBASE LITTLE CREEK FS VA | N61463 | Little_Creek | Network | Firewall |  | Control Microsystems
Hampton_Roads | N57095 | NAVSUPPACT HAMPTON ROADS VA | N61463 | Hampton_Roads | Network | Gateway (Protocol Converter) |  | Control Pak
Oceana | N60191 | NAS OCEANA VA | N61463 | Oceana | Network | Media Converter |  | Cooper Power Systems
Saratoga_Springs | N61011 | NSA SARATOGA SPRINGS NY | N61463 | Saratoga_Springs | Network | Other |  | Crompton
NAVSTA_Norfolk | N62688 | NAVSTA NORFOLK VA | N61463 | NAVSTA_Norfolk | Network | Repeater (Operational) |  | CSI
Yorktown | N69212 | NAVAL WEAPONS STATION YORKTOWN | N61463 | Yorktown | Network | Router |  | Cutler-Hammer
Earle | N69213 | NAVAL WEAPONS STATION EARLE NJ | N61463 | Earle | Network | IDS |  | CyberPower
Whidbey | N00620 | NAS WHIDBEY ISLAND WA | N68742 | Whidbey | Network | Modem |  | Cylon
Indian_Island | N61066 | CNI NAVMAG INDIAN ISLAND | N68742 | Indian_Island | Network | Radio |  | Daikin Industries
Kitsap | N68436 | NAVAL BASE KITSAP BREMERTON WA | N68742 | Kitsap | Network | WIDS |  | Data Aire
Everett | N68967 | NAVSTA EVERETT WA | N68742 | Everett | Other | HMI Touch Panel |  | Data Flow Systems
[5 empty] | Other | Other |  | Data-Linc
[5 empty] | Other | Printer |  | Datatech Development Corp
[5 empty] | Other | Video Camera |  | Davisville
[5 empty] | Other | Video-Over-IP |  | Dayton
[5 empty] | Other | HMI Touch Panel |  | DEC
[5 empty] | Other | KVM Switch |  | De-Laval
[5 empty] | Other | NAS |  | Dell
[5 empty] | Other | Network Service |  | Delta
[5 empty] | Other | USB Server |  | Delta Controls
[5 empty] | Other | Cluster |  | Digi
[5 empty] | Other | SAN |  | Digiboard
[5 empty] | Other | Tape Library |  | Digital Loggers
[5 empty] | Other | Teamed NIC |  | Digital Networks
DISTECH
D-Link
Dodge Mfg. Corp
Dolch
Drobo
Dulec
Dutec
Dyden
Dynex
Eason Technology
Eaton
Echelon
Ecolaire Valve
Electro Industries
Electrol Specialties
Electronics Diversified, Inc.
Elitegroup Computer Systems
ELO
Elo Touch Solutions
EMC
Emerson
Emerson-Leibert
Encorp
Energy Industries
Envision
ESI
FiberDyne Labs
FieldServer Technologies
Flow Seal
Fluke Networks
Flygt ITT Industries
Fuji
Furnas
Gamewell
Garlock
Garrettcom
Gateway
GE-MDS
General Dynamics
General Electric
Genicom
Gorman-Rupp
Goulds
Hadax
Hayes
Hirschmann
Hitachi
Honda
Honeywell
HP
HP Compaq
HSQ
I T I
iDirect
IMC Networks
Indeco Industrial Eng & Equip
Industrial Control Communications
Infinias
Ingersoll-Rand
Insturment Transformer Inc
Insular
Intellinet
International Production Specialist
Invensys
ITEK
Itron
J.D. GOULDS CO.
JK Microsystems
Johnson Controls
KMC
Kraisil
KTI Networks
La Marche
Landis
Landis & Gyr
Landis/Staefa
Lantronix
Lavoptic
Legend Valve
Lenovo
Leslie Controls
LevelOne
Levovo
Lexmark Printer
LG
Lighting Control and Design
Lincoln AC Motor
Link Belt
Linksys
Louis Allis / Beloit
Loytec
Lucent/Avaya
Lynxspring
MacNaught
Maple Systems
Marathon Electric
Master Gear
McQuay
Meidensha
Merlin Gerin
Metasys
Metro Mobility
Micron
Microsoft
Microwave Data Systems
Mitsubishi
Modicon
Monorail PC
Motorola
Moxa
Multi Tech Systems
Nalco
NDA
NEC
NETGEAR
Netopia
NIBCO
Norgren
Nortel
Novar
Ntron
N-TRON
Nugent
O&M Mfg
Obvius Holdings LLC
Odessa Engineering
Okidata
Optelicom-MKF
Opto 22
Orion
Pacemaker
Panasonic
Paradox Engineering
Patton
Pemeco
Penril DataComm
Perfex
Perle
Phoenix Contact
Phoenix Technologies
Planar
Planet Technology
PML
Pneu-logic
Powell Iso-Trol
Power Assist
Power Management
Power Measurement
PowerLogic
Practical Peripherals
Precision Controls
Pro side
Pro-Face Xycom
ProSoft
Protocessor
Racal-Datacom
Raco
Raritan
Raymar
Reliable
Reliable Controls
Reliance Electric
RENU Electronics PVT LTD
Richards-Zeta
Ricoh
Robert Shaw
Rockwell Automation
Roper Pump
Roy E. Hanson Jr.
RuggedCom
RUGID
S. I. Tech
Samsung
Sanyo Denki
Schneider Electric
Schweitzer Engineering Laboratories
Securall
Seiko
Sell Storm
Siebe
Siemens
Siere
Sierra Monitor Corporation
Signamax
Silex
Singer
Sixnet
Skyline Electric and Mfg
SMA
SMC
Square D
Staefa
Staefa/Siemens
Sta-Rite
Stulz
Stulz Dehydrator Systems
Sun Microsytems
Sun Technologies
Symmetricom
Synoptics
Syrus Tech
Systemax
TAC
Tate Andale
Tek-Air
Teledyne Wisconsin
Teletrol
Telvent
Toshiba
Total Control Products
Trafag CE
Trane
Transition Networks
Trend Control Systems
Trendnet
Tridium
Trio Datacom
Triplite
Tyco
U.S. Bellows
U.S. Robotics
UHL
Unicom
Unitron
Universal Silencer
Uticor
Veeder-Root
Veris
Viking
WAGO
Walchem
Westermo
Westinghouse
Wood Industries Production
WOODWARD
Yamaha
Yokogawa
Zhone
Zoom Telephonics
Zultrix