SECTION 01701 - CONTRACT CLOSEOUT - ASBESTOS ABATEMENT

BASED ON SECTION 01700 "CONTRACT CLOSEOUT" FROM MASTERSPEC TEXT COPYRIGHTED IN 1994 BY AIA, THE AMERICAN INSTITUTE OF ARCHITECTS.

THIS SECTION HAS BEEN COMPLETELY REVISED TO INCORPORATE CHANGES IN THE REVISED MASTERSPEC SECTION ON PROJECT CLOSEOUT.

THIS SECTION USES THE TERM DESIGNER. CHANGE THIS TERM AS NECESSARY TO MATCH THE ACTUAL TERM USED TO IDENTIFY THE DESIGN PROFESSIONAL AS DEFINED IN THE GENERAL AND SUPPLEMENTARY CONDITIONS.

PART 1 - GENERAL

1.1	RELATED DOCUMENTS

A.	Drawings and general provisions of the Contract, including General and Supplementary Conditions and other Division 1 Specification Sections, apply to this Section.

1.2	SUMMARY

A.	This Section includes administrative and procedural requirements for contract closeout including, but not limited to, the following:

1.	Inspection procedures.

2.	Project record document submittal.

3.	Submittal of warranties.

4.	Final cleaning.

B.	Closeout requirements for specific construction activities are included in the appropriate Sections in Divisions 2 through 16.

1.3	SUBSTANTIAL COMPLETION

A.	Preliminary Procedures:  Before requesting inspection for certification of Substantial Completion, complete the following.  List exceptions in the request.

DELETE ITEMS FROM LIST BELOW THAT ARE NOT APPLICABLE OR MODIFY ITEMS RETAINED TO SUIT PROJECT.

1.	In the Application for Payment that coincides with, or first follows, the date Substantial Completion is claimed, show 100 percent completion for the portion of the Work claimed as substantially complete.

a.	Include supporting documentation for completion as indicated in these Contract Documents and a statement showing an accounting of changes to the Contract Sum.

b.	If 100 percent completion cannot be shown, include a list of incomplete items, the value of incomplete construction, and reasons the Work is not complete.

2.	Advise the Owner of pending insurance changeover requirements.

3.	Submit specific warranties, workmanship bonds, maintenance agreements, final certifications, and similar documents.

4.	Obtain and submit releases enabling the Owner unrestricted use of the Work and access to services and utilities.  Include occupancy permits, operating certificates, and similar releases.

DELETE SUBPARAGRAPHS BELOW IF SUBMITTAL OF THIS MATERIAL IS DELAYED UNTIL FINAL ACCEPTANCE.

5.	Submit record drawings, maintenance manuals, final project photographs, damage or settlement surveys, property surveys, and similar final record information.

6.	Make final changeover of permanent locks and transmit keys to the Owner.  Advise the Owner's personnel of changeover in security provisions.

7.	Complete startup testing of systems and instruction of the Owner's operation and maintenance personnel.  Discontinue and remove temporary facilities from the site, along with mockups, construction tools, and similar elements.

DELETE 2 SUBPARAGRAPHS BELOW IF PROJECT DOES NOT INCLUDE THESE ITEMS OR IF THEY ARE DELAYED UNTIL FINAL ACCEPTANCE.

8.	Complete final cleanup requirements, including touch up painting.

9.	Touch up and otherwise repair and restore marred, exposed finishes.

MODIFY PARAGRAPH BELOW TO COMPLY WITH OFFICE POLICY AND PROJECT REQUIREMENTS.

B.	Inspection Procedures:  On receipt of a request for inspection, the Designer will either proceed with inspection or advise the Contractor of unfilled requirements.  The Designer will prepare the Certificate of Substantial Completion following inspection or advise the Contractor of construction that must be completed or corrected before the certificate will be issued.

1.	The Designer will repeat inspection when requested and assured that the Work is substantially complete.

2.	Results of the completed inspection will form the basis of requirements for final acceptance.

1.4	FINAL ACCEPTANCE

A.	Preliminary Procedures:  Before requesting final inspection for certification of final acceptance and final payment, complete the following.  List exceptions in the request.

REVISE SUBPARAGRAPHS BELOW TO MATCH THE SUPPLEMENTARY CONDITIONS.

1.	Submit the final payment request with releases and supporting documentation not previously submitted and accepted.  Include insurance certificates for products and completed operations where required.

2.	Submit an updated final statement, accounting for final additional changes to the Contract Sum.

3.	Submit a certified copy of the Designer's final inspection list of items to be completed or corrected, endorsed and dated by the Designer.  The certified copy of the list shall state that each item has been completed or otherwise resolved for acceptance and shall be endorsed and dated by the Designer.

4.	Submit final meter readings for utilities, a measured record of stored fuel, and similar data as of the date of Substantial Completion or when the Owner took possession of and assumed responsibility for corresponding elements of the Work.

5.	Submit consent of surety to final payment.

6.	Submit a final liquidated damages settlement statement.

GENERALLY DELETE THE FOLLOWING. IT IS WISE TO SEEK THE ADVICE OF OWNER'S COUNSEL AND AN INSURANCE CONSULTANT.

7.	Submit evidence of final, continuing insurance coverage complying with insurance requirements.

MODIFY THE NEXT PARAGRAPH TO COMPLY WITH OFFICE POLICY AND PROJECT REQUIREMENTS.

B.	Reinspection Procedure:  The Designer will reinspect the Work upon receipt of notice that the Work, including inspection list items from earlier inspections, has been completed, except for items whose completion is delayed under circumstances acceptable to the Designer.

1.	Upon completion of reinspection, the Designer will prepare a certificate of final acceptance.  If the Work is incomplete, the Designer will advise the Contractor of Work that is incomplete or of obligations that have not been fulfilled but are required for final acceptance.

2.	If necessary, reinspection will be repeated.

DELETE THE NEXT ARTICLE IF PROJECT USES DIVISION 1 SUPPLEMENTAL SECTION "PROJECT RECORD DOCUMENTS."

1.5	RECORD DOCUMENT SUBMITTALS

ARTICLE 3.11 OF AIA DOCUMENT A201 INCLUDES GENERAL PROVISIONS FOR RECORD DOCUMENTS. PARAGRAPHS IN THIS ARTICLE EXPAND ON THOSE REQUIREMENTS.

A.	General:  Do not use record documents for construction purposes.  Protect record documents from deterioration and loss in a secure, fire-resistant location.  Provide access to record documents for the Designer's reference during normal working hours.

USE DIVISION 1 SUPPLEMENTAL SECTION "PRODUCT RECORD DOCUMENTS" WHEN SPECIAL PROCEDURES, SUCH AS CORRECTED, REPRODUCIBLE COPIES OF CONTRACT DRAWINGS, ARE REQUIRED.

B.	Record Drawings:  Maintain a clean, undamaged set of blue or black line white-prints of Contract Drawings and Shop Drawings.  Mark the set to show the actual installation where the installation varies substantially from the Work as originally shown.  Mark which drawing is most capable of showing conditions fully and accurately.  Where Shop Drawings are used, record a cross-reference at the corresponding location on the Contract Drawings.  Give particular attention to concealed elements that would be difficult to measure and record at a later date.

1.	Mark record sets with red erasable pencil.  Use other colors to distinguish between variations in separate categories of the Work.

2.	Mark new information that is important to the Owner but was not shown on Contract Drawings or Shop Drawings.

3.	Note related change-order numbers where applicable.

4.	Organize record drawing sheets into manageable sets.  Bind sets with durable-paper cover sheets; print suitable titles, dates, and other identification on the cover of each set.

CONSIDER DELETING PARAGRAPH BELOW ON SMALL PROJECTS

C.	Record Specifications:  Maintain one complete copy of the Project Manual, including addenda.  Include with the Project Manual one copy of other written construction documents, such as Change Orders and modifications issued in printed form during construction.

1.	Mark these documents to show substantial variations in actual Work performed in comparison with the text of the Specifications and modifications.

2.	Give particular attention to substitutions and selection of options and information on concealed construction that cannot otherwise be readily discerned later by direct observation.

3.	Note related record drawing information and Product Data.

4.	Upon completion of the Work, submit record Specifications to the Designer for the Owner's records.

CONSIDER DELETING PARAGRAPH BELOW ON SMALL PROJECTS. IF CHANGE-ORDER PROPOSALS INCLUDE RESUBMITTAL OF UPDATED PRODUCT DATA, THE NEED TO MARK UP THE PREVIOUS SUBMITTAL IS ELIMINATED.

D.	Record Product Data:  Maintain one copy of each Product Data submittal.  Note related Change Orders and markup of record drawings and Specifications.

1.	Mark these documents to show significant variations in actual Work performed in comparison with information submitted.  Include variations in products delivered to the site and from the manufacturer's installation instructions and recommendations.

2.	Give particular attention to concealed products and portions of the Work that cannot otherwise be readily discerned later by direct observation.

3.	Upon completion of markup, submit complete set of record Product Data to the Designer for the Owner's records.

PARAGRAPH BELOW CONTAINS REQUIREMENTS FOR HANDLING MISCELLANEOUS RECORD SUBMITTALS, SUCH AS LANDFILL RECEIPTS, LOGS, ETC. IF MORE DETAILED REQUIREMENTS ARE NECESSARY, ADD A SUMMARY OF MISCELLANEOUS RECORD SUBMITTALS.

E.	Miscellaneous Record Submittals:  Refer to other Specification Sections for requirements of miscellaneous record keeping and submittals in connection with actual performance of the Work.  Immediately prior to the date or dates of Substantial Completion, complete miscellaneous records and place in good order.  Identify miscellaneous records properly and bind or file, ready for continued use and reference.  Submit to the Designer for the Owner's records.

PART 2 - PRODUCTS  (Not Applicable)

PART 3 - EXECUTION

3.1	FINAL CLEANING

DELETE OR REVISE THIS SECTION IF THE ASBESTOS ABATEMENT PROJECT IS THE DEMOLITION PORTION OF A RENOVATION PROJECT. IN THIS INSTANCE THE WORK SITE DOES NOT NEED TO BE CLEANED FOR RE-OCCUPANCY

THIS CLEANING DIFFERS FROM PROJECT DECONTAMINATION. THIS IS A GENERAL HOUSECLEANING BEFORE TURNING THE SITE BACK TO THE OWNER. DELETE THIS ARTICLE WHEN USING DIVISION 1 SUPPLEMENTAL SECTION "FINAL CLEANING" OR IF OWNERS PREFER TO USE THEIR OWN FORCES. CLEANING PROVISIONS IN THE GENERAL CONDITIONS ARE LIMITED TO RUBBISH REMOVAL AND SIMILAR ACTIVITIES.

A.	General:  The General Conditions require general cleaning during construction.  Regular site cleaning is included in Division 1 Section "Construction Facilities and Temporary Controls."  The cleaning in this Section is in addition to cleaning which is part of decontamination work.  This section is intended to return the facility to the Owner in presentable condition.

B.	Cleaning:  Employ experienced workers or professional cleaners for final cleaning.  Clean each surface or unit to the condition expected in a normal, commercial building cleaning and maintenance program.  Comply with manufacturer's instructions.

IF FINAL CLEANING IS DELAYED UNTIL FINAL ACCEPTANCE, MODIFY SUBPARAGRAPH BELOW.

1.	Complete the following cleaning operations before requesting inspection for certification of Substantial Completion.

BELOW IS A SAMPLE LIST OF FINAL-CLEANING REQUIREMENTS. MODIFY TO SUIT PROJECT. IF LIST IS EXTENSIVE, USE DIVISION 1 SUPPLEMENTAL SECTION "FINAL CLEANING."

a.	Remove labels that are not permanent labels.

b.	Clean transparent materials, including mirrors and glass in doors and windows.  Remove glazing compounds and other substances that are noticeable vision-obscuring materials.

c.	Replace chipped or broken glass and other damaged transparent materials.

d.	Clean exposed exterior and interior hard-surfaced finishes to a dust-free condition, free of stains, films, and similar foreign substances.  Restore reflective surfaces to their original condition.  Leave concrete floors broom clean.  Vacuum carpeted surfaces.

e.	Wipe surfaces of mechanical and electrical equipment.  Remove excess lubrication and other substances.  Clean plumbing fixtures to a sanitary condition.  Clean light fixtures and lamps.

f.	Clean the site, including landscape development areas, of rubbish, litter, and other foreign substances.  Sweep paved areas broom clean; remove stains, spills, and other foreign deposits.  Rake grounds that are neither paved nor planted to a smooth, even-textured surface.

The NEXT TWO PARAGRAPHS BELOW REPRESENT THE END OF WORK SPECIFIED IN DIVISION 1 SECTION " TEMPORARY FACILITIES - ASBESTOS ABATEMENT ."

C.	Removal of Protection:  Remove temporary protection and facilities installed for protection of the Work during construction.

D.	Compliance:  Comply with regulations of authorities having jurisdiction and safety standards for cleaning.  Do not burn waste materials.  Do not bury debris or excess materials on the Owner's property.  Do not discharge volatile, harmful, or dangerous materials into drainage systems.  Remove waste materials from the site and dispose of lawfully.

1.	Where extra materials of value remain after completion of associated Work, they become the Owner's property.  Dispose of these materials as directed by the Owner.

END OF SECTION 01701