SECTION 01563 - DECONTAMINATION UNITS

THE DECONTAMINATION UNITS PROVIDE TWO FUNCTIONS. THEY ARE THE LOCATION WHERE PERSONNEL AND MATERIALS ARE DECONTAMINATED BEFORE LEAVING THE WORK AREA. THEY ALSO ARE THE ONLY ACCESS BETWEEN THE WORK AREA AND THE REST OF THE BUILDING. THIS ACCESS MUST BE CONTROLLED TO PREVENT SPREAD OF CONTAMINATION INTO THE BUILDING. THE MEANS OF ACCOMPLISHING BOTH FUNCTIONS IS THE SAME. A CONTAMINATED PERSON MOVES DOWN A CONTAMINATED PATH TO A POINT OF DECONTAMINATION (THE SHOWER). AT THIS POINT THE PERSON IS RENDERED CLEAN AND FREE OF CONTAMINATION AND FOLLOWS A SECOND, CLEAN PATH OUT OF THE DECONTAMINATION UNIT TO THE BUILDING. CONTAMINATED MATERIALS ARE TAKEN THROUGH A PROCESS OF BECOMING CLEANER AS THEY GO THROUGH THE DECONTAMINATION UNIT.

THE PRACTICAL PROBLEM WITH THIS APPROACH IS THAT THE CONTAMINATED PATH CAN EASILY BECOME SO OVERBURDENED WITH CONTAMINATION THAT IT OVERWHELMS THE CAPABILITY OF THE DECONTAMINATION FACILITY. TO PREVENT THIS THE CONTAMINATED PATH MUST BE CLEANED PERIODICALLY TO PREVENT A BUILD-UP OF DEBRIS.

PART 1 - GENERAL

1.1	RELATED DOCUMENTS:

A.	Drawings and general provisions of Contract, including General and Supplementary  Conditions and other Division-1 Specification sections, apply to work of this section.

1.2	DESCRIPTION OF WORK:

A.	Provide separate Personnel and Equipment Decontamination facilities.  Require that the Personnel Decontamination Unit be the only means of ingress and egress for the Work Area.  Require that all materials exit the Work Area through the Equipment Decontamination Unit.

1.3	RELATED WORK SPECIFIED ELSEWHERE:

A.	Refer to Section 01503 Temporary Facilities - Asbestos Abatement for electrical requirements and requirements relative to connection of decontamination facilities to building systems such as water, sewer, and electrical.

1.4	SUBMITTALS

A.	Before the Start of Work:  Submit the following to the Designer for review.  Do not begin work until these submittals are returned with Designer's action stamp indicating that the submittal is returned for unrestricted use or final-but-restricted use.

EDIT THE FOLLOWING LIST. IN PARTICULAR, THE NUMBER OF SUBMITTALS MAY BE REDUCED IF EXISTING PRE-BUILT UNITS ARE TO BE USED BY THE CONTRACTOR.

1.	Personnel Decontamination Unit:  Provide shop drawing showing location and assembly of personnel decontamination units.

2.	Equipment Decontamination Unit:  Provide shop drawing showing location and assembly of equipment decontamination units.

3.	Shower Pan: Provide shop drawing.

4.	Shower Walls: Provide product data.

5.	Shower Head and Controls:  Provide product data.

6.	Filters:  Provide product data and shop drawing of installation on decontamination unit.

7.	Hose Bib:  Provide product data.

8.	Shower Stall:  for Wash Down Station provide product data and shop drawing showing and modifications.

DELETE FOLLOWING IF NO ELASTOMERIC MEMBRANE IS TO BE USED.

9.	Elastomeric membrane:  Provide product data.

10.	Lumber:  Provide product data on fire resistance treatment.

11.	Sump Pump: Provide product data.

12.	Signs:  Submit samples of signs to be used.

PART 2 - PRODUCTS

EDIT THE FOLLOWING LIST TO ELIMINATE THOSE TYPES OF PLASTIC NOT USED.

FOLLOWING IS MOST LIKELY TO BE FOUND ON THE JOB IN THE ABSENCE OF A MORE SPECIFIC REQUIREMENT.

2.1	MATERIALS

A.	Polyethylene Sheet:  A single polyethylene film in the largest sheet size possible to minimize seams,  6.0 mil (0.15 mm)  thick , clear, frosted, or black as indicated.

FOLLOWING IS A GOOD GENERAL PRECAUTION AND SHOULD ALWAYS BE USED IN AREAS WHERE THERE IS HOT EQUIPMENT OR A POTENTIAL FOR FIRE, SUCH AS IN A BOILER ROOM. FIRE RETARDANT SHEET PLASTIC IS CONSIDERABLY MORE EXPENSIVE THAN STANDARD PLASTIC.

B.	Polyethylene Sheet:  Provide flame resistant polyethylene film that conforms to requirements set forth by the National Fire Protection Association Standard 701, Small Scale Fire Test for Flame-resistant Textiles and Films.  Provide largest size possible to minimize seams,  6.0 mil (0.15 mm) thick , frosted or black as indicated.

REINFORCED PLASTIC SHOULD BE USED IN EXTERIOR APPLICATIONS WHERE THE SHEET IS EXPECTED TO BE STRESSED BY WINDS OR IN ANY LOCATION WHERE HIGH SKIN STRENGTH IS REQUIRED. FOLLOWING IS AN EXAMPLE OF LANGUAGE WHICH CAN BE USED. EDIT TO SUIT PROJECT REQUIREMENTS.

C.	Reinforced Polyethylene Sheet:  Where plastic sheet is the only separation between the Work Area and building exterior, provide translucent, nylon reinforced, laminated, flame resistant, polyethylene film that conforms to requirements set forth by the National Fire Protection Association Standard 701, Small Scale Fire Test for Flame-resistant Textiles and Films.  Provide largest size possible to minimize seams,  6.0 mil (0.15 mm) thick , frosted or black as indicated.

D.	Duct Tape: Provide duct tape in 2 inch or 3 inch (51mm or 76 mm ) widths as indicated, with an adhesive which is formulated to stick aggressively to sheet polyethylene.

E.	Spray Adhesive: Provide spray adhesive in aerosol cans which is specifically formulated to stick tenaciously to sheet polyethylene.

F.	Shower Pan: Provide one piece waterproof shower pan 4 feet x 8 feet x 6 inches deep (102 mm X 204 mm x 152 mm deep).  Fabricate from seamless fiberglass minimum 1/16 inch (1.59 mm) thick reinforced with wood, 18 ga. stainless or galvanized steel with welded seems, copper or lead with soldered seams, or a seamless liner of minimum 60 mil (1.5 mm)  thick elastomeric membrane.

G.	Shower Walls: Provide 8 feet (2.44 m) long by approximately 7 feet (2.13 m ) high walls fabricated from rigid, impervious, waterproof material, either corrugated fiberglass roofing or equivalent.  Structurally support as necessary for stability.

H.	Shower Head and Controls:  Provide a factory-made shower head producing a spray of water which can be adjusted for spray size and intensity.  Feed shower with water mixed from hot and cold supply lines.  Arrange so that control of water temperature, flow rate, and shut off is from inside shower without outside aid.

I.	Filters:  Provide cascaded filter units on drain lines from showers or any other water source carrying asbestos-contaminated water from the Work Area.  Provide units with disposable filter elements as indicated below.  Connect so that discharged water passes primary filter and output of primary filter passes through secondary filter.

1.	Primary Filter - Passes particles 20 microns and smaller

2.	Secondary Filter - Passes particles 5 microns and smaller

J.	Hose Bib:  Provide heavy bronze angle type with wheel handle, vacuum breaker, and 3/4 inch (19.05 mm) National Standard male hose outlet.

K.	Shower Stall:  For Wash Down Station provide leak tight shower enclosure with integrated drain pan fabricated from fiberglass or other durable waterproof material, approximately 3 feet x 3 feet (0.91m  x  0.91 m)  square with minimum 6 feet (1.83 m) high sides and back. Structurally support as necessary for stability.  Equip with hose bib, as specified in this section, mounted at approximately 4 feet (1.22 m) above drain pan.  Connect drain to a reservoir, pump water from reservoir through filters to a drain or store and use for amended water.  Mount filters inside shower stall on back wall beneath hose bib.

DELETE THE FOLLOWING IF ELASTOMERIC MEMBRANE IS NOT USED FOR SHOWER DOORS

L.	Elastomeric membrane:  Provide uniform flat sheets of flexible sheet roofing material fabricated from EPDM (ethylene propylene diene monomers) or Neoprene (polychloroprene), in a nominal 45 mil (1.14 mm ) thickness.

M.	Lumber:  Provide kiln dried lumber of any grade or species.

N.	Sump Pump: Provide totally submersible waterproof sump pump with integral float switch.  Provide unit sized to pump 2 times the flow capacity of all showers or hoses supplying water to the sump, through the filters specified herein when they are loaded to the extent that replacement is required.  Provide unit capable of pumping debris, sand, plaster or other materials washed off during decontamination procedures without damage to mechanism of pump. Adjust float switch so that a minimum of 3 inch (76 mm)  remains between top of liquid and top of sump pan.

PART 3 - EXECUTION

3.1	PERSONNEL DECONTAMINATION UNIT:

THE PERSONNEL DECONTAMINATION UNIT IS HISTORICALLY THE MOST COMMON LOCATION OF FAILURE OF THE Work Area ISOLATION MEASURES. THIS TYPICALLY OCCURS BY A GRADUAL MIGRATION OF ASBESTOS LADEN DEBRIS THROUGH THE FACILITY. THE FOLLOWING ATTEMPTS TO OVERCOME THIS BY TWO MEANS. THE ENTIRE FACILITY IS CLEANED AFTER EACH SHIFT CHANGE TO PREVENT A BUILD-UP OF DEBRIS. UNDER THE BEST OF CIRCUMSTANCES THE PATH FROM THE WORK AREA TO THE SHOWER WILL BE CONTAMINATED. THE SHOWER BECOMES CONTAMINATED BY THE ENTRY OF A CONTAMINATED WORKER. THIS CONTAMINATION IS BY NO MEANS THEORETICAL. NORMALLY, IT TAKES THE FORM OF SPLATTERED DEBRIS ON ALL INTERIOR SURFACES OF THE SHOWER. THE PATH FROM THE SHOWER TO THE BUILDING MUST BE CLEAN. FOR THIS REASON THE SHOWER FACILITY DESCRIBED BELOW IS COMPLETELY WASHED DOWN AND HENCE DECONTAMINATED AS EACH WORKER SHOWERS. THIS STOPS THE SPREAD OF CONTAMINATION AT THE SHOWER.

THE FOLLOWING MAY HAVE TO BE REVISED TO COMPLY WITH LOCAL REGULATION. THERE IS GREAT VARIATION IN THE REQUIREMENTS FOR DECONTAMINATION FACILITIES FOUND IN STATE AND LOCAL REGULATIONS.

A.	Provide a Personnel Decontamination Unit consisting of a serial arrangement of connected rooms or spaces, Changing Room, Drying Room, Shower Room, Equipment Room.  Require all persons without exception to pass through this Decontamination Unit for entry into and exiting from the Work Area for any purpose.  Do not allow parallel routes for entry or exit.  Do not remove equipment or materials through Personnel Decontamination Unit.  Provide temporary lighting within Decontamination Units as necessary to reach a lighting level of 100 foot candles (1076 lumens / sq meter).

B.	Changing Room (clean room):  Provide a room that is physically and visually separated from the rest of the building for the purpose of changing into protective clothing.

1.	Construct using polyethylene sheeting, at least 6 mil (0.15 mm)  in thickness, to provide an airtight seal between the Changing Room and the rest of the building.

2.	Locate so that access to Work Area from Changing Room is through Shower Room.

3.	Separate Changing Room from the building by a sheet plastic flapped doorway.

4.	Require workers to remove all street clothes in this room, dress in clean, disposable coveralls, and don respiratory protection equipment.  Do not allow asbestos-contaminated items to enter this room. Require Workers to enter this room either from outside the structure dressed in street clothes, or naked from the showers.

5.	An existing room may be utilized as the Changing Room if it is suitably located and of a configuration whereby workers may enter the Changing Room directly from the Shower Room.  Protect all surfaces of room with sheet plastic as set forth in Section 01526 Temporary Enclosures.  Authorization for this must be obtained from the Designer in writing prior to start of construction.  Submit written request in accordance with Section 01632 "Substitutions" detailing layout and protective measures proposed.

6.	Maintain floor of changing room dry and clean at all times.  Do not allow overflow water from shower to wet floor in changing room.

7.	Damp wipe all surfaces twice after each shift change with a disinfectant solution.

8.	Provide posted information for all emergency phone numbers and procedures.

9.	Provide 1 storage locker per employee.

DELETE BELOW IF NO ADDITIONAL COMPONENTS ARE SHOWN ON THE DRAWINGS.

10.	Provide all other components indicated on the contract drawings.

DELETE THE FOLLOWING IF AN AIRLOCK IS NOT REQUIRED AT THIS POINT. NORMALLY THE DRYING ROOM WILL BE ADEQUATE AS AN AIRLOCK. CONFER WITH LOCAL AUTHORITIES HAVING JURISDICTION OVER THE PROJECT.

C.	Airlock:  Provide an airlock between Drying Room and Changing Room.  This is a transit area for workers.

1.	Separate this room from Drying Room and Changing Room by sheet plastic flapped doorways.

2.	Separate this room from the rest of the building with airtight walls fabricated of 6 mil (0.15 mm) polyethylene.

3.	Separate this room from the Drying and Changing Rooms with airtight walls fabricated of 6 mil (0.15 mm) polyethylene.

D.	Drying Room:  Provide a drying room as an airlock and a place for workers to dry after showering.

1.	Construct room by providing a pan continuous with or draining to Shower Room pan.  Install a freely draining wooden or non-skid metal floor in pan at elevation of top of pan.

2.	Separate this room from the rest of the building with airtight walls fabricated of 6 mil (0.15 mm) polyethylene.

3.	Separate this room from the Changing Room and Shower Room with airtight walls fabricated of 6 mil (0.15 mm)  polyethylene.

4.	Separate from Changing Room by a sheet plastic flapped doorway.

5.	Provide a continuously adequate supply of disposable bath towels.

SOME DECONTAMINATION UNITS INCLUDE THE FOLLOWING. DELETE IF THE MORE COMMON ARRANGEMENT OF FLAPPED DOORS IS TO BE USED.

6.	Provide a rigid, tight-sealing hinged door between Drying Room and Clean Room.  Arrange so that there is a sensible movement of air from clean room through breathing zone of worker in Shower and Drying Room toward Equipment Room.

E.	Shower Room: Provide a completely watertight operational shower to be used for transit by cleanly dressed workers heading for the Work Area from the Changing Room, or for showering by workers headed out of the Work Area after undressing in the Equipment Room.

1.	Construct room by providing a shower pan and 2 shower walls in a configuration that will cause water running down walls to drip into pan.  Install a freely draining wooden floor in shower pan at elevation of top of pan.

2.	Separate this room from the rest of the building with airtight walls fabricated of 6 mil (0.15 mm) polyethylene.

3.	Separate this room from the Drying Room and Airlock with airtight walls fabricated of 6 mil (0.15 mm)  polyethylene.

4.	Provide splashproof entrances to Drying Room and Airlock with doors arranged in the following configuration:

a.	At each entrance to the Shower Room construct a door frame out of nominal 2 inch x 4 inch (51 mm X 102 mm)  lumber with 1-1/2 inch ( 39 mm) jambs (sides) and 1-1/2 inch (39 mm) head (top) and sill (bottom).  Attach to this door frame two overlapping flaps of elastomeric membrane material,  fastened at the head (top) and jambs (sides) (by clamping between a 1-1/2 inch (39 mm) x 3/4 inch (19mm ) batten and frame).  Overlap the flaps a minimum of 6 inch (152 mm) in a direction that presents a shingle-like configuration to the water stream from the shower.  Overlap sill (bottom) by 1-1/2 inch (39  mm)  minimum.  Arrange so that any air movement out of the Work Area will cause the flaps to seal against the door frame.

5.	Provide shower head and controls.

6.	Provide temporary extensions of existing hot and cold water and drainage, as necessary for a complete and operable shower.

7.	Provide a soap dish and a continuously adequate supply of soap and maintain in sanitary condition.

8.	Arrange so that water from showering does not splash into the Changing or Equipment Rooms.

9.	Arrange water shut off and drain pump operation controls so that a single individual can shower without assistance from either inside or outside of the Work Area.

10.	Provide flexible hose shower head.

11.	Pump waste water to drain or to storage for use in amended water.  If pumped to drain, provide 20 micron and 5 micron waste water filters in line to drain or waste water storage.  Change filters daily or more often if necessary.  Locate filters inside shower unit so that water lost during filter changes is caught by shower pan.

12.	Provide hose bib.

DELETE BELOW IF NO DECONTAMINATION DRAWING.

13.	Provide all other items indicated on contract drawings.

A PERMANENT SHOWER FACILITY WITHIN THE BUILDING CAN BE UTILIZED IF IT IS SUITABLY LOCATED AND OF A CONFIGURATION WHEREBY WORKERS MAY EXIT THE WORK AREA DIRECTLY TO THE SHOWER AND THEN BY A DIFFERENT PASSAGEWAY INTO THE CHANGING AREA. CONSTRUCTION OF A PLASTIC TUNNEL FROM THE WORK AREA TO THE SHOWER MAY BE NECESSARY. THIS TUNNEL IS PART OF THE WORK AREA AND CONSEQUENTLY MUST BE TREATED AS CONTAMINATED. DRAIN WATER FROM THE SHOWER MUST BE FILTERED IN THE SAME MANNER AS CALLED FOR IN THIS SPECIFICATION.

F.	Airlock:  Provide an airlock between Shower Room and Equipment Room.  This is a transit area for workers.  Separate this room from Equipment Room by a sheet plastic flap doorway.

1.	Separate this room from the rest of the building with airtight walls fabricated of 6 mil (0.15 mm) polyethylene.

2.	Separate this room from the Equipment Room and Shower Room with airtight walls fabricated of 6 mil (0.15 mm)  polyethylene.

3.	Separate from Equipment Room by a sheet plastic flapped doorway.

G.	Equipment Room (contaminated area):  Require work equipment, footwear and additional contaminated work clothing to be left here.  This is a change and transit area for workers.

1.	Separate this room from the Work Area by a 6 mil (0.15 mm)  polyethylene flapped doorway.

2.	Separate this room from the rest of the building with airtight walls fabricated of 6 mil (0.15 mm) polyethylene.

3.	Separate this room from the Shower Room and Work Area with airtight walls fabricated of 6 mil (0.15 mm) polyethylene.

ABATEMENT WORKERS, PARTICULARLY ON A REMOVAL PROJECT, BECOME COMPLETELY COVERED WITH DEBRIS. GENERALLY THE PATH FROM THE WORK AREA TO THE SHOWER WILL BECOME OVERBURDENED WITH DEBRIS. FOR THIS REASON THE FOLLOWING CALLS FOR A FLOOR LAYER OF PLASTIC TO BE REMOVED AFTER EACH SHIFT CHANGE.

4.	Provide a drop cloth layer of sheet plastic on floor in the Equipment Room for every shift change expected.  Roll drop cloth layer of plastic from Equipment Room into Work Area after each shift change.  Replace before next shift change.  Provide a minimum of two (2) layers of plastic at all times.  Use only clear plastic to cover floors.

DELETE THE FOLLOWING IF AN AIRLOCK IS NOT DESIRED AND IS NOT REQUIRED BY LOCAL REGULATION.

H.	Airlock:  Provide an airlock between Equipment Room and Work Area.  This is a transit area for workers.

1.	Separate this room from Equipment Room and Work Area by a sheet plastic flapped doorways.

2.	Separate this room from the rest of the building with airtight walls fabricated of 6 mil (0.15 mm) polyethylene.

3.	Separate this room from the Equipment Room and Work Area with airtight walls fabricated of 6 mil (0.15 mm)  polyethylene.

I.	Work Area:  Separate Work Area from the Equipment Room by polyethylene barriers. If the airborne asbestos level in the Work Area is expected to be high, as in dry removal, add an intermediate cleaning space between the Equipment Room and the Work Area.  Damp wipe clean all surfaces after each shift change.  Provide one additional floor layer of 6 mil (0.15 mm)  polyethylene per shift change and remove contaminated layer after each shift.

J.	Decontamination Sequence:  Require that all workers adhere to the following sequence when entering or leaving the Work Area.

1.	Entering Work Area:  Worker enters Changing Room and removes street clothing, puts on clean disposable overalls and respirator, and passes through  the Shower Room  into the Equipment Room.

2.	Any additional clothing and equipment left in Equipment Room needed by the worker are put on in the Equipment Room.

3.	Worker proceeds to Work Area.

K.	Exiting Work Area:

1.	Before leaving the Work Area, require the worker to remove all gross contamination and debris from overalls and feet.

2.	The worker then proceeds to the  Equipment Room and removes all clothing except respiratory protection equipment.

3.	Extra work clothing such as boots, hard hats, goggles, gloves are to be stored in contaminated end of the Equipment Room.

4.	Disposable coveralls are placed in a bag for disposal with other material.

5.	Require that Decontamination procedures found in Section 01560 be followed by all individuals leaving the Work Area.

6.	After showering, the worker moves to the Changing Room and dresses in either new coveralls for another entry or street clothes if leaving.

3.2	EQUIPMENT DECONTAMINATION UNIT:

A.	Provide an Equipment Decontamination Unit consisting of a serial arrangement of rooms, Clean Room, Holding Room, Wash Room for removal of equipment and material from Work Area.  Do not allow personnel to enter or exit Work Area through Equipment Decontamination Unit.

B.	Arrange with airlocks between rooms as required below.

C.	Wash Down Station:  Provide an enclosed Shower Unit located in Work Area just outside Wash Room as an equipment, bag and container cleaning station.

CONSIDER EXTENDING WATERPROOF FLOOR IN DIRECTION OF TRAVEL

1.	Fabricate waterproof floor extending 6 feet (1.83 m) beyond Wash Down station in all directions.  Install seamless waterproof membrane over area and extend over curbs on all four sides.  Form curbs from 2 inch x 4 inch (51 X 102 mm) lumber laid on the flat.

2.	Waterproof membrane is to be fabricated from elastomeric membrane.

DELETE EITHER ABOVE OR BELOW DEPENDING UPON CONSTRUCTION TO BE USED.

3.	Waterproof membrane is to be fabricated from minimum 10 mil (.254 mm)  polyethylene.

4.	Do not allow water to collect on waterproof membrane.  Remove continuously with a wet vacuum or mops.

D.	Wash Room:  provide wash room for cleaning of bagged or containerized asbestos-containing waste materials passed from the Work Area.

1.	Construct wash room of nominal 2 inch x 4 inch (51 X 102 mm)  wood framing and polyethylene sheeting, at least 6 mil (0.15 mm)  in thickness and located so that packaged materials, after being wiped clean, can be passed to the Holding Room.

2.	Separate this room from the Work Area by a single flapped door of 6 mil (0.15 mm)  polyethylene sheeting.

3.	Provide a drop cloth layer of plastic on floor in the Wash Room for every load-out operation.  Roll this drop cloth layer of plastic from Wash Room into Work Area after each load-out.  Provide a minimum of two (2) layers of plastic at all times.  Use only clear plastic to cover floors.

DELETE IF NO AIRLOCK IS TO BE REQUIRED AT THIS POINT.

E.	Airlock:  Provide an airlock between Wash Room and Holding Room.  This is a transit area.

1.	Separate this room from adjacent spaces by a sheet plastic flapped doorway.

2.	Separate this room from the rest of the building and adjacent spaces with airtight walls fabricated of 6 mil (0.15 mm)  polyethylene.

F.	Holding Room:  Provide Holding Room as a drop location for bagged asbestos-containing materials passed from the Wash Room.  Construct Holding Room of nominal 2 inch x 4 inch (51 X 102 mm ) wood framing and polyethylene sheeting, at least 6 mil (0.15 mm)  in thickness and located so that bagged materials cannot be passed from the Wash Room through the Holding Room to the Clean Room.

1.	Separate this room from the adjacent rooms by flapped doors fabricated from 1/16 inch (1.59 mm) +/- thick single ply elastomeric membrane material either EPDM or Neoprene.

DELETE EITHER ABOVE OR BELOW DEPENDING UPON CONSTRUCTION TO BE USED.

2.	Separate this room from the adjacent rooms by flap doors fabricated from 6 mil (0.15 mm)  sheet plastic.

DELETE IF NO AIRLOCK IS TO BE REQUIRED AT THIS POINT.

G.	Airlock:  Provide an airlock between Holding Room and Clean Room.  This is a transit area.

1.	Separate this room from adjacent spaces by a sheet plastic flap doorway.

2.	Separate this room from the rest of the building and adjacent spaces with airtight walls fabricated of 6 mil (0.15 mm)  polyethylene.

H.	Clean Room:  provide Clean Room to isolate the Holding Room from the building exterior.   If possible locate to provide direct access to the Holding Room from the building exterior.

1.	Erect Critical and Primary Barriers as described in Section 01526 "Temporary Enclosures" in an existing space.  If no space exists construct Clean Room of 2 x 4  (51 X 102 mm)  wood framing and polyethylene sheeting, at least 6 mil (0.15 mm)  in thickness.

2.	Separate this room from the exterior by a single flap door of 6 mil (0.15 mm)  polyethylene sheeting.

I.	Load-out Area:  The load-out area is the transfer area from the building to a truck or dumpster.  It may be the Clean Room of the Equipment Decontamination unit or a separate room or loading dock area.  Erect Critical and Primary barriers as described in Section 01526 "Temporary Enclosures" in load-out area.

1	During transfer of material from load-out area erect primary barriers as described in Section 01526 "Temporary Enclosures" as necessary to seal path from load-out area to truck or dumpster.

J0	Decontamination Sequence:  Take all equipment or material from the Work Area through the Equipment Decontamination Unit according to the following procedure:

1	At washdown station, thoroughly wet clean contaminated equipment or sealed polyethylene bags and pass into Wash Room.

2	When passing equipment or containers into the Wash Room, close all doorways of the Equipment Decontamination Unit, other than the doorway between the Washdown Station and the Wash Room.  Keep all outside personnel clear of the Equipment Decontamination Unit.

3	Once inside the washroom, wet clean the bags and/or equipment.

4	When cleaning is complete pass items into Holding Room.  Close all doorways except the doorway between the Holding room and the Clean Room.

5	Workers from the building exterior enter Holding Area and remove decontaminated equipment and/or containers for disposal.

6	Require these workers to wear full protective clothing and appropriate respiratory protection.

7	At no time is a worker from an uncontaminated area to enter the enclosure when a removal worker is inside.

3.3	CONSTRUCTION OF THE DECONTAMINATION UNITS:

A0	Walls and Ceiling:  Construct airtight walls and ceiling using polyethylene sheeting, at least 6 mil (0.15 mm) in thickness.  Attach to existing building components or a temporary framework.

B0	Floors:  Use 2 layers (minimum) of  6 mil (0.15 mm) polyethylene sheeting to cover floors in all areas of the Decontamination Units.  Use only clear plastic to cover floors.

C0	Flap Doors:  Fabricated from three (3) overlapping sheets with openings a minimum of three feet (3') (0.91 meters ) wide.  Configure so that sheeting overlaps adjacent surfaces.  Weights at bottom of sheets as required so that they quickly close after being released.  Put arrows on sheets to indicate direction of overlap and/or travel.  Provide a minimum of six feet (6') (1.22 meters) between entrance and exit of any room.  Provide a minimum of three feet (3') (0.91 meters ) between doors to airlocks.

D0	If the Decontamination area is located within an area containing friable asbestos on overhead ceilings, ducts, piping, etc., provide the area with a minimum 1/4 inch (6.4 mm) hardboard or 1/2 inch (12.7 mm) plywood "ceiling" with polyethylene sheeting, at least 6 mil (0.15 mm) in thickness covering the top of the "ceiling".

E0	Visual Barrier:  Where the Decontamination area is immediately adjacent to and within view of occupied areas, provide a visual barrier of opaque polyethylene sheeting at least 6 mil (0.15 mm) in thickness so that worker privacy is maintained and work  procedures are not visible to building occupants.  Where the area adjacent to the Decontamination area is accessible to the public, construct a solid barrier on the public side of the sheeting to protect the sheeting.  Construct barrier with wood or metal studs covered with minimum 1/4 inch (6.4 mm) thick hardboard or 1/2  inch (12.7  mm) plywood.  Where the solid barrier is provided, sheeting need not be opaque.

F0	Alternate methods of providing Decontamination facilities may be submitted to the Designer for approval.  Do not proceed with any such method(s) without written authorization of the Designer.

G0	Electrical:  Provide subpanel at Changing Room to accommodate all removal equipment.  Power subpanel directly from a building electrical panel.

1	Connect all electrical branch circuits in Decontamination unit and particularly any pumps in shower room to a ground-fault circuit protection device.

3.4	CLEANING OF DECONTAMINATION UNITS:

A0	Clean debris and residue from inside of Decontamination Units on a daily basis or as otherwise indicated on Contract Drawings.  Damp wipe or hose down all surfaces after each shift change.  Clean debris from shower pans on a daily basis.

IF THE CLEAN ROOM BECOMES CONTAMINATED, THERE IS NO PLACE FOR THE PEOPLE CLEANING IT TO DECONTAMINATE. THE FOLLOWING SPECIFIES A PROCEDURE.

B0	If the Changing Room of the Personnel Decontamination Unit becomes contaminated with asbestos-containing debris, abandon the entire Decontamination Unit and erect a new Decontamination Unit.  Use the former Changing Room as an inner section of the new Equipment Room.

3.5	SIGNS:

A0	Post an approximately 20 inch by 14 inch (508 mm x 356 mm) manufactured caution sign at each entrance to the Work Area displaying the following legend with letter sizes and styles of a visibility required by 29 CFR 1926:

REVISE THE FOLLOWING AS REQUIRED BY LOCAL CONDITIONS.

1	Provide signs in both English and Spanish.

2	Legend:

DANGER

ASBESTOS

CANCER AND LUNG DISEASE HAZARD

AUTHORIZED PERSONNEL ONLY

RESPIRATORS AND PROTECTIVE CLOTHING

ARE REQUIRED IN THIS AREA

3	Provide spacing between respective lines at least equal to the height of the respective upper line.

FOLLOWING IS NOT REQUIRED BY OSHA BUT IS USEFUL ADVICE.

B0	Post an approximately 10 inch by 14 (254 mm x 356 mm) inch manufactured sign at each entrance to each Work Area displaying the following legend with letter sizes and styles of a visibility at least equal to the following:

REVISE THE FOLLOWING AS REQUIRED BY LOCAL CONDITIONS.

1	Provide signs in both English and Spanish.

2	Legend                                                				Notation

NO FOOD, BEVERAGES OR TOBACCO PERMITTED 	3/4 inch (19 mm) Block

ALL PERSONS SHALL DON PROTECTIVE 		3/4 inch  (19 mm) Block

CLOTHING (COVERINGS) BEFORE

ENTERING THE WORK AREA

ALL PERSONS SHALL SHOWER IMMEDIATELY 	3/4 inch (19 mm) Block

AFTER LEAVING WORK AREA AND BEFORE

ENTERING THE CHANGING AREA

END OF SECTION - 01563

This Page Intentionally Blank