SECTION 09805 - ENCAPSULATION OF ASBESTOS-CONTAINING MATERIALS

THERE ARE TWO DISTINCT METHODS OF SPECIFYING ENCAPSULATION OF ASBESTOS-CONTAINING MATERIALS (ACM). FIRST, SPECIFY PRODUCTS AND METHODS USED FOR INSTALLATION. IN THIS CASE, THE RESPONSIBILITY FOR DETERMINING WHAT PRODUCT IS APPROPRIATE AND WHAT METHOD OR APPLICATION IS PROPER BELONGS TO THE DESIGN PROFESSIONAL. SECOND, TREAT THE ENCAPSULANT AS A PROPRIETARY SYSTEM SUPPLIED BY A MANUFACTURER AND INSTALLED BY A CONTRACTOR APPROVED BY THE MANUFACTURER.

PART 1 - GENERAL

1.1	RELATED DOCUMENTS:

A.	Drawings and general provisions of Contract, including General and Supplementary Conditions and Division - 1 Specification Sections, apply to work of this section.

1.2	DESCRIPTION OF WORK:

A.	The Extent of encapsulation work is shown on the drawings and as herein specified.

THE FOLLOWING ARE EXAMPLES; EDIT AS REQUIRED FOR PROJECT.

1.	The work includes the encapsulating of asbestos-containing fireproofing located above suspended acoustic ceilings.

FOLLOWING INCLUDES A FICTITIOUS SPACE AND BUILDING NAME. EDIT AS REQUIRED FOR SPECIFIC PROJECT.

2.	The work includes the encapsulating or asbestos-containing spray-on acoustic plaster in the "Main Reading Room" of the Anthophyllite Public Library.

3.	The work includes the sealing of all scratch coat plaster from which asbestos-containing finish plaster has been removed with two (2) coats of penetrating encapsulant.

4.	The work includes the sealing of all wood grounds, blocking, etc. that have been in contact with asbestos-containing plaster materials, and cannot be removed for structural or other reasons; with one (1) coat of penetrating encapsulant.

5.	The work includes the sealing of pipe insulation ends at walls on the perimeter of the work area with two (2) coats of penetrating encapsulant and one (1) coat of bridging encapsulant.

1.3	RELATED WORK SPECIFIED ELSEWHERE:

A.	Asbestos abatement project requirements to be completed prior to start of the work of this section are set forth in the following sections:

1.	01503  Temporary Facilities - Asbestos Abatement

2.	01513  Temporary Pressure Differential & Air Circulation System

3.	01526  Temporary Enclosures

4.	01560  Worker Protection - Asbestos abatement

5.	01562  Respiratory Protection

6.	01563  Decontamination Units

B.	Asbestos abatement project requirements to be completed at completion of the work of this section are set forth in the following sections:

1.	01711  Project Decontamination

1.4	DEFINITIONS:

A.	"Encapsulant" :A material that surrounds or embeds asbestos fibers in an adhesive matrix, to prevent release of fibers.

1.	Bridging encapsulant:  an encapsulant that forms a discrete layer on the surface of an in situ asbestos matrix.

2.	Penetrating encapsulant:  an encapsulant that is absorbed by the in situ asbestos matrix without leaving a discrete surface layer.

3.	Removal encapsulant:  a penetrating encapsulant specifically designed to minimize fiber release during removal of asbestos-containing materials rather  than for in situ encapsulation.

B.	"Encapsulation":  Treatment of asbestos-containing materials, with an encapsulant.  Application of a sealer to a substrate following completion of removal of ACM is not considered encapsulation.

1.5	SUBMITTALS:

A.	Product Data:   Submit manufacturer's technical information including label analysis and application instructions for each material proposed for use.

B.	Installation Instructions:  Submit manufacturer's installation instructions with specific project requirements noted.

C.	Performance Warrantee:  Submit manufacturer's performance guarantee.

D.	Certification:  Submit written approval of entity installing the encapsulant from encapsulant manufacturer.

E.	Before Start of Work submit the following to the Designer for review.  Do not begin work until these submittals are returned with the Designer's action stamp indicating that the submittal has been Received - Not Reviewed.

1.	Material Safety Data Sheet: Submit Material Safety Data Sheets, or equivalent, in accordance with the OSHA Hazard Communication Standard (29 CFR 1910.1200) for the following:

a.	Surfactants.

b.	Encapsulants.

1.6	DELIVERY AND STORAGE:

A.	Deliver materials to the job site in original, new and unopened packages and containers bearing manufacturer's name and label, and following information:

1.	Name or title of material

2.	Manufacturer's stock number and date of manufacture

3.	Manufacturer's name

4.	Thinning instructions

5.	Application instructions

B.	Deliver materials together with a copy of the OSHA Material Safety Data Sheet for the material.

1.7	JOB CONDITIONS:

A.	Apply encapsulating materials only when environmental conditions in the work area are as required by the manufacturer's instructions.

FOLLOWING SHOULD BE USED IF ENCAPSULATION IS TREATED AS A PROPRIETARY SYSTEM.

1.8	QUALITY ASSURANCE:

A.	Installation of Spray-On Encapsulation Materials:  Install spray-on materials by a firm and personnel approved by the manufacturer of the primary materials.

THE FOLLOWING HAS BEEN PUBLISHED AS A PROPOSAL IN THE "GRAY PAGES" OF THE ASTM SPECIFICATIONS. THE "GRAY PAGES" CONTAIN MATERIAL WHICH IS BEING PRESENTED FOR COMMENT BUT WHICH HAVE NOT YET BEEN ADOPTED BY ASTM. A COPY OF THIS DOCUMENT SHOULD BE SECURED BEFORE EDITING THIS SECTION.

THE STATUS OF THIS STANDARD SHOULD BE REVIEWED WITH ASTM.

B.	Testing:  Test material to be encapsulated using methods set forth in ASTM Proposed Specification P-189 "Specification for Encapsulants for Friable Asbestos Containing Building Materials".

A SPECIFIC WARRANTY FORM CAN BE ATTACHED AT END OF SECTION.

IF MANUFACTURER OF ENCAPSULANT GUARANTEES MAXIMUM AIRBORNE FIBER LEVEL, REVISE FOLLOWING PARAGRAPH TO IDENTIFY REQUIRED FIBER LEVEL AND LENGTH OF TIME IT IS TO BE MAINTAINED.

C.	Performance Warranty: Submit written Performance Warranty, executed by the manufacturer and co-signed by the contractor, agreeing to repair/replace spray-on work which has cracked, fallen from substrate, or otherwise deteriorated to a condition where it would not perform effectively for its intended purposes due substantially to defective materials or workmanship and not due to abuse by occupants, improper maintenance, unforeseeable ambient exposures or other causes beyond anticipated conditions and manufacturer's /contractor's control.

EDIT BELOW TO SET FORTH A WARRANTY PERIOD APPROPRIATE TO SPECIFIC PROJECT CIRCUMSTANCES.

1.	Warranty period is ___ years after date of substantial completion.

D.	Mock-up:  Prior to commencement of work, provide a sample area of encapsulation for approval, 10 feet by 10 feet (3 m by 3 m) in size.  The approved mock-up shall serve as a standard for the balance of the encapsulation work.

PART 2 - PRODUCTS

2.1	MATERIALS

A.	Encapsulants:  Provide penetrating or bridging type encapsulants specifically designed for application to ACM.

FOLLOWING CALLS FOR USE OF ONLY FIELD TEST PORTIONS OF THE ASTM PROPOSED SPECIFICATION P-189. BEFORE INCLUDING, DETERMINE IF THE INVOLVED MANUFACTURERS HAVE TESTED THEIR MATERIAL USING THIS PROPOSED SPECIFICATION. IF THEY HAVE, REVISE THE FOLLOWING TO ALSO INCLUDE THE LABORATORY TEST PORTIONS OF THE DRAFT STANDARD.

THE STATUS OF THIS STANDARD SHOULD BE REVIEWED WITH ASTM.

1.	Draft Standards:  Product shall be rated as acceptable for use intended when field tested in accordance with  ASTM Proposed Specification P-189 "Specification for Encapsulants for Friable Asbestos Containing Building Materials".

2.	Fire Safety:  Use only materials that have a flame spread index of less than 25, when dry, when tested in accordance with  ASTM E-84.

2.2	MANUFACTURERS:

A.	Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products which may be incorporated in the work include, but are not limited to, the following:

RETAIN ABOVE FOR NON-PROPRIETARY OR BELOW FOR SEMI-PROPRIETARY SPECIFICATION.

B.	Manufacturer:  Subject to compliance with requirements, provide products of one of the following:

RETAIN ENCAPSULANT TYPES REQUIRED AND DELETE OTHERS. UNDER EACH TYPE RETAINED, RETAIN OR INSERT ONLY THOSE MANUFACTURERS OFFERING PRODUCTS COMPLYING WITH SPECIFIC PROJECT REQUIREMENTS.

1.	Penetrating Encapsulants:

SELECT APPROPRIATE ENCAPSULANTS FROM THOSE RATED AS "ACCEPTABLE" WHEN TESTED UNDER THE PROCEDURES OF: "BATTELLE COLUMBUS LABORATORIES' TESTS FOR THE EVALUATION OF ENCAPSULANTS FOR FRIABLE ASBESTOS-CONTAINING MATERIALS." AN UPDATED LIST IS MAINTAINED BY THE EPA.

2.	Bridging Encapsulants:

SELECT APPROPRIATE ENCAPSULANTS FROM THOSE RATED AS "ACCEPTABLE" WHEN TESTED UNDER THE PROCEDURES OF: "BATTELLE COLUMBUS LABORATORIES' TESTS FOR THE EVALUATION OF ENCAPSULANTS FOR FRIABLE ASBESTOS-CONTAINING MATERIALS." AN UPDATED LIST IS MAINTAINED BY THE EPA.

PART 3 - EXECUTION

3.1	GENERAL:

A.	Prior to applying any encapsulating material, ensure that application of the sealer will not cause the base material to fail and allow the sealed material to fall of its own weight or separate from the substrate.  Should Contractor doubt the ability of the installation to support the sealant, request direction from the Designer before proceeding with the encapsulating work.

B.	Do Not Commence Application of encapsulating materials until all removal work within the work area has been completed.

3.2	WORKER PROTECTION:

A.	Before beginning work with any material for which a Material Safety Data Sheet has been submitted provide workers with the required protective equipment. Require that appropriate protective equipment be used at all times.

B.	In addition to protective breathing equipment required by OSHA requirements or by this specification, use painting pre-filters on respirators to protect the dust filters when organic solvent based encapsulant are in use.

THE FOLLOWING IS AN EXAMPLE OF PROCEDURES THAT CAN BE SPECIFIED FOR "LOCK-BACK" ON REMOVAL PROJECTS. EDIT ACCORDING TO PROJECT REQUIREMENTS.

3.3	SCRATCH COAT PLASTER:

SOME ENCAPSULANTS ARE A ONE COAT SYSTEM. REVISE FOLLOWING AS NECESSARY TO CORRESPOND TO MATERIAL SPECIFIED. IF A CLEAR COLORLESS ENCAPSULANT, PARTICULARLY A PENETRANT, IS USED IT CAN BE DIFFICULT TO GAUGE THE UNIFORMITY OF THE COATING. IN THIS CASE THE USE OF TWO COATS IS PRUDENT REGARDLESS OF PRODUCT USED.

A0	Apply two (2) coats of encapsulant to the scratch coat plaster after all ACM has been removed.  Apply in strict accordance with the manufacturer's printed instructions for use of the encapsulant as an asbestos coating.  Any deviations from such printed instructions must be approved by the Designer in writing prior to commencing work.

1	Apply encapsulant with an airless spray gun with air pressure and nozzle orifice as recommended by the encapsulant manufacturer.

2	Apply the first coat encapsulant while the scratch coat is still damp from the asbestos removal procedures.  If the surface has been permitted to dry, vacuum surface with a HEPA filtered vacuum cleaner prior to spraying with the encapsulant.

3	Apply second coat over first coat in strict conformance with manufacturer's instructions.

THE FOLLOWING MAY NOT APPLY TO THE PRODUCTS SELECTED. DELETE IF NOT APPROPRIATE TO PRODUCT SELECTED. IF WALLS AND FLOOR ARE NOT TO BE REFINISHED AFTER COMPLETION OF ABATEMENT WORK THE USE OF A COLORED ENCAPSULANT WILL PROBABLY RESULT IN DAMAGED FINISHES. IF EXISTING FINISHES ARE TO REMAIN AT COMPLETION OF THE WORK IT IS PRUDENT TO DELETE THE FOLLOWING AND USE A CLEAR, COLORLESS PRODUCT.

4	Color the encapsulant contrasting colors in alternate coats so that visual confirmation of complete and uniform coverage of each coat is possible.  Adhere to manufacturer's instructions for coloring.  At the completion of work the encapsulated surface must be a uniform third color produced by the mixture.

3.4	SEALING EXPOSED EDGES:

SOME ENCAPSULANTS ARE ONE COAT SYSTEMS. REVISE THE FOLLOWING AS NECESSARY . EVEN IF A ONE COAT SYSTEM IS USED TWO COATS WILL HELP TO INSURE COMPLETE COVERAGE IN WHAT MAY BE A LOCATION THAT IS DIFFICULT TO REACH OR INSPECT.

A0	Seal edges of ACM exposed by removals up to an inaccessible spot such as a sleeve, wall penetration, etc. with two (2) coats of encapsulant.

1	Prior to sealing, permit the exposed edges to dry completely to permit penetration of the sealer.

THE FOLLOWING MAY NOT APPLY TO THE PRODUCTS SELECTED. DELETE IF NOT APPROPRIATE TO PRODUCT SELECTED. IF WALLS AND FLOOR ARE NOT TO BE REFINISHED AFTER COMPLETION OF ABATEMENT WORK THE USE OF A COLORED ENCAPSULANT WILL PROBABLY RESULT IN DAMAGED FINISHES. IF EXISTING FINISHES ARE TO REMAIN AT COMPLETION OF THE WORK IT IS PRUDENT TO DELETE THE FOLLOWING AND USE A CLEAR, COLORLESS PRODUCT.

2	Color the encapsulant contrasting colors in alternate coats so that visual confirmation of complete and uniform coverage of each coat  is possible.  Adhere to manufacturer's instructions for coloring.  At the completion of work the encapsulated surface must be a uniform third color produced by the mixture.

3.5	ARCHITECTURAL FINISH AND FIREPROOFING:

FOLLOWING TREATS ENCAPSULATION AS A PROPRIETARY SYSTEM.

A0	Examine Existing Conditions: Determine if the friable ACM to be encapsulated remains sufficiently bonded to receive the encapsulation process and if encapsulation process will effectively prevent release of asbestos fibers from the material.  If the existing ACM is loose and deteriorated, the Contractor must immediately notify the Designer that removal of friable ACM must be accomplished before encapsulation.

WHERE ENCAPSULANTS ARE SPRAYED ONTO OR INTO FIREPROOFING MATERIALS, THE DESIGNER NEEDS TO BE CAREFUL TO SPECIFY THAT THE ENCAPSULANT MUST HAVE A UL CLASSIFICATION FOR THE SPECIFIC APPLICATION. UNDERWRITERS LABORATORIES SUBJECTS ENCAPSULANTS TO E-119 BURN TESTS TO VALIDATE THEIR EFFICACY FOR SUCH APPLICATIONS AND LISTS THEM IN THEIR UL FIRE RESISTANCE DIRECTORY. APPLICATION OF A NON-LISTED ENCAPSULANT WOULD NULLIFY THE FIREPROOFING SYSTEMS RATING AND RESULT IN AN UNCLASSIFIED SYSTEM THAT MAY NOT MEET LOCAL BUILDING CODE OR OFFICE OF FIRE MARSHALL REQUIREMENTS.

B0	Encapsulants used on fireproofing materials must have an Underwriters Laboratories classification and be listed in the current edition of the UL Fire Resistance Directory.

C0	Before start of work on an architectural finish complete the work of the following:

1	Section 01560 Worker Protection - Asbestos Abatement

2	Section 01562 Respiratory Protection

3	Section 01526 Temporary Enclosures

4	Section 01563 Decontamination Units

D0	Comply with all manufacturer's instructions for particular conditions of installation in each case.  Consult with manufacturer's technical representative for conditions not covered.

E0	Encapsulate all surfaces in full compliance with manufacturer's procedures.

F0	At completion of Encapsulation and before removal of Work Area enclosures and Pressure Differential System, decontaminate space in accordance with requirements of section 01711.

G0	At completion of work  submit manufacturer's record of inspection of completed work and Manufacturer's Performance Guarantee executed by both manufacturer and Contractor.

3.6	DRYING ENCAPSULATED SURFACES

A0	General:  Following encapsulation work allow the HEPA filtered fan units to operate for a sufficient length of time that all encapsulated surfaces dry thoroughly.  Use oscillating fans as necessary to assure circulation of air in all parts of the work area during this period.  During period of drying operate Temporary Pressure Differential & Air Circulation System as and Exhaust System to as great an extent as possible.

B0	For encapsulation projects do not start the work of Section 01711 Project Decontamination until all encapsulated surfaces are completely dry.

END OF SECTION - 09805