SECTION 01301 -	SUBMITTALS - ASBESTOS ABATEMENT

SUBMITTAL CHECKLIST

The following is a listing of the submittals required by each section.  Determine what submittals are actually desired and edit the individual sections as necessary to eliminate unnecessary submittal requirements.

01013 Summary of Work - Asbestos Abatement

Before Start of Work:

Plan of Action

Pre-construction Inspection

01028  Application for Payment - Asbestos Abatement

Before Start of Work:

Schedule of Values

Periodically During Work:

Refer to section for specific requirements for Payment Requests

01043  Project Coordination - Asbestos Abatement

Before Start of Work:

Contractors Construction Schedule

Contingency Plans

Telephone Numbers

Notifications sent to other entities at the work site.

Notifications sent to emergency service agencies.

Resume:  of general superintendent.

Accreditation: Certificate of accreditation of general superintendent

Staff Names:

Periodically During Work:

Daily Logs

Event Reports

Accident Reports

Discovered Condition Reports

01046  Cutting & Patching - Asbestos-Containing Materials

Before Start of Work:

Product Data on Tools

01098  Codes, Regulations and Standards - Asbestos Abatement

Before Start of Work:

State Regulations

Local Regulations

Licenses

Notifications

Permits

01301  Submittals

Before Start of Work:

Submittal Schedule

Periodically During Work:

Progress photographs

Record Documents

01503  Temporary Facilities - Asbestos Abatement

Before Start of Work:

Scaffolding

Hot water heater

Decontamination Unit Sub-panel

Ground Fault Circuit Interrupters (GFCI)

Lamps and Light Fixtures

Temporary Heating Units

Temporary Cooling Units

Self Contained Toilet Units: Product Data, Sub-contractor

First Aid Supplies

Fire Extinguishers:  product data, location schedule

01513  Temporary Pressure Differential & Air Circulation System

Before Start of Work:

Pressure Differential System Design

HEPA Filtered Fan Units: Product data

Monitoring Equipment: Product data

Auxiliary Generator: Product data.

Power Switch:  Product data.

Auxiliary Power System: Shop Drawing

Periodically During Work:

Pressure Differential Monitoring Results

01526  Temporary Enclosures

Before Start of Work:

Strippable Coatings:  Product data.

Strippable Coatings:  Test report on ASTM E84 test

Strippable Coatings:  Manufacturer's installation instructions.  Strippable Coatings:  Material Safety Data Sheet

Spray Cement:  Product data.

Spray Cement:  Manufacturer's installation instructions.

Spray Cement:  Material Safety Data Sheet.

Sheet Plastic:  Test reports on NFPA 701 test.

Signs:  Samples

Caulking: Product Data

Caulking: Material Safety Data Sheet

Periodically During Work:

Inspection report prior to applying strippable coating.

Photograph of existing damage prior to applying coatings.

Test Patches of strippable coating.

01527  Regulated Areas

Before Start of Work:

HEPA Filtered Vacuum Cleaners:  product data.

Signs:  samples.

Warning Tape:  samples.

01528  Entry Into Controlled Areas

Before Start of Work:

Historic Airborne Fiber Data

01529	Mini Enclosures and Glovebags

Before Start of Work:

Surfactant: product data.

Removal Encapsulant: product data.

NESHAP Certification on surfactant or removal encapsulant.

Material Safety Data Sheet for each surfactant and encapsulant

Historic Airborne Fiber Data

Spray Cement:  Product data.

Spray Cement:  Manufacturer's installation instructions.

Spray Cement:  Material Safety Data Sheet.

Sheet Plastic:  test reports on NFPA 701 test.

Glovebags:  product data.

Signs:  samples.

Mini-enclosure:  shop drawing.

01560  Worker Protection - Asbestos Abatement

Before Start of Work:

AHERA Accreditation:  for each worker.

State and Local License:  for each worker.

Historic Airborne Fiber Data.

Certificate Worker Acknowledgment:  for each worker.

Training Program:  course outline.

Report from Medical Examination:  of each worker.

Notarized Certifications.

Periodically During Work:

Personnel Air Samples for Analysis

Area Air Samples for Analysis

01561  Worker Protection - Repair & Maintenance

Before Start of Work:

AHERA Accreditation:  for each worker.

State and Local License:  for each workers.

Historic Airborne Fiber Data.

Certificate Worker Acknowledgment:  for each worker.

Training Program:  course outline.

Report from Medical Examination:  of each worker.

Notarized Certifications.

Periodically During Work:

Personnel Air Samples for Analysis

Area Air Samples for Analysis

01562  Respiratory Protection

Before Start of Work:

Product Data.

NIOSH and MSHA Certifications.

Type "C":  System Diagram.

Type "C":  Operating Instruction.

Respiratory Protection Program:  written manual.

Respiratory Protection Program:  form at end of section.

Historic Airborne Fiber Data.

Resume information.

01563  Decontamination Units

Before Start of Work:

Personnel Decontamination Unit:  shop drawing.

Equipment Decontamination Unit:  shop drawing.

Shower Pan: shop drawing.

Shower Walls: product data.

Shower Head and Controls:  product data.

Filters:  product data.

Filters:  shop drawing.

Hose Bib:  product data.

Wash Station Shower Stall:  product data.

Wash Station Shower Stall: shop drawing.

Elastomeric membrane:  product data.

Lumber:  product data on fire resistance treatment.

Sump Pump: product data.

Signs:  samples.

01601  Materials and Equipment - Asbestos Abatement

Before Start of Work:

Product List Schedule

01632  Substitutions - Asbestos Abatement

Before Start of Work:

Refer to section.

Periodically During Work:

Refer to section

01701  Project Closeout - Asbestos Abatement

Periodically During Work:

Refer to section

01711  Project Decontamination

Periodically During Work:

Fire Test on Lock Back Encapsulants used.

02061  Building Component Demolition - Asbestos Abatement

Before Start of Work:

Surfactant: product data.

Removal Encapsulant: product data.

NESHAP Certification: on surfactant or removal encapsulant.

Material Safety Data Sheet:  for each surfactant and encapsulant

Copy of pre-demolition / renovation notification sent to the Regional EPA Office.

02062 Non-Asbestos Demolition

Before Start of Work:

Schedule

Periodically During Work:

Reports of Inspection for Existing Damage

Photographs of Existing Damage

02081 Removal of Asbestos-Containing Materials

Before Start of Work:

Surfactant: product data.

Removal Encapsulant: product data.

NESHAP Certification: on surfactant or removal encapsulant.

Material Safety Data Sheet:  for each surfactant and encapsulant

02083 Disturbance of ACM During O&M Work

Before Start of Work:

Documentation on Initial and Negative Exposure Assessments

02084 Disposal of Regulated Asbestos-Containing Material

Before Start of Work:

Waste Hauler State License

Waste Hauler Local License

Name and address of landfill.

Landfill contact person and telephone number.

Name and address of processor.

Processor contact person and telephone number.

Product data on process to be used.

EPA letter on process as a NESHAP alternative.

Process parameters or operating conditions.

Chain of Custody form

Waste Manifest Form.

Disposal Bag:  samples.

Label Samples.

Periodically During Work:

On a weekly basis:  copies of manifests and disposal site receipts.

02085	Resilient Floor Covering Manufacturers' Recommended Work Practices

Before Start of Work:

Documentation on Initial and Negative Exposure Assessments

09251 Gypsum Drywall - Asbestos Enclosure

Before Start of Work:

Product Data

09805  Encapsulation of Asbestos-Containing Materials

Before Start of Work:

Product Data.

Installation Instructions.

Performance Warranty

Certification.

Material Safety Data Sheet.

Periodically During Work:

Notification of unsatisfactory substrate.

15254  Repair of Insulation and Lagging

Before Start of Work:

Mineral Wool Insulating Cement: product data.

Waterproof Cement:  product data.

Nonwoven Fibrous Glass Mat:  product data.

Open Weave Glass Fiber Mat:  product data.

Plastic Jackets:  product data.

Labels: samples.

END OF SUBMITTAL CHECKLIST