SECTION 09 24 00  
PORTLAND CEMENT PLASTERING

SPEC WRITER NOTES:

1. Delete between // // if not applicable to project.
2. Delete any other item or paragraph not applicable in the section and renumber the paragraphs. Use cement plaster in showers and similar wet areas.
3. Coordinate with Section 09 06 00, SCHEDULE FOR FINISHES and VA criteria for finishes.
4. Do not use over open frame construction on exterior walls.
5. Inaccessible Ceilings: At Mental Health and Behavioral Care Units, areas accessible to patients and not continuously observable by staff (e.g., patient bedrooms, day rooms), ceilings should be a solid material such as portland cement plaster to limit patient access. Coordinate and specify access doors in accordance with Section 08 31 13, ACCESS DOORS AND FRAMES. Access doors are needed to access electrical and mechanical equipment above the ceiling. These doors should be locked to prevent unauthorized access and secured to ceiling using tamper resistant fasteners.
6. GENERAL
   1. DESCRIPTION
      1. This section specifies lathing and portland cement based plaster //stucco//.
   2. RELATED WORK
      1. // Section 01 81 13, SUSTAINABLE CONSTRUCTION REQUIREMENTS: Sustainable Design Requirements.//
      2. Section 05 40 00, COLD-FORMED METAL FRAMING: Steel framing members for attachment of plaster bases
      3. Section 08 31 13, ACCESS DOORS AND FRAMES: Access Doors.
      4. Section 09 06 00, SCHEDULE FOR FINISHES: Room Finish Schedule and Color.
      5. Section 09 22 16, NON-STRUCTURAL METAL FRAMING: Steel framing members for attachment of plaster bases.
      6. Section 09 23 00, GYPSUM PLASTERING: Gypsum plaster.
      7. Veneer plaster: Section 09 26 00, VENEER PLASTERING.
   3. TERMINOLOGY
      1. Definitions and description of terms to be in accordance with ASTM C11, ASTM C926, ASTM C1063 and as specified.
      2. Underside of Structure Overhead: In spaces where steel trusses or bar joists are shown, the underside of structure overhead is defined as the underside of the floor or roof construction supported by beams, trusses, and bar joists.
      3. Self‑furring Lath: Metal plastering bases having dimples or crimps designed to hold the back plane of the lath 6 to 10 mm (1/4 to 3/8 inch) away from the plane of the solid backing.
      4. Solid Backing or Solid Bases: Concrete, masonry, sheathing, rigid insulation, and similar materials to which plaster is directly applied.
      5. Wet Areas: Areas of a building where cyclic or continuous exposure to very humid or wet conditions, or in which a dew point condition may occur in the plaster.
   4. SUBMITTALS
      1. Submit in accordance with Section 01 33 23, SHOP DRAWINGS, PRODUCT DATA, AND SAMPLES.
      2. //Sustainable Design Submittals, as described below:
         1. //Postconsumer and preconsumer recycled content as described in PART 2 ‑ PRODUCTS. // //
      3. Manufacturer's Literature and Data:
         1. Accessories for plaster, each type.
         2. Metal plastering bases, each type.
         3. Fasteners.
         4. Bonding compounds, including application instructions.
         5. Admixtures, including mixing and application instructions.
      4. Samples:
         1. Accessories for plaster, each type, not less than 152 mm (6 inches) long.

SPEC WRITER NOTE: Request plaster sample where color is specified or special finish is required, and where required to match existing special finish conditions. Specify a size to suit requirements, 152 to 305 mm (6 by 12 inches) minimum.

* + - 1. Panel showing finish coat // // by // // mm (//  // by //  // inches) // 152 to 305 mm (6 by 12 inches) // minimum.
    1. Installers qualifications.
  1. DELIVERY, STORAGE AND PROTECTION
     1. Deliver manufactured materials in the manufacturers’ original unbroken packages or containers which are labeled plainly with the manufacturers’ names and brands. Keep cementitious materials dry and stored off the ground, under cover, and away from sweating walls and other damp surfaces until ready for use.
  2. PROJECT CONDITIONS
     1. Maintain work areas for interior work at a temperature of not less than 4 degrees C (40 degrees F) for not less than 48 hours prior to application of plaster, during application of plaster and 1 week after plaster has set or until plaster has dried.
     2. Do not apply exterior plaster when the ambient temperature is less than 4 degrees C (40 degrees F), or when a drop in temperature below 4 degrees C (40 degrees F) is expected within 24 hours after application.
     3. Do not apply plaster to frozen surfaces or surfaces containing frost.
     4. Do not use frozen materials in the mix.
     5. Protect plaster coats against freezing for a period of not less than 24 hours after application.
  3. QUALITY ASSURANCE
     1. Installers Qualifications: Work is to be performed by installer having a minimum of three (3) years’ experience for work relating to this Section. Submit installer qualifications.

SPEC WRITER NOTE: Mock-up must be approved by Contracting Officer Representative (COR) in the project’s design phase before including requirement in specification.

* + 1. //Mockup: Build 9.29 square meters (100 square feet) mockup for each substrate and finish texture indicated for cement plastering including accessories. // For interior plaster work, simulate finished lighting for review of mockups. // Approved mockups may // not // become part of completed work. //
  1. PERFORMANCE REQUIREMENTS
     1. Where indicated on construction documents, provide cement plaster assemblies identical to those of assemblies tested for fire resistance according to ASTM E119 by a qualified testing agency.
     2. Where indicated on construction documents provide cement plaster assemblies identical to those of assemblies tested for STC ratings according to ASTM E90 and classified according to ASTM E413 by a qualified testing agency.
  2. APPLICABLE PUBLICATIONS
     1. The publications listed below form a part of this specification to the extent referenced. The publications are referenced in the text by basic designation only.
     2. ASTM International (ASTM):

A653/A653M-20 Steel Sheet, Zinc‑Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot‑Dip Process

A1064/A1064M-18a Carbon-Steel Wire and Welded Wire Reinforcement, Plain and Deformed, for Concrete

C11-18b Terminology Relating to Gypsum and Related Building Materials and Systems.

C91/C91M-18 Masonry Cement

C150/C150M-20 Portland Cement

C206-14 Finishing Hydrated Lime

C207-18 Hydrated Lime for Masonry Purposes

C260/C260M-10a(2016) Air Entraining Admixtures for Concrete.

C847-18 Metal Lath

C897-15(2020) Aggregate for Job‑Mixed Portland Cement Based Plasters

C926-20 Application of Portland Cement‑Based Plaster

C932-06(2019) Surface-Applied Bonding Compounds for Exterior Plastering

C933-18 Welded Wire Lath

C979/C979M-16 Pigments for Integrally Colored Concrete

C1002-18 Steel Self-Piercing Tapping Screws for the Application of Gypsum Panel Products or Metal Plaster Bases to Wood Studs or Steel Studs

C1063-19a Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster

E90-09(2016) Test Method for Laboratory Measurement of Airborne Sound Transmission Loss of Building Partitions and Elements

E119-20 Test Methods for Fire Tests of Building Construction and Materials

E413-16 Classification for Rating Sound Insulation

* + 1. Commercial Item Description (CID):

A-A-55615-95(R2006) Shield, Expansion (Wood Screw and Lag Bolt Self-Threading Anchors)

1. PRODUCTS

SPEC WRITER NOTE: Make material requirements agree with applicable requirements specified in the referenced Applicable Publications. Update and specify only that which applies to the project.

* 1. METAL PLASTERING BASES
     1. Expanded Lath:
        1. ASTM C847, galvanized except as modified by ASTM C1063 and this specification. Self-furring where applied over solid backing.
        2. Flat diamond mesh weighing not less than 1.8 kg per square meter (3.4 pounds per square yard).
     2. Stucco Mesh: Flat expanded diamond mesh pattern, with openings approximately 38 by 75 mm (1‑1/2 by 3 inches), weighing not less than 1.9 kg per square meter (3.6 pounds per square yard), with backing as specified.
     3. Wire Lath:
        1. Zinc coated (Galvanized).
        2. Welded Wire Lath: ASTM C933, with backing as specified.
        3. Self-furring where applied over solid backing.
        4. //Recycled Content of Metal Products: Post consumer content plus one‑half of preconsumer content not less than // 30 // //   // percent.//
     4. Building Paper Backing for Metal Plastering Bases:
        1. Backing attached to lath as specified in ASTM C933.
        2. Vapor Permeable Backing: Fed. Spec. UU‑B‑790, Type I, Grade D.
        3. Water Resistant Backing: Fed. Spec. UU‑B‑790, Type I, Grade B.
  2. ACCESSORIES FOR CEMENT PLASTER //(STUCCO)//:
     1. Provide accessories that are roll formed galvanized steel, except that cornerite and strip lath that are formed from steel sheets with manufacturer’s standard galvanized coating.
     2. Provide welded wire corner reinforcements of galvanized 1.4 mm (17 gauge) steel wire conforming to ASTM A1064/A1064M.
     3. Provide furring, including hangers, bolts, inserts, clips, fastenings, and attachments of number, size, and design to develop the full strength of the members.
     4. Control Joints: ASTM C1063, zinc-coated (galvanized) steel; one‑piece‑type, folded pair of unperforated screeds in M-shaped configuration; with perforated flanged and removable protective tape on plaster face of control joint.
     5. Foundation Weep Screed: Fabricated form hot-dip galvanized-steel sheet, ASTM A653/A653M, G60 (Z180) zinc coating.
     6. Cornerite: Fabricated from metal lath with ASTM A653/A653M, G60 (Z180), hot-dip galvanized-zinc coating.
     7. External- (Outside-) Corner Reinforcement: Fabricated from metal lath with ASTM A653/A653M, G60 (Z180), hot-dip galvanized-zinc coating.
     8. Cornerbeads: Fabricated from zinc-coated (galvanized) steel.
        1. Smallnose cornerbead with expanded flanges; use unless otherwise indicated on construction documents.
        2. Smallnose cornerbead with perforated flanges; use on curved corners.
        3. Smallnose cornerbead with expanded flanges reinforced by perforated stiffening rib; use on columns and for finishing unit masonry corners.
        4. Bullnose cornerbead, radius 19 mm (3/4 inch) minimum, with expanded flanges; use at locations indicated on construction documents.
     9. Casing Beads: Fabricated form zinc-coated (galvanized) steel; square‑edged style; with expanded flanges.
  3. FASTENERS
     1. Tie, wire, screws, staples, clips, nails, and other fasteners ASTM C1063, except as otherwise specified.
     2. Provide fasteners for securing metal plastering bases having heads, or inserted through washers large enough to engage two (2) strands (two (2) on each side of screw) of the metal plastering base.
     3. For fire rated construction; provide fasteners of type and size as used in fire rated test.
     4. Screws: ASTM C1002.
     5. Expansion Shields: CID A-A-55615, of the Type and Class applicable.
  4. CEMENT
     1. Portland: ASTM C150/C150M, Type I.
     2. Masonry: ASTM C91/C91M, Type N.
     3. //White where required for white finish coat. //
  5. LIME
     1. ASTM C206, Type S; or ASTM C207, Type S. //
  6. AGGREGATES (Sand)
     1. ASTM C897, graded as required to suit texture of finish specified.
     2. //White where white finish coat is specified. //
  7. BONDING AGENT
     1. ASTM C932.
  8. FACTORY PREPARED FINISH COAT FOR CEMENT PLASTER //(STUCCO)//
     1. Factory prepared dry blend of materials, integrally colored, designed for exterior finish coat application.
     2. Pigments: ASTM C979/C979M, lime proof mineral oxide.
     3. Particle Size: Not more than 35 percent, by weight of all ingredients, including cement, aggregate, hydrated lime, admixture and coloring pigment is to pass a number 100 sieve.
  9. ADMIXTURES
     1. Air Entrainment: ASTM C260/C260M.

SPEC WRITER NOTES:

1. Existing solid bases to be plastered may require extensive surface preparation or application of lath to provide positive anchorage.
2. Use of lath is required over sheathing.
3. Conform to applicable seismic conditions on exterior walls.
4. EXECUTION
   1. METAL PLASTERING BASES (LATH) LOCATIONS
      1. Where plaster is required on solid concrete or masonry bases, metal plastering bases are not required, unless shown on the construction documents. Where shown use wire lath or stucco mesh.
      2. On ceiling or soffit framing use flat diamond mesh lath.
      3. On interior wall framing:
         1. Provide expanded lath.
         2. Provide // metal // // welded wire // lath with water resistant backing in wet areas.
      4. Over steel columns, provide expanded lath.
      5. Where metal plastering bases are used as a base for exterior cement plaster over wall sheathing, provide wire lath or stucco mesh with water resistant backing.
   2. APPLYING METAL PLASTERING BASES
      1. In accordance with ASTM C1063, except as otherwise specified or indicated on construction documents.
      2. Form true surfaces, straight or in curves where shown on construction documents, without sags or buckles and with long dimension of lath at right angles to direction of supports.
      3. Terminate lath for ceiling or soffit construction at casing bead (floating angle construction) at perimeter angles between walls and ceilings or soffits.
      4. Lath with backing to be applied to produce a paper to paper and metal to metal lap at ends and sides of adjacent sheets, whether full sheets or less than full sheets are provided:
         1. Lap backing 50 mm (2 inches) for both horizontal and vertical laps.
         2. Install horizontal laps in a ship lap fashion to conduct water to the outside and over flashing or waterproofing.
      5. Do not install continuous metal plastering bases through expansion and control joints. Terminate at each side of joint.
      6. Attach lath directly to masonry and concrete with hardened nails, power actuated drive pins or other approved fasteners. Install fasteners at dimples or crimps only.
      7. Wood plugs are not acceptable.
   3. INSTALLING PLASTERING ACCESSORIES
      1. Install accessories in accordance with ASTM C1063, except as otherwise specified.
         1. Set plastering accessories plumb, level and true to line, neatly mitered at corners and intersections, and securely attach to supporting surfaces.
         2. Install in one (1) piece, within the limits of the longest commercially available lengths.
      2. Corner Beads: // External‑corner reinforcement // // corner bead // at exterior corners, as required to establish grounds, and where shown on construction documents.
      3. Strip Lath:
         1. Install centered over joints between dissimilar materials, such as hollow tile, brick, concrete masonry units, concrete, and joints with expanded lath on framing or furring, where both such surfaces are required to be plastered and are in contact with each other in same plane, except where expansion joints and casing beads are required.
         2. Wire tie or fasten strip lath to base along both edges at not over 152 mm (6 inches) on centers.
      4. Casing Beads:
         1. Provide at locations where shown on construction documents and at following locations where plaster terminates to provide finish trim:
            1. Against non‑plastered surfaces such as masonry, concrete, and wood.
            2. Against trim of steel frames and trim of other materials and equipment, except where trim overlaps plaster.
            3. Around perimeter of openings except where edge is covered by flanges. Locate to conform to dimensions shown on shop drawings.
            4. Where plaster for new walls or furring (vertical or horizontal) terminates against existing construction.
            5. Both sides of expansion and control joints unless shown otherwise on construction documents.
         2. Provide at perimeter angles between walls and ceilings so as to provide floating angle (unrestrained) construction in accordance with ASTM C1063.
      5. Cornerites:
         1. Provide at interior corners of walls, partitions, and other vertical surfaces to be plastered, except where lath is carried around angle.
         2. Fasten only as necessary to retain position during plastering.
         3. Omit cornerites at junction of new plastered walls with existing plastered walls at locations where casing beads are specified.
      6. Control Joints:

SPEC WRITER NOTES:

1. Show and clearly define on construction documents location of control joints.
2. Install control joints to create panels no larger than 13.4 square meters (144 square feet) with no dimension exceeding 5.48 meters (18 feet) or a length to width ratio of 2‑1/2 to 1.
3. Install control joints at all locations where panel size or dimensions change.
4. Detail control joints.
   * + 1. Where control joints are placed parallel to framing members, install joints within 101 mm (4 inches) of the framing member.
       2. Install control joints only to the edges of abutting sheets of lath so that the lath is not continuous or tied across the joint.
       3. Extend joints the full width and height of the wall or length of soffit/ceiling plaster membrane.
   1. SURFACE PREPARATION OF SOLID BASES
      1. Surfaces that are to receive plaster are to be prepared and conditioned in accordance with ASTM C926, except as otherwise specified.
      2. New surfaces of masonry and concrete:
         1. Remove projections and clean concrete surface of form oil.
         2. Fill depressions, holes, cracks and similar voids flush with Portland cement plaster to provide substrate within the tolerance specified in ASTM C926.
         3. Use bonding agent.
         4. Cover with self-furring lath where required to keep the total plaster thickness as specified in Table 4 of ASTM C926.

SPEC WRITER NOTES:

1. Read ASTM C926 regarding Requirements for Bases to Receive Portland Cement‑based plaster.
2. Check concrete specification to see that finish specified will receive plaster.
3. New concrete should not need preparation other than that specified below.
4. Examine condition of existing surfaces to receive plaster and specify only one of following methods for each condition.
   * 1. Existing surfaces of concrete and masonry:
        1. Clean surface of dirt and other foreign matter which will prevent bond.
        2. Apply dash bond coat or bonding agent as specified herein.
        3. Where existing surfaces have a coating such as paint or bituminous waterproofing apply metal plastering base as indicated.
   1. PORTLAND CEMENT BASED PLASTER
      1. Provide portland cement based plaster where cement plaster // (stucco) // is shown and specified, and as follows:
         1. Three‑Coat work is to be used over all metal plastering bases, with or without solid backing.
         2. Two‑Coat work may only be used over solid bases conforming to requirements of Paragraph, SURFACE PREPARATION OF SOLID BASES.
      2. Proportion, mix and apply plaster in accordance with ASTM C926, except as otherwise specified.
         1. Provide air entrained plaster for all exterior work.
         2. //Provide coloring pigments for finish coat when integral color other than white is specified. //
         3. //Provide white cement with white sand when white finish coat is specified. //
         4. Factory prepared finish coat: Add water, mix, and apply as specified by manufacturer.
         5. Color:
            1. Provide natural cement color when painted or other coating is specified.
            2. Other colors as specified in Section 09 06 00, SCHEDULE FOR FINISHES.
         6. Finish coat is to have a // smooth troweled // // sand float // // machine dash // // textured // finish.

‑ ‑ ‑ E N D ‑ ‑ ‑