## Definitions
Veteran's Affairs Medical Centers Parking Demand Model
Basic Definitions
| Peak Hour/Shift Population Data | The point at which the number of individuals within each population group reaches its highest level throughout the day, i.e., peak shift.
| Calculated Daily Estimate | is the estimate of population data gathered by the hospital's administration on daily basis
| Peak Shift | Is usually defined as weekdays between 7AM and 3PM but may differ based on the characteristics of the medical campus
| Percent Average Bed Occupancy | The average number of beds occupied daily by patients divided by the total number of beds. Example; 100 licensed beds, annual average daily occupancy 75 beds, average bed occupancy equals 75.
| Practical Capacity | Refers to the operational efficiency of a parking facility or system and measures the stress on the parking system in relation to parking demand. A parking facility is perceived by its users to be at full operational capacity when occupancy levels reach 90-95%. Potential parkers find it difficult to locate an available space once this level is exceeded. This figure is automatically applied within the Parking Inventory and Future Supply tables.
| Peak Parking Demand | The point at which demand for parking reaches its highest level.
| Percent Average Annual Growth/Decline | is the change in population by year, and is calculated by dividing the difference between the projected and the current population by the current population. ( Projected Population-Current Population)/Current Population.
| Parking Surplus/Deficit | Parking surplus is the number of spaces in excess of what the demanded for parking is. Parking deficit is the number of spaces by which the current supply of parking is less than the demand for parking. Both definitions are typically applied to peak parking use/demand periods. These figures are automatically calculated within the Surplus/Deficit table
| Space Allocation | Parking restrictions for a specific parking space/parking lot by user group, i.e. patient, physician, visitor, etc

## Instructions
Veteran's Affairs Medical Centers Parking Demand Model
Instructions
Step 1: | Read the Preamble to the Parking Demand Model
Step 2: | Request copy of Strategic Site Plan from Office of Construction Facilities Management and insert into Site Plan worksheet.
Step 3: | Enter Facility Data (see blue and yellow highlighted cells) into Table 1. Note that the average daily census should be entered for each of the categories. ( Average is defined as the sum of all the given elements divided by the total number of elements). For "other" categories (see yellow highlight) please note in the dialog box the type of bed and its associated inpatient treatment. Include definition of average daily census.
Step 4: | Enter Population Data (blue and yellow cells) into Tables 2a and 2b. Note that for all employee, physician, volunteer, students and other groups in Table 2a peak shift data is required. Peak shift is generally defined as weekdays between 7AM and 3PM. For all inpatient and outpatients, average daily population data is required.
Full and part-time employee group categories include but are not limited to administrative staff, direct patient care givers, w/o compensation employees, canteen workers, custodial workers, lab technicians, researchers, medical school administrative and teaching staff, and any medical or non-medical employees who are assigned to work on the medical center campus on a long-term basis. Physician categories include but should not be limited to consulting/attending physicians, affiliated medical school physicians, or any physicians that was full-access working privileges at the medical center. For "other" categories (highlighted yellow) please note in the dialog box the employee classification and their associated job responsibilities.
For inpatients and outpatients data (Table 2b), please first include the actual average daily volumes in column I. In case the actual daily data was not recorded/available, then enter the annual inpatient and outpatient data provided by ProClarity in column G. For visitors and vendors, please first include the actual daily counts in column G. In case visitors and vendors population data was not available/recorded, do not enter anything in column G. The PDM formula will automatically calculates the daily estimates.
Note that as average daily population volumes for inpatient visitors, non-treatment visitors, vendors, and other visitors are typically not recorded by VAMC/VISN systems it has been calculated automatically based on industry standards associated with the number of hospital, domiciliary, nursing home, SCI, and other beds.
Step 5: | Enter current Parking Inventory (see blue and yellow cells) into Table 3. Include permanently owned/operated on and off-site parking facilities and temporary on-site facilities but exclude those off-site facilities that are leased and/or under short-term ownership/operation. For "other" VAMC parking facilities (see yellow highlighted cells) please note in the dialog box the location (on vs. off-site) and surface condition (asphalt vs. gravel). If off-site also note whether the facility(ies) have shuttle service.
Step 6: | Select appropriate VAMC characteristic on the Current Peak Demand table (Table 4). By pressing the applicable "macro button" the peak parking demand ratios for each campus user group from the Demand Ratio Matrix tab will be automatically applied. Please reference the Parking Demand Model addendum for background on urban, suburban, rural and strong, mixed, and weak transit and car/vanpool characteristics. VAMC/VISN representatives must include justification of the selected characteristics when submitting the PDM to CFM for review and approval. Written justification must include information on public transit opportunities, employee car/vanpool participation and where available information on employee, patient, visitor travel mode split (car, bus, light rail, walk, etc.) and commuting patterns. Once the appropriate characteristics macro button is selected the peak parking demand for each user group will be automatically calculated. Note that parking demand for fleet vehicles are already included in the employee demand figures. AFTER SELECTING THE TYPE OF THE FACILITY IN TABLE 4, PLEASE PLACE AN X IN THE BOX NEXT TO THE MACRO BUTTON
Note that the analysis of current parking demand includes a recommendation for the provision of ADA accessible handicapped parking spaces. This recommendation is based on survey findings at the ten (10) pilot institutions that found that between 7% and 16% of vehicles parked on a VA campus during the peak hour displayed handicapped hangtags and/or license plates. At present, the number of handicapped accessible spaces on a VA medical center is 3% of the total supply. While the provision of handicapped spaces should continue to meet or exceed ADA standards and should their placement should be at the discretion of VAMC/VISN planners and asset managers, the model recommends the number of spaces that should be provided under two scenarios; with patient and visitor valet service and without valet service, with the with valet recommendation acknowledging that many handicapped patients and visitors would chose to use that service.
Step 7: | Enter annual growth projections of employee, physician, and patient/visitor into the Future Growth table (Table 5). ( See the Definitions Tab of this model for instructions to calculate growth) VAMC/VISN representatives must include justification for the annual growth rates to include source and definitions when submitting the PDM to CFM for review and approval. Future parking demand calculations (see Table 6) and ultimately estimates of future parking surplus or deficit (Table8) will be impacted by these figures.
Step 8: | Enter annual estimates for the loss or gain of parking spaces into the Future Supply table (see Table 7a). Note that in order for the model to calculate future supply, the space allocation column in Table 7a should be filled out. Negative numbers indicate loss and positive numbers indicate gain of parking spaces.
Note that the Demand Ratio Matrix tab of this Excel spread sheet is password protected, You CANNOT enter any data into this tab.

## Strategic Site Plan
Veteran's Affairs Medical Centers Parking Demand Model
Strategic Site Plan (Source: VA Office of Construction Facilities Management) | [6 empty] | To be provided by OOCFM
| VHA | Enter Facility Name, City & State Here | [6 empty] | Enter VISN/VAMC Number
INSERT OOCFM PROVIDED FACILITY MAP HERE
INSERT OOCFM PROVIDED FACILITY DATA HERE
Address:
|  |  |  | Acreage: | VHA | NCA | Available | Outleased | VA Total
|  |  |  | Buildings: | Existing | Historic | EHR Seismic | Vacant | Avg Age SF
|  |  |  | Gross Sq Feet | Existing | Ideal | Vacant | Out-Leased | In-Leased
|  |  |  | Initiatives: | Complete | Scope |  | Cost | Funded
Majors:
Context Map
VISN:
| Mission: |  |  | CARES
| Patients: |  |  | EUI's:
Affiliations:
| VBA: |  |  | ESPC:
| NCA: |  |  | FCA Total Technical Corrections Cost:
| Other Programs: |  |  | Community-Based Clinics: |  |  |  | Vet Centers:
| Department of Veterans Affairs Office of Construction & Facilities Management (00CFM3A) | [7 empty] | January 2009

## Facility Data
Veteran's Affairs Medical Centers Parking Demand Model
VAMC Facility Data
Table 1
Facility Name
Facility Address
VISN Identification Number
Facility Identification Number
Date Data Provided (Mon/Day/Year)
Name of Data Provider
Job Title
Contact Information (phone/e-mail)
Facility Building Gross Square Feet
Number of Hospital Beds
Percent Avg. Bed Occupancy (Avg.Daily Census)
Number of Domiciliary Beds
Percent Avg. Bed Occupancy (Avg.Daily Census)
Number of CLC Beds
Percent Avg. Bed Occupancy (Avg.Daily Census)
Number of Nursing Home Beds
Percent Avg. Bed Occupancy (Avg.Daily Census)
Number of Spinal Cord Injury Beds
Percent Avg. Bed Occupancy (Avg.Daily Census)
Other Beds (please describe below)
Percent Avg. Bed Occupancy (Avg.Daily Census)

## Population Data
Veteran's Affairs Medical Centers Parking Demand Model
VAMC Peak Hour/Shift Population Data
0
Table 2a |  |  | Table 2b
|  | Peak |  |  | ProClarity | Calculated | Actual Average
|  | Shift Volumes |  |  | Actual Annual | Daily Est. | Daily Volumes
Employees, Physicians, Students, & Others |  |  | Inpatients and Outpatients
| Full-Time Employees |  |  | Outpatients |  | 0
| Part-Time Employees |  |  | Total Inpatient Admissions of All Beds |  | 0
| Physicians |  |  | Emergency Department |  | 0
| Service Organization Emp. |  |  | Other Outpatient Services (describe below)
Volunteers
Resident & Other Students
| Other Full-time Staff/Physicians (describe below) |  | Visitors & Vendors/Contractors |  | Actual Daily |  | Calculated
[5 empty] | Count |  | Daily Est.
|  |  |  | Inpatient Visitors (determined by PDM formula) |  |  | 0
|  |  |  | Non-Treatment Visitors (determined by PDM formula) |  |  | 0
| Other Part-time Staff/Physicians (describe below) |  |  | Vendors (determined by PDM formula) |  |  | 0
Other Visitors (quantify and describe below)

## Parking Inventory
Veteran's Affairs Medical Centers Parking Demand Model
VAMC Parking Data
0
Table 3
|  | Current | Practical
|  | Inventory | Capacity
Open/Unrestricted Parking (available to anyone) |  |  | 0
Employee/Physician/Student Parking
| Open/Unrestricted |  | 0
| Car/Vanpool |  | 0
| Volunteer |  | 0
| Student |  | 0
| Handicapped Accessible |  | 0
| Other (describe below) |  | 0
Total Employee/Student |  | 0 | 0
Physicians
| Reserved/Restricted |  | 0
| Open/Unrestricted |  | 0
| Other (describe below) |  | 0
Total Physician Spaces |  | 0 | 0
Patient/Visitor Parking
| Self Park |  | 0
| Valet |  | 0
| Handicapped Accessible |  | 0
| Other (describe below) |  | 0
Total Patient/Visitor Spaces |  | 0 | 0
Government/Fleet Vehicles |  |  | 0
Total Other Parking (describe below) |  |  | 0
TOTAL PARKING INVENTORY |  | 0 | 0

## Current Peak Demand
Veteran's Affairs Medical Centers Parking Demand Model
VAMC Peak Parking Demand Ratios
0 |  |  |  |  | VAMC
Table 4 |  |  |  |  | Characteristics
[5 empty] | (Select One) | PLACE AN X IN THE BOX NEXT TO THE MACRO BUTTON
|  | Peak | Selected | Peak Parking | Urban
Population Group |  | Population | Demand Ratio | Demand | Strong
Staffing
| Full-time | 0 | 0.6 | 0 | Urban
| Part-time | 0 | 0.5 | 0 | Mixed
| Physicians | 0 | 0.75 | 0
| Service Organization | 0 | 0.65 | 0 | Urban
| Volunteers | 0 | 0.2 | 0 | Weak
| Students | 0 | 0.2 | 0
Total Staffing |  | 0 | --- | 0 | Suburban
Patients |  |  |  |  | Strong
| Outpatients | 0 | 0.3 | 0
| Inpatient Admissions | 0 | 0.3 | 0 | Suburban
| ED Patients | 0 | 0.4 | 0 | Mixed
Total Patients |  | 0 | --- | 0
Visitors |  |  |  |  | Suburban
| Inpatient & ED Visitors | 0 | 0.4 | 0 | Weak
| Non-treatment Visitors | 0 | 0.45 | 0
| Vendors | 0 | 0.4 | 0 | Rural
Total Visitors |  | 0 | --- | 0 | Mixed
Total |  | 0 | --- | 0
Rural
Recommended Provision for Handicapped Acccessible Spaces |  |  |  |  | Weak
| w/ Patient & Visitor Valet Service (3% of total demand) = |  |  | 0
| w/o Patient & Visitor Valet Service (7% of total demand) = |  |  | 0
Urban
Strong
Urban
Mixed
Urban
Weak
Suburban
Strong
Suburban
Mixed
Suburban
Weak
Rural
Mixed
Rural Weak

## Future Growth
Veteran's Affairs Medical Centers Parking Demand Model
VAMC Average Annual Growth/Decline Projections
0
Table 5
Population Group |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Staffing
Full-time
Part-time
Physicians
Service Organization
Volunteers
Students
Patients
Outpatients
Inpatient Admissions
ED Patients
Visitors
Inpatient & ED Visitors
Non-treatment Visitors
Vendors
Note: | Average annual gowth/decline projection is the change in population by year, and is calculated by deviding the difference between the projected population
and the current population by the current population (( Projected Pop. - Current Pop.)/Current Pop).

## Future Demand
Veteran's Affairs Medical Centers Parking Demand Model
VAMC Existing and Future Peak Parking Demand
0
Table 6
|  | Peak Parking | Future Peak Parking Demand
Population Group |  | Demand | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Staffing
| Full-time | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Part-time | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Physicians | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Service Organization | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Volunteers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Students | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Staffing |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patients
| Outpatients | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Inpatient Admissions | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ED Patients | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Patients |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Visitors
| Inpatient & ED Visitors | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Non-treatment Visitors | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Vendors | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Visitors |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Recommended Provision for Handicapped Acccessible Spaces
w/ Patient & Visitor Valet Service (3%) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
w/o Patient & Visitor Valet Service (7%) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Future Supply
Veteran's Affairs Medical Centers Parking Demand Model
VAMC Existing and Future Peak Parking Demand
0
Table 7a, 7b & 7c
Existing Parking Spaces to be Displaced and/or Added
|  | Displaced | Space |  |  | Year to be
Lot Name/Code | Capacity | Spaces | Allocation |  |  | Displaced
2011
2011
2012
2012
2013
2013
2014
2014
2015
2015
2016
2016
2017
2017
2018
2018
2019
2019
2020
2020
2021
2021
2022
2022
2023
2023
2024
2024
2025
2025
2026
2026
2027
2027
2028
2028
2029
2029
2030
2030
| Current | Future Supply
Space Allocation | Capacity | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Open/Unrestricted | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Employees/Students | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Physicians | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patients/Visitors | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Government/Fleet Vehicles | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Parking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Practical | Future Supply 1: Future Practical Capacity
Space Allocation | Capacity | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Open/Unrestricted | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Employees/Students | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Physicians | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patients/Visitors | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Government/Fleet Vehicles | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Parking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Surplus Deficit
Veteran's Affairs Medical Centers Parking Demand Model
VAMC Existing and Future Peak Parking Demand
0
Table 8
Future Practical Surplus or Deficit
Space Allocation | Current | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Employees/Students | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Physicians | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Patients/Visitors | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Parking | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Surplus or Deficit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Demand Ratio Matrix
Veteran's Administration Medical Centers Parking Demand Model
VAMC Peak Parking Demand Ratios
0
Table 4 |  | THIS TAB IS PROTECTED. YOU CANNOT ENTER ANY DATA
|  | Urban |  |  | Suburban |  |  | Rural
| Transit & Car/Vanpool Rating | Strong | Mixed | Weak | Strong | Mixed | Weak | Mixed | Weak
Staffing
| Full-time | 0.4 | 0.5 | 0.6 | 0.65 | 0.7 | 0.75 | 0.8 | 0.85
| Part-time | 0.4 | 0.45 | 0.5 | 0.55 | 0.6 | 0.65 | 0.75 | 0.8
| Physicians | 0.7 | 0.75 | 0.75 | 0.8 | 0.8 | 0.85 | 0.85 | 0.85
| Service Organization | 0.5 | 0.6 | 0.65 | 0.7 | 0.75 | 0.75 | 0.8 | 0.85
| Volunteers | 0.15 | 0.15 | 0.2 | 0.2 | 0.25 | 0.25 | 0.3 | 0.3
| Students | 0.15 | 0.2 | 0.2 | 0.25 | 0.3 | 0.3 | 0.35 | 0.35
Patients
| Outpatients | 0.25 | 0.25 | 0.3 | 0.3 | 0.35 | 0.4 | 0.4 | 0.45
| Inpatient Admissions | 0.25 | 0.25 | 0.3 | 0.35 | 0.35 | 0.35 | 0.4 | 0.4
| ED Patients | 0.3 | 0.35 | 0.4 | 0.4 | 0.4 | 0.45 | 0.5 | 0.6
Visitors
| Inpatient Visitors | 0.4 | 0.4 | 0.4 | 0.4 | 0.45 | 0.45 | 0.5 | 0.6
| Vendors | 0.45 | 0.45 | 0.45 | 0.5 | 0.5 | 0.5 | 0.55 | 0.6
| Non-treatment Visitors | 0.4 | 0.4 | 0.4 | 0.4 | 0.45 | 0.45 | 0.5 | 0.6
|  | S = Strong |  | M = Moderate or Mixed |  |  | W = Weak