A/E REVIEW CHECKLIST

STRUCTURAL

(Reviewers should - Use Checklists when reviewing any type of VA construction project for the following disciplines: 
(  Site and Landscape, 
(  Architectural, 
(  Structural, 
(  Plumbing, Fire Protection, and 
    Sanitary, 
(  Heating, Ventilating, and 
    Air Conditioning (HVAC), 
(  Steam Generation,
(  Steam Distribution,
(  Incineration/Solid Waste, and
(  Electrical.

(Reviewers should - Insure that A/E Submission Instructions 
(PG-18-15) for Schematic, Design Development, and Construction Documents are followed for various types of VA construction projects.

(Reviewers should - Insure that every VA construction project is in compliance with all life safety issues.

(Reviewers should - Be aware that these checklists are not all-inclusive but only provide minimum review items.

| GENERAL INFORMATION FOR REVIEWERS |
| --- |
| STRUCTURAL REVIEWS |
| The reviewer should be thoroughly familiar with the following VA standards before conducting a design review. These are available on Internet/Intranet: http://www.va.gov/facmgt/standard/va_gov.htm http://vaww.va.gov/facmgt/standard/va_gov.htm |
| 1. | DESIGN MANUALS (PG-18-10) |
| 2. | MASTER CONSTRUCTION SPECIFICATIONS (PG-18-1) |
| 3. | STANDARD DETAILS (PG-18-4) (available in AutoCAD 2000) |
| 4. | DESIGN AND CONSTRUCTION PROCEDURES (formerly Construction Standards) (H-18-3) (Policies defining the minimum level of excellence in the design of VA facilities) |
| 5. | DESIGN GUIDES (PG-18-12) (Graphic information on specific programs in the design development of VA facilities) |
| 6. | DESIGN ALERTS (These alerts are issued on a regular basis for design and construction related issues) |
| 7. | A/E QUALITY ALERTS (These alerts are issued to guard against common and repeat design errors) |
| 8. | A/E SUBMISSION INSTRUCTIONS, PROGRAM GUIDE, PG-18-15 |
| 9. | TECHNICAL SUMMARIES (The summaries of HVAC design requirements for special and critical areas) |
| 10. | VA NCS APPLICATION GUIDE |
| 11. | NCS (NATIONAL CADD STANDARD) |

| SCHEMATIC & DESIGN DEVELOPMENT |
| --- |
| STRUCTURAL REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Building Code & Design Criteria |  |
| 2 | Selected Structural System |  |
|  | a. Steel/Concrete/Other |  |
|  | b. Bay Size |  |
|  | c. High Stress Elements (if any) |  |
| 3 | Lateral Load Resisting System |  |
| 4 | Design Calculations (manually for all typical members) - Results obtained by computers shall be spot checked manually |  |
| 5 | Framing Plan for each floor and roof |  |
| 6 | Tentative sizes of columns, beams and slabs in major areas |  |
| 7 | Plans correlated with architectural and mechanical features |  |
| 8 | Typical sections and details to define construction features |  |
| 9 | Detail at exterior walls |  |
| 10 | Existing Utilities’ Interference |  |
| 11 | Detail at the interface of existing building (if applicable) |  |
| 12 | Reviewed A/E Quality Alert of Structural, Design Development Phase |  |

| FINAL CONSTRUCTION DOCUMENTS |
| --- |
| STRUCTURAL REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 1 | Percent Complete |  |
|  | a. Drawings |  |
|  | b. Specifications |  |
|  | c. Calculations |  |
| 2 | Drawings (Spot Check) Comply with VA NCS Application Guide |  |
|  | a. Dimensions |  |
|  | b. Size of Beams |  |
|  | c. Size of Columns & Base Plates |  |
|  | d. Size of Steel Decking (Type & Properties) |  |
|  | e. Size of Floor Slab |  |
|  | d. Floor Depressions |  |
|  | g. Floor & Roof Openings |  |
|  | f. Elevation of Top of Beams |  |
|  | g. Composite beam/girder reaction shown |  |
|  | h. Shear Walls & Braced Bents Location |  |
|  | i. Expansion Joint Detail (Special attention in seismic. areas) |  |
|  | j. Construction Joints & Control Joints |  |
|  | k. Orientation of Columns |  |
|  | l. Grade Beam Detail |  |
|  | m. Typical Footing (Size & Detail, including Elevation) |  |
|  | n. Pile Cap (Detail including Cut-off Elevation) |  |
|  | o. Total Linear Feet of Piles/Caissons |  |
|  | p. Caisson (Detail including Elevation, Top & Bottom) |  |
|  | q. Rock Elevation (Assure classification with Soil Report) |  |
|  | r. Estimate of Quantity of Rock Excavation |  |
|  | s. Water Proofing Detail |  |
|  | t. Design Parameters (Floor Live Load, Wind, Seismic, & Soil Bearing Pressure) |  |

| FINAL CONSTRUCTION DOCUMENTS |
| --- |
| STRUCTURAL REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 3 | Special Details & Notes (Spot Check) |  |
|  | a. Grades of Steel, Types of Concrete |  |
|  | b. Schedules (Footing, Grade Beam, Column, etc.) complete |  |
|  | c. Reinforcing Details (conform with ACI, including seismic. details) |  |
|  | d. Spacing of bars allow vibrating concrete |  |
|  | e. Connection Details |  |
|  | f. Sleeve Details |  |
|  | g. Shelf Angle Detail |  |
|  | h. Fireproofing Details |  |
|  | i. Pre-cast Panel Design & Details |  |
|  | j. Masonry Wall Anchorage |  |
|  | k. Boring Logs |  |
|  | l. Structural General Notes |  |
|  | m. Special Load Areas Identified |  |
|  | p. Cumulative Loads on Columns |  |
| 4 | Calculations (Spot Check) |  |
|  | a. Framed Slab |  |
|  | b. Beam (Unbraced Length) |  |
|  | c. Column (KL/R) |  |
|  | d. Base Plate |  |
|  | f. Foundation (coordinate with Geotechnical Report) |  |
|  | g. Other Design Considerations (L.L. Reduction, Continuity) |  |
|  | h. Deflection (Short & Long Term) |  |
|  | i. Drift |  |
|  | j. Non-structural Elements Anchorage |  |
|  | k. Lateral Load Analysis |  |

| FINAL CONSTRUCTION DOCUMENTS |
| --- |
| STRUCTURAL REVIEW |
| NO. | ITEM | COMMENTS/ YES/NO/NA |
| 5 | Computer Application |  |
|  | a. Computer output summarized for primary load resisting members |  |
|  | b. Computer Program Documentation |  |
| 6 | Reviewed A/E Quality Alert of Structural, Contract Document Phase |  |
| 7 | Insure that that all review issues have been resolved, and the project files contain information on how each issue was finalized |  |
| 8 | Insure that the project files contain a final set of structural calculations for future reference |  |
| 9 | All structural drawings and calculations to show evidence that they have been done and checked by professional structural engineer listed under key personnel in the A/E contract |  |