## Slide 1: System Diagram
Full page system diagram of closed-loop system configurations
Annotate equipment capacities (MBH, tons, GPM, etc)
Represent controls inputs and outputs (sensors and actuators)
When complex, differentiate with line type, weight, or color
Use the below (or comparable) diagram components:
Mixing Valve
Manual Isolation Valve
Control Valve
Diverting Valve
Temperature or Pressure Gauge
Centrifugal Pump (w/ or w/o VFD)
Networked Temp or Pressure
Centrifugal Fan (w/ or w/o VFD)
Axial Fan (w/ or w/o Guide Vanes)
Differential Pressure
Strap-on Sensor
Averaging Sensor
Duct Static Sensor
Fluid
Flow
Fire Damper
Parallel Blade Damper
Opposed Blade Damper
Balancing Damper
Air Flow
Pressure Reducing Valve
Balancing
Valve
Triple Duty Valve
Check
Valve
Strainer
Automatic Air Vent
Steam Trap
Pressure Relief Valve
Manual Air Vent
Bleed Valve
Preheat, Cooling, Heating, or Reheat Coil
Pre or Final Filter
Thermostatic
Mixing
Valve
Plate & Frame or Shell & Tube Heat Exchangers
Thermostat, Humidistat or CO2 Detector
Misc Equipment (Boiler, Chiller, Domestic Hot Water, Bypass Feeder, Air/Water Separator, Expansion Tank, Buffer Tank, etc)
Supply,
Return, or Exhaust Grills
Ch
DHW
BF
AWS
EXP
BT
T
H
CO2
T
P
T
P
T
~
R
H
C
C
H
C
P
H
TS
B
A
AB
V
A
AB
B
V
V
T
DSP
DP
F
B
D
D
B
FD
P
VFD
P
F
VFD
PF
FF

## Slide 2: Building: (#/Name)
System: (Name)